## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 01.04.2018 TO 06:00 HRS OF 02.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 01.04.2018 | CCK | 43191.5042 | 43191.5835 | 1:54 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | AJMERI GATE-CHANDNI CHOWK. | 1211
2 | 01.04.2018 | CCK | 43191.5056 | 43191.5848 | 1:54 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF LT SOCKET | LT SOCKET DAMAGED, SAME REPLACED | CHANDNI CHOWK,MOSQUE-LAL KUAN BAZAR. | 799
3 | 01.04.2018 | DRG | 43191.7036 | 43191.8646 | 3:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE FAULTY, SAME REPAIRED, SUPPLY RESTORATION DELAYED DUE TO MULTIPLE FAULT IN CABLE | MTNL TELEPHONE EXCHANGE-PATODI HOUSE,DARYAGANJ. | 284 | LT CABLE FAULTY, SAME REPAIRED, SUPPLY RESTORATION DELAYED DUE TO MULTIPLE FAULT IN CABLE
4 | 01.04.2018 | KWN | 43191.3375 | 43191.4202 | 1:59 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPAIRED | JOHRI ENCLAVE-BHAGIRATHI VIHAR. | 518
5 | 01.04.2018 | KWN | 43191.6847 | 43191.7528 | 1:38 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | NON COMM AREA-SONIA VIHAR. | 130
6 | 01.04.2018 | KWN | 43191.6848 | 43191.753 | 1:38 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD DAMAGED DUE TO FLASH, SAME REPLACED | BLOCK J-SHIV VIHAR,KARAWAL NAGAR. | 1417
7 | 01.04.2018 | KWN | 43191.7396 | 43191.8069 | 1:37 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY, SAME REPAIRED | BLOCK U-SHIV VIHAR,KARAWAL NAGAR. | 3001
8 | 01.04.2018 | KWN | 43191.7833 | 43191.8302 | 1:08 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BLOCK D-BRIJ PURI. | 235
9 | 01.04.2018 | MVR | 43191.2667 | 43191.3264 | 1:26 | HT SYSTEM FAULT | TRIPPING | BREAKER COULDN'T HOLD, SAME ATTENDED | BLOCK B-GAZIPUR DAIRY FARM. | 138
10 | 01.04.2018 | NNG | 43191.4413 | 43191.5197 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | ANUP VIHAR-MANDOLI. | 259
11 | 01.04.2018 | NNG | 43191.4982 | 43191.5785 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK D-MEET NAGAR. | 172