## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 05.04.2018 TO 06:00 HRS OF 06.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 05.04.2018 | CCK | 43195.4653 | 43195.5338 | 1:39 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | LALKUAN BAZAR-FRASH KHANA | 155
2 | 05.04.2018 | CCK | 43195.5217 | 43195.6034 | 1:58 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | ROSHAN PURA-CHANDNI CHOWK | 64
3 | 05.04.2018 | DGN | 43195.4479 | 43195.5278 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | POCKET H-DILSHAD GARDEN | 164
4 | 05.04.2018 | DGN | 43195.5069 | 43195.5625 | 1:20 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | SANSAR COMPOUND-DILSHAD GARDEN | 190
5 | 05.04.2018 | DGN | 43195.5104 | 43195.9028 | 9:25 | LT FEEDER | LT CABLE FAULTY | LT CABLE REPAIRED | JHILMIL INDUSTRIAL AREA BLOCK A-JHILMIL COLONY | 162 | LT CABLE FAULTY SAME REPAIRED.DELAYED DUE TO MULTIPLE FAULT AND HEAVY TRAFFIC IN THE AREA
6 | 05.04.2018 | DGN | 43195.5236 | 43195.5912 | 1:37 | PLANNED SHUTDOWN | NETWORK UPGRADATION | NETWORK UPGRADATION WORK | BLOCK A-JHILMIL COLONY | 31
7 | 05.04.2018 | DGN | 43195.84 | 43195.9095 | 1:40 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND LOOSE SAME ATTENDED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 165
8 | 05.04.2018 | DRG | 43195.5657 | 43195.6099 | 1:04 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | KUCHA NAHAR KHAN DRG | 1284
9 | 05.04.2018 | JLM | 43195.4583 | 43195.6243 | 3:59 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SURYA NIKETAN-ANAND VIHAR | 80 | NETWORK UPGRADATION WORK
10 | 05.04.2018 | KRN | 43195.4389 | 43195.5029 | 1:32 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | OLD SEELAMPUR | 388
11 | 05.04.2018 | KRN | 43195.4486 | 43195.6875 | 5:44 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | CHANDER NAGAR BLOCK F | 974 | NEW LT ACB INSTALLED
12 | 05.04.2018 | KRN | 43195.4611 | 43195.5186 | 1:23 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | BLOCK B-JAGATPURI | 259
13 | 05.04.2018 | KRN | 43195.5083 | 43195.7014 | 4:38 | HT SYSTEM FAULT | REPLACEMENT OF POLE DAMAGED | DAMAGED POLE REPLACED | SAROJINI PARK-GEETA COLONY | 80 | POLE DAMAGED SAME REPLACED
14 | 05.04.2018 | KRN | 43195.575 | 43195.6875 | 2:42 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK D-BALDEV PARK EAST | 1033 | NETWORK UPGRADATION WORK
15 | 05.04.2018 | KRN | 43195.5808 | 43195.6505 | 1:40 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | GANDHI NAGAR-KAILASH NAGAR | 886
16 | 05.04.2018 | KRN | 43195.6097 | 43195.7396 | 3:07 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | RAGHUBARPURA NO 2-SEELAMPUR | 35 | NETWORK UPGRADATION WORK
17 | 05.04.2018 | KWN | 43195.475 | 43195.6548 | 4:19 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK M-NEHRU VIHAR | 2092 | NETWORK UPGRADATION WORK
18 | 05.04.2018 | KWN | 43195.5625 | 43195.6181 | 1:20 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK B-SADAT PUR | 7246
19 | 05.04.2018 | KWN | 43195.5996 | 43195.7187 | 2:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPLACED | PKT C-SHIV VIHAR | 89 | HVDS LEAD FAULTY SAME REPLACED
20 | 05.04.2018 | KWN | 43195.8646 | 43195.9375 | 1:45 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK B-GOVIND VIHAR | 1724
21 | 05.04.2018 | LNR | 43195.4451 | 43195.6979 | 6:04 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK D-PREET VIHAR | 111 | NETWORK UPGRADATION WORK
22 | 05.04.2018 | LNR | 43195.4653 | 43195.5295 | 1:32 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK C-PREET VIHAR | 170
23 | 05.04.2018 | LNR | 43195.4861 | 43195.6694 | 4:24 | LT FEEDER | LT CABLE DAMAGED | LT CABLE REPAIRED | BLOCK D-LALITA PARK | 80 | LT CABLE DAMAGED SAME REPAIRED
24 | 05.04.2018 | LNR | 43195.5278 | 43195.6181 | 2:10 | HT SYSTEM FAULT | HT PANEL FAULTY | HT PANEL REPLACED | VIJAY LAXMI APPARTMENT-MOTHER DAIRY | 145 | HT PANEL FAULTY SAME REPLACED
25 | 05.04.2018 | LNR | 43195.6423 | 43195.6906 | 1:09 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | SARASWATI KUNJ APARTMENT-MOTHER DAIRY | 156
26 | 05.04.2018 | MVR | 43195.5035 | 43195.5764 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN FEEDER PILLAR | FEEDER PILLAR REPLACED | PKT A-MAYUR VIHAR PHASE II | 300
27 | 05.04.2018 | MVR | 43195.5764 | 43195.7454 | 4:03 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK B-GAZIPUR DAIRY FARM | 248 | NETWORK UPGRADATION WORK
28 | 05.04.2018 | NNG | 43195.2964 | 43195.3749 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-EAST GOKUL PURI | 430
29 | 05.04.2018 | NNG | 43195.6362 | 43195.6903 | 1:18 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BABARPUR EXTENSION | 587
30 | 05.04.2018 | PHG | 43195.4472 | 43195.6057 | 3:48 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK L-AMAR NAGAR | 1076 | NETWORK UPGRADATION WORK
31 | 05.04.2018 | PHG | 43195.4772 | 43195.5424 | 1:34 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | TELI WARA-NAWAB GANJ | 125
32 | 05.04.2018 | PHG | 43195.4778 | 43195.6265 | 3:34 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | CHUNA MANDI-PAHAR GANJ | 152 | NETWORK UPGRADATION WORK
33 | 05.04.2018 | PHG | 43195.4931 | 43195.6031 | 2:38 | PLANNED SHUTDOWN | TO REPLACE THE PIERCING CONNECTOR AND SOCKET | PIERCING CONNECTOR AND SOCKET REPLACED | ARAM NAGAR-SADAR BAZAR | 428 | PIERCING CONNECTOR AND SOCKET REPLACED
34 | 05.04.2018 | PNR | 43195.5097 | 43195.5861 | 1:50 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK E-WEST PATEL NAGAR | 189
35 | 05.04.2018 | PNR | 43195.5097 | 43195.5861 | 1:50 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK 8-WEST PATEL NAGAR | 80
36 | 05.04.2018 | PNR | 43195.5097 | 43195.5879 | 1:53 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK 23-WEST PATEL NAGAR | 86
37 | 05.04.2018 | PNR | 43195.5104 | 43195.5861 | 1:49 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK 18-WEST PATEL NAGAR | 51
38 | 05.04.2018 | VSE | 43195.4618 | 43195.6466 | 4:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | PKT 3-NEW KONDALI | 770 | NETWORK UPGRADATION WORK
39 | 05.04.2018 | VSE | 43195.4792 | 43195.6498 | 4:06 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK A1-NEW KONDALI | 689 | NETWORK UPGRADATION WORK
40 | 05.04.2018 | VSE | 43195.5868 | 43195.6695 | 1:59 | PLANNED SHUTDOWN | NETWORK UPGRADATION | NETWORK UPGRADATION WORK | GHAROLI VILLAGE-GHAROLI KONDLI | 1016
41 | 05.04.2018 | VSE | 43195.6154 | 43195.6739 | 1:24 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK A-MAYUR VIHAR PHASE III | 2104
42 | 05.04.2018 | YVR | 43195.4307 | 43195.4942 | 1:31 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | JAFFRABAD | 82
43 | 05.04.2018 | YVR | 43195.4715 | 43195.7162 | 5:52 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK J-SILAMPUR COLONY | 1630 | NETWORK UPGRADATION WORK
44 | 05.04.2018 | YVR | 43195.4721 | 43195.6044 | 3:11 | LT FEEDER | LTAB BURNT | LTAB REPLACED | NAYAGAON-NEW KATWARA | 145 | LTAB BURNT SAME REPLACED
45 | 05.04.2018 | YVR | 43195.4771 | 43195.5395 | 1:30 | HT SYSTEM FAULT | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | CHAUHAN BANGAR-JAFFRABAD | 165
46 | 05.04.2018 | YVR | 43195.4916 | 43195.566 | 1:47 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX BYPASSED | GHONDA PATTI CHAUHAN | 150
47 | 05.04.2018 | YVR | 43195.4961 | 43195.5771 | 1:57 | HT SYSTEM FAULT | FAULT IN LT ACB | LT ACB REPLACED | MAUJ PUR VILLAGE | 245
48 | 05.04.2018 | YVR | 43195.4979 | 43195.5912 | 2:14 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK B-MANUJPUR | 1676 | NETWORK UPGRADATION WORK
49 | 05.04.2018 | YVR | 43195.5007 | 43195.5906 | 2:09 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK J-KARTAR NAGAR | 1379 | NETWORK UPGRADATION WORK
50 | 05.04.2018 | YVR | 43195.5042 | 43195.6053 | 2:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | JAFFRABAD-MAUJ PUR | 1551 | NETWORK UPGRADATION WORK
51 | 05.04.2018 | YVR | 43195.5308 | 43195.5767 | 1:06 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX BYPASSED | BLOCK P-BRAHM PURI | 258
52 | 05.04.2018 | YVR | 43195.5403 | 43195.7167 | 4:14 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | CHAUHAN BANGAR-JAFFRABAD | 3786 | NETWORK UPGRADATION WORK