## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 06.04.2018 TO 06:00 HRS OF 07.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 06.04.2018 | DGN | 43196.4688 | 43196.5451 | 1:50 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | MIG FLATS POCKET- A DILSHAD GARDEN | 74
2 | 06.04.2018 | DGN | 43196.5278 | 43196.7302 | 4:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED | POLE REPLACED | ROHITASH NAGAR EAST-SILAMPUR | 150 | LT POLE DAMAGED SAME REPLACED
3 | 06.04.2018 | DGN | 43196.8243 | 43196.8906 | 1:35 | HT SYSTEM FAULT | TRIPPING | RMU/HT PANEL FLASHED | SHAHDRA POLICE STATION | 107
4 | 06.04.2018 | DGN | 43196.8243 | 43196.9444 | 2:53 | HT SYSTEM FAULT | RMU PANEL FLASHED | RMU PANEL REPAIRED | K BLOCK NAVEEN HAHDARA | 388 | BREAK DOWN OCCURRED DUE TO HEAVY THUNDERSTORM & RAIN SAME ATTENDED
5 | 06.04.2018 | DGN | 43196.8626 | 43196.9306 | 1:38 | HT SYSTEM FAULT | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | LT JUMPER SNAPPED SAME ATTENDED | SOME PART OF G.T ROAD | 80
6 | 06.04.2018 | DGN | 43196.8722 | 43196.9319 | 1:26 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN SAME REPLACED | F-BLOCK NEW SEEMAPURI | 540
7 | 06.04.2018 | DRG | 43196.4375 | 43196.5059 | 1:39 | HVDS TRANSFORMER | LT POLE DAMAGED | LT POLE REPLACED | BALMIKI BASTI-FEROJ SHAH KOTLA STADIU | 229
8 | 06.04.2018 | DRG | 43196.4463 | 43196.5201 | 1:46 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BACHCHON KA GHAR DARYA GANJ | 153
9 | 06.04.2018 | JLM | 43196.5 | 43196.5826 | 1:59 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB CIRCUIT LAID | JHILMIL COLONY BLOCK C | 22
10 | 06.04.2018 | JLM | 43196.8564 | 43196.9205 | 1:32 | LT FEEDER | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TREE FALLEN ON LT LINE SAME REMOVED | 28-29 BLOCK VISWAS NAGAR | 48
11 | 06.04.2018 | KRN | 43196.516 | 43196.5736 | 1:23 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPLACED | KANTI NAGAR SOUTH-AZAD NAGAR | 744
12 | 06.04.2018 | KRN | 43196.5361 | 43196.6596 | 2:58 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | RAGHUBARPURA NO 2-SEELAMPUR | 486 | NETWORK UPGRADTION WORK
13 | 07.04.2018 | KRN | 43197.1583 | 43197.2118 | 1:17 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | BLOCK 12-GEETA COLONY | 2970
14 | 06.04.2018 | KWN | 43196.5934 | 43196.6736 | 1:56 | DISTRIBUTION TR. | 400KVA TRANSFORMER FAULTY | TRANSFORMER REPLACED | KHAJANI NAGAR KWR | 215
15 | 06.04.2018 | KWN | 43196.6121 | 43196.6813 | 1:40 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI N-3 C BLOCK DAYALPUR | 155
16 | 06.04.2018 | KWN | 43196.8074 | 43196.8778 | 1:41 | HT SYSTEM FAULT | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TRANSFORMER FUSE BLOWN SAME REPLACED | BLOCK B-GARI MANDU | 346
17 | 06.04.2018 | KWN | 43196.8237 | 43196.8958 | 1:44 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK A-SHRI RAM COLONY | 3428
18 | 06.04.2018 | KWN | 43196.8251 | 43197.0025 | 4:16 | HT SYSTEM FAULT | TREE FALLEN ON POLE AND DAMAGED THE POLE | POLE REPLACED | BLOCK C,D,E 3RD PUSHTA SONIA VIHAR | 302 | DUE TO HEAVY THUNDERSTORM & RAIN TREE FALLEN ON POLE SAME REMOVED
19 | 06.04.2018 | KWN | 43196.9185 | 43197.0001 | 1:58 | HT SYSTEM FAULT | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TRANSFORMER FUSE BLOWN SAME REPLACED | MOONGA NAGAR | 250
20 | 06.04.2018 | LNR | 43196.4375 | 43196.7283 | 6:59 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK G-PREET VIHAR | 164 | NETWORK UPGRADTION WORK
21 | 06.04.2018 | LNR | 43196.4611 | 43196.5306 | 1:40 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | FAZALPUR-MANDAWALI VILLAGE | 2029
22 | 06.04.2018 | LNR | 43196.7944 | 43196.8593 | 1:33 | LT FEEDER | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TREE FALLEN ON LT LINE SAME REMOVED | BLOCK F-PREET VIHAR | 51
23 | 06.04.2018 | MVR | 43196.899 | 43196.9806 | 1:58 | HT SYSTEM FAULT | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DDA FLATS GHAZIPUR | 70
24 | 06.04.2018 | MVR | 43196.9083 | 43197.0174 | 2:37 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | SERVICE LINE REPAIRED | POCKET- 1, ACHARYA NIKETAN MAYUR VIHAR | 238 | BREAK DOWN OCCURRED DUE TO HEAVY THUNDERSTORM AND RAIN SAME ATTENDED
25 | 06.04.2018 | NNG | 43196.4535 | 43196.5291 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1126
26 | 06.04.2018 | NNG | 43196.4692 | 43196.5299 | 1:27 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK A-ANUP VIHAR | 3349
27 | 06.04.2018 | NNG | 43196.5457 | 43196.6108 | 1:34 | LT FEEDER | LTAB CIRCUIT FAULTY | LTAB CONDUCTOR REPLACED | BLOCK D-MEET NAGAR | 1131
28 | 06.04.2018 | NNG | 43196.5691 | 43196.637 | 1:38 | LT FEEDER | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | KACHI MANDIR-BLOCK E4 | 896
29 | 06.04.2018 | NNG | 43196.6223 | 43196.6832 | 1:28 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | MAINTENANCE ACTIVITY | BLOCK B-KABIR NAGAR | 706
30 | 06.04.2018 | NNG | 43196.7569 | 43196.8361 | 1:54 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS LEAD FAULTY SAME REPAIRED | SABOLI EXTENSION-MANDOLI | 124
31 | 06.04.2018 | NNG | 43196.7604 | 43196.8389 | 1:53 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-HARSH VIHAR | 1039
32 | 06.04.2018 | NNG | 43196.8286 | 43196.9028 | 1:47 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS LEAD FAULTY SAME REPAIRED | BLOCK C-AMAR COLONY | 1126
33 | 06.04.2018 | NNG | 43196.8416 | 43196.9118 | 1:41 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS LEAD FAULTY SAME REPAIRED | C BLOCK HARSH VIHAR | 430
34 | 06.04.2018 | NNG | 43196.8438 | 43196.9234 | 1:55 | HT SYSTEM FAULT | TRIPPING | HVDS CABLE FAULTY SAME REPAIRED | UTTRANCHAL COLONY NNG | 550
35 | 06.04.2018 | NNG | 43196.8539 | 43196.9289 | 1:48 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS DP FUSE BLOWN SAME REPLACED | CHUNA BHATTI MANDOLI | 422
36 | 06.04.2018 | NNG | 43196.8582 | 43196.9246 | 1:36 | HVDS CABLE & OTHER SYSTEM | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | HVDS LEAD FAULTY SAME REPAIRED | F BLOCK NAND NAGRI | 415
37 | 06.04.2018 | NNG | 43196.8806 | 43196.93 | 1:11 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN SAME REPLACED | GOKALPUR VILLAGE | 650
38 | 06.04.2018 | PHG | 43196.4833 | 43196.5323 | 1:10 | PLANNED SHUTDOWN | TO REPLACE THE PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | DDA FLATS-MOTIA KHAN | 536
39 | 06.04.2018 | PNR | 43196.475 | 43196.5646 | 2:09 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | CHETAN BASTI- BLOCK J-NEHRU NAGAR | 574 | NETWORK UPGRADTION WORK
40 | 06.04.2018 | PNR | 43196.475 | 43196.5653 | 2:10 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | SHADIPUR DEPOT-BALJIT NAGAR | 41 | NETWORK UPGRADTION WORK
41 | 06.04.2018 | PNR | 43196.475 | 43196.5654 | 2:10 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK T-FARIDPURI | 288 | NETWORK UPGRADTION WORK
42 | 06.04.2018 | PNR | 43196.4792 | 43196.5444 | 1:34 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | BLOCK G-DEV NAGAR | 1471
43 | 06.04.2018 | PNR | 43196.566 | 43196.6357 | 1:40 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK F-PUNJABI BASTI | 142
44 | 06.04.2018 | PNR | 43196.5667 | 43196.6359 | 1:40 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | THAKKAR BAPA NAGAR-BLOCK 16 | 544
45 | 06.04.2018 | PNR | 43196.6456 | 43196.7005 | 1:19 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK 27B-AJMAL KHAN PARK | 116
46 | 06.04.2018 | PNR | 43196.7951 | 43196.9306 | 3:15 | HT SYSTEM FAULT | TREE FALLEN ON 400KVA TRANSFORMER DUE TO STORM | TREE REMOVED | PART OF BALJIT NAGAR | 77 | DUE TO HEAVY THUNDERSTORM & RAIN TREE FALLEN ON 400KVA TRANSFORMER SAME REMOVED
47 | 06.04.2018 | SRD | 43196.5421 | 43196.6211 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | O/H CONDUCTOR SNAPPED SAME ATTENDED | BLOCK 4C-OLD RAJENDRA NAGAR | 855
48 | 06.04.2018 | SRD | 43196.72 | 43196.7911 | 1:42 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BLOCK-35M-BEADON PURA | 240
49 | 06.04.2018 | SRD | 43196.8208 | 43196.8778 | 1:22 | LT FEEDER | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TREE FALLEN ON LT LINE SAME REMOVED | PART I- BLOCK R-NEW RAJENDRA NAGAR | 10
50 | 06.04.2018 | SRD | 43196.8989 | 43196.9653 | 1:36 | LT FEEDER | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | PIERCING CONNECTOR BURNT SAME REPLACED | RAMJAS ROAD SRD | 64
51 | 06.04.2018 | VSE | 43196.4194 | 43196.6842 | 6:21 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | POCKET 6-NEW KONDALI | 159 | NETWORK UPGRADTION WORK
52 | 06.04.2018 | VSE | 43196.5378 | 43196.6109 | 1:45 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | REPLACEMENT OF DEFECTIVE MECHANISM | BLOCK F-KONDALI VILLAGE | 752
53 | 06.04.2018 | VSE | 43196.8766 | 43197.0174 | 3:23 | HVDS CABLE & OTHER SYSTEM | HVDS POLE DAMAGED | HVDS POLE REPAIRED | G.D.COLONY MAYUR VIHAR-III | 75 | HVDS POLE DAMAGED DUE TO HEAVY THUNDERSTORM SAME ATTENDED
54 | 06.04.2018 | YVR | 43196.4229 | 43196.6924 | 6:28 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | MAUJ PUR COMPLEX 1 | 448 | NEW DISTRIBUTION BOX INSTALLED
55 | 06.04.2018 | YVR | 43196.4368 | 43196.5628 | 3:01 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | GAUTAM VIHAR-GHONDA | 2403 | NEW DISTRIBUTION BOX INSTALLED
56 | 06.04.2018 | YVR | 43196.4375 | 43196.6183 | 4:20 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK C-BHAJANPURA | 5810 | SERVICE LINE REPLACED
57 | 06.04.2018 | YVR | 43196.4559 | 43196.5223 | 1:36 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | JANTA COLONY DWARKAPURI | 318
58 | 06.04.2018 | YVR | 43196.4973 | 43196.5548 | 1:23 | LT FEEDER | FOR REMOVING ILLEGAL TAPPING | ILLEGAL TAPPING REMOVED | NEW USMANPUR-NEW KATWARA | 742
59 | 06.04.2018 | YVR | 43196.5062 | 43196.5747 | 1:39 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | BLOCK U-WELCOME COLONY | 646
60 | 06.04.2018 | YVR | 43196.5568 | 43196.6167 | 1:26 | HT SYSTEM FAULT | LTAB CIRCUIT FAULTY | LTAB CONDUCTOR REPAIRED | LIG/MIG FLATS SHASTRI PARK | 45
61 | 06.04.2018 | YVR | 43196.5979 | 43196.7307 | 3:11 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK P-NEW SILAMPURI PHASE III | 3786 | NETWORK UPGRADTION WORK
62 | 06.04.2018 | YVR | 43196.7706 | 43196.8125 | 1:00 | HT SYSTEM FAULT | BREAK DOWN DUE TO HEAVY THUNDERSTORM AND RAIN | TREE FALLEN ON LT LINE SAME REMOVED | BLOCK C-11 VIJAY PARK | 672
63 | 06.04.2018 | YVR | 43196.8208 | 43196.8771 | 1:21 | HT SYSTEM FAULT | TRIPPING | ELECTROCUTION OF EXTERNAL ELEMENTS SAME REMOVED | BLOCK A-SHASTRI PARK | 105
64 | 06.04.2018 | YVR | 43196.8382 | 43196.9167 | 1:53 | HT SYSTEM FAULT | TRIPPING | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DDA LIG FLATS SHASTRI PARK | 5014
65 | 06.04.2018 | YVR | 43196.8458 | 43196.9598 | 2:44 | HT SYSTEM FAULT | TRIPPING | HVDS POLE DAMAGED SAME REPAIRED | GAMRI VILLAGE YVR | 1320 | HVDS POLE DAMAGED DUE TO HEAVY THUNDERSTORM SAME ATTENDED