## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 07.04.2018 TO 06:00 HRS OF 08.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 06.04.2018 | DGN | 43197.4624 | 43197.5242 | 1:29 | LT FEEDER | FIRE IN LTAB | LTAB BURNT, SAME REPAIRED | BLOCK A-JHILMIL INDUSTRIAL AREA. | 35
2 | 06.04.2018 | DGN | 43197.4648 | 43197.5437 | 1:54 | HT SYSTEM FAULT | CIVIL WORK | FENCING REPLACEMENT WORK CARRIED OUT | BLOCK F-SHIV VIHAR. | 41
3 | 08.04.2018 | DGN | 43198.1389 | 43198.1882 | 1:11 | HT SYSTEM FAULT | TRIPPING | HT CABLE FAULTY, AREA BACKFEEDED | PREM ICE FACTORY,DILSHAD GARDEN. | 405
4 | 06.04.2018 | JLM | 43197.4444 | 43197.6424 | 4:45 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB CIRCUIT LAID | SUPER BAZAR-VIVEK VIHAR BLOCK A. | 2 | NEW LTAB CIRCUIT LAID TO IMPROVE THE NETWORK
5 | 07.04.2018 | JLM | 43197.4688 | 43197.6424 | 4:10 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW LTAB LAID | BLOCK D-VIVEK VIHAR. | 133 | NEW LTAB LAID TO IMPROVE THE NETWORK
6 | 06.04.2018 | KRN | 43197.4792 | 43197.68 | 4:49 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | OLD SEELAMPUR,KRISHNA NAGAR. | 845 | NETWORK UPGRADTION WORK
7 | 06.04.2018 | KRN | 43197.4931 | 43197.5699 | 1:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | SERVICE LINE BURNT, SAME REPLACED | KANTI NAGAR SOUTH-AZAD NAGAR. | 1709
8 | 06.04.2018 | KRN | 43197.6806 | 43197.7291 | 1:10 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN LT POLE | DAMAGED WIRE'S REPAIRED | RAGHUVIR PURA-KANTI NAGAR. | 453
9 | 06.04.2018 | KRN | 43197.7743 | 43197.9603 | 4:28 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | WIRES DAMAGED, SAME REPAIRED | GAGAN VIHAR-JAGATPURI. | 778 | WIRES BURNT DUE TO FIRE ON POLE, SAME REPAIRED
10 | 07.04.2018 | KRN | 43197.8934 | 43197.9406 | 1:08 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY, SAME REPAIRED | BLOCK D-CHANDAR NAGAR. | 331
11 | 06.04.2018 | KWN | 43197.5163 | 43197.5883 | 1:44 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPAIRED | GOVIND VIHAR,KARAWAL NGR. | 53
12 | 06.04.2018 | LNR | 43197.4692 | 43197.5833 | 2:44 | HT SYSTEM FAULT | SUPPLY PUTOFF FOR SAFETY PURPOSE | 66KV O/H CIRCUIT DISMANTLING WORK CARRIED OUT | BLOCK A-PANDAV NAGAR,LAXMI NGR. | 609 | 66KV O/H CIRCUIT DISMANTLING WORK CARRIED OUT,SUPPLY PUTOFF FOR SAFETY REASON
13 | 06.04.2018 | LNR | 43197.4727 | 43197.5208 | 1:09 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK N-VISHWAKARMA PARK. | 1048
14 | 06.04.2018 | LNR | 43197.4826 | 43197.7329 | 6:00 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK D-PREET VIHAR. | 55 | NETWORK UPGRADTION WORK
15 | 06.04.2018 | LNR | 43197.4887 | 43197.5972 | 2:36 | LT FEEDER | TO ATTEND FAULT IN THE LINE | AB CONDUCTOR BURNT, SAME REPLACED | BLOCK WA&O-SHAKARPUR KHAS. | 1479 | BURNT AB CONDUCTOR REPLACED
16 | 06.04.2018 | LNR | 43197.4916 | 43197.559 | 1:37 | LT FEEDER | FOR TREE TRIMMING WORK | TREE BRANCHES FALLEN ON THE LINE, SAME REMOVED | BLOCK B-MANDAWALI VILLAGE. | 1546
17 | 06.04.2018 | MVR | 43197.52 | 43197.5662 | 1:06 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO REPAIR LT ACB | LT ACB FAULTY, SAME REPAIRED | MAYUR VIHAR EXTN. | 117
18 | 06.04.2018 | NNG | 43197.3566 | 43197.4309 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE FAULTY, SAME REPAIRED | BLOCK A-ANUP VIHAR. | 124
19 | 06.04.2018 | NNG | 43197.4475 | 43197.5248 | 1:51 | HVDS CABLE & OTHER SYSTEM | MAINTENANCE OF HVDS NETWORK | MAINTENANCE OF HVDS NETWORK CARRIED OUT | BLOCK D-HARSH VIHAR,BLOCK A-MANDOLI EXTN. | 1039
20 | 06.04.2018 | NNG | 43197.4609 | 43197.5395 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND DAMAGED, SAME REPLACED | MANDOLI,NAND NAGRI. | 256
21 | 06.04.2018 | NNG | 43197.4623 | 43197.5409 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB CABLE FAULTY, SAME REPAIRED | SABOLI EXTN.-MANDOLI. | 124
22 | 06.04.2018 | NNG | 43197.5562 | 43197.6362 | 1:55 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB CABLE FAULTY, SAME REPAIRED | SABOLI COLONY-MANDOLI. | 124
23 | 06.04.2018 | NNG | 43197.6505 | 43197.7301 | 1:55 | HVDS CABLE & OTHER SYSTEM | HT AB CABLE REPLACEMENT WORK | HTAB CABLE REPLACED | SABOLI EXTN.-MANDOLI. | 124
24 | 06.04.2018 | NNG | 43197.6579 | 43197.732 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB CABLE DAMAGED, SAME REPAIRED | PRIMARY SCHOOL,NAND NAGRI. | 78
25 | 06.04.2018 | NNG | 43197.7756 | 43197.853 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | HARSH VIHAR. | 863
26 | 06.04.2018 | PHG | 43197.4611 | 43197.668 | 4:58 | PLANNED SHUTDOWN | PROJECT WORK | LT CABLE SHIFTED FROM OLD POLE TO NEW POLE | CHOWK NAI BASTI-SADAR BAZAR. | 730 | LT CABLE SHIFTED FROM OLD POLE TO NEW POLE
27 | 06.04.2018 | PHG | 43197.581 | 43197.6325 | 1:14 | LT FEEDER | LAYING OF ARMOURED CABLE | LTAB REPLACED BY ARMOURED CABLE | CHOWK NAI BASTI-SADAR BAZAR. | 924
28 | 06.04.2018 | PNR | 43197.4067 | 43197.483 | 1:50 | HT SYSTEM FAULT | FOR TREE TRIMMING WORK | TREE BRANCHES FALLEN ON THE LINE, SAME REMOVED | BLOCK T-BALJIT NAGAR. | 77
29 | 06.04.2018 | PNR | 43197.4903 | 43197.5838 | 2:15 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK T-BALJIT NAGAR. | 275 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
30 | 06.04.2018 | PNR | 43197.4903 | 43197.5853 | 2:17 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | DELHI MILK SCHEM DMS-PREM NAGAR. | 140 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
31 | 06.04.2018 | PNR | 43197.491 | 43197.5857 | 2:16 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK T-PANJABI BASTI. | 49 | NETWORK UPGRADTION WORK
32 | 06.04.2018 | PNR | 43197.4917 | 43197.6148 | 2:57 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | REHGAR PURA-DEV NAGAR. | 133 | NETWORK UPGRADTION WORK
33 | 06.04.2018 | PNR | 43197.4917 | 43197.587 | 2:17 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK T-PANJABI BASTI. | 331 | NETWORK UPGRADTION WORK
34 | 06.04.2018 | PNR | 43197.6021 | 43197.6629 | 1:28 | LT FEEDER | WIRES DAMAGED DUE TO FIRE IN POLE | LT CABLE BURNT, SAME REPAIRED | POOJA PARK,PATEL NGR. | 155
35 | 06.04.2018 | VSE | 43197.4236 | 43197.6593 | 5:39 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADTION WORK | BLOCK A-NEW ASHOK NAGAR. | 98 | NETWORK UPGRADTION WORK
36 | 06.04.2018 | VSE | 43197.4826 | 43197.6004 | 2:50 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | BLOCK C1-NEW ASHOK NAGAR. | 1188 | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE
37 | 06.04.2018 | VSE | 43197.7047 | 43197.8772 | 4:08 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | INSTALLATION OF NEW POLE | POLE DAMAGED DUE TO HEAVY THUNDERSTORM, SAME REPLACED BY NEW ONE | BLOCK A-MAYUR VIHAR PHASE III. | 86 | POLE DAMAGED DUE TO HEAVY THUNDERSTORM, SAME REPLACED BY NEW ONE
38 | 06.04.2018 | VSE | 43197.7836 | 43197.8998 | 2:47 | LT FEEDER | TO ATTEND CONSUMER COMPLAINT | LT CABLE FOUND BURNT, AREA BACKFEEDED | VASUNDARA ENCLAVE. | 88 | LT CABLE FOUND BURNT, AREA BACKFEEDED
39 | 06.04.2018 | YVR | 43197.4617 | 43197.5278 | 1:35 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DT CLEANING WORK CARRIED OUT | SEELAMPUR. | 155
40 | 06.04.2018 | YVR | 43197.4645 | 43197.5309 | 1:36 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | CABLE END BOX DAMAGED, SAME REPAIRED | SEELAMPUR,YAMUNA VIHAR. | 156
41 | 06.04.2018 | YVR | 43197.4824 | 43197.5393 | 1:22 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SUBSTATION CLEANING WORK | SUBSTATION CLEANING WORK CARRIED OUT | BLOCK C2-YAMUNA VIHAR. | 118
42 | 06.04.2018 | YVR | 43197.4847 | 43197.5536 | 1:39 | LT FEEDER | FIRE IN LTAB | LTAB BURNT, SAME REPAIRED | NAYAGAON-NEW KATWARA. | 742
43 | 06.04.2018 | YVR | 43197.5347 | 43197.6197 | 2:02 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | DDA CMPLX,YAMUNA VIHAR. | 307 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
44 | 06.04.2018 | YVR | 43197.5728 | 43197.6298 | 1:22 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPLACED | JAGJEET NAGAR-GHONDA,YAMUNA VIHAR. | 139
45 | 06.04.2018 | YVR | 43197.631 | 43197.713 | 1:58 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | CABLE STRAIGHT JOINT MADE | BLOCK C-BHAJANPURA,GHONDA PATTI. | 3960
46 | 06.04.2018 | YVR | 43197.8464 | 43197.8889 | 1:01 | LT FEEDER | TO ATTEND CONSUMER COMPLAINT | LT CABLE FOUND BURNT, SAME REPAIRED | GHONDA PATTI CHAUHAN. | 990
47 | 06.04.2018 | YVR | 43197.8697 | 43198.0558 | 4:28 | LT FEEDER | TO ATTEND CONSUMER COMPLAINT | LT CABLE FOUND BURNT, SAME REPLACED | J-BLOCK SEELAMPUR. | 120 | LT CABLE FOUND BURNT, SAME REPLACED