## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 08.04.2018 TO 06:00 HRS OF 09.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 08.04.2018 | CCK | 43198.4266 | 43198.5016 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | MAIN BAZAR CHANDANI CHOWK. | 686
2 | 08.04.2018 | CCK | 43198.4719 | 43198.55 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | OLD DELHI RAILWAY STATION-CHANDNI CHOWK. | 485
3 | 08.04.2018 | CCK | 43198.5024 | 43198.5833 | 1:56 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | LT CABLE BURNT, SAME REPAIRED | MAIN BAZAR-KHUSH DIL,CHAWRI BAZAR. | 1076
4 | 08.04.2018 | DGN | 43198.3085 | 43198.4236 | 2:46 | LT FEEDER | FIRE IN LTAB | LTAB BURNT, SAME REPAIRED | JHULFE BENGAL,RAJINDER PRASAD JHUGGI. | 130 | DAMAGED LTAB REPAIRED
5 | 08.04.2018 | DRG | 43198.4986 | 43198.5799 | 1:57 | HT SYSTEM FAULT | EMERGENCY SHUTDOWN TO BYPASS RMU | RMU BYPASSED | DARYA GANJ. | 155
6 | 08.04.2018 | KWN | 43198.5194 | 43198.5943 | 1:48 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FAULTY, SAME REPLACED | NON COMM AREA-SONIA VIHAR. | 2452
7 | 08.04.2018 | KWN | 43198.7069 | 43198.7611 | 1:18 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | KARAWAL NAGAR. | 87
8 | 08.04.2018 | PNR | 43198.5656 | 43198.6406 | 1:48 | DISTRIBUTION TR. | MAINTENANCE WORK OF TRANSFORMER | TRANSFORMER MAINTENANCE WORK CARRIED OUT | KHALSA NAGAR-DEV NAGAR. | 387
9 | 08.04.2018 | VSE | 43198.9116 | 43198.9566 | 1:05 | HVDS CABLE & OTHER SYSTEM | TO REPAIR HVDS CABLE | HVDS CABLE DAMAGED, SAME REPAIRED | GHARAULI DAIRY,KONDLI. | 4870