## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 10.04.2018 TO 06:00 HRS OF 11.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 10.04.2018 | CCK | 43200.5341 | 43200.5833 | 1:11 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | MAIN MARKET-KATRA DHOBI | 1240
2 | 10.04.2018 | JLM | 43200.4472 | 43200.5296 | 1:59 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPLACED | DAYA NAND VIHAR-ANAND VIHAR | 54
3 | 10.04.2018 | JLM | 43200.6028 | 43200.6685 | 1:35 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SAINI ENCLAVE-ANAND VIHAR | 82
4 | 10.04.2018 | JLM | 43200.8151 | 43200.875 | 1:26 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | A BLOCK JHILMILL | 41
5 | 10.04.2018 | KRN | 43200.2618 | 43200.3229 | 1:28 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK A-KANTI NAGAR NORTH | 1979
6 | 10.04.2018 | KRN | 43200.4993 | 43200.6732 | 4:10 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | DHRAM PURA-KAILASH NAGAR | 942 | NETWORK UPGRADATION WORK
7 | 10.04.2018 | KWN | 43200.4708 | 43200.6583 | 4:30 | PLANNED SHUTDOWN | PROJECT WORK | REPLACEMENT OF LT ACB | TUNDA NAGAR-BHAGIRATHI VIHAR | 126 | LT ACB REPLACED BY NEW ONE
8 | 10.04.2018 | KWN | 43200.6132 | 43200.6937 | 1:56 | HT SYSTEM FAULT | FOR ATTENDING HOT SPOT | HOT SPOT ATTENDED | BLOCK M-SHIV VIHAR | 2947
9 | 10.04.2018 | KWN | 43200.8274 | 43200.8806 | 1:17 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | PHASE-15 A SHIV VIHAR | 1824
10 | 10.04.2018 | LNR | 43200.4521 | 43200.6806 | 5:29 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-MADHUBAN ENCLAVE | 111 | NETWORK UPGRADATION WORK
11 | 10.04.2018 | LNR | 43200.4603 | 43200.6111 | 3:37 | LT FEEDER | FOR CONNECTING NEW LT CABLE | NEW LT CABLE CONNECTED | GYANKUNJ COLONY LNR | 766 | NEW LT CABLE CONNECTED AND TAKEN ON LOAD
12 | 10.04.2018 | LNR | 43200.4824 | 43200.6458 | 3:55 | DISTRIBUTION TR. | OIL LEAKAGE FROM 990KVA TRANSFORMER | OIL LEAKAGE ATTENDED | BLOCK WB-SHAKARPUR | 1936 | OIL LEAKAGE FROM TRANSFORMER SAME ATTENDED
13 | 10.04.2018 | LNR | 43200.613 | 43200.6924 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | MANDAWALI VILLAGE | 86
14 | 10.04.2018 | LNR | 43200.6235 | 43200.6863 | 1:31 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | SWASTHYA VIHAR LAXMI NAGAR | 25
15 | 10.04.2018 | LNR | 43200.6597 | 43200.7708 | 2:40 | HT SYSTEM FAULT | FOR CONNECTING NEW LT CABLE | NEW LT CABLE CONNECTED | BLOCK A-GAZIPUR VILLAGE | 761 | NEW LT CABLE CONNECTED
16 | 10.04.2018 | NNG | 43200.4559 | 43200.5347 | 1:54 | LT FEEDER | LAYING OF NEW LTAB | NEW LTAB CABLE LAID | D BLOCK-GOKUL PURI | 584
17 | 10.04.2018 | NNG | 43200.5754 | 43200.6209 | 1:06 | LT FEEDER | HVDS CIRCUIT | REPAIR/REPLACEMENT WORK OF HVDS CABLE | F BLOCK HARSH VIHAR | 345
18 | 10.04.2018 | NNG | 43200.5945 | 43200.6458 | 1:14 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK A-MANDOLI EXTENSION | 477
19 | 11.04.2018 | NNG | 43201.0468 | 43201.1173 | 1:42 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SABOLI COLONY NNG | 254
20 | 10.04.2018 | PHG | 43200.569 | 43200.6141 | 1:05 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | KASERU WALAN-PAHAR GANJ | 1137
21 | 10.04.2018 | PNR | 43200.4601 | 43200.5236 | 1:31 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | BLOCK-10B-DEV NAGAR | 1048
22 | 10.04.2018 | PNR | 43200.5423 | 43200.5945 | 1:15 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | PART OF ANAND PARBAT | 41
23 | 10.04.2018 | PNR | 43200.5725 | 43200.6152 | 1:02 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | THAKKAR BAPA NAGAR-BLOCK 16 | 2631
24 | 10.04.2018 | PNR | 43200.6542 | 43200.7003 | 1:06 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | PREM NAGAR-BALJIT NAGAR | 431
25 | 10.04.2018 | PNR | 43200.6549 | 43200.6999 | 1:05 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SHADIPUR DEPOT-BALJIT NAGAR | 699
26 | 10.04.2018 | SRD | 43200.4374 | 43200.5145 | 1:51 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | AJMAL KHAN PARK SRD-KAROL BAGH | 1267
27 | 11.04.2018 | VSE | 43201.1091 | 43201.1806 | 1:43 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | NEW KONDALI VILLAGE | 629
28 | 10.04.2018 | YVR | 43200.4275 | 43200.4982 | 1:42 | HT SYSTEM FAULT | FIRE IN LTAB | LTAB REPAIRED | WELCOME COLONY SEELAMPUR | 86
29 | 10.04.2018 | YVR | 43200.4667 | 43200.6203 | 3:41 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK E-SUBHASH MOHALLA | 2482 | NETWORK UPGRADATION WORK
30 | 10.04.2018 | YVR | 43200.4706 | 43200.5376 | 1:37 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | SUBHASH VIHAR-YAMUNA VIHAR | 3172
31 | 10.04.2018 | YVR | 43200.4708 | 43200.6212 | 3:37 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-BHAJANPURA | 5810 | NETWORK UPGRADATION WORK
32 | 10.04.2018 | YVR | 43200.4763 | 43200.5198 | 1:03 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK-A-SHASTRI PARK | 1228
33 | 10.04.2018 | YVR | 43200.4764 | 43200.6206 | 3:28 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK B-GARI MANDU | 1201 | NETWORK UPGRADATION WORK
34 | 10.04.2018 | YVR | 43200.4974 | 43200.5685 | 1:42 | HT SYSTEM FAULT | LT ACB FAULTY | LT ACB REPAIRED | BLOCK Q-BRAHM PURI | 1088
35 | 10.04.2018 | YVR | 43200.5468 | 43200.6101 | 1:31 | HT SYSTEM FAULT | FIRE IN LTAB | LTAB REPAIRED | B BLOCK MAUJ PUR | 1245
36 | 10.04.2018 | YVR | 43200.5716 | 43200.6408 | 1:40 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | JAFFRABAD-MAUJ PUR | 1556
37 | 10.04.2018 | YVR | 43200.6201 | 43200.7283 | 2:36 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | GAUTAM VIHAR-GHONDA | 2403 | NETWORK UPGRADATION WORK
38 | 10.04.2018 | YVR | 43200.6826 | 43200.7295 | 1:08 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPLACED | SUBHASH PARK-GORAKH PARK | 380
39 | 10.04.2018 | YVR | 43200.6826 | 43200.7289 | 1:07 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPLACED | BLOCK C-NEW SILAMPURI PHASE IV | 569
40 | 10.04.2018 | YVR | 43200.6826 | 43200.7292 | 1:07 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | JANTA COLONY DWARKAPURI | 221
41 | 10.04.2018 | YVR | 43200.8417 | 43200.9071 | 1:34 | HT SYSTEM FAULT | TRIPPING | HVDS DP FUSE BLOWN SAME REPLACED | D-BLOCK- SEELAMPUR | 105