## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 11.04.2018 TO 06:00 HRS OF 12.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 11.04.2018 | CCK | 43201.28 | 43201.3292 | 1:11 | HT SYSTEM FAULT | TRIPPING DUE TO RAIN | CABLE FAULTY AREA BACKFEEDED | KATRA BARIYAN CCK | 452
2 | 11.04.2018 | CCK | 43201.4693 | 43201.5333 | 1:32 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | HAMILTON ROAD CCK | 1283
3 | 11.04.2018 | CCK | 43201.4743 | 43201.5498 | 1:49 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | OLD HAUZ QUAZI CHANDANI CHOWK | 502
4 | 11.04.2018 | CCK | 43201.4813 | 43201.5715 | 2:10 | HT SYSTEM FAULT | O/C RELAY FAULTY AT LAHORI GATE GRID | O/C RELAY REPLACED | KATRA BARIYAN CHANDANI CHOWK | 452 | O/C RELAY FAULTY AT LAHORI GATE GRID SAME REPLACED
5 | 11.04.2018 | CCK | 43201.4917 | 43201.5467 | 1:19 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | C.M.ROAD TOWN HALL | 279
6 | 11.04.2018 | CCK | 43201.5442 | 43201.6025 | 1:24 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | GALI CHUDI WAALI CCK | 35
7 | 11.04.2018 | CCK | 43201.6013 | 43201.6744 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | SERVICE LINE REPAIRED | GALI GULIYAN CHANDNI CHOWK | 326
8 | 11.04.2018 | DGN | 43201.5779 | 43201.6243 | 1:07 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | C-BLOCK JHILMILL | 999
9 | 11.04.2018 | DGN | 43201.589 | 43201.6493 | 1:27 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | B-BLOCK G.T.ROAD | 58
10 | 12.04.2018 | DGN | 43202.2376 | 43202.2812 | 1:03 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | TRANSIENT FAULT | D BLOCK DILSHAD GARDEN | 204
11 | 11.04.2018 | DRG | 43201.4927 | 43201.5365 | 1:03 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | JAMA MASJID AREA DRG | 58
12 | 11.04.2018 | JLM | 43201.5435 | 43201.6146 | 1:42 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | B BLOCK PREET VIHAR | 82
13 | 11.04.2018 | KRN | 43201.4917 | 43201.6064 | 2:45 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 9-GANDHI NAGAR | 986 | NETWORK UPGRADATION WORK
14 | 11.04.2018 | KRN | 43201.5069 | 43201.6806 | 4:10 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK A-KRISHNA NAGAR | 437 | NETWORK UPGRADATION WORK
15 | 11.04.2018 | KWN | 43201.4861 | 43201.6285 | 3:25 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD BURNT | HVDS LEAD REPLACED | BLOCK F-INDIRA VIHAR | 1892 | HVDS LEAD BURNT SAME REPLACED
16 | 11.04.2018 | KWN | 43201.6111 | 43201.6721 | 1:28 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | CHAMAN PARK KARAWAL NAGAR | 345
17 | 11.04.2018 | KWN | 43201.6278 | 43201.6793 | 1:14 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER REPLACED | GOVIND VIHAR KWR | 1982
18 | 11.04.2018 | KWN | 43201.7222 | 43201.7971 | 1:48 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB LEAD FAULTY SAME REPAIRED | GALI NO-12, DAYALPUR C-BLOCK | 41
19 | 12.04.2018 | KWN | 43202.2015 | 43202.2772 | 1:49 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | HVDS DP FUSE BLOWN, | C-BLOCK 3 PUSHTA SONIA VIHAR | 680
20 | 12.04.2018 | KWN | 43202.2035 | 43202.2535 | 1:12 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | TRANSFORMER FUSE BLOWN SAME REPLACED | C-BLOCK SADATPUR | 576
21 | 11.04.2018 | LNR | 43201.4523 | 43201.5154 | 1:31 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | MANDAWALI VILLAGE | 1189
22 | 11.04.2018 | LNR | 43201.4542 | 43201.7356 | 6:45 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK G-PREET VIHAR | 164 | NETWORK UPGRADATION WORK
23 | 11.04.2018 | LNR | 43201.4553 | 43201.5353 | 1:55 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | ACB REPLACED | TIKONA PARK LNR | 576
24 | 11.04.2018 | LNR | 43201.4688 | 43201.5153 | 1:07 | LT FEEDER | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | POLICE QUARTER'S GEETA COLONY | 1395
25 | 11.04.2018 | LNR | 43201.566 | 43201.6221 | 1:21 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | CGHS QUARTER'S LNR | 1341
26 | 12.04.2018 | LNR | 43202.1008 | 43202.1694 | 1:39 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | CABLE FAULTY AREA BACKFEEDED | 16-BLOCK GEETA COLONY | 652
27 | 11.04.2018 | MVR | 43201.6424 | 43201.7281 | 2:03 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SHASHI GARDEN-MAYUR VIHAR | 584 | NETWORK UPGRADATION WORK
28 | 12.04.2018 | MVR | 43202.2243 | 43202.2736 | 1:11 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | CABLE FAULTY AREA BACKFEEDED | M BLOCK MAYUR VIHAR PHASE-II | 257
29 | 11.04.2018 | NNG | 43201.5008 | 43201.5499 | 1:11 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | B-BLOCK HARSH VIHAR | 264
30 | 11.04.2018 | NNG | 43201.6055 | 43201.6829 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | D-BLOCK NAND NAGRI | 124
31 | 12.04.2018 | NNG | 43202.1216 | 43202.1694 | 1:09 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | TRANSIENT FAULT | 240 MIG DDA FLATS NNG | 10117
32 | 11.04.2018 | PHG | 43201.4778 | 43201.6458 | 4:02 | PLANNED SHUTDOWN | TO REPLACE THE PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | ARAM NAGAR-SADAR BAZAR | 1762 | PIERCING CONNECTOR REPLACED
33 | 11.04.2018 | PHG | 43201.4951 | 43201.6796 | 4:26 | PLANNED SHUTDOWN | FOR REPLACING DAMAGED WIRE ON POLE | DAMAGED WIRE REPLACED | BLOCK T-AHATA KEDARA | 103 | WIRE DAMAGED ON POLE SAME REPLACED
34 | 11.04.2018 | PNR | 43201.4774 | 43201.545 | 1:37 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | S-BLOCK WEST PATEL NAGAR | 2959
35 | 11.04.2018 | PNR | 43201.4806 | 43201.5848 | 2:30 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK F-PUNJABI BASTI | 276 | NETWORK UPGRADATION WORK
36 | 11.04.2018 | PNR | 43201.4806 | 43201.5846 | 2:30 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-BALJIT NAGAR | 275 | NETWORK UPGRADATION WORK
37 | 11.04.2018 | PNR | 43201.4806 | 43201.586 | 2:32 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | DMS COLONY-PREM NAGAR | 622 | NETWORK UPGRADATION WORK
38 | 11.04.2018 | PNR | 43201.4806 | 43201.585 | 2:30 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK-15 WEST PATEL NAGAR | 49 | NETWORK UPGRADATION WORK
39 | 11.04.2018 | PNR | 43201.5132 | 43201.5598 | 1:07 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | 10-B RAJENDRA PLACE | 388
40 | 11.04.2018 | PNR | 43201.6312 | 43201.6771 | 1:06 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK-10B-DEV NAGAR | 142
41 | 11.04.2018 | SRD | 43201.4494 | 43201.5161 | 1:36 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TREE FALLEN ON LTAB CIRCUIT | TREE TRIMMING CARRIED OUT | PUMPOSE ROAD RAJENDER NAGAR | 84
42 | 11.04.2018 | SRD | 43201.5026 | 43201.6146 | 2:41 | DAMAGE BY OTHER AGENCIES | AREA SWITCHED OFF FOR SAFETY PUPOSE | DEMOLITION WORK BY MCD | PUSA ROAD AREA SRD | 228 | AREA SWITCHED OFF FOR SAFETY PUPOSE DUE TO DEMOLITION WORK BY MCD
43 | 11.04.2018 | SRD | 43201.5201 | 43201.6424 | 2:56 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK A-JHANDEWALAN | 229 | O/H CIRCUIT REPLACED BY LTAB CONDUCTOR
44 | 11.04.2018 | YVR | 43201.398 | 43201.4983 | 2:24 | HT SYSTEM FAULT | FIRE IN DISTRIBUTION BOX | DISTRIBUTION BOX REPLACED | VIJAY PARK YAMUNA VIHAR | 2198 | FIRE IN DISTRIBUTION BOX SAME REPLACED
45 | 11.04.2018 | YVR | 43201.4382 | 43201.6192 | 4:21 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | YAMUNA VIHAR YAMUNA FLOOD PLAINS | 139 | NEW DISTRIBUTION BOX INSTALLED
46 | 11.04.2018 | YVR | 43201.4492 | 43201.5096 | 1:27 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | C-BLOCK GHONDA NORTH | 3354
47 | 11.04.2018 | YVR | 43201.4549 | 43201.6247 | 4:05 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | JAFFRABAD-MAUJ PUR | 857 | NEW DISTRIBUTION BOX INSTALLED
48 | 11.04.2018 | YVR | 43201.4861 | 43201.5817 | 2:18 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | C-BLOCK MAUJ PUR | 633 | NETWORK UPGRADATION WORK
49 | 11.04.2018 | YVR | 43201.4929 | 43201.5525 | 1:26 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DDA COMPLEX SHASTRI PARK | 142
50 | 11.04.2018 | YVR | 43201.5023 | 43201.5528 | 1:13 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSIENT FAULT | JAGJEET NAGAR-GHONDA | 451
51 | 11.04.2018 | YVR | 43201.5028 | 43201.6261 | 2:58 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | GAUTAM VIHAR-GHONDA | 1438 | NETWORK UPGRADATION WORK
52 | 11.04.2018 | YVR | 43201.5599 | 43201.6116 | 1:14 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | B-BLOCK WELCOME COLONY | 1556
53 | 11.04.2018 | YVR | 43201.6174 | 43201.6772 | 1:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SUBHASH PARK-YVR | 290
54 | 11.04.2018 | YVR | 43201.6174 | 43201.677 | 1:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-NEW SILAMPURI PHASE IV | 569
55 | 12.04.2018 | YVR | 43202.1819 | 43202.291 | 2:37 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | MARGINAL BANDH YAMUNA VIHAR | 105 | RESTORATION DELAYED DUE TO MULTIPLE BREAKDOWN'S
56 | 12.04.2018 | YVR | 43202.191 | 43202.2688 | 1:52 | HT SYSTEM FAULT | TRIPPING DUE TO HEAVY RAIN | TRANSFORMER HT BUSHING DAMAGED SAME REPLACED | GAMARI EXTENSION YVR | 1530