## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 14.04.2018 TO 06:00 HRS OF 15.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 14.04.2018 | DGN | 43204.391 | 43204.4375 | 1:07 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TRIPPING | LT CABLE FAULTY, AREA BACKFEEDED | FRIENDS COLONY RAILWAY LINE. | 21
2 | 14.04.2018 | DGN | 43204.3924 | 43204.4383 | 1:06 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TRIPPING | LT CABLE FAULTY, AREA BACKFEEDED | ZULFE BANGAL,DILSHAD GARDEN. | 205
3 | 14.04.2018 | DGN | 43204.3944 | 43204.4393 | 1:05 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | KHERA VILLAGE,DILSHAD GARDEN. | 24
4 | 14.04.2018 | DRG | 43204.4536 | 43204.534 | 1:56 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT STRAIGHT THROUGH JOINT MADE | KAMLA MKT POLICE STATION | 131
5 | 14.04.2018 | KRN | 43204.5357 | 43204.6089 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | SEELAMPUR DOUBLE STOREY | 18
6 | 14.04.2018 | KRN | 43204.5535 | 43204.6562 | 2:28 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | MAHILA COLONY,KRISHNA NGR. | 877 | DT CLEANING WORK CARRIED OUT
7 | 14.04.2018 | KRN | 43204.7222 | 43204.7708 | 1:10 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | RAMLILA GROUND,KRISHNA NGR. | 1139
8 | 14.04.2018 | KWN | 43204.25 | 43204.3063 | 1:21 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | SHIV VIHAR PHASE-6. | 518
9 | 14.04.2018 | KWN | 43204.3361 | 43204.4167 | 1:56 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FAULTY, SAME REPLACED | AMAR VIHAR,KARAWAL NAGAR. | 180
10 | 14.04.2018 | KWN | 43204.3681 | 43204.4222 | 1:18 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | BADARPUR KHADAR | 5333
11 | 14.04.2018 | KWN | 43204.3681 | 43204.4115 | 1:03 | HT SYSTEM FAULT | TRIPPING | DP FUSE BLOWN, SAME REPLACED | POLICE STATION KHAJORI KHAS. | 3431
12 | 14.04.2018 | KWN | 43204.3779 | 43204.4237 | 1:06 | HVDS CABLE & OTHER SYSTEM | MAINTENANCE WORK OF HVDS CIRCUIT | HVDS CIRCUIT MAINTENANCE WORK CARRIED OUT | C-BLOCK 3 PUSTA SONIA VIHAR | 175
13 | 14.04.2018 | KWN | 43204.5533 | 43204.6121 | 1:25 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | ONE HVDS TRANSFORMER DECLARED FAULTY, SAME REPLACED | E & F WEST KARAWAL NAGAR | 1347
14 | 14.04.2018 | KWN | 43204.6181 | 43204.6742 | 1:21 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT WORK | OIL LEAKAGE IN TRANSFORMER, SAME REPLACED | KHAJURI KHADDA,KARAWAL NAGAR. | 5512
15 | 14.04.2018 | KWN | 43204.75 | 43204.8299 | 1:55 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FAULTY, SAME REPLACED | SHIV VIHAR PHASE-6. | 483
16 | 14.04.2018 | KWN | 43204.9432 | 43205.1213 | 4:17 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD END BOX FAULTY, SAME REPAIRED | MOONGA NAGAR,KARAWAL NAGAR. | 178
17 | 15.04.2018 | KWN | 43205.1259 | 43205.1715 | 1:06 | HVDS CABLE & OTHER SYSTEM | HVDS POLE INSTALLATION WORK | NEW HVDS POLE INSTALLED | AMAR VIHAR,KARAWAL NAGAR. | 260
18 | 14.04.2018 | LNR | 43204.4576 | 43204.7162 | 6:12 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK CARRIED OUT | BLOCK D-PREET VIHAR | 55 | NETWORK IMPROVEMENT WORK
19 | 14.04.2018 | LNR | 43204.4688 | 43204.5472 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | LALITA PARK,LAXMI NAGAR. | 85
20 | 14.04.2018 | LNR | 43204.5625 | 43204.6124 | 1:12 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT WORK | ONE 630KVA TRANSFORMER DECLARED FAULTY, SAME REPLACED | KARISHMA APPT. LAXMI NAGAR. | 87
21 | 14.04.2018 | LNR | 43204.6109 | 43204.6712 | 1:27 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | MANDAWALI PR SCHOOL | 88
22 | 14.04.2018 | NNG | 43204.2641 | 43204.3306 | 1:36 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY, SAME REPAIRED | PRIMARY SCHOOL MEET NAGER. | 172
23 | 14.04.2018 | NNG | 43204.3039 | 43204.3807 | 1:51 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | CHUNA BHATTI MANDOLI | 259
24 | 14.04.2018 | NNG | 43204.3192 | 43204.3937 | 1:47 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | GAGAN CINEMA,NAND NAGRI. | 160
25 | 14.04.2018 | NNG | 43204.4271 | 43204.5028 | 1:49 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | MEET NAGAR,GHONDA. | 1126
26 | 14.04.2018 | NNG | 43204.4866 | 43204.566 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | HARSH VIHAR,NAND NAGRI. | 431
27 | 14.04.2018 | NNG | 43204.783 | 43204.8633 | 1:56 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | CHUNA BHATTI MANDOLI. | 869
28 | 14.04.2018 | PNR | 43204.4861 | 43204.5872 | 2:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK CARRIED OUT | BLOCK T-PANJABI BASTI. | 331 | NETWORK IMPROVEMENT WORK
29 | 14.04.2018 | PNR | 43204.4861 | 43204.5883 | 2:27 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK CARRIED OUT | BLOCK T-BALJIT NAGAR. | 275 | NETWORK IMPROVEMENT WORK
30 | 14.04.2018 | PNR | 43204.4861 | 43204.5881 | 2:27 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | DMS COLONY-PREM NAGAR. | 622 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
31 | 14.04.2018 | PNR | 43204.4861 | 43204.5886 | 2:28 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK_8B-DEV NAGAR. | 207 | LT STRAIGHT THROUGH JOINT MADE
32 | 14.04.2018 | PNR | 43204.4861 | 43204.5878 | 2:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK CARRIED OUT | BLOCK F-PUNJABI BASTI. | 49 | NETWORK IMPROVEMENT WORK
33 | 14.04.2018 | PNR | 43204.5144 | 43204.5797 | 1:34 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | SERVICE LINE DAMAGED, SAME REPLACED | O&M BLOCK, W.P. NAGAR. | 77
34 | 14.04.2018 | PNR | 43204.6143 | 43204.6822 | 1:38 | DISTRIBUTION TR. | MOBILE TRANSFORMER REPLACEMENT WORK | MOBILE TRANSFORMER REPLACED BY 630KVA TRANSFORMER | TAULIWALA,PATEL NAGAR. | 65
35 | 14.04.2018 | PNR | 43204.7851 | 43204.8403 | 1:19 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | O&M BLOCK, W.P. NAGAR. | 325
36 | 14.04.2018 | PNR | 43204.8858 | 43204.9472 | 1:28 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | WEST PATEL NAGAR. | 192
37 | 14.04.2018 | VSE | 43204.7117 | 43204.7905 | 1:53 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPAIRED | GHARAULI DAIRY,KONDLI. | 5226
38 | 14.04.2018 | YVR | 43204.521 | 43204.5677 | 1:07 | DISTRIBUTION TR. | MAINTENANCE WORK OF TRANSFORMER | OIL FILLING WORK IN TRANSFORMER CARRIED OUT | SHADHRA BAND,YAMUNA VIHAR. | 1633
39 | 14.04.2018 | YVR | 43204.5502 | 43204.63 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPAIRED | SEELAMPUR. | 1228
40 | 14.04.2018 | YVR | 43204.6989 | 43204.7542 | 1:20 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN LT POLE | SERVICE LINE DAMAGED, SAME REPLACED | SEELAMPUR. | 1163