## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 15.04.2018 TO 06:00 HRS OF 16.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 15.04.2018 | KRN | 43205.4465 | 43205.5243 | 1:52 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | ARJUN NAGAR,KRISHNA NGR. | 224
2 | 15.04.2018 | KRN | 43205.7262 | 43205.8072 | 1:57 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | SERVICE LINE BURNT, SAME REPLACED | RAGHUBAR PURA GALI NO-6,KRISHNA NGR. | 152
3 | 15.04.2018 | KWN | 43205.7639 | 43205.8461 | 1:58 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FAULTY, SAME REPLACED | MUKUND VIHAR,KARAWAL NGR. | 1043
4 | 15.04.2018 | LNR | 43205.5604 | 43205.6116 | 1:14 | LT FEEDER | REPLACEMENT OF LT CABLE | LT CABLE DAMAGED, SAME REPLACED | MANDAWALI, LAXMI NGR. | 1546
5 | 15.04.2018 | LNR | 43205.5729 | 43205.6204 | 1:08 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND CONSUMER COMPLAINT | SERVICE LINE BURNT, SAME REPAIRED | PREET VIHAR COMMUNITY CENTRE. | 89
6 | 15.04.2018 | NNG | 43205.276 | 43205.3365 | 1:27 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE DAMAGED, SAME REPAIRED | MEET NAGAR,GHONDA. | 1126
7 | 15.04.2018 | NNG | 43205.282 | 43205.3632 | 1:57 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | NAND NAGRI. | 124
8 | 15.04.2018 | NNG | 43205.2854 | 43205.3646 | 1:54 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE BURNT, SAME REPAIRED | CHUNA BHATTI MANDOLI. | 431
9 | 15.04.2018 | NNG | 43205.4206 | 43205.475 | 1:18 | HT SYSTEM FAULT | TRIPPING | LT SOCKET DAMAGED DUE TO FLASH, SAME REPLACED | GOKALPUR,NAND NAGRI. | 3668
10 | 15.04.2018 | YVR | 43205.5293 | 43205.5729 | 1:03 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED | ZAFRABAD, SEELAMPUR. | 262
11 | 15.04.2018 | YVR | 43205.5861 | 43205.6644 | 1:53 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | SEELAMPUR. | 86
12 | 16.04.2018 | YVR | 43206.1235 | 43206.1861 | 1:30 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE FAULTY, SAME REPAIRED | KUNDHAN LAL PETROL PUMP SHASTRI PARK. | 155