## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 02/04/2018 06:00Hr. To 03/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 03/04/2018 | NGL | 05:05 | 06:11 | 01:05 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JAT MOHALLA + 11kV FDR CETP PLANT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:JAT CHOWK-NANGLAOI, 990 TRF-1:JAT CHOWK-NANGLAOI | 289
2 | 03/04/2018 | HKS | 02:40 | 04:24 | 01:43 | HT SYSTEM FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KRISHNA NAGAR GALI NO-5, TRF-1 A-2/15 SDA: PKG, TRF-1 KRISHNA NAGAR-1: PKG, TRF-2 B-3 SDA JHANDU SINGH MARG: K, TRF-1 B-3 SDA JHANDU SINGH MARG: K, TRF-2 B-2 SDA NR MERRY SCHOOL:, TRF-1 B-2 SDA NR MERRY SCHOOL: PKG, TRF-1 A-2 SDA BOOSTER PUMP: ID, TRF-1 KRISHNA NAGAR-2: PKG, TRF-2 A-2 SDA BOOSTER PUMP: ID | 443
3 | 03/04/2018 | JKP | 02:10 | 03:12 | 01:02 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV PUMPING STN. SWARG ASHRAM , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :696 LIG FLATS SSTN, G-8 AREA,R.GDN, 1000 TRF-2 :696 LIG FLATS SSTN, G-8 AREA,R.GDN, 1000 TRF-2 :696 LIG FLATS SSTN, G-8 AREA,R.GDN | 521
4 | 03/04/2018 | NJF | 01:01 | 02:04 | 01:02 | HVDS CABLE & OTHER SYSTEM | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDRGOYALA DAIRY , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : 400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.4, 25 TRF-1:ANATH ASHRAM, TAJPUR ROAD, 400TRF-1:DEFENCE ENCLAVE GOYLA-TAJPUR RD, 25 TRF-1:GYAN DEVI VILL CHHAWLA, 400TRF-1:SANTHOMAS SCHOOL, 100TRF-1:ANAND GOELA, 25 TRF-1:RAMPAT RAMDHAN, VILL TAJPUR, 400 TRF-2:VILLAGE TAJPUR 2, 100TRF-1:ANAND GOELA, ST. LT. DT CHAWLA, CHAWLA QUTUB VIHAR ROAD, 400 TRF-1:QUTUB VIHAR PHASE-II, 25 TRF-1:RAM NARAYAN VILL. CHHAWLA, 100TRF-1:ANAND GOELA, 400TRF-1:SANTHOMAS SCHOOL, 25 TRF-1:NRAYAN SWARUP,QUTUB VIHAR RD VILL CHHAWL, 400TRF-1:SHYAM KUNJ Near Vill Goyla, 400 TRF-1:VILLAGE GOELA STN 2, 25-1:NEAR BISHNA S/SN VILL GOELA | 459
5 | 03/04/2018 | VKJ | 00:56 | 02:22 | 01:26 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER NO.-1 , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : TRF-1 RYN SCHOOL P/M, TRF-1 MATA CHOWK MAHIPALPUR P/M, TRF-1 ST. LT NEAR POLICE STATION VKJ, TRF-1 DDA FLY OVER VASANT KUNJ, TRF-1 DEFENCE ENCLAVE P/M, TRF-1 CISF CAM P (HTC), TRF-1 MASJID CAMP, MAHIPALPUR (NEAR CAMMANDO), TRF-1 MATA CHOCK MAHIPALPUR-2 PL/M, TRF-1 HODWALA(BOOSTER PUMP) MAHIPALPUR, TRF-1 ST.LT. (CONG- 1 OFFICE MAHIPALPUR) | 483
6 | 02/04/2018 | SKT | 23:21 | 00:24 | 01:03 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR IGNOU S/S NO.-5+NBCC PLAZA , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : TRF-1 SAIDULA JAB FLOOD CONTROLE:PM, TRF-1 SAIDULA JAB VIDHYA SAGAR HOSP:PM, TRF-1 NIGAM NEBSARAI | 360
7 | 02/04/2018 | HKS | 21:24 | 23:01 | 01:36 | HT SYSTEM FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KRISHNA NAGAR GALI NO-5, TRF-1 A-2/15 SDA: PKG, TRF-1 KRISHNA NAGAR-1: PKG, TRF-2 B-3 SDA JHANDU SINGH MARG: K, TRF-1 B-3 SDA JHANDU SINGH MARG: K, TRF-2 B-2 SDA NR MERRY SCHOOL:, TRF-1 B-2 SDA NR MERRY SCHOOL: PKG, TRF-1 A-2 SDA BOOSTER PUMP: ID, TRF-1 KRISHNA NAGAR-2: PKG, TRF-2 A-2 SDA BOOSTER PUMP: | 487
8 | 02/04/2018 | NGL | 18:05 | 19:39 | 01:33 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR S/STN NO-4 (OLD) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:Udyog Nagar S/S No-4(NGI), 400TRF-1:UDYOG NAGAR J J CLUSTER S/STN NO:3, WATER TANK JJ CLUSTR DT | 313
9 | 02/04/2018 | DWK | 17:50 | 18:54 | 01:03 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : CHOUPAL MATIALA SS PL/M , 990 TRF-1:MATILA CHOUPAL, TRF-1:MATILA SCHOOL WALA, 630 TRF-1:SAHYOG VIHAR P/M | 369
10 | 02/04/2018 | JFR | 17:37 | 18:47 | 01:10 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 100 TRF-1:DALIP PANDWALA KALAN, 100TRF-1:MID SHIKARPUR, 25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR, 100 TRF-1:PURAN PANDWALAKALAN, 630TRF-1:VILL DAULATPUR STN 1, 400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP, 100TRF-1:INSHARAM SHIKARPUR, 25TRF-1;MADAN PARK, 400: VILLAGE HASSANPUR S.STN-2, 25TRF-1:TARA CHAND, SHIKARPUR, 25 TRF-1: CHANDER SINGH , SHIKARPUR, 25TRF-1:DARAM SINGH , DAULATPURI, RAM KALA KHABAD MORE, 25TRF-1:HAR SWARUP , DAULATPUR, 16 TRF-1:SCHOOL STN KHARKHARI RAUND, 100 TRF-1:RAM KARAN DAULATPUR, 25TRF-1:JAI LAL PRADHAN , DAULATPUR, MILAN TRF DAULATPUR OPP GOVT SCHOOL, 630 TRF-1:VILLAGE PANDWALA KALAN 2, RANDHIR , DAULATPUR, 400 TRF-1:VILLAGE HASSANPUR, KRISHAN TRF KHARKHARI ROUND, TRF-1:VILLAGE UJWA 2, 100 TRF-1:RAM CHANDER HASSANPUR, 400 TRF-1:VILLAGE DAULATPUR 2, TRANSFORMER,11/0.433KV 400KVA OIL TYPE, 100 TRF-1:CHET RAM HASSANPUR, 25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR, 25TRF-1:HIRA LAL , ASALATPUR , KHAWAD, SIRI CHAND KHARKHARI ROND, 100 TRF-1:SONU DUT PANDWALAKALAN, 100 TRF-1:PARAS RAM SHIKARPUR, SATYAPAL and ANIL TRF DAUALTPUR | 476
11 | 02/04/2018 | SVR | 15:44 | 17:14 | 01:30 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-1 , 11KV GRID PANEL,:MECHANISUM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : TRF-2 MADANPUR KHADAR- EXTN, TRF-1 MADANPUR KHADAR- EXTN | 496
12 | 02/04/2018 | JKP | 13:23 | 15:02 | 01:39 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-11, D.C JANAKPURI+BOOSTER PUMP VIA RMU , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :PLOT NO.-12 (SUNEJA TOWER-II) SSTN, 400TRF-1:PLOT NO-15,16 SSTN,JKP, 400TRF-2:PLOT NO-15,16 SSTN,JKP, 630 TRF-2 :PLOT NO.-12 (SUNEJA TOWER-II) SSTN, 990 TRF-2 :PLOT NO.-11(KIPTI SIKHAR) SSTN,JKP, 990 TRF-1 :PLOT NO.-11(KIPTI SIKHAR) SSTN,JKP | 528
13 | 02/04/2018 | NGL | 12:39 | 13:52 | 01:12 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-2:Naresh Park S/s No-1 Nagloi, TRF-1:S/S NO 4 BLK NARESH PARK, 990TRF-1:B BLK NARESH PARK, NARAYAN DHARAM KANTA, 990TRF-1:D BLK NARESH PARK, 990 TRF-1:Naresh Park S/s No-1 Nagloi, 100TRF-1:PWD STREET LIGHT NARESH PARK | 446
14 | 02/04/2018 | PLM | 12:25 | 13:45 | 01:19 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:HARIJAN BASTI SITAPURI , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEETA PURI C BLK, 990-TRF1-DABRI NALEWALA:PL, 400 TRF-1: Sitapuri S/stn Harijan Basti, 630 TRF-1: C-Block Sitapuri S/stn | 437
15 | 02/04/2018 | HKS | 12:19 | 13:34 | 01:14 | HT SYSTEM FAULT | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR R.K.KHANNA STADIUM , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 DELTA (TENNIS STADIUM) G.PARK: PL, SPARE(NOT WORKING) | 225
16 | 02/04/2018 | SVR | 07:42 | 09:01 | 01:19 | HVDS CABLE & OTHER SYSTEM | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 E&F BLK MADRSI COLONY | 141
17 | 02/04/2018 | PLM | 14:58 | 16:18 | 01:19 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , LT O/H CONDUCTOR,:JUMPER BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : 400 TRF-1: B2- Block- Vijay Encl. | 109
18 | 02/04/2018 | SVR | 14:46 | 16:11 | 01:24 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR LAV KUSH (D.P) , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : TRF-1 JAIT PUR VILL. GURADWARA | 131
19 | 02/04/2018 | SVR | 13:59 | 15:28 | 01:29 | LT FEEDER | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , DISTRIBUTION TRANSFORMER,:GARBAGE DUMPING IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 H-BLOCK S.N PURI | 108
20 | 02/04/2018 | SKT | 12:49 | 14:30 | 01:41 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 STN-14 SEC-7 PUSHAP VIHAR:ID | 94
21 | 02/04/2018 | SVR | 12:12 | 13:55 | 01:42 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , DISTRIBUTION TRANSFORMER,LT POLE,:TRANSFORMER FUSE BLOWN,FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 HTC:ABDUL FAZZAL ENCLAVE D BLOCK | 126
22 | 02/04/2018 | TGN | 11:28 | 13:50 | 02:21 | LT FEEDER | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :BHARAT X-RAY SSTN, TILAK NAGAR | 81
23 | 02/04/2018 | PJB | 11:12 | 12:48 | 01:36 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:240 MIG FLATS (208 SFS ) MADIPUR , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1: 444 LAL QUARTERS,WEST PJB | 73
24 | 02/04/2018 | KPR | 10:53 | 12:35 | 01:41 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR STORM WATER PUMPING SsTN , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO. 2, PUL PRAHLAD PUR:ID | 102
25 | 02/04/2018 | ALN | 10:08 | 11:22 | 01:13 | LT FEEDER | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR N.R.I COMPLEX S/S , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 KVA TRF. E-854 CR PARK | 59
26 | 02/04/2018 | PLM | 12:14 | 15:11 | 02:57 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:SADH NAGAR GALI NO.-22 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 -TRF 1 : F Block Sadh Ngr S/s | 95
27 | 02/04/2018 | VKJ | 12:00 | 16:30 | 04:30 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 FARM NO.77,RD. NO-4,GHITORNI, TRF-1 DENG FARM-80 RD-4 GHIRT., TRF-1 CHAITANAYA FARM, TRF-1 FARM NO-32,GHITORNI, TRF-1 JAGAT FARM NO-30, TRF-1 FARM NO-59, TRF-1 FARAM NO.50, TRF-1 FARM NO-23,GHITORNI, TRF-1 SAHANI GHITORNI, TRF-1 SUNDER P/M, TRF-1 JAY RAM SUBEDAR, TRF-1 FARM NO 21 ROAD NO 1 GHITORNI, TRF-1 DHARAM SINGH, M G ROAD, TRF-1 ST. LTG. NR. SULTANPUR METRO STN., TRF-2 MCD SCHOOL RMU,GHITORNI, TRF-1 UMA DATTA, TRF-1 LAXMI FARM ROAD NO.ZERO, TRF-1 S/S No. (TR No. 1) double at Dhobi, TRF-1 GHITORNI ENCLAVE(DHOBI COLONEY), TRF-1 AMAR SINGH GHITORNI, TRF-1 MCD SCHOOL RMU,GHITORNI, TRF-1 FARM NO-57, TRF-1 RAJIV SANKAR BAKSHI FARM P/M | 292
28 | 02/04/2018 | DWK | 11:46 | 13:04 | 01:18 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NSIT , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1P.P S/S NO-1 SECTOR-5, 630 TRF-1_FIRE STATION (HTC), 630 TRF:2 DHAULA DHAR APPTT. PLOT-15 SEC, 630 TRF-1_MGMT ALUMNI SEC-5, 630 TRF-2:HIMANCHAL APPT, 100 TRF-1:PETROL PUMP SEC-2, SEC-05,PERIPHECRAL SS-2, 16 TRF:DDA PUMP SEC-5 :PM, 400 TRF-2: NEELANCHAL APPT., 630 TRF-1_Dhauladhar.App (HTC), 630 TRF-1:HIMANCHAL APPT, 400 TRF-1:NEELACHAL APPT. SEC-4, 400 TRF-1_Jai maa App. (HTC), 630 TRF-2: KAILASH APPT. SECT-4 DWARKA, 630 TRF-2_MGMT ALUMNI SEC-5, 630 TRF-1: KAILASH APPT. SECT-4, 630 TRF-2_FIRE STATION (HTC), 630 TRF-1:BUS DEPOT SEC-2 | 426
29 | 02/04/2018 | PLM | 11:45 | 14:05 | 02:20 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 400 TRF-1:CHANDER VIHAR:PLM | 146
30 | 02/04/2018 | PJB | 11:04 | 17:05 | 06:01 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 KVA TRF. ROAD-56 PUNJABI BAGH WEST:PLM | 297
31 | 02/04/2018 | DWK | 11:03 | 12:34 | 01:31 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MADHU VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE F-BLOCK S/S-1, MADHU VIHAR S/STN NO 4:ID, 630 TRF-1:MADHU VIHAR S/STN NO 3, 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 1, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR NO-2, 630 TRF-2:MADHU VIHAR NO-2 | 487
32 | 02/04/2018 | PJB | 11:00 | 13:02 | 02:02 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : 990 TRF-1: B-3 BLOCK I/D,PASCHIM VHR,PJB | 148
33 | 02/04/2018 | PJB | 11:00 | 12:59 | 01:59 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:M.I.G MILANSAR APPARTMENT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1: A-1/265 LIG FLATS, P.VHR,PJB | 122
34 | 02/04/2018 | SKT | 11:00 | 15:14 | 04:14 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 VIDHA DHARI SAHURPUR:PM, TRF-1 C-8 ANSAL SATBARI;PM, RELIANCE TOWER CHANDAN HOLLA, TRF-1 SANT YOGA ASHRAM:PM, TRF-1 VILLAGE CHANDANHOLA:PM, TRF-1 AGGARWAL COLONY, TRF-1 HTC:CHADHA FARM-1:PM, TRF-1 UPPAL STN:PM, TRF-1 F-55, SURI FARM SATBARI:PM, TRF-1 A-31 ANSAL SATBARI:PM, TRF-1 D-16 ANSAL SATBARI:PL, TRF-1 D 21A ANSAL VILLA, SATBARI, TRF-1 D-2 ANSAL SATBARI:PM, TRF-1 E-7 ANSAL VILLA SATBARI, TRF-1 PRABHU CHAWLA, TRF-1 E- ANSAL FARM, TRF-1 E-1 ANSAL VILLA SATBARI GUPTA FARM | 515
35 | 02/04/2018 | DWK | 11:00 | 12:04 | 01:04 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAND VIHAR , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 400 TRF-1:KAKROLA HOUSING NO-1, 400 TRF-1:SEC-16 J.J CLY A-BLK, 400 TRF-2:,KAKROLA HOUSING COMPLEX-3, 630 TRF-1:,KAKROLA HOUSING COMPLEX-3, 630 TRF-1:KAKROLA HOUSING NO-2, 630 TRF-1:1472 JANATA FLATS SSTN-2, 630 TRF-1 1472 JANATA FLATS SSTN-3 (DT STOLEN), 100 TRF-1;SARVODAYA KANYA VIDYALAYA, KAKROLA, 630 TRF-1:BARAAT GHAR SSTN, 400 TRF-1:1472 JANTA FLATS SSTN-1, 400 TRF-1:SEC-16 J.J CLY B-BLK, 630 TRF-2:KAKROLA HOUSING NO-2, 400 TRF-2:KAKROLA HOUSING NO-1, 400 TRF-1:KAKROLA DAIRY PL/M, 400 TRF-2:BARAAT GHAR SSTN, 400 TRF-1:SEC-16 J.J CLY C-BLK | 565
36 | 02/04/2018 | VKP | 11:00 | 15:46 | 04:46 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:MILAP NAGAR FEEDER , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 630TRF-18 PANEL BOARD_ABB | 120
37 | 02/04/2018 | NHP | 11:00 | 14:34 | 03:34 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR DDA LSC OKH PHASE-2 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN NO-LSC OKHLA PH-2:ID | 221
38 | 02/04/2018 | SKT | 11:00 | 17:04 | 06:04 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR M.C Tr. DLF (MEHAR CHAND) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 1 A OAK DRIVE DLF CHATTERPUR, TRF-1 CHERRY LANE NO 1 DLF, TRF-1 DWARKA BAI:PM, TRF-1 KEJARY WAL TRANSFORMER, TRF-1 DALBEER SINGH:PL, TRF-1 FORM NO 19 CHINAR DRIVE, TRF-1 FORM NO 2 PAIN DRIVE (BHAGEDRIA FARM), TRF-1 MALBERY AVENUE, DLF CHATTERPUR, TRF-1 FORM NO 7 CHERI LINE, TRF-1 MAHAJAN FARM, TRF-1 10 NO CEDAR LANE DLF, TRF-1 KHATERI, TRF-1 POKHAR AMAR SINGH:PM, TRF-1 PATIL EDUCATION SOCIETY:PM, TRF-1 FORM NO 13 SOUTH DRIVE, TRF-1 HTC:OAK DRIVE NO 1 DLF CHATTERPUR, TRF-1 PREM SHYAM SHER SINGH, TRF-1 FORM NO 8 CHERI LINE, TRF-1 FORM NO 3 MALVERY AVENUE (SEHGAL FARM), TRF-1 CENTRAL DRIVE FARM NO 14, TRF-1 FARM NO 1, DAIZY LINE DLF CHATTERPUR, TRF-1 ATTAR SINGH, TRF-1 K KISHOR CENTRAL DRIVE DLF CHATTERPUR, TRF-1 TWELTH FARM:PM, TRF-1 SARDARI LAL CHOPARA:PM, TRF-1 FORM NO 8 CHINAR DRIVE, TRF-1 FORM NO 5 CHERI LINE, TRF-1 BANSAL FARM:PM | 426
39 | 02/04/2018 | SVR | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF. TRF-1 N BLOCK AF ENCLAVE | 269
40 | 02/04/2018 | SVR | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 KHADDA COLONY JAIT PUR; TRF-1 H-BLOCK PEER BABA BASTI JAITPUR, TRF-1 N-BLK PUSTA RD SAURABH VIHAR T/W NO.3, TRF-1 E and F BLOCK KHADDA COLONY, TRF-1 PRIYANKA CAMP | 408
41 | 02/04/2018 | SVR | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR ESCORTS HEART INST. NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990+400 KVA TRF. N BLOCK BATLA HOUSE, MASS COMMUNICATION RES.CENT.(HT CONSUMER), ESCORT HEART INSTITUTE (HT CONSUMER) | 413
42 | 02/04/2018 | NJF | 10:50 | 14:40 | 03:50 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRNSF OILDT 11KV/433V 400KVA, 25 TRF-1: SBI BANK NAGLI DAIRY, 3W RMU DandE-BLK S/S-3 NANGLI VIHAR, 400 TRF-1:NANGLI VIHAR, 100 TRF-:MUKESH SHARMA P/M S/STN, 400 TRF:-NANGLI VIHAR EXTN, 100 TRF-1:ST LT NANGLI MOOR, 400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY, 400 TRF : NANGLI SAKRAWATI, HTC KANT DARBAR NANGLI S, 100 TRF-1:GREEN TREE SCHOOL INDIRA PARK, 100 TRF-1:SAI BABA TEMPLE NANGLI, DJB STAFF Q, GOVT NURSURY, AKASH PUBLIC SCHOOL ARJUN PARK, 3PH TR HVDS INDRA PARK | 480
43 | 02/04/2018 | VKP | 10:18 | 13:23 | 03:04 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:OLD G-1 UTTAM NAGAR:ID, 630 TRF-2:OLD G-1 UTTAM NAGAR, 400 TRF-1:KALI BASTI, DJB (HARIJAN BASTI), 630 TRF-1:KALI BASTI CENTRAL SCHOOL, 990 TRF-1:DAL MILL SBI | 532
44 | 02/04/2018 | PJB | 10:00 | 12:57 | 02:57 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:D.T.C DEPOT , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : 630 TRF-2: A-1 KOTHIWALA,PASCHIM VHR,PJB | 76
45 | 02/04/2018 | PJB | 10:00 | 13:00 | 03:00 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : 990 TRF-1: B-3 BLOCK I/D,PASCHIM VHR,PJB | 148
46 | 02/04/2018 | ALN | 10:00 | 15:52 | 05:52 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 EPDP S/S-3:ID | 118
47 | 02/04/2018 | PJB | 10:00 | 12:59 | 02:59 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 SSTN. , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1:A-2 POLICE STN | 88
48 | 02/04/2018 | ALN | 10:00 | 14:36 | 04:36 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S-A OKHLA PHASE-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 S/S ,A, OKHLA PH- 1:ID | 73
49 | 02/04/2018 | SKT | 15:35 | 17:03 | 01:28 | EMERGENCY SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 INDRA ENCLAVE NEBSARAI | 79
50 | 02/04/2018 | VKJ | 12:09 | 13:39 | 01:30 | EMERGENCY SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR GMR OPPOSITE PALAM GRID , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : 990 KVA TRF. TRF-1 MAHIPAL PUR-1 PL/M | 82
51 | 02/04/2018 | JKP | 10:49 | 13:54 | 03:05 | EMERGENCY SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : 990 TRF-1 :PLOT NO:B-125 SSTN, PH-1, MAYAPURI | 68

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES