## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 05/04/2018 06:00Hr. To 06/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 05/04/2018 | NHP | 22:01 | 23:50 | 01:49 | HT SYSTEM FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 SHERA MOHALLA GARHI:PL, TRF-1 A BLOCK DAYA NAND COLONY:PL, TRF-1 GARHI CHAUPAL PLM:PL, TRF-1 S/STN 39 RING ROAD:PG, TRF-2 K BLOCK AMAR CLY OLD DOUBLE STOREY:PL, TRF-2 GARHI CHAUPAL PLM:PL, TRF-2 S/STN 39 RING ROAD:PG | 494
2 | 05/04/2018 | NGL | 19:43 | 21:07 | 01:24 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN NO-2 UDYOG NAGAR SSTN-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-3:I/D UDYOG NAGAR STN-2, 990 TRF-1:Udyog Nagar No-2, 630 TRF-2:Udyog Nagar No-2 | 219
3 | 05/04/2018 | SKT | 18:24 | 19:36 | 01:11 | HT SYSTEM FAULT | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR KHIRKI BANDH , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KHIRKI VILLAGE NEAR BOOSTER PUMP, TRF-2 KHIRKI VILLAGE NEAR BOOSTER PUMP, TRF-1 KHIRKI BANDH | 499
4 | 05/04/2018 | TGN | 17:21 | 18:41 | 01:20 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR RZ-BLOCK, V. GARDEN , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :RZ-BLK GURUDWARAWALA SSTN, V.GDN, 990 TRF-2 :RZ-BLK GURUDWARAWALA SSTN, V.GDN, 630 TRF-1 :RZC-BLK MANDIRWALA SSTN, V.GARDEN, 990 TRF-2 :RZ-BLK GURUDWARAWALA SSTN, V.GDN | 524
5 | 05/04/2018 | VKP | 17:06 | 18:15 | 01:09 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kv FDR SEWAK PARK VIKAS PURI , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 400 KVA TRF. METRO PILLAR NO 760 | 163
6 | 05/04/2018 | NZD | 15:34 | 16:36 | 01:02 | HT SYSTEM FAULT | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR SIDDHARTH BASTI VIA SHALIMAR CINEMA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 SHALIMAR CINEMA: PL | 285
7 | 05/04/2018 | ALN | 13:06 | 15:04 | 01:58 | HT SYSTEM FAULT | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:GOVIND PURI GALI NO.-5 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-4 GOVIND PURI GALI NO-5:K, TRF-3 GOVIND PURI GALI NO-5:K, TRF-2 GOVIND PURI GALI NO-5:K, TRF-1 GOVIND PURI GALI NO-5:K | 462
8 | 05/04/2018 | NHP | 12:34 | 14:19 | 01:45 | HT SYSTEM FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR S.B.I NO.-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN P/M 234 OKHLA PH-3:PL, TRF-1 S/STN NO-3 OKHLA PH-3:ID, TRF-2 S/STN P/M 234 OKHLA PH-3:PL, TRF-2 S/STN NO-3 OKHLA PH-3:ID | 330
9 | 05/04/2018 | SKT | 11:34 | 12:37 | 01:03 | DISTRIBUTION TR. | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR KHIRKI BANDH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 KHIRKI VILLAGE NEAR BOOSTER PUMP, TRF-2 KHIRKI VILLAGE NEAR BOOSTER PUMP, TRF-1 KHIRKI BANDH | 299
10 | 05/04/2018 | ALN | 11:31 | 12:35 | 01:04 | HT SYSTEM FAULT | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR KAVERI APPARTMENT , :11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KAVERI APARTMENT:PL, TRF-1 LIG DDA KALKAJI:ID, TRF-1 J.J. TENAMENT:ID, TRF-2 J.J. TENAMENT:ID, TRF-2 KAVERI APARTMENT:PL, TRF-2 LIG DDA KALKAJI:ID, TRF-2 GANGA APARTMENT:ID, TRF-1 GANGA APARTMENT:ID | 455
11 | 05/04/2018 | NJF | 10:22 | 11:51 | 01:29 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:LOP BIJWASAN RAILWAY STATION, 400 TRF-:BALBIR BIJWASAN, NEANASIR FARM VILL. BIJWASAN, 25 TRF-1: NASIR FARM BRIJWASAN, RAJINDER VILL KANAGANHERI, 100 TRF-1:STN BAMLI STAND, ISAPUR KHAIRA VIL BMNULI BHAJHGER, 100 TRF-1:DATA RAM KANGENHERI, 400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA, RAVINDER KAUR, 100 TRF-1:STN NR MANDIR KANGENHERI, DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN, 100 TRF-1:CHANDU MALI BAMNOLI, 400 TRF-1:CHHAWLA 1, 400 TRF-1:SUKHBIR RAGHAVPUR, 100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD, 25TRF-1:PARVINDER KAUR, JAI BHAGWAN VILL. KANGANHERI, W/S KANGANKHERI, 100 TRF-1:PIARAE LAL BIJWASAN, 25TRF-1:NEENA KANCHAN, 100TRF-1:CHET RAM CHHAWLA, 400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN, | 553
12 | 05/04/2018 | NJF | 09:44 | 11:06 | 01:21 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100 TRF-1:GREEN TREE SCHOOL INDIRA PARK, 100 TRF-1:SAI BABA TEMPLE NANGLI, 3PH TR HVDS INDRA PARK, DJB STAFF Q, GOVT NURSURY, TRNSF OILDT 11KV/433V 400KVA, 400 TRF:-NANGLI VIHAR EXTN, 100 TRF-1:ST LT NANGLI MOOR, 400 TRF-1:NANGLI VIHAR, 100 TRF-:MUKESH SHARMA P/M S/STN, HTC KANT DARBAR NANGLI S, 25 TRF-1: SBI BANK NAGLI DAIRY, 3W RMU DandE-BLK S/S-3 NANGLI VIHAR, 400 TRF : NANGLI SAKRAWATI, 400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY, AKASH PUBLIC SCHOOL ARJUN PARK | 480
13 | 05/04/2018 | VKJ | 08:46 | 09:59 | 01:12 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 ST. LTG.NR. METRO PILLAR NO.117, TRF-1 FARM NO.77,RD. NO-4,GHITORNI, TRF-1 DENG FARM-80 RD-4 GHIRT., TRF-1 CHAITANAYA FARM, TRF-1 FARM NO-32,GHITORNI, TRF-1 JAGAT FARM NO-30, TRF-1 FARM NO-59, TRF-1 FARAM NO.5, TRF-1 FARM NO-23,GHITORNI, TRF-1 SAHANI GHITORNI, TRF-1 SUNDER P/M, TRF-1 JAY RAM SUBEDAR, TRF-1 FARM NO 21 ROAD NO 1 GHITORNI, TRF-1 DHARAM SINGH, M G ROAD, TRF-1 ST. LTG. NR. SULTANPUR METRO STN., TRF-2 MCD SCHOOL RMU,GHITORNI, TRF-1 VKJ407;UMA DATTA, TRF-1 LAXMI FARM ROAD NO.ZERO, TRF-1 S/S No. (TR No. 1) double at Dhobi, TRF-1 GHITORNI ENCLAVE(DHOBI COLONEY), TRF-1 AMAR SINGH GHITORNI, TRF-1 MCD SCHOOL RMU,GHITORNI, TRF-1 FARM NO-57, TRF-1 RAJIV SANKAR BAKSHI FARM P/M | 492
14 | 05/04/2018 | SKT | 08:41 | 09:47 | 01:06 | HT SYSTEM FAULT | Grid:66kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-5 RUMALO DEVI , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : TRF-1 ANGURI DEVI STN NEAR DERA CROSSING:PM, TRF-1 GOVT. SCHOOL DERA:PM, TRF-1 BARI BHATI:PL, TRF-1 HARIJAN BASTI DERA:PL, TRF-1 GILL FARM:PM, TRF-1 MICRO:PM, TRF-1 BABA MOHALLA DERA VILLAGE, TRF-1 ASTHAL MANDIR, TRF-1 VILLAGE DERA:PL, TRF-1 JASWANTI (BARI BHATI):PM, TRF-1 ANITA SINGH:PM, TRF-1 STREET LIGHT DT ON DERA VILL ROAD, TRF-1 DULI CHAND:PM, TRF-1 BHATIA FARM NEAR F 37 RADHEY MOHAN DRIVE, TRF-1 BABU SINGH:PM | 547
15 | 05/04/2018 | PLM | 07:31 | 08:46 | 01:15 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-2: Ram Chock Gali No.-4, 990 TRF-1: Ram Chock Gali No.-4, 630 TRF-1:DDA Paul, 630 TRF-2:DDA Paul, 400 TRF-1:Sadh Nagar Gali No-9 P/M | 634
16 | 05/04/2018 | NZD | 07:20 | 08:33 | 01:12 | HT SYSTEM FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR D.J.B SARAI KALA KHAN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 CNG FILLING STN RING RD SARAI K. K.:P/M, TRF-1 SAVITA CNG FILLING STATION: PL, TRF-1 BEHLOLPUR RING ROAD: PL, TRF-1 JAIN MANDIR BEHLOLPUR | 321
17 | 05/04/2018 | SKT | 15:42 | 17:14 | 01:31 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR DMRC+KARIAPPA MARG SAINIK FARM , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 W 4 Western Avenue/Dr. Munjal | 63
18 | 05/04/2018 | SKT | 13:43 | 15:39 | 01:56 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR DMRC+KARIAPPA MARG SAINIK FARM , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 W 4 Western Avenue/Dr. Munjal | 63
19 | 05/04/2018 | PLM | 12:35 | 13:47 | 01:12 | LT FEEDER | Grid:G-7 SECTOR -9 DWARKA To Feeder:S/S NO.-5 SECTOR-8 , : | RESTORED/ REPAIRED | Part of : 990 TRF-1:DDA Park RajNgr | 91
20 | 05/04/2018 | SVR | 12:07 | 13:50 | 01:42 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 SARITA VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 MOLAR BAND EXT | 114
21 | 05/04/2018 | SKT | 11:46 | 13:39 | 01:53 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR DMRC+KARIAPPA MARG SAINIK FARM , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 W 4 Western Avenue/Dr. Munjal | 63
22 | 05/04/2018 | VKJ | 13:40 | 15:14 | 01:34 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR B-3 VASANT KUNJ , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 STN-2 SEC-B POCKET-5and6 VASANT KUNJ, TRF-2 STN-2 SEC-B POCKET-5and6 VASANT KUNJ | 281
23 | 05/04/2018 | HKS | 13:15 | 17:20 | 04:05 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GULMOHAR ENCLAVE , RMU:BUS BAR COUPLING CLEANED/REPLACED/REPAIRED | RESTORED/ REPAIRED | Part of : TRF-1 SUDARSHAN CINEMA: PL | 1
24 | 05/04/2018 | VKJ | 13:10 | 15:11 | 02:01 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR B-1, S/S NO.-1, VASANT KUNJ , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 L.S.C.B-1 VASANT KUNJ | 224
25 | 05/04/2018 | JKP | 12:40 | 15:12 | 02:32 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV TIHAR JAIL , RMU:GAS REFILLING | RESTORED/ REPAIRED | Part of : 400 TRF-1 :SSTN NO.-2, TIHAR JAIL, JANAKPURI, 400 TRF-1 :NEW BEGGAR HOME SSTN, JANAKPURI | 319
26 | 05/04/2018 | NJF | 12:10 | 15:59 | 03:49 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:GREEN TREE SCHOOL INDIRA PARK, 100 TRF-1:SAI BABA TEMPLE NANGLI, 3PH TR HVDS INDRA PARK, DJB STAFF Q, GOVT NURSURY, 400 TRF : NANGLI SAKRAWATI, 400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY, 400 TRF:-NANGLI VIHAR EXTN, 100 TRF-1:ST LT NANGLI MOOR, 400 TRF-1:NANGLI VIHAR, 100 TRF-:MUKESH SHARMA P/M S/STN, 3W RMU DandE-BLK S/S-3 NANGLI VIHAR, HTC KANT DARBAR NANGLI S, 25 TRF-1: SBI BANK NAGLI DAIRY, TRNSF OILDT 11KV/433V 400KVA, AKASH PUBLIC SCHOOL ARJUN PARK | 418
27 | 05/04/2018 | JKP | 12:04 | 14:03 | 01:59 | PLANNED SHUTDOWN | Grid:METAL FORGING (33/11kV) SRID SSTN To Feeder:11KV COMMUNITY CENTER , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 990 TRF-1 :MIG FLATS SSTN,G-8 AREA SSTN, R.GDN | 301
28 | 05/04/2018 | SKT | 12:04 | 13:49 | 01:45 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI, TRF-1 CHAUTALA JONA PUR:PM, TRF-1 BHATIA GADAIPUR, TRF-1 CRC Nr SULTANPUR STN,100 KVA S/S ST. LTG, TRF-1 OSHO DRIVE-3 GADAIPUR:PM,100 KVA S/Stn., TRF-1 JAGDISH GADAIPUR:PL, TRF-1 R.B ROLLING JONA PUR:PM, TRF-1 GEN. BHATIA;PM, TRF-1 BALWANTI MANDI:PM, TRF-1 PUNJAB KESARI GADAIPUR, TRF-1 BATRA FARM,100 KVA S/Stn., TRF-1 DOCTOR DHEESH GADAIPUR:PM, TRF-1 SKT101;RAJA BABU GADAIPUR:PM, TRF-1 F-43 RASHMI RADHEY MOHAN,100 KVA S/Stn., TRF-1 SKT103;DOCTOR DHEESH GADAIPUR:PM, TRF-1 F-42 JUNEJA RADHEY MOHAN,100 KVA S/Stn., TRF-1 OSHO DRIVE-1 GADAIPUR:PM,100 KVA S/Stn., TRF-1 BANSHI JONA PUR:PM, TRF-1 FNO9,7thAVENUEJONA PUR(P/M),100 KVA S/S, TRF-1 DHILLON GADAIPUR,NEAR GHITORNI:PM, TRF-1 KAPOOR GADAIPUR:PM, TRF-1 GOVIND SADAN GADAIPUR:PM, TRF-1 OSHO DRIVE-2 GADAIPUR:PM,100 KVA S/Stn., TRF-1 FARM NO.-10, 7th AVENUE,JONA PUR(P/M), TRF-1 PANCHWATI GADAIPUR:PM, TRF-1 BABBAL JEET SINGH S/STN JONAPUR, TRF-1 OPP MCD SCHOOL GHITORNI,100 KVA S/S S.LT, TRF-1 JONA PUR VILLAGE:PL | 379
29 | 05/04/2018 | SKT | 12:04 | 13:48 | 01:44 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 KIDS KRAZE OPP MALLU FARM SATBARI, TRF-1 SHAKUNTLA FARM VILLAGE SATBARI, TRF-1 HIMALYAN, 20 NO GREEN MEDOW, TRF-1 GREEN MEADOW-1:PM, TRF-1 GREEN MEADOW-2 (RAO INDERJIT):PM | 341
30 | 05/04/2018 | SKT | 12:00 | 15:12 | 03:12 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : TRF-1 BOOSTER PUMP AYA NAGAR:PM, TRF-1 BOOSTER PUMP AYA NAGAR:PM, TRF-1 KASHYAP AYA NAGAR:PL, TRF-1 AYA NAGAR, A - BLOCK, TRF-1 MAHINDAR AYA NAGAR, TRF-1 NEAR SSB,100 KVA S/Stn S. LT, TRF-1 AYA NAGAR, B- BLOCK, TRF-1 BALKA CHOWK AYA NAGAR | 522
31 | 05/04/2018 | PLM | 11:50 | 14:42 | 02:52 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , TRANSFORMER:REPLACEMENT OF LOCAL CABLE | RESTORED/ REPAIRED | Part of : 630 TRF-1: Puran nagar | 245
32 | 05/04/2018 | MDK | 11:40 | 13:09 | 01:29 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : 400 TRF-1: NEAR TIKRI LALTEN, 990 TRF-1:TIKRI VILLAGE S/STN-2:PL, 630 TRF-1:TIKRI VILLAGE STN-3, 400 TRF-1:TIKRI VILLAGE S/STN-4:PM, 100TRF-1:HINDUSTAN SANIT NR CC CENTER, 990TRF-1:TIKRI VILLAGE S/STN-6:PL, 990TRF-1:TIKRI VILLAGE S/STN-5:PL, 630 TRF-1:TIKRI VILLAGE STN-1, 400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK, 100TRF-1:MTNL TIKRI KALAN:PM | 609
33 | 05/04/2018 | PLM | 11:05 | 14:38 | 03:33 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:CHANDER VIHAR:PLM | 129
34 | 05/04/2018 | TGN | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 224-SFS T.GDN , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 400 TRF-1 :19-BLOCK SSTN, TILAK NAGAR | 131
35 | 05/04/2018 | RKP | 11:00 | 13:26 | 02:26 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SEC-12, S/S-3, R.K.P.(CONSTRUCTION): ID | 1
36 | 05/04/2018 | SKT | 11:00 | 14:08 | 03:08 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVPRIYA APPAREMENT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 OPPOSITE A-78 MALVIYA NAGAR | 146
37 | 05/04/2018 | JKP | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GANDHI PARK , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 630 KVA TRF. NANAK PURA:K | 226
38 | 05/04/2018 | JKP | 11:00 | 13:05 | 02:05 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV 11&12 BLK SUBHASH NAGAR , RMU:TO COUPLE A NEW RMU | RESTORED/ REPAIRED | Part of : 990 TRF-1 :BLK NO.-11 and 12 SSTN, SUBHASH NAGAR | 285
39 | 05/04/2018 | JKP | 11:00 | 15:08 | 04:08 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :A2-BLK (HARIJAN BASTI),NR.PANKHA RD | 117
40 | 05/04/2018 | NHP | 11:00 | 12:53 | 01:53 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4, FEEDER-2 PHASE-2 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN P/M E-49/2 OKHLA PH-2:PL | 83
41 | 05/04/2018 | PJB | 11:00 | 17:02 | 06:02 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 KVA TRF. ROAD-56 PUNJABI BAGH WEST:PLM | 91
42 | 05/04/2018 | KPR | 10:45 | 16:00 | 05:15 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR KHANPUR COMP. CENTER , RMU:BUS BAR COUPLING CLEANED/REPLACED/REPAIRED | RESTORED/ REPAIRED | Part of : TRF-1 S/STN RPS FLATS,KHAN PUR | 273
43 | 05/04/2018 | ALN | 10:04 | 12:49 | 02:45 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 EPDP S/S-3:ID | 104
44 | 05/04/2018 | NJF | 10:00 | 13:50 | 03:50 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDRGOYALA DAIRY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.4, 25 TRF-1:ANATH ASHRAM, TAJPUR ROAD, 400TRF-1:DEFENCE ENCLAVE GOYLA-TAJPUR RD, 25 TRF-1:GYAN DEVI VILL CHHAWLA, 400TRF-1:SANTHOMAS SCHOOL, 100TRF-1:ANAND GOELA, 25 TRF-1:RAMPAT RAMDHAN, VILL TAJPUR, 400 TRF-2:VILLAGE TAJPUR 2, 100TRF-1:ANAND GOELA, ST. LT. DT CHAWLA, CHAWLA QUTUB VIHAR ROAD, 400 TRF-1:QUTUB VIHAR PHASE-II, 25 TRF-1:RAM NARAYAN VILL. CHHAWLA, 100TRF-1:ANAND GOELA, 400TRF-1:SANTHOMAS SCHOOL, 25 TRF-1:NRAYAN SWARUP,QUTUB VIHAR RD VILL CHHAWL, 400TRF-1:SHYAM KUNJ Near Vill Goyla, 400 TRF-1:VILLAGE GOELA STN 2, 25-1:NEAR BISHNA S/SN VILL GOELA | 559
45 | 05/04/2018 | NZD | 10:00 | 13:50 | 03:50 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:M-BLOCK LAJPAT NAGAR-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 M-BLOCK NURSERY, LAJPAT NAGAR-2: K | 280
46 | 05/04/2018 | NJF | 09:04 | 11:58 | 02:54 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:VILL KHARKHARI NAHAR | 132
47 | 05/04/2018 | DWK | 13:13 | 14:47 | 01:34 | EMERGENCY SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 TRF:1 NO.3 SEC-12 PKT-2 | 189
48 | 05/04/2018 | VKP | 10:38 | 12:11 | 01:33 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:UTTAM NAGAR , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1: PREM NAGR(MAIN NJF ROAD) | 216
49 | 05/04/2018 | MDK | 10:35 | 12:34 | 01:59 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , 11KV FEEDER:REPLACEMENT OF JUMPER | RESTORED/ REPAIRED | Part of : 16TRF-1:HANDGI OPP AKASH VIHAR, 400TRF-1-:BRAHMPURI SSTN, 630TRF-1-:POLICE ENC, 16TRF-1:MAHAVIR PRASAD OPP AKASH VIHAR, 100TRF-1:MCD SCHOOL BAPROLLA:PM, 25TRF-1:S/S JAI VIHAR , NAJAFGARH ROAD, 630TRF-1:JAI VIHAR MUNDKA, 630TRF-1:CHANCHEL PARK S/STN NO - 3 | 421
50 | 05/04/2018 | VKJ | 10:15 | 12:01 | 01:45 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HOLY CHOWK BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 CHAUPAL BIJWASAN; TRF-1 D/H TANK WATER SUPPLY BIJWASAN P/M | 233
51 | 05/04/2018 | VKJ | 09:59 | 11:32 | 01:32 | EMERGENCY SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , TRANSFORMER:OIL TOP UP | RESTORED/ REPAIRED | Part of : TRF-1 BADAM MARKET NH-8 | 187
52 | 05/04/2018 | JKP | 12:28 | 13:35 | 1:07 | EHV TRIPPING | DUE TO O/L MAYAPURI TO F-BLK MAYA PURI | SUPPLY RESTORED | F-BLK MAYAPURI | 1762.2
53 | 05/04/2018 | JKP | 14:23 | 16:00 | 1:37 | EHV TRIPPING | DUE TO O/L MAYAPURI TO D-BLK KHAZAN BASTI | SUPPLY RESTORED | D-BLK KHAZAN BASTI | 1228.2

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES