## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 07/04/2018 06:00Hr. To 08/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 07/04/2018 | DWK | 08:36 | 10:03 | 01:27 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR EXT.*,*630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR*,*630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR*,*630 TRF-2: OM VIHAR EXT:ID*,*1000 TRF-1:NEW T UTTAM NAGAR*,*630 TRF-2:NEW T UTTAM NAGAR* | 546
2 | 07/04/2018 | RKP | 10:00 | 11:04 | 01:04 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR ARSD COLLEGE , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 PLM S/STN SATYA NIKETAN RING ROAD* | 51
3 | 07/04/2018 | RKP | 10:00 | 12:05 | 02:05 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 SECTOR-12, SSTN NO.-2, R.K.PURAM: ID* | 48
4 | 07/04/2018 | NGL | 10:27 | 12:47 | 02:20 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : 990TRF-1:B BLK NARESH PARK* | 78
5 | 07/04/2018 | VKP | 10:40 | 15:01 | 04:21 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:KALI BASTI, DJB (HARIJAN BASTI)*,*630 TRF-1:KALI BASTI CENTRAL SCHOOL* | 389
6 | 07/04/2018 | NHP | 11:00 | 14:18 | 03:18 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SHERA MOHALLA GARHI:PL* | 39
7 | 07/04/2018 | NHP | 11:00 | 12:53 | 01:53 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR DAYANAND KIOSK , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : TRF-1 B BLOCK DAYA NAND COLONY:PL* | 36
8 | 07/04/2018 | NJF | 11:00 | 12:11 | 01:10 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of :400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*400 TRF-:BALBIR BIJWASAN*,*25TRF-1:PARVINDER KAUR*,*25TRF-1:KANSIRAM**25TRF-1:JUGLAL CHAWLA*,*400 TRF-1:*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*100 TRF-1:STN RAGHAV PUR*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEENA KANCHAN*,*100 TRF-1:CHIRANJI KANGENHERI*,*RAVINDER KAUR*,*25TRF-1*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*TRF-1:SETNA FARM BAMLI*,*100TRF-1:DEHLI TOURSIM*,*25TRF-1:USHA FARM*,*25TRF-1*,*25TRF-1:USHA FARM*,*100 TRF-1:SETH FARM BAMROLI*,*25 TRF-1: NASIR FARM BRIJWASAN*,*400 TRF-1:SUKHBIR RAGHAVPUR*,*NEANASIR FARM VILL. BIJWASAN*,*25TRF-1:BALBIR VILL RAGHOPUR*,*100 TRF-1:STN NR MANDIR KANGENHERI*KANGENHERI*,*RAJINDER VILL KANAGANHERI*,*25TRF-1:JAGDEEP KANGANHERI* | 610
9 | 07/04/2018 | PJB | 11:30 | 16:08 | 04:38 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PASCHIM VIHAR EXTENSION , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2:E-BLOCK MADIPUR JJ COLONY:K* | 82
10 | 07/04/2018 | SVR | 11:55 | 13:20 | 01:24 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 SR. SEC. SCHOOL MEETHAPUR;;* | 13
11 | 07/04/2018 | SKT | 12:00 | 14:28 | 02:28 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : *TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI*,*TRF-1 CHAUTALA JONA PUR:PM*BHATIA GADAIPUR*CRC Nr SULTANPUR STN,100 KVA S/S ST. LTG*OSHO DRIVE-3 GADAIPUR:PM,100 KVA S/Stn.*TRF-1 JAGDISH GADAIPUR:PL*TRF-R.B ROLLING JONA PUR:PM*TRF-1 GEN. BHATIA;PM*,*TRF-1 BALWANTI MANDI:PM*,*TRF-1 PUNJAB KESARI GADAIPUR*TRF-1 BATRA FARM,100 KVA S/Stn.*TRF-1 DOCTOR DHEESH GADAIPUR:PM*TRF-1 RAJA BABU GADAIPUR:PM*TRF-1 F-43 RASHMI RADHEY MOHAN,100 KVA S/Stn.*TRF-1 SKT103;DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 F-42 JUNEJA RADHEY MOHAN,100 KVA S/Stn.*,*TRF-1 OSHO DRIVE-1 GADAIPUR:PM,100 KVA S/Stn.*, | 539
12 | 07/04/2018 | RKP | 12:00 | 13:56 | 01:56 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-7 R.K PURAM , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-2 SECTOR-8, R.K.PURAM: ID* | 42
13 | 07/04/2018 | SVR | 12:00 | 15:10 | 03:10 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SUKHDEV VIHAR O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STREET LIGHT SAVITA VIHAR-2*,*TRF-1 SJASOLA PETROL PUMP AUTO YARD | 63
14 | 07/04/2018 | VKJ | 12:32 | 13:48 | 01:15 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : TRF-1 PLAM VIHAR RD MANDIR;;* | 27
15 | 07/04/2018 | HKS | 12:54 | 14:23 | 01:28 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR TIKONA PARK , DISTRIBUTION TRANSFORMER,:LOW OIL LEVEL, | RESTORED/ REPAIRED | Part of : TRF-1 C-1 KIOSK SDA: ID* | 34
16 | 07/04/2018 | HKS | 12:59 | 14:29 | 01:30 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , DISTRIBUTION TRANSFORMER,:LOW OIL LEVEL, | RESTORED/ REPAIRED | Part of : TRF-1 KRISHNA NAGAR-1: PKG* | 45
17 | 07/04/2018 | KPR | 14:15 | 15:29 | 01:14 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR RMU AT BATRA GRID , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-2 KHANPUR COMPLAINT CENTRE:ID* | 58
18 | 07/04/2018 | PLM | 14:16 | 16:00 | 01:43 | EMERGENCY SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MANDIR MARG , HVDS:REPLACEMENT OF DAMAGED POLE | RESTORED/ REPAIRED | Part of : 990 TRF-1:PURAN JALDAR* | 54
19 | 07/04/2018 | KPR | 14:20 | 16:04 | 01:43 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR E-1 MADANGIR PHASE-1(VIA C-BLOCK MCD SCHOOL) , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-1 E- 1, MADANGIR PH- 1:PL* | 62
20 | 07/04/2018 | PLM | 14:40 | 16:00 | 01:20 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : 630 TRF-1:DDA FLAT SEC-1 PKT-1S/SNO-1* | 234
21 | 07/04/2018 | NJF | 14:52 | 15:53 | 01:00 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *100 TRF-1:DALIP PANDWALA KALAN*,*100TRF-1:MID SHIKARPUR*,*25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*100 TRF-1:PURAN PANDWALAKALAN*,*630TRF-1:VILL DAULATPUR STN 1*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP*,*100TRF-1:INSHARAM SHIKARPUR*,*25TRF-1;MADAN PARK*,*400: VILLAGE HASSANPUR S.STN-2*,*25TRF-1:TARA CHAND, SHIKARPUR*,*16TRF-1*,*25 TRF-1: CHANDER SINGH , SHIKARPUR*,*25TRF-1:DARAM SINGH , DAULATPURI*,*RAM KALA KHABAD MORE*,*25TRF-1:HAR SWARUP , DAULATPUR*,*16 TRF-1:SCHOOL STN KHARKHARI RAUND*,*100 TRF-1:RAM KARAN DAULATPUR*,*25TRF-1:JAI LAL PRADHAN , DAULATPUR | 562
22 | 07/04/2018 | SVR | 15:31 | 16:52 | 01:21 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HVDS | 52
23 | 07/04/2018 | SKT | 16:30 | 18:37 | 2:07 | EHV SHUTDOWN | D.C SAKET TO ALL 11KV BUS BAR-3&4 | RESTORED/ REPAIRED | Part of : MODI HOSPITAL, MAX DEVKI, DDA GALI NO.20, DDA KHIRKI, MAX HOSPITAL, DLF A-4 SAKET, DDA SPORT COMLEX + DIST COURT BASEMENT F-2, ADVOCATE CHAMBER NO.1, COURT COMLEX RES SS-1&2, MGF MALL | 949.9
24 | 07/04/2018 | NJF | 18:04 | 19:26 | 01:21 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : *100 TRF-1:SHRI LAL VLG DICHAON KALON*,*VILLAGE DHICHON KALAN, S/ST NO-3*,*25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN*,**,*100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*400 TRF-1: DIGUPURA*,*100 TRF-1:JAGLUL VLG DICHOAN KALAN*,*100 TRF-1:MANGA VILLAGE DICHAON KALAN*,*25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN*,*100 TRF-1:MAIDE VILLAGE DICHOUN KALAN*,*25TRF-1:KRISHNA *,*400 TRF-1: SHIV ENCLAVE EXTN*,*GANASHI VILL DICHOAN KALAN*,*990 TRF-1:DICHAON 1*,*25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL*,*GOVT. W/S AT DIGUPURA*,*25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON*,*100 TRF-1:GANGA RAM VILL D.KALAN*,*400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI)*,*100 TRF-1:STREET LIGHT GHEVRA*,*25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN*,*25 TRF-1: RAM NATH VILL DICHAON KALAON*,*100 TRF-1:GANESHI VILL DICHAON KALAN*,*100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN* | 668
25 | 07/04/2018 | SKT | 18:06 | 19:28 | 01:22 | HT SYSTEM FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 FARM NO 23A DERA MANDI ROAD*,*TRF-1 MTNL JONA PUR-2:PM*,*TRF-1 GANGA PLAZA:PM*,*TRF-1 MCD TUBEWELL JAWAHAR COLONY MANDI:PM, TRF-1 FORM NO. 3 WESTEND AVENUE (MANDI ROAD)*,*TRF-1 BALBEER FARM SHEESHAM LANE FARM NO 2*TRF-1 TOLL TAX MANDI*,TRF-1 BAGGA FARM NO-10 DERA-MANDI ROAD*BMP PUNJ SHEESHAM LANE FARM 4 MANDI RD*TRF-1 MID MANDI:PM*TRF-1 BAJAJ FARM MANDI RD:PM*,*TRF-1 PIPE FACTORY MANDI*,SETHI FARM 19 A SULTANPUR,100 KVA S/Stn.*,*TRF-1 SKT115;ARVIND NANDA JONA PUR:PM*TRF-1 VILLAGE MANDI:PL*,*TRF-1 THAPAR FARM:PM* | 213
26 | 07/04/2018 | KPR | 20:48 | 22:50 | 2:02 | EHV TRIPPING | DUE TO B/D TUGLAKABAD TO ALL 11KV I/C-3 | RESTORED/ REPAIRED | Part of : S/S-1 F-1 SANGAM VIHAR, TUGLAKABAD EXTN SS-1, S/S-1 F-2 SANGAM VIHAR, G-2 K-19 SANGAM VIHAR | 3469.2
27 | 07/04/2018 | JKP | 21:29 | 23:15 | 01:45 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-1 :PATEL PARK SSTN, RAJOURI GARDEN*,*400 TRF-1 :LIG FLATS PLM SSTN, RAJOURI GDN*,*990 TRF-1:PATEL PARK(PKG) SSTN RAJORI GDN*,*990 TRF-1 :LIG FLATS INDOOR SSTN, RAJOURI GDN*,*990 TRF-1 :V-BLOCK SSTN, RAJOURI GARDEN*,*630 TRF-2 :V-BLOCK SSTN, RAJOURI GARDEN*,*990 TRF-2 :PATEL PARK SSTN, RAJOURI GARDEN*,*990 TRF-2 :LIG FLATS INDOOR SSTN, RAJOURI GDN* | 542
28 | 07/04/2018 | KPR | 22:50 | 23:59 | 1:09 | EHV TRIPPING | DUE TO B/D TUGLAKABAD TO ALL 11KV I/C-3 | RESTORED/ REPAIRED | Part of : S/S-1 F-1 SANGAM VIHAR, TUGLAKABAD EXTN SS-1, S/S-1 F-2 SANGAM VIHAR, G-2 K-19 SANGAM VIHAR | 2395.4
29 | 07/04/2018 | NZD | 23:50 | 01:04 | 01:13 | HT SYSTEM FAULT | Grid:LODHI ROAD (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SCOPE BUILDING NO.-17+TELEPHONE EXCHANGE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HTC 400 KVA TRF CGO COMPLEX, HTC 400 KVA TRF TELEPHONE EXCHANGE, 400 KVA TRF SUCHNA BHAWAN | 3
30 | 08/04/2018 | SVR | 02:21 | 03:58 | 01:37 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR 4-POLE POLICE STATION , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : MOHAN BABA NAGAR INDOOR SSTN*,BUDH VIHAR, TRF-1 JAIT PUR MOR*,*TRF-1 JAIT PUR MOR | 524