## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 09/04/2018 06:00Hr. To 10/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 09/04/2018 | KPR | 19:01 | 20:12 | 01:10 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR F-15 (HAMDARD D.P PUL PRAHALADPUR) , HVDS,:HVDS TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : TRF-2 SURAJ APARTMENT:ID(MIG FLAT), TRF-1 SURAJ APARTMENT:ID(MIG FLAT), TRF-1 SOUTH END APARTMENT:ID, TRF-1 144 QTS SFS PP PUR:ID, TRF-1 MATKEWALA, PUL PRAHALAD PUR:PM | 544
2 | 09/04/2018 | NJF | 15:27 | 16:58 | 01:31 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S-BLK Nr GANDHI CHOWK (NANGLI SHAKRAWATI FDR) , DISTRIBUTION TRANSFORMER,:TRANSFORMER BURNT, | RESTORED/ REPAIRED | Part of : 630TRF-1:VISHAL NANGLI SAKRAWATI, 630 TRF-1:MALHOTRA STN NANGLI SAKRAWATI, 400 TRF-1: MAHINDRA PARK NEAR NAGLI SAKRAVATI, 630 TRF-1:USHA SPINNING/KATYAL NANGLI SAKRAWATI, 630 TRF: MAINIWALA STN NANGLI SAKRAWATI, RAM MANDIR NANGLI SAKRAWATI, | 355
3 | 09/04/2018 | TGN | 14:31 | 15:40 | 01:08 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 72-SFS NO-1 T.GDN , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 990 TRF-2 :72 SFS FLATS SSTN, MAHAVIR NAGAR, 630 TRF-1 :O-BLOCK SSTN, MAHAVIR NAGAR, 400 TRF-1 :72 SFS FLATS (OUTSIDE) SSTN, M.NGR, 990 TRF-1 :K-BLOCK SSTN, NEW MAHAVIR NAGAR, | 579
4 | 09/04/2018 | JKP | 14:26 | 16:12 | 01:46 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR AJANTA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :BLK NO.-1 MAIN PARK SSTN, ASHOK NGR, 630 TRF-1 :RED MIG SSTN, RAJOURI GARDEN, | 567
5 | 09/04/2018 | SVR | 14:22 | 15:31 | 01:08 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : SSTN NO-1 MOLAR BADH EXT, TRF-1 S/STN. NO. 2 MOLAR BADH EXTN., B-BLK MOLARBAND VILL., | 436
6 | 09/04/2018 | NGL | 13:06 | 14:35 | 01:29 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN.NO-1 UDYOG NGR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 990 TRF-1:D-16 UDYOG NAGAR S/ST PL/M, 990 TRF-1: D-10 Tata Motors Udyog Ngr S/s, 630 TRF-1:PEG007;H-4, Udyog Nagar, 990 TRF-1:UDYOG NAGAR No-1, 990 TRF-2:UDYOG NAGAR No-1 | 429
7 | 09/04/2018 | NGL | 13:05 | 14:32 | 01:26 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR H-BLOCK DSIDC , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 990 TRF-1: H - Block ,S/STN NO-2, 990TRF-2: H- Block DSIDC,S/STN-1, 990 TRF-1;B- BLOCK, DSIDC NEW, 630 TRF-2;B- BLOCK, DSIDC NEW | 493
8 | 09/04/2018 | PJB | 12:26 | 14:04 | 01:38 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:B-G-3 PRAGATI APPT. PASCHIM VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1: SSTN-2, PRAGATI APPT.,PASCHIM PURI, 630 TRF-1: PKT-1(PARKWALA),PASCHIM PURI,PJB, | 574
9 | 09/04/2018 | RKP | 11:34 | 12:36 | 01:02 | HT SYSTEM FAULT | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR R.R HOSPITAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : R R HOSPITAL S/STN. MES (HT CONSUMER) | 1
10 | 09/04/2018 | VKP | 11:23 | 12:37 | 01:14 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:RAMA PARK-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : POLICE POST NJF DRAIN VIPIN GDN, 400 TRF-1:VIPIN GDN S/S-2, 400 TRF-1: VIJAY BLK MOHAN GARDEN | 490
11 | 09/04/2018 | PLM | 09:16 | 10:40 | 01:23 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-9, POKET-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SEC. 9 PKT 1SS2:ID, 100 TRF--1:Dwarika Sec-9,Petrol Pump, 630 TRF-1:Munirika Sec-7, HOME LEVING PLOT NO-14, SEC-9, 400 TRF-1:Sunview, 630 TRF-1:DDA Flat S/S-1Sec-9 PKT-II, 630 TRF-2:SEC. 9 PKT 1SS3:ID, 630 TRF-2:Munirika Sec-7, 400 TRF-1: S/S No.-2 Pkt-I, 400 TRF-2:Sunview, | 605
12 | 09/04/2018 | HKS | 08:59 | 10:15 | 01:15 | HT SYSTEM FAULT | Grid:33kV I.I.T GRID To Feeder:11kV FDR I.I.T CAMPUS S/S NO.-3 , HT CONSUMER,:CONSUMER TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : I.I.T CAMPUS S/S NO.-3 (HT CONSUMER) | 1
13 | 09/04/2018 | NGL | 08:28 | 10:00 | 01:31 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 1140 SFS , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:I/D GH-13 STN-3, 630 TRF-1:I/D GH-13 STN-4, 630 TRF-2:I/D GH-13 STN-3, 400 TRF-2:I/D GH-13 STN-1, 630TRF-1: GHKN SSTN NO-4, 400TRF-2: GH-12 SSTN-2, 630TRF-2, 400TRF-1: GH-12 SSTN-2, | 590
14 | 09/04/2018 | NJF | 08:21 | 10:04 | 01:42 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S-BLK Nr GANDHI CHOWK (NANGLI SHAKRAWATI FDR) , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 630TRF-1:VISHAL NANGLI SAKRAWATI, 630 TRF-1:MALHOTRA STN NANGLI SAKRAWATI, 400 TRF-1: MAHINDRA PARK NEAR NAGLI SAKRAVATI, 630 TRF-1:USHA SPINNING/KATYAL NANGLI SAKRAWATI, 630 TRF: MAINIWALA STN NANGLI SAKRAWATI, RAM MANDIR NANGLI SAKRAWATI, | 545
15 | 09/04/2018 | TGN | 07:57 | 09:07 | 01:10 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR KASHAVPUR FROUT AND VEGETABLE MARKET-2 , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : 990 TRF-3 :E-BLOCK SSTN, KHYALA, 400 TRF-2 :FRUIT and VEG MKT SSTN-2, K.PUR MANDI, 990 TRF-2 :E-BLOCK SSTN, KHYALA, | 663
16 | 09/04/2018 | TGN | 07:56 | 08:56 | 01:00 | HT SYSTEM FAULT | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR NEW F-BLOCK TAGORE GARDEN , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : 990 TRF-2:NEW F BLK R NAGAR, 630 TRF-1 :MASJIDWALA SSTN, NR GGS HOSP,R.NGR, | 648
17 | 09/04/2018 | DWK | 07:52 | 09:11 | 01:18 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR DEEN DAYAL UPADHYAY COLLEGE SECTOR-3 DWARKA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : DJB T/W OLD PALAM RD SS P/M, 400 TRF-1:RAJU ENCLAVE, 630 TRF-1:SURAJ VIHAR, 630-TRF-2;SURAJ VIHAR, 630TRF-1:AMBIKA ENCLAVE LVDS, 400 TRF-2:SHIVANI ENCLAVE, 400 TRF-1:SHIVANI ENCLAVE | 553
18 | 09/04/2018 | VKP | 07:52 | 08:55 | 01:03 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:RAMA PARK-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : POLICE POST NJF DRAIN VIPIN GDN, 400 TRF-1:VIPIN GDN S/S-2, 400 TRF-1: VIJAY BLK MOHAN GARDEN | 490
19 | 09/04/2018 | PLM | 07:25 | 08:52 | 01:26 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : NEW DT INSTALLED, 400 TRF-1:POCKET-13 S/SN0-2 (DAWARIKA ), 630 TRF-1:PKT-13 SSTN NO-1(DDA FALTS), 630 TRF-1: Puran nagar | 485
20 | 09/04/2018 | VKJ | 07:21 | 08:59 | 01:38 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR TEMPO STAND ANDHERIA BAGH , HT O/H,:EARTH WIRE SNAPPED, | RESTORED/ REPAIRED | Part of : TRF-1 RIDGE CASTLE APPT. MEHRAULI, TRF-1 BDO OFFICE MEHRAULI, TRF-1 WARD NO.-8 JAHAJMAHAL, TRF-1 TEMPO STAND MEHRAULI | 444
21 | 09/04/2018 | NGL | 07:11 | 09:01 | 01:49 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11 KV FDR SAINI MOHALLA NEAR WATER TANK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:OLD SAINI MOHALLA, TRF:-1 AMAN PURI, 990 TRF-1:Naresh Park Tulsi Wala S/s, NARAYAN DHARAM KANTA | 453
22 | 09/04/2018 | VKP | 07:06 | 08:10 | 01:04 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR O-BLOCK UTTAM NAGAR , :CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:BHAGWATI VIHAR, 630 TRF-1:SANJAY ENCLAVE SSIN P/M:PL, 630 TRF-1:BHAGAT ENCLAVE, | 566
23 | 09/04/2018 | DWK | 07:03 | 08:49 | 01:46 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR, 630 TRF-1:SAHYOG VIHAR P/M, 630 TRF-2:NEW T UTTAM NAGAR | 516
24 | 09/04/2018 | DWK | 06:55 | 08:23 | 01:27 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MANSHA RAM PARK , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 990 TRF-1:MANSA RAM PARK A and B BLOCK, AB BLK MANSARAM PARK SS I/D, 990 TRF-1: MANSA RAM PARK C and D BLOCK | 432
25 | 09/04/2018 | NGL | 06:52 | 07:59 | 01:06 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN-5 VIA K-25 , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 990 TRF-2: I/D UDYOG NAGAR S/STN-5, 990 TRF-1:I/D UDYOG NAGAR S/STN-5, 990 TRF-1:H54,UDYOG NAGAR, | 591
26 | 09/04/2018 | HKS | 20:13 | 21:45 | 01:31 | LT FEEDER | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR GREEN PARK EXTENSION , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 H-45, GREEN PARK-1: PKG | 79
27 | 09/04/2018 | KPR | 19:55 | 21:18 | 01:22 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , LT O/H CONDUCTOR,:CONDUCTOR SANPPED, | RESTORED/ REPAIRED | Part of : TRF-1 CPO-1 MADAN GIR PH-1 | 53
28 | 09/04/2018 | SVR | 14:15 | 15:30 | 01:14 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : 990 KVA TRF. THOKAR NO-7 SHAHEEN BAGH | 86
29 | 09/04/2018 | SVR | 13:55 | 15:29 | 01:34 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR LAV KUSH (D.P) , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : TRF-1 JAITPUR EXTN.- 1 A, J, K, L BLOCK | 85
30 | 09/04/2018 | PLM | 13:05 | 14:52 | 01:47 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV PALAM CHOWK+DURGA PARK GALI NO -04 , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : 990 TRF-1: PURAN NAGAR | 99
31 | 09/04/2018 | HKS | 12:50 | 14:16 | 01:26 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR TIKONA PARK , DISTRIBUTION TRANSFORMER,:HEAVY OIL LEAKAGE/OIL THROWN FROM TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 C-1 KIOSK SDA: ID | 78
32 | 09/04/2018 | SVR | 12:01 | 13:11 | 01:09 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 ALI CHOWK NR ALI EXT. | 92
33 | 09/04/2018 | HKS | 11:58 | 13:18 | 01:19 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-6, S.J ENCLAVE , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : TRF-1 B-6, SDA MAIN: ID | 86
34 | 09/04/2018 | HKS | 10:49 | 12:06 | 01:16 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR S-BLOCK PANCHSHEEL PARK , LT ACB,:WATER LOGGING IN THE ACB, | RESTORED/ REPAIRED | Part of : TRF-1 SADHNA ENCLAVE:K | 90
35 | 09/04/2018 | JKP | 14:00 | 16:19 | 02:19 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : 630 TRF-1 :D.S.C TRANSPORT AUTHORITY SSTN, JKP | 83
36 | 09/04/2018 | TGN | 13:00 | 16:03 | 03:03 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR EXTN.-5, C-BLOCK (V. GARDEN) , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :CandD-BLOCK SSTN, JJ CLY, KHYALA, 990TRF-1:WEST BLK SSTN,VISHNU GDN, 990 TRF-1 :CandD-BLOCK SSTN, JJ CLY, KHYALA, T-BLOCK VISHNU GARDEN PLM (O):PL, 400 TRF-1 :Z-BLOCK SSTN, VISHNU GARDEN, 990 TRF-2 :EXTN-5C SSTN, VISHNU GARDEN, 990 TRF-1 :EXTN-5C SSTN, VISHNU GARDEN, 990 TRF-1 :T-BLOCK SSTN, VISHNU GARDEN | 435
37 | 09/04/2018 | SVR | 13:00 | 17:40 | 04:40 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 ZAKIR NAGAR, 400 KVA TRF-2 ZAKIR NAGAR | 394
38 | 09/04/2018 | SVR | 12:00 | 16:54 | 04:54 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SFS NO.-1 SUKHDEV VIHAR O/H , RMU:FIXING THE COVER | RESTORED/ REPAIRED | Part of : TRF-2 SUKHDAVE VIHAR SFS-3 | 218
39 | 09/04/2018 | VKJ | 11:00 | 15:56 | 04:56 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 LAKAH RAM RAJOKARI GREEN FARM, TRF-1 Band Road-, TRF-1 ADM BIJWASAN, TRF-1 FARM NO.9 THE GREEN, | 283
40 | 09/04/2018 | VKJ | 11:00 | 12:58 | 01:58 | PLANNED SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NH-8, SHIV MURTI RANG PURI | 195
41 | 09/04/2018 | VKJ | 11:00 | 16:10 | 05:10 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , LT CIRCUIT:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 KUCHHAL S/S | 129
42 | 09/04/2018 | NGL | 10:09 | 11:56 | 01:46 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11 KV FDR SAINI MOHALLA NEAR WATER TANK , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 TRF-1:Naresh Park Tulsi Wala S/s | 73
43 | 09/04/2018 | VKP | 12:20 | 13:23 | 1:03 | EHV TRIPPING | DUE TO O/L HASTAL TO OM VIHAR PHASE-2 | SUPPLY RESTORED | OM VIHAR PHASE-2 | 1281
44 | 09/04/2018 | DWK | 8:55 | 11:10 | 2:15 | EHV TRIPPING | DUE TO B/D 220KV PPK-2 TO G-15 CKT-1 | SUPPLY RESTORED | G-15 AND G-6 | 4790