## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 12/04/2018 06:00Hr. To 13/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 13/04/2018 | JKP | 01:49 | 03:37 | 01:47 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV B-2 JANAK PURI CHANNAN DEVI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B/1A-BLOCK SSTN, JANAKPURI*,*990 TRF-1 :B1-BLOCK (GOVT. SCHOOL) SSTN, JKP*,*990 TRF-1 :B2-BLOCK (ZONAL OFFICE) SSTN, JKP*,*TRANSFORMER,11/0.433KV 630KVA OIL TYPE*,*990 TRF-1 :PLOT NO.-B1/145 SSTN, JANAKPURI*,*990 TRF-2 :B2-BLOCK (ZONAL OFFICE) SSTN, JKP | 612
2 | 12/04/2018 | PLM | 16:31 | 17:42 | 01:10 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MAHAVEER ENCLEVE, D-3 , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 100 TRF-1:HORTICULTURE | 3
3 | 12/04/2018 | DWK | 15:37 | 17:11 | 01:33 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-3 DWARKA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-2:KARUNA KUNJ S/S-1*,*630 TRF-1:SEC-3 PKT-1 SSTN-1*,*500 TRF-1:KARUNA KUNJ NO-2*,*630 TRF-1:SEC-3 DDA FLAT S/S-2*,*630 TRF-1: KARUNA KUNJ S/S-1 | 549
4 | 12/04/2018 | MDK | 14:05 | 15:26 | 01:21 | HT SYSTEM FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM*,*25TRF-1:HUKUM SINGH NEELWAL ROAD*,*100TRF-1:RAN SINGH NEELWAL:PM*,*100TRF-1:HARIZON BASTI NEELWAL:PM*,*630TRF-1:NEELWALL S/STN-1:PM*,*100TRF-1:PRABHU TUBE WEELL NEELWAL:PM*,*25TRF-1:SIMANDER JAIN MANDIR NEELWAL | 458
5 | 12/04/2018 | ALN | 09:35 | 10:49 | 01:13 | HT SYSTEM FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-2 , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN-NR. BAZAR MOHALLA*,*TRF-2 CHHURIA MOHALLA,TUGBAD:PL*,*TRF-1 KANGAR MOHALLA TUGALKABAD*,*TRF-1 GALI NO. 4 BANGALI CLY TKD VILLAGE*,*TRF-1 GALI NO. 13 BANGALI CLY TKD VILLAGE*,*TRF-1 CHHURIA MOHALLA,TUGBAD:PL*,*TRF-3 CHHURIA MOHALLA,TUGBAD:PL | 623
6 | 12/04/2018 | DWK | 08:56 | 10:03 | 01:07 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR ADARSH PRODYOGIKI + JAINPARK I/D SSTN , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : 630 TRF-1;BALAJI APPT.*,*630 TRF-2;BALAJI APPT.*,*400 TRF-2;BATUK JI SOCIETY*,*630 TRF-1;AIR INDIA, SEC-3*,*630 TRF-2;AIR INDIA, SEC-3*,*630 TRF-2:,HIMACHALI*,*630 TRF-1:,HIMACHALI*,*400 TRF-1;BATUK JI SOCIETY | 704
7 | 12/04/2018 | TGN | 08:38 | 09:51 | 01:13 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR 320-MIG VIKASHPURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :320 MIG FLATS SSTN, VIKAS PURI EXTN*,*400 TRF-2 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR*,*630 TRF-1 :DSIDC SHED SSTN, TILAK VIHAR*,*630 TRF-2 :DSIDC SHED SSTN, TILAK VIHAR*,*990 TRF-1 :HARIJAN BASTI DBL STOREY SSTN,T.NGR*,*990 TRF-1 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR*,*990 TRF-2 :320 MIG FLATS SSTN, VIKAS PURI EXTN | 745
8 | 12/04/2018 | PLM | 06:08 | 07:39 | 01:30 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 100 TRF-1X-59 P BLK*,*400 TRF-1:BAGDOLA VILL HARIJAN BASTI*,*990 TRFf-1:Bagdolla Village (Kiosk)*,*100 TRF-1:CRPF SEC-8 | 482
9 | 12/04/2018 | HKS | 16:58 | 18:27 | 01:28 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-6, S.J ENCLAVE , DISTRIBUTION TRANSFORMER,:LOW OIL LEVEL, | RESTORED/ REPAIRED | Part of : TRF-2 B-6 SDA EXTN.: ID | 231
10 | 12/04/2018 | ALN | 15:38 | 16:40 | 01:01 | LT FEEDER | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR S/S-A, C.R PARK , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 SFS 4O QTRS S/ST-A, KALKAJI:ID | 34
11 | 12/04/2018 | ALN | 15:36 | 16:40 | 01:03 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR H-BLOCK GOL CHAKKAR , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 H BLOCK KALKAJI:PL | 29
12 | 12/04/2018 | SVR | 14:02 | 15:24 | 01:22 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 BADAR PUR DDA FLATE | 42
13 | 12/04/2018 | KPR | 12:48 | 14:18 | 01:30 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR TIGRI J.J KHANPUR , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 J TIGRI (JHUGI WALA) | 49
14 | 12/04/2018 | SKT | 12:33 | 14:11 | 01:38 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR 80-BLOCK MALVIYA NAGAR , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : TRF-1 K PKT KHIRKI EXTN:ID | 28
15 | 12/04/2018 | SVR | 12:18 | 13:39 | 01:21 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 VASIST FARM HARINAGAR NO-2 | 45
16 | 12/04/2018 | SKT | 11:22 | 12:50 | 01:28 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR F-BLOCK MALVIYA NAGAR , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : TRF-1 F-BLOCK MALVIYA NAGAR KIOSK:K | 32
17 | 12/04/2018 | SKT | 11:12 | 13:00 | 01:48 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-4, S/S NO.-11 PUSHP VIHAR , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 SAIDULAJAB MCD T/WELL:PL | 29
18 | 12/04/2018 | SVR | 09:23 | 10:37 | 01:14 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 PATERA | 38
19 | 12/04/2018 | JKP | 14:40 | 15:54 | 01:14 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR TIHAR JAIL NO.-5 , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : TIHAR JAIL NO.-5 (HT CONSUMER) | 1
20 | 12/04/2018 | SVR | 14:04 | 16:53 | 02:49 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-6 NEW FRIENDS COLONY , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN-6 NEW FRIENDS COLONY | 168
21 | 12/04/2018 | PLM | 12:44 | 14:52 | 02:08 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D-1 & D-2, MAHAVIR ENCLAVE , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 TRF-1:F1,F2 MAHAVIR ENCL.:ID | 41
22 | 12/04/2018 | SVR | 12:30 | 16:49 | 04:19 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA PLINTH S/S , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 KHAJOORI ROAD PLM*,*TRF-1 KHAJOORI ROAD PLM | 442
23 | 12/04/2018 | NGL | 12:26 | 15:41 | 03:15 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR HINDUSTAN HOUSING SOCIETY , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2 I/D GHK NGR STN-1*,*630 TRF-1:PLM GHK NAGAR STN-3*,*630 TRF-1:I/D GHK NGR STN-1*,*630TRF-2: GHKN SSTN NO-2 | 643
24 | 12/04/2018 | JKP | 12:00 | 14:57 | 02:57 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV TIHAR JAIL , RMU:GAS REFILLING | RESTORED/ REPAIRED | Part of : 400 TRF-1 :SSTN NO.-2, TIHAR JAIL, JANAKPURI*,*400 TRF-1 :NEW BEGGAR HOME SSTN, JANAKPURI | 314
25 | 12/04/2018 | PJB | 11:30 | 16:42 | 05:12 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PASCHIM VIHAR EXTENSION , TRANSFORMER:REPLACEMENT OF LOCAL CABLE | RESTORED/ REPAIRED | Part of : 990 TRF-1:E-BLK MADIPUR | 322
26 | 12/04/2018 | SKT | 11:10 | 17:20 | 06:10 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 STN-14 SEC-7 PUSHAP VIHAR:ID*,*TRF-2 STN-14 SEC-7 PUSHAP VIHAR:ID | 491
27 | 12/04/2018 | PJB | 11:04 | 14:08 | 03:04 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:D.T.C DEPOT , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 630 TRF-2: A-1 KOTHIWALA,PASCHIM VHR,PJB | 277
28 | 12/04/2018 | VKJ | 11:04 | 13:56 | 02:52 | PLANNED SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ARJUN CAMP OUTDOOR S/STN | 278
29 | 12/04/2018 | SKT | 11:00 | 13:38 | 02:38 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 SULTAN PUR COLONY:ID*,*TRF-2 SULTAN PUR COLONY:ID | 512
30 | 12/04/2018 | RKP | 11:00 | 17:46 | 06:46 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR ARSD COLLEGE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 PLM S/STN SATYA NIKETAN RING ROAD | 35
31 | 12/04/2018 | VKJ | 11:00 | 14:01 | 03:01 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR B-7, S/S NO.-7, VASANT KUNJ , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 MASOODPUR VILLAGE TR.-2 | 36
32 | 12/04/2018 | VKJ | 11:00 | 16:07 | 05:07 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DJB VASANT KUNJ | 34
33 | 12/04/2018 | SKT | 11:00 | 16:02 | 05:02 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-1 SFS SEKH SARAI PHASE-1 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-2 SHOPPING CENTER SHEK SARAI PHASE-1:ID*,*TRF-1 SHOPPING CENTER SHEK SARAI PHASE-1:ID | 432
34 | 12/04/2018 | SKT | 11:00 | 17:11 | 06:11 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NEAR PAHWA FARM SATBARI:PM*,*TRF-1 B 9A ANSAL, VILLAGE SATBARI*,*TRF-1 C 10, ANSAL VILLA SATBARI*,*TRF-1 B-1 FARM ASOLA*,*TRF-1 BABA HARBANS SATBARI:PL*,*TRF-1 MAN SINGH GAUSHALA:PM*,*TRF-1 FARM NO 9 B, ANSAL SATBARI*,*TRF-1 MAN SINGH GAUSHALA:PM*,*TRF-1 VARUN FARM-GOSHALA ROAD*,*TRF-1 C-8 ANSAL SATBARI;PM*,*TRF-1 NIA FARM:PM*,*TRF-1 F-10 ANSAL KHULLAR FARM*,*TRF-1 B-3 ANSAL VILLA*,*TRF-1 ANSAL SATBARI A-6*,*TRF-1 A-12 ANSAL SATBARI:PL*,*TRF-1 A 18 - ANSAL VILLA, SATBARIA*,*TRF-1 C 11, ANSAL VILLA*,*TRF-1 MAN SINGH GAUSHALA:PM*,*TRF-1 C-2 ANAND FARM ANSAL VILLA*,*TRF-1 F-10 ANSAL KHULLAR FARM*,*TRF-1 C-2 ANAND FARM ANSAL VILLA | 438
35 | 12/04/2018 | JKP | 10:00 | 14:57 | 04:57 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : 630 TRF-2 :FATEH NAGAR SSTN,MAYAPURI | 39
36 | 12/04/2018 | TGN | 09:04 | 12:57 | 03:53 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR WATER TANK TILAK NAGAR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-2 :24-BLOCK SSTN, TILAK NAGAR | 309
37 | 12/04/2018 | RKP | 13:43 | 15:29 | 01:46 | EMERGENCY SHUTDOWN | Grid:J.N.U. (66/33/11kV) GRID SSTN To Feeder:11kV FDR BUDH VIHAR O/H , RMU:PREVENTIVE MAINTENANCE OF RMU | RESTORED/ REPAIRED | Part of : TRF-1 BUDH VHR (BABA GANGNATH MARG)MUNIRKA:PL | 208
38 | 12/04/2018 | NGL | 12:01 | 13:58 | 01:57 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : 990TRF-1:B BLK NARESH PARK | 43
39 | 12/04/2018 | KPR | 11:53 | 13:10 | 01:17 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-1 KRISHNA PARK ( D BLOCK):ID | 52
40 | 12/04/2018 | KPR | 11:04 | 12:32 | 01:27 | EMERGENCY SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR F-15 (HAMDARD D.P PUL PRAHALADPUR) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 144 QTS SFS PP PUR:ID | 48
41 | 12/04/2018 | NZD | 10:46 | 12:40 | 01:54 | EMERGENCY SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11 kV FDR I-BLOCK,LAJPAT NAGAR-1, FEEDER-2 , LT ACB:SOCKET REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 I-BLOCK LAJPAT NAGAR-1: K | 24
42 | 12/04/2018 | NGL | 10:04 | 12:44 | 02:36 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , TRANSFORMER:PLINTH RAISING | RESTORED/ REPAIRED | Part of : 630 TRF-1 LAXMI PARK NO-2 I/D | 47