## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 14/04/2018 06:00Hr. To 15/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 14/04/2018 | NZD | 07:20 | 08:25 | 01:05 | HT SYSTEM FAULT | Grid:EXHIBITION GROUND-II (33/11kV) GRID SSTN To Feeder:11kV FDR BHAIRON ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 NH-24 NOIDA MORE STREET LIGHTING: PL*,*TRF-1 GAIL QUARTERS, RING ROAD*,*TRF-1 CISF (CASTING YARD) NANGLA MACHI: P/M*,*TRF-1 HTC:I.P. EXTN YARD (220 KV): ID*,*TRF-1 BHAIRON ROAD PUMPING STATION: ID*,*TRF-1 GATE-1 MILLENIUM PARK DEPOT (DTC)RING RD*,*TRF-1 CNG FILLING STATION NANGLA MANCHI: P/M*,*TRF-1 RMU NR PRAGATI POWER PROJECT GATE: OD | 112
2 | 14/04/2018 | JFR | 08:15 | 09:44 | 01:28 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100 TRF-1:DALIP PANDWALA KALAN*,*100TRF-1:MID SHIKARPUR*,*25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*100 TRF-1:PURAN PANDWALAKALAN*,*630TRF-1:VILL DAULATPUR STN 1*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP*,*100TRF-1:INSHARAM SHIKARPUR*,*25TRF-1;MADAN PARK*,*400: VILLAGE HASSANPUR S.STN-2*,*25TRF-1:TARA CHAND, SHIKARPUR*,*16TRF-1*,*25 TRF-1: CHANDER SINGH , SHIKARPUR*,*25TRF-1:DARAM SINGH , DAULATPURI*,*RAM KALA KHABAD MORE*,*25TRF-1:HAR SWARUP , DAULATPUR*,*16 TRF-1:SCHOOL STN KHARKHARI RAUND*,*100 TRF-1:RAM KARAN DAULATPUR*,*25TRF-1:JAI LAL PRADHAN , DAULATPUR*,*MILAN TRF DAULATPUR OPP GOVT SCHOOL*,*630 TRF-1:VILLAGE PANDWALA KALAN 2*,*RANDHIR , DAULATPUR*,*400 TRF-1:VILLAGE HASSANPUR*,*KRISHAN TRF KHARKHARI ROUND*,* TRF-1:VILLAGE UJWA 2*,*100 TRF-1:RAM CHANDER HASSANPUR*,*400 TRF-1:VILLAGE DAULATPUR 2*,*100 TRF-1:CHET RAM HASSANPUR*,*25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR*,*25TRF-1:HIRA LAL , ASALATPUR , KHAWAD*,*SIRI CHAND KHARKHARI ROND*,*100 TRF-1:SONU DUT PANDWALAKALAN*,*100 TRF-1:PARAS RAM SHIKARPUR*,*SATYAPAL and ANIL TRF DAUALTPUR | 542
3 | 14/04/2018 | JFR | 08:21 | 09:39 | 01:18 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 25 TRF-1:KHAZAN SINGH VILL M. KHURD*,*100 TRF-1:AOP VILL V MUNDELLA KALAN*,*MANOJ VILL MUNDELA KHURD*,*25 TRF-1: NAFE SINGH MUNDELA KHURD*,* BADLEY VILL MUNDELA KALAN/ SATISH*,*100 TRF-1:JOTE RAM VLG MUNDELLA KALAN*,*KARAN SINGH VILL MUNDELA KHURD*,*25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN*,*100 TRF: T/WELL S/TN. DICHAON*,*100 TRF-1:RAM KISHN VLG MUNDELLA KALAN*,*16 TRF-1:J P FARM NR REWTA MODE*,*NAWAL SINGH MUNDELA KHURD*,*100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN*,*100 TRF-1:PARTAP VLG MUNDELLA KALAN*,*25 TRF-1:W/SPLY MUNDELLA KHURD*,*OMPRAKASH VILL-KAIR*,*25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.*,*SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC*,*25 TRF-2: HARDWARI NO.1 MUNDELA KHURD*,*100 TRF-1: ST LT FOR MUNDHELA KHURD*,*25 TRF-1: NIHAL SINGH MUNDELA KHURD,P/M,S/STN*,*NIHAL SINGH MUNDELA KHURD*,*25 TRF-1:BANWARI LAL VILL. M KHURD*,*JOGINDER VILL-MUNDELA KALAN*,*NOT IN EMG*,*25 TRF-1: UMED SINGH MUNDELA KHURD*,*400 TRF-1:SUBH RAM V MUNDELLA KALAN*,*25 TRF-1:PREM CHAND VLG MUNDELLA KHURD*,*100 TRF-1:BHIM SNG VLG MUNDELLA KALAN*,*25 TRF-1: HARDEEP VILL M. KHURD*,*100 TRF-1:RAGHUBIR VLG MUNDELLA KALAN*,*630 TRF-1:VILL MUNDELLA KHURD S/S NO.2*,*STREET LIGHT, DABUR ENCLAVE, NEAR SHANKER DHARAM*,*630 TRF-1:VILLAGE MUNDELLA KHURD*,*25 TRF-1:BUDH RAM VILL M. KHURD*,*PRANJAL VILL MUNDELA KALAN*,*100 TRF-1:W/SUPPLY VLG KAIR*,*16 TRF-1:W/SUPPLY DHANSA AT MAIN ROAD*,*100 TRF-1:RAM KISHAN VILL SAMASPUR:PM*,*25 TRF-1:DHARAM SINGH VILL M. KHURD*,*25 TRF-1:KRISHAN VILL M. KHURD*,*25 TRF-1: DHARAMPAL MUNDELA KHURD*,*25 TRF-1:JAGDISH MUNDHELA KHURD*,*100 TRF-1:RATTAN VLG MUNDELLA KHURD*,*630 TRF-1:VILLAGE MUNDELLA KALAN*,*HARDWARI NO.2 MUNDELA KHURD*,*25 TRF-1: BALJEET MUNDELA KHURD, P/M,S/STN*,*100 TRF-1:FATEY SNG VLG MUNDELLA KALAN*,*MANJU RANA MUNDELA KALAN*,*400 TRF-2: VILL MUNDELLA KALAN:PM*,*100 TRF-1:GOVT SR S. SCHOOL VILL MUNDEL | 814
4 | 14/04/2018 | HKS | 09:28 | 10:53 | 01:25 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR TIKONA PARK , LT O/H CONDUCTOR,:CONDUCTOR SANPPED, | RESTORED/ REPAIRED | Part of : TRF-2 C-1, TIKONA PARK,SDA: ID | 21
5 | 14/04/2018 | PJB | 09:47 | 11:34 | 01:47 | LT FEEDER | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:ROAD NO- 43 , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : SHIVAJI PARK, PJB | 44
6 | 14/04/2018 | ALN | 09:58 | 11:38 | 01:39 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR VILLAGE TEHKHAND , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 MULTANI MOHALLA TEKHAND:PL | 38
7 | 14/04/2018 | NZD | 10:00 | 14:41 | 04:41 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : TRF-1 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL | 421
8 | 14/04/2018 | RKP | 10:00 | 11:19 | 01:19 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-7 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 EKTA VIHAR DJB BOOSTER PUMP: PKG | 1
9 | 14/04/2018 | ALN | 10:02 | 11:42 | 01:40 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-9 VIA B-133 OKHLA PH.-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO.4, OKHLA PH- 1:ID | 23
10 | 14/04/2018 | ALN | 10:05 | 11:35 | 01:29 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-3 OKHLA PHASE-1 , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO.3, OKHLA PH- 1:ID | 18
11 | 14/04/2018 | ALN | 10:07 | 11:37 | 01:29 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-2 OKHLA PH.-1 , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO.2, OKHLA PH- 1:ID | 24
12 | 14/04/2018 | NJF | 10:20 | 15:53 | 05:33 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:JUGLAL CHAWLA*,*25TRF-1:USHA FARM*,*100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD*,*SATPAL RANA MLA VILL BIJWASAN*,*TRF-2:KHAJAN BIJWASAN*,*25TRF-1:KANSIRAM*,*100 TRF-1:SISH RAM KANGENHERI RD CHH*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEAR USHA FARM*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*25TRF-1*,*RAVINDER KAUR*,*25TRF-1:MANJEET CHAWLA*,*100 TRF-1:BAHI RAM CHHAW LA*,*400 TRF-1:*,*100TRF-1:DEHLI TOURSIM*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*100 TRF-:KURIA KANGENHERI*,*TEK CHAND RAGHAVPUR*,*100TRF-1:CHET RAM CHHAWLA*,*25TRF-1*,*100 TRF-1:CHIRANJI KANGENHERI*,*400 TRF-1:CHHAWLA 1*,*NOT IN EMG*,*100 TRF-1:ROOP RAM KANGENHERI*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*25TRF-PRITAM SINGH KAGANHERI*,*25TRF-1;BALVEER KAUR*,*CHANDRABAN VILL BADUSARAI*,*25TRF-1:DHRUV AGGARWAL*,*TRF-1:SETNA FARM BAMLI*,*25TRF-1*,*400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*100 TRF-1:GHAN SHAMCHHAWLA | 677
13 | 14/04/2018 | SVR | 10:30 | 14:58 | 04:28 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ZAKIR NAGAR*,*TRF-2 ZAKIR NAGAR | 435
14 | 14/04/2018 | ALN | 10:57 | 12:11 | 01:14 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/S NEAR C-1OO,DDA SHEADS OKHLA PH- 1:PL | 22
15 | 14/04/2018 | ALN | 11:00 | 17:45 | 06:45 | PLANNED SHUTDOWN | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:GIRI NAGAR NO.-1 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 GOVINDPURI GALI NO-7:PL | 41
16 | 14/04/2018 | VKJ | 11:00 | 16:42 | 05:42 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 KHANA BIJWASAN | 214
17 | 14/04/2018 | KPR | 11:00 | 13:04 | 02:04 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-2,MADANGIR(VIA S/S NO.-15) , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 POLICE POST MADANGIR:PM | 227
18 | 14/04/2018 | ALN | 11:02 | 12:19 | 01:17 | LT FEEDER | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/S NEAR NIRULA , OKHLA PH- 1 ,C-43:PL | 19
19 | 14/04/2018 | VKP | 11:02 | 12:50 | 01:47 | EMERGENCY SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DELHI JUD. NO.-2, SECTOR-14 + 11kV FDRN SAINIK ENCLAVE , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1:SHIDHATRY ENCLAVE | 272
20 | 14/04/2018 | SVR | 11:04 | 15:01 | 03:57 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR D.L.F TOWER-B , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DLF TOWER-B | 1
21 | 14/04/2018 | SVR | 11:04 | 15:02 | 03:58 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-6 SHAHIN BAGH NEAR POLICE CHOKI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 A-80 SHAHEEN BAGH*,*TRF-1 E-BLOCK SHAHEEN BAGH*,*TRF-1 SAHIN BAGH A,BLOCK | 621
22 | 14/04/2018 | ALN | 11:05 | 12:22 | 01:17 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S-A OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO.5, OKHLA PH- 1:ID | 32
23 | 14/04/2018 | VKJ | 12:04 | 13:49 | 01:45 | PLANNED SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GAIL*,*TRF-1 ARJUN CAMP OUTDOOR S/STN*,*TRF-1 PHOOTA KAUN MAHIPAL PUR*,*TRF-1 GUPTAWALA INDOOR S/STN*,*TRF-1 A BLK-MAHIPALPUR NO.1*,*TRF-1 ST.LT. NEAR GROUP-4, NH-8*,*TRF-1 G.N.6 NH8MHP OUTDOOR S/STN*,*TRF-2 A BLK-MAHIPALPUR NO.1*,*TRF-1 NEAR GROUP FOUR TRF, MAHIPALPUR | 538
24 | 14/04/2018 | SVR | 12:13 | 13:16 | 01:03 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : D-BLK KHADDA COLY JAITPUR-2 | 54
25 | 14/04/2018 | KPR | 12:20 | 13:47 | 01:26 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1, FEEDER-1 SANGAM VIHAR , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 F-1S/S-1 | 56
26 | 14/04/2018 | PLM | 13:04 | 16:44 | 03:40 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D-1 & D-2, MAHAVIR ENCLAVE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1:F1,F2 MAHAVIR ENCL.:ID | 39
27 | 14/04/2018 | VKJ | 13:21 | 14:25 | 01:03 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR MOTHER DAIRY S/S VIA WARD NO.2 (RMU) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 BABA KI TANKI*,*TRF-1 MOTHER DAIRY MEHRAULI*,*KALI MANDIR NEAR WARD NO 2 | 459
28 | 14/04/2018 | SVR | 13:26 | 14:50 | 01:24 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : TRF-1 OPP. HARI KOTHI ABUL FAZAL ENCLAVE | 78
29 | 14/04/2018 | SVR | 13:50 | 15:01 | 01:11 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 H-BLOCK S.N PURI | 284
30 | 14/04/2018 | KPR | 13:52 | 17:25 | 03:33 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR E-1 MADANGIR PHASE-1(VIA C-BLOCK MCD SCHOOL) , RMU:TO CHECK PROTECTION SETTING | RESTORED/ REPAIRED | Part of : TRF-1 E- 1, MADANGIR PH- 1:PL | 287
31 | 14/04/2018 | SVR | 14:00 | 15:04 | 01:04 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR NEW FRIENDS COLONY S/S NO.-1 , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 S/STN-2 NEW FRIENDS COLONY | 122
32 | 14/04/2018 | SVR | 14:41 | 16:00 | 01:18 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR DP SKS , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TAJPUR PAHARI | 43
33 | 14/04/2018 | ALN | 15:17 | 16:55 | 01:38 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR FDRMUNJAL, KALKAJI EXTN. , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 MUNJAL KALKAJI:PL:PG | 28
34 | 14/04/2018 | VKP | 15:30 | 16:59 | 01:28 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:RAJHANS VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 400 TRF-1:DEEP ENCLAVE S/S NO 1 | 49
35 | 14/04/2018 | PLM | 15:34 | 17:18 | 01:44 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MANDIR MARG , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : 990-TRF2:MAHAVEER MARG- | 84
36 | 14/04/2018 | JKP | 16:15 | 17:17 | 01:01 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV C-88 MAYAPURI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-3 :PLOT NO.:C-88 SSTN, PH-2, MYP*,*990 TRF-1 :PLOT NO.:C-11 SSTN, PH-2, MAYAPURI*,*990 TRF-2 :PLOT NO.:C-88 SSTN, PH-2, MYP*,*1000 TRF-1 :C-146(MATAMANDIR) SSTN, PH-2,MYP*,*990 TRF-1 :PLOT NO.:C-88 SSTN, PH-2, MYP*,*990 TRF-1 :PLOT NO.:C-56 SSTN, PH-2, MYP | 686
37 | 15/04/2018 | JKP | 05:20 | 06:58 | 01:38 | HT SYSTEM FAULT | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR GURUDWARA RAJORI GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 :GURUDWARA SSTN, RAJOURI GARDEN*,*630 TRF-2 :SHAKTI MANDIR SSTN, RAJOURI GARDEN*,*990 TRF-1 :GH-BLOCK SSTN, RAJOURI GARDEN*,*630 TRF-1 :GURUDWARA SSTN, RAJOURI GARDEN*,*990 TRF-1 :SHAKTI MANDIR SSTN, RAJOURI GARDEN*,*630 TRF-2 :GH-BLOCK SSTN, RAJOURI GARDEN*,*990 TRF-2 :ARYA SAMAJ MANDIR SSTN, RAJOURI GDN*,*990 TRF-1 :A2-BLOCK (BANKWALA) SSTN, R.GDN*,*990 TRF-2:A2-BLOCK (BANKWALA) SSTN, R.GDN*,*630 TRF-1 :ARYA SAMAJ MANDIR SSTN, RAJOURI GDN | 724