## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## TPDDL BULLETIN
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___06-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-06 | Civil Lines | 13:07 | 14:14 | 1:07 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Malka Ganj | 301 | Interruption due to fault
2 | 2018-04-06 | Keshav Puram | 15:52 | 17:57 | 2:05 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Neutral Burnt | Restored/Repaired | Parts of : Ganesh Pura | 313 | Interruption due to fault
3 | 2018-04-06 | Narela | 10:39 | 0.54236 | 2:22 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : DSIDC Narela | 315 | Planned outage
4 | 2018-04-06 | Civil Lines | 11:38 | 15:12 | 3:34 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Vijay Nagar | 316 | Planned outage
5 | 2018-04-06 | Keshav Puram | 19:00 | 23:30 | 4:30 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Wazirpur | 324 | Force Majeure due to Storm and Water Logging
6 | 2018-04-06 | Shakti Nagar | 09:46 | 17:11 | 7:25 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : Vivekanand Puri | 326 | Planned outage
7 | 2018-04-06 | Civil Lines | 10:36 | 0.66667 | 5:25 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Civil Lines | 339 | Planned outage
8 | 2018-04-06 | Keshav Puram | 17:47 | 21:00 | 3:13 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Rampura | 348 | Force Majeure due to Storm and Water Logging
9 | 2018-04-06 | Model Town | 11:51 | 0.58264 | 2:09 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Azadpur | 377 | Planned outage
10 | 2018-04-06 | Shakti Nagar | 09:40 | 17:10 | 7:30 | LT FEEDER | LT Pole Cleaning | Restored/Repaired | Parts of : Shakti Nagar | 397 | System schedule maintenance
11 | 2018-04-06 | Pitam Pura | 13:54 | 0.6625 | 2:01 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : KU Block Pitampura | 399 | Planned outage
12 | 2018-04-06 | Badli | 10:33 | 0.67639 | 5:42 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Siraspur | 449 | Planned outage
13 | 2018-04-06 | Shakti Nagar | 19:13 | 21:00 | 1:47 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Shahzadabagh | 481 | Interruption due to fault
14 | 2018-04-06 | Model Town | 10:43 | 0.60556 | 3:50 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Model Town | 484 | Planned outage
15 | 2018-04-06 | Badli | 20:00 | 21:17 | 1:17 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Teachers Colony | 488 | Force Majeure due to Storm
16 | 2018-04-06 | Badli | 18:45 | 20:00 | 1:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Amar Jyoti Colony | 558 | Force Majeure due to Storm
17 | 2018-04-06 | Civil Lines | 10:31 | 15:10 | 4:39 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Roop Nagar | 568 | Planned outage
18 | 2018-04-06 | Rohini | 18:08 | 20:16 | 2:08 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sector 2 , Rohini | 657 | Force Majeure due to Storm
19 | 2018-04-06 | Pitam Pura | 9:58 | 0.70764 | 7:02 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Rani Bagh | 663 | Planned outage
20 | 2018-04-06 | Badli | 10:28 | 13:34 | 3:06 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sector 26 Rohini | 686 | Interruption due to fault
21 | 2018-04-06 | Rohini | 19:30 | 20:40 | 1:10 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sector 25 Rohini | 712 | Force Majeure due to Storm
22 | 2018-04-06 | Narela | 11:43 | 0.71667 | 5:29 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Alipur | 715 | Planned outage
23 | 2018-04-06 | Bawana | 12:18 | 13:50 | 1:32 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Harewali | 745 | Planned outage
24 | 2018-04-06 | Pitam Pura | 07:14 | 08:40 | 1:26 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : KP Block Pitampura | 799 | Interruption due to fault
25 | 2018-04-06 | Mangolpuri | 11:26 | 0.53681 | 1:27 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Sultanpuri | 827 | Planned outage
26 | 2018-04-06 | Shalimar Bagh | 19:12 | 21:38 | 2:26 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Arora Farm | 859 | Interruption due to fault
27 | 2018-04-06 | Moti Nagar | 18:00 | 19:45 | 1:45 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Inder Puri | 878 | Interruption due to fault
28 | 2018-04-06 | Rohini | 15:57 | 17:05 | 1:08 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sector 24 Rohini | 932 | Interruption due to fault
29 | 2018-04-06 | Mangolpuri | 17:59 | 22:10 | 4:11 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Pratap Vihar | 1095 | Force Majeure due to Storm and Water Logging
30 | 2018-04-06 | Moti Nagar | 18:34 | 21:37 | 3:03 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : C Block JJ Colony Inderpuri | 1218 | Force Majeure due to Storm and Water Logging
31 | 2018-04-06 | Shalimar Bagh | 18:00 | 23:25 | 5:25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Burari | 1218 | Force Majeure due to Storm and Water Logging
32 | 2018-04-06 | Narela | 18:56 | 23:38 | 4:42 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : DSIDC Narela | 1221 | Force Majeure due to Storm and Water Logging
33 | 2018-04-06 | Badli | 10:49 | 0.71319 | 6:19 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Barwala Village | 1282 | Planned outage
34 | 2018-04-06 | Shalimar Bagh | 12:04 | 0.66389 | 3:53 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : Burari | 1359 | Planned outage
35 | 2018-04-06 | Badli | 17:43 | 18:52 | 1:09 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Badli Village | 1610 | Force Majeure due to Storm
36 | 2018-04-06 | Narela | 11:24 | 0.70764 | 5:35 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Sannoth | 1625 | Planned outage
37 | 2018-04-06 | Narela | 17:50 | 20:30 | 2:40 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Hiranki | 1752 | Force Majeure due to Storm
38 | 2018-04-06 | Bawana | 15:40 | 17:05 | 1:25 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Kanjhawala | 2068 | Interruption due to fault
39 | 2018-04-06 | Keshav Puram | 17:52 | 19:20 | 1:28 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Narang Colony | 2134 | Force Majeure due to Storm
40 | 2018-04-06 | Shalimar Bagh | 17:08 | 19:33 | 2:25 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Bhalswa | 2248 | Interruption due to fault
41 | 2018-04-06 | Shalimar Bagh | 20:12 | 21:40 | 1:28 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Haider Pur | 2562 | Interruption due to fault
42 | 2018-04-06 | Shalimar Bagh | 10:22 | 0.71806 | 6:52 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Parts of : Jahangirpuri | 2740 | Planned outage
43 | 2018-04-06 | Bawana | 17:52 | 19:53 | 2:01 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Vijay Nagar | 2834 | Force Majeure due to Storm
44 | 2018-04-06 | Badli | 18:16 | 19:45 | 1:29 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Shahbad Dairy | 3058 | Force Majeure due to Storm
45 | 2018-04-06 | Badli | 17:45 | 19:51 | 2:06 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Barwala Village | 3083 | Force Majeure due to Storm
46 | 2018-04-06 | Bawana | 19:36 | 20:44 | 1:08 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Ranikhera | 3688 | Force Majeure due to Storm
47 | 2018-04-06 | Rohini | 17:39 | 19:02 | 1:23 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Avantika | 3750 | Interruption due to fault
48 | 2018-04-06 | Keshav Puram | 17:50 | 18:55 | 1:05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : DSIDC JJ Colony | 3806 | Force Majeure due to Storm
49 | 2018-04-06 | Bawana | 18:53 | 22:50 | 3:57 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Punjab Khor | 4455 | Force Majeure due to Storm and Water Logging
50 | 2018-04-06 | Rohini | 12:05 | 13:05 | 1:00 | HT SYSTEM FAULT | CAT Electrocuted | Restored/Repaired | Parts of : Rithala Village | 4882 | Interruption due to fault
51 | 2018-04-06 | Badli | 17:43 | 21:35 | 3:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sector 26 Rohini | 4950 | Force Majeure due to Storm and Water Logging
52 | 2018-04-06 | Shalimar Bagh | 21:44 | 23:07 | 1:23 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : BH Block Shalimar Bagh | 5418 | Force Majeure due to Storm
53 | 2018-04-06 | Civil Lines | 18:51 | 21:10 | 2:19 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Tripolia | 5462 | Force Majeure due to Storm
54 | 2018-04-06 | Mangolpuri | 19:30 | 23:58 | 4:28 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Budh Vihar | 5626 | Force Majeure due to Storm and Water Logging
55 | 2018-04-06 | Shalimar Bagh | 17:52 | 19:25 | 1:33 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Baba Colony | 6662 | Force Majeure due to Storm
56 | 2018-04-06 | Mangolpuri | 19:20 | 20:21 | 1:01 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Ramesh Enclave | 8033 | Force Majeure due to Storm
57 | 2018-04-06 | Narela | 18:03 | 19:46 | 1:43 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Gogha Village | 8960 | Force Majeure due to Storm
58 | 2001-04-06 | Shalimar Bagh | 21:47 | 23:05 | 1:18 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : EE Block Janhagirpuri | 1461 | Interruption due to fault
59 | 2018-04-06 22:57 | Mangolpuri | 43196.9563 | 43197.0153 | 01:25 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Mangolpuri | 2000 | Interruption due to fault
60 | 2018-04-06 20:30 | Badli | 43196.8542 | 43196.9201 | 01:35 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Samaypur | 350 | Interruption due to fault
61 | 2018-04-06 23:50 | Bawana | 43196.9931 | 43197.0868 | 02:15 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Madanpur Village | 1000 | Interruption due to fault
62 | 2018-04-06 19:40 | Mangolpuri | 43196.8194 | 43196.8889 | 01:40 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Sector 20 , Rohini | 2000 | Interruption due to fault
63 | 2018-04-06 18:20 | Shalimar Bagh | 43196.7639 | 43196.8576 | 02:15 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : IP Colony | 3358 | Interruption due to fault
64 | 2018-04-06 18:15 | Shalimar Bagh | 43196.7604 | 43196.8111 | 01:13 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Sant Nagar | 3482 | Interruption due to fault
65 | 2018-04-06 18:00 | Shalimar Bagh | 43196.75 | 43196.8299 | 01:55 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Jharoda | 4671 | Interruption due to fault
66 | 2018-04-06 18:20 | Shalimar Bagh | 43196.7639 | 43196.8514 | 02:06 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Kamal Vihar | 6304 | Interruption due to fault
67 | 2018-04-06 17:46 | Badli | 43196.7403 | 43196.8993 | 03:49 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Prahladpur | 5236 | Force Majeure due to Storm and Water Logging
68 | 2018-04-06 10:45 | Narela | 43196.448 | 43196.7165 | 06:26 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Lampur | 500 | Planned outage

## Sheet5 (hidden)
43136.5729 | 43136.6944 | 02:55 | 2:55
43136.4986 | 43136.6583 | 03:50 | 3:50
43136.7722 | 43136.8285 | 01:21 | 1:21
43136.4549 | 43136.7139 | 06:13 | 6:13
43136.4285 | 43136.7118 | 06:48 | 6:48
43136.441 | 43136.684 | 05:50 | 5:50
43136.4479 | 43136.6667 | 05:15 | 5:15
43136.475 | 43136.6625 | 04:30 | 4:30
43136.4243 | 43136.6806 | 06:09 | 6:09
43136.4153 | 43136.7104 | 07:05 | 7:05
43136.6979 | 43136.7486 | 01:13 | 1:13
43136.8778 | 43136.9549 | 01:51 | 1:51
0.45833 | 0.68403 | 05:25 | 5:25
0.55764 | 0.73125 | 4:10 | 4:10
0.68819 | 0.75764 | 1:40 | 1:40
0.49167 | 0.71806 | 5:26 | 5:26

## Sheet4 (hidden)
|  | 43131.4583 | 43131.5174 | 01:25 | 1:25 | 0:00
|  | 43131.6153 | 43131.6667 | 01:14 | 1:14 | 0:00
2018-01-31 | 2018-01-31 14:53 | 43131.5236 | 0.62014 | 02:19 | 2:19 | 0:00
|  | 43131.7222 | 43131.7917 | 01:40 | 1:40 | 0:00
|  | 43131.491 | 43131.7111 | 05:17 | 5:17 | -2.7487e-12
|  | 43131.4479 | 43131.6583 | 05:03 | 5:03 | -3.444e-11
|  | 43131.4458 | 43131.7479 | 07:15 | 7:15 | 0:00
|  | 43131.466 | 43131.7431 | 06:39 | 6:39 | 0:00
|  | 43131.4604 | 43131.7049 | 05:52 | 5:52 | -3.5572e-12
|  | 43131.4368 | 43131.7132 | 06:38 | 6:38 | -1.2935e-12
|  | 43131.4271 | 43131.6667 | 05:45 | 5:45 | -4.8506e-12
|  | 43131.4181 | 43131.7042 | 06:52 | 6:52 | 0:00
|  | 43131.45 | 43131.6285 | 04:17 | 4:17 | -3.2338e-13
|  | 43131.4868 | 43131.5382 | 01:14 | 1:14 | 0:00
|  | 43131.3028 | 43131.3576 | 01:19 | 1:19 | 0:00
|  | 43131.4924 | 44227.5382 | 01:06 | 1096.0458 | 1096
|  | 43131.5757 | 43131.7549 | 04:18 | 4:18 | 0:00
|  | 43131.6014 | 43131.6604 | 01:25 | 1:25 | -4.0422e-12
|  | 43131.5993 | 43131.7222 | 02:57 | 2:57 | -6.7909e-12
|  | 43131.6993 | 43131.7681 | 01:39 | 1:39 | -1.4552e-12
|  | 43131.6674 | 43131.809 | 03:24 | 3:24 | 0:00
|  | 0.33611 | 0.39097 | 1:19 | 1:19 | 0:00
|  | 0.30278 | 0.37847 | 1:49 | 1:49 | 0:00
|  | 0.44583 | 0.59097 | 3:29 | 3:29 | 0:00
|  | 0.72431 | 0.78542 | 1:28 | 1:28 | 0:00
|  | 0.80347 | 0.89583 | 2:13 | 2:13 | 0:00

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51