## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## TPDDL BULLETIN
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___09-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-09 11:10 | Shalimar Bagh | 43199.4653 | 43199.5396 | 01:47 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : C-Blk Jahangirpuri | 1771 | Interruption due to fault
2 | 2018-04-09 11:10 | Narela | 06:46 | 07:58 | 0.05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Bakhtawarpur | 1682 | Force majeure due to rain and storm
3 | 2018-04-09 11:10 | Badli | 07:19 | 09:45 | 0.10139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Rohini sec-26 | 3532 | Force majeure due to rain and storm
4 | 2018-04-09 | Rohini | 07:33 | 09:55 | 0.098611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Rithala | 6139 | Force majeure due to rain and storm
5 | 2018-04-09 | Mangolpuri | 07:30 | 10:15 | 0.11458 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Budh Vihar | 4443 | Force majeure due to rain and storm
6 | 2018-04-09 | Badli | 07:44 | 10:00 | 0.094444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Amarjyoti colony | 558 | Force majeure due to rain and storm
7 | 2018-04-09 | Rohini | 07:40 | 09:00 | 0.055556 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-24 Rohini | 1250 | Interruption due to fault
8 | 2018-04-09 | Narela | 07:03 | 08:30 | 0.060417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Alipur | 5766 | Force majeure due to rain and storm
9 | 2018-04-09 | Narela | 08:09 | 11:45 | 0.15 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Ghogha Village | 1095 | Interruption due to fault
10 | 2018-04-09 | Shalimar Bagh | 07:59 | 10:30 | 0.10486 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Wazirabad | 1154 | Interruption due to fault
11 | 2018-04-09 | Badli | 08:22 | 0.58333 | 0.23472 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Samaypur | 689 | Force majeure due to rain and storm
12 | 2018-04-09 | Bawana | 07:31 | 08:55 | 0.058333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Mubarakpur Village | 3148 | Force majeure due to rain and storm
13 | 2018-04-09 | Narela | 08:50 | 12:15 | 0.14236 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Gautam Colony | 1436 | Interruption due to fault
14 | 2018-04-09 | Bawana | 07:40 | 09:20 | 0.069444 | DAMAGE BY OTHER AGENCIES | External Object Fell on Line | Restored/Repaired | Parts of : Poothkhurd | 817 | Force majeure due to sabotage
15 | 2018-04-09 | Pitampura | 09:41 | 13:20 | 0.15208 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : CD-Block Pitampura | 665 | Interruption due to fault
16 | 2018-04-09 | Bawana | 08:00 | 09:15 | 0.052083 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jain Nagar | 5701 | Interruption due to fault
17 | 2018-04-09 | Badli | 08:09 | 09:55 | 0.073611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Libaspur | 688 | Force majeure due to rain and storm
18 | 2018-04-09 | Shalimar Bagh | 09:19 | 10:40 | 0.05625 | HT SYSTEM FAULT | CAT Electrocuted | Restored/Repaired | Parts of : Bhalswa | 2433 | Interruption due to fault
19 | 2018-04-09 | Keshav Puarm | 09:17 | 10:30 | 0.050694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Lawrence Road | 1878 | Force majeure due to sabotage
20 | 2018-04-09 | Badli | 09:19 | 11:15 | 0.080556 | DISTRIBUTION TR. | Bushing Faulty | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 516 | Interruption due to fault
21 | 2018-04-09 | Mangolpuri | 08:00 | 11:32 | 0.14722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sultanpuri | 3255 | Force majeure due to rain and storm
22 | 2018-04-09 | Mangolpuri | 0.43611 | 0.60833 | 0.17222 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Pooth Kalan | 1494 | Planned outage
23 | 2018-04-09 | Narela | 10:00 | 11:10 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Nangli Poona | 1151 | Interruption due to fault
24 | 2018-04-09 | Shalimar Bagh | 08:15 | 10:15 | 0.083333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sangam Vihar | 4566 | Force majeure due to rain and storm
25 | 2018-04-09 | Mangolpuri | 10:30 | 12:05 | 0.065972 | HVDS CABLE & OTHER SYSTEM | DD Unit Broken | Restored/Repaired | Parts of : Harijan Basti | 501 | Interruption due to fault
26 | 2018-04-09 | Mangolpuri | 08:00 | 13:55 | 0.24653 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Sultanpur Mazra | 1481 | Interruption due to fault
27 | 2018-04-09 | Bawana | 10:00 | 14:19 | 0.17986 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Vijay colony | 3757 | Interruption due to fault
28 | 2018-04-09 | Narela | 14:00 | 15:50 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Sanjay Colony | 1095 | Force majeure due to rain and storm
29 | 2018-04-09 | Shalimar Bagh | 07:54 | 11:33 | 0.15208 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Burari | 6075 | Interruption due to fault
30 | 2018-04-09 | Mangolpuri | 11:08 | 19:23 | 0.34375 | DAMAGE BY OTHER AGENCIES | LT Pole and ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Kirari | 506 | Force majeure due to sabotage
31 | 2018-04-09 | Keshav Puarm | 11:56 | 13:47 | 0.077083 | PLANNED SHUTDOWN | HT Cable Replacement | Restored/Repaired | Parts of : Rampura Village | 380 | Planned outage
32 | 2018-04-09 | Shakti Nagar | 15:08 | 0.74653 | 0.11597 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Manakpura | 599 | Planned outage
33 | 2018-04-09 | Narela | 15:15 | 17:33 | 0.095833 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Darshan Vihar | 2198 | Interruption due to fault
34 | 2018-04-09 | Narela | 18:32 | 20:15 | 0.071528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Swaroop Vihar | 3393 | Force majeure due to rain and storm
35 | 2018-04-09 | Shalimar Bagh | 08:30 | 09:52 | 0.056944 | DAMAGE BY OTHER AGENCIES | External Object Fell on Line | Restored/Repaired | Parts of : D-Blk Jahangirpuri | 5773 | Force majeure due to sabotage
36 | 2018-04-09 | Rohini | 09:56 | 11:06 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Naharpur Village | 1257 | Interruption due to fault
37 | 2018-04-09 | Badli | 09:23 | 12:37 | 0.13472 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Deep Vihar | 1925 | Interruption due to fault
38 | 2018-04-09 | Shalimar Bagh | 09:08 | 10:30 | 0.056944 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mahindra Park | 549 | Interruption due to fault
39 | 2018-04-09 | Badli | 08:30 | 09:55 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Parts of : Siraspur | 957 | Force majeure due to rain and storm
40 | 2018-04-09 | Moti Nagar | 12:20 | 14:15 | 0.079861 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Ramesh Nagar | 429 | Interruption due to fault
41 | 2018-04-09 | Bawana | 13:08 | 14:20 | 0.05 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kanjhawala | 358 | Interruption due to fault
42 | 2018-04-09 | CivilLines | 11:12:00 | 0.64583 | 0.17917 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Timarpur | 479 | Planned outage
43 | 2018-04-09 | Bawana | 16:21 | 0.73264 | 0.051389 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Karala | 566 | Interruption due to fault
44 | 2018-04-09 | Shalimar Bagh | 12:04 | 16:13 | 0.17292 | PLANNED SHUTDOWN | LT Cable Laying | Restored/Repaired | Parts of : Sant Nagar | 437 | Scheduled system maintenance
45 | 2018-04-09 | Shalimar Bagh | 11:45 | 14:45 | 0.125 | PLANNED SHUTDOWN | LT Pole Replacement | Restored/Repaired | Parts of : Janta Vihar | 698 | Scheduled system maintenance
46 | 2018-04-09 | Shakti Nagar | 0.47292 | 0.61875 | 0.14583 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : Nimri Village | 1168 | Planned outage

## Sheet5 (hidden)
43136.5729 | 43136.6944 | 02:55 | 2:55
43136.4986 | 43136.6583 | 03:50 | 3:50
43136.7722 | 43136.8285 | 01:21 | 1:21
43136.4549 | 43136.7139 | 06:13 | 6:13
43136.4285 | 43136.7118 | 06:48 | 6:48
43136.441 | 43136.684 | 05:50 | 5:50
43136.4479 | 43136.6667 | 05:15 | 5:15
43136.475 | 43136.6625 | 04:30 | 4:30
43136.4243 | 43136.6806 | 06:09 | 6:09
43136.4153 | 43136.7104 | 07:05 | 7:05
43136.6979 | 43136.7486 | 01:13 | 1:13
43136.8778 | 43136.9549 | 01:51 | 1:51
0.45833 | 0.68403 | 05:25 | 5:25
0.55764 | 0.73125 | 4:10 | 4:10
0.68819 | 0.75764 | 1:40 | 1:40
0.49167 | 0.71806 | 5:26 | 5:26

## Sheet4 (hidden)
|  | 43131.4583 | 43131.5174 | 01:25 | 1:25 | 0:00
|  | 43131.6153 | 43131.6667 | 01:14 | 1:14 | 0:00
2018-01-31 | 2018-01-31 14:53 | 43131.5236 | 0.62014 | 02:19 | 2:19 | 0:00
|  | 43131.7222 | 43131.7917 | 01:40 | 1:40 | 0:00
|  | 43131.491 | 43131.7111 | 05:17 | 5:17 | -2.7487e-12
|  | 43131.4479 | 43131.6583 | 05:03 | 5:03 | -3.444e-11
|  | 43131.4458 | 43131.7479 | 07:15 | 7:15 | 0:00
|  | 43131.466 | 43131.7431 | 06:39 | 6:39 | 0:00
|  | 43131.4604 | 43131.7049 | 05:52 | 5:52 | -3.5572e-12
|  | 43131.4368 | 43131.7132 | 06:38 | 6:38 | -1.2935e-12
|  | 43131.4271 | 43131.6667 | 05:45 | 5:45 | -4.8506e-12
|  | 43131.4181 | 43131.7042 | 06:52 | 6:52 | 0:00
|  | 43131.45 | 43131.6285 | 04:17 | 4:17 | -3.2338e-13
|  | 43131.4868 | 43131.5382 | 01:14 | 1:14 | 0:00
|  | 43131.3028 | 43131.3576 | 01:19 | 1:19 | 0:00
|  | 43131.4924 | 44227.5382 | 01:06 | 1096.0458 | 1096
|  | 43131.5757 | 43131.7549 | 04:18 | 4:18 | 0:00
|  | 43131.6014 | 43131.6604 | 01:25 | 1:25 | -4.0422e-12
|  | 43131.5993 | 43131.7222 | 02:57 | 2:57 | -6.7909e-12
|  | 43131.6993 | 43131.7681 | 01:39 | 1:39 | -1.4552e-12
|  | 43131.6674 | 43131.809 | 03:24 | 3:24 | 0:00
|  | 0.33611 | 0.39097 | 1:19 | 1:19 | 0:00
|  | 0.30278 | 0.37847 | 1:49 | 1:49 | 0:00
|  | 0.44583 | 0.59097 | 3:29 | 3:29 | 0:00
|  | 0.72431 | 0.78542 | 1:28 | 1:28 | 0:00
|  | 0.80347 | 0.89583 | 2:13 | 2:13 | 0:00

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51