## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 16.04.2018 TO 06:00 HRS OF 17.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 16.04.2018 | CCK | 43206.5112 | 43206.5756 | 1:33 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | KATRA BARIYAN CCK | 420
2 | 16.04.2018 | DGN | 43206.5062 | 43206.6069 | 2:25 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT PANEL FAULTY AT RMU SAME REPAIRED | PLOT NO-30 JHILAN DGN | 2082 | LT PANEL FAULTY AT RMU SAME REPAIRED
3 | 16.04.2018 | DRG | 43206.4708 | 43206.5497 | 1:54 | LT FEEDER | LAYING OF NEW LTAB | NEW LTAB CIRCUIT LAID | KATRA BANWARI LAL DRG | 103
4 | 16.04.2018 | DRG | 43206.4743 | 43206.544 | 1:40 | LT FEEDER | SHIFTING OF CABLE | CABLE SHIFTED ON POLE | HINDI PARK DRG | 400
5 | 16.04.2018 | JLM | 43206.5076 | 43206.5528 | 1:05 | PLANNED SHUTDOWN | PROJECT WORK | LT ACB REPLACED | RAM VIHAR-ANAND VIHAR | 40
6 | 16.04.2018 | JLM | 43206.5841 | 43206.6625 | 1:53 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CONDUCTOR SANPPED SAME ATTENDED | TEL MILL JHILMILL | 170
7 | 16.04.2018 | JLM | 43206.616 | 43206.6762 | 1:27 | PLANNED SHUTDOWN | PROJECT WORK | NEW LT CABLE CONNECTED | JAGRITI ENCLAVE-ANAND VIHAR | 350
8 | 16.04.2018 | KRN | 43206.4705 | 43206.5431 | 1:45 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | RAGHUBAR PURA GALI NO-6 | 200
9 | 16.04.2018 | KRN | 43206.484 | 43206.6875 | 4:53 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 10-RAM NAGAR | 316 | NETWORK UPGRADATION WORK
10 | 16.04.2018 | KRN | 43206.5278 | 43206.7436 | 5:11 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | GANDHI NAGAR-KAILASH NAGAR | 417 | NETWORK UPGRADATION WORK
11 | 16.04.2018 | KRN | 43206.5479 | 43206.6967 | 3:34 | PLANNED SHUTDOWN | TO REPLACE THE DAMAGED POLE | DAMAGED POLE REPLACED | BLOCK D-BALDEV PARK EAST | 118 | TO REPLACE THE DAMAGED POLE
12 | 16.04.2018 | KRN | 43206.6829 | 43206.7445 | 1:29 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | MAHILA COLONY-SEELAMPUR | 237
13 | 16.04.2018 | KWN | 43206.2817 | 43206.3583 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | RAM MOHALLA JOHRIPUR | 518
14 | 16.04.2018 | KWN | 43206.4583 | 43206.5625 | 2:30 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | C-BLOCK PREM VIHAR KWR | 302 | HVDS CABLE FAULTY SAME REPAIRED
15 | 16.04.2018 | KWN | 43206.4633 | 43206.5278 | 1:33 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | STAY WIRE BROKEN SAME REPAIRED | BRIJPURI ROAD | 2194
16 | 16.04.2018 | KWN | 43206.5139 | 43206.5625 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | C-BLOCK 3 PUSTA SONIA VIHAR | 425
17 | 16.04.2018 | KWN | 43206.5194 | 43206.679 | 3:50 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK A-SADAT PUR | 1050 | NETWORK UPGRADATION WORK
18 | 16.04.2018 | KWN | 43206.5868 | 43206.675 | 2:07 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD BURNT | HVDS LEAD REPLACED | E-BLOCK BHAGIRATHI VIHAR | 1254 | HVDS LEAD BURNT SAME REPLACED
19 | 16.04.2018 | KWN | 43206.6042 | 43206.7743 | 4:05 | HT SYSTEM FAULT | CABLE END BOX DAMAGED | CABLE END BOX REPLACED | SHIV VIHAR PHASE-1 | 273 | CABLE END BOX DAMAGED SAME REPLACED
20 | 16.04.2018 | KWN | 43206.6876 | 43206.7306 | 1:02 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | SERVICE LINE REPAIRED | BLOCK C-SHRI RAM COLONY | 1245
21 | 16.04.2018 | KWN | 43206.8993 | 43207.2917 | 9:25 | HT SYSTEM FAULT | POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE REPLACED | E-2 PUSHTA 5 SONIA VIHAR | 92 | POLE DAMAGED BY UNKNOWN VEHICLE SAME REPLACED
22 | 16.04.2018 | KWN | 43206.9636 | 43207.1019 | 3:19 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED | LT POLE REPLACED | BLOCK E-INDIRA VIHAR | 1761 | LT POLE DAMAGED SAME REPLACED
23 | 16.04.2018 | LNR | 43206.4306 | 43206.4917 | 1:28 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | DISTRICT CENTER GURU ANGAD NAGAR | 86
24 | 16.04.2018 | LNR | 43206.4375 | 43206.4861 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DDA PUMP HOUSE LNR | 173
25 | 16.04.2018 | LNR | 43206.4556 | 43206.6552 | 4:47 | PLANNED SHUTDOWN | FOR REPLACING DAMAGED BUS BAR COUPLING | BUS BAR COUPLING REPLACED | BANK ENCLAVE-LAKSHMI NAGAR | 1387 | BUS BAR COUPLING DAMAGED SAME REPLACED
26 | 16.04.2018 | LNR | 43206.4674 | 43206.5174 | 1:12 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | GANESH NAGAR COMPLEX | 609
27 | 16.04.2018 | LNR | 43206.476 | 43206.6007 | 3:00 | LT FEEDER | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | H-BLOCK SHAKKARPUR | 1445 | DISTRIBUTION BOX BURNT SAME REPLACED
28 | 16.04.2018 | LNR | 43206.4806 | 43206.6547 | 4:11 | PLANNED SHUTDOWN | FOR REPLACING FAULTY RMU | RMU REPLACED | VIJAY LAXMI APPARTMENT-MOTHER DAIRY | 85 | FOR REPLACING FAULTY HT PANEL
29 | 16.04.2018 | LNR | 43206.5194 | 43206.7287 | 5:01 | PLANNED SHUTDOWN | FOR REPLACING DAMAGED LTAB CIRCUIT | DAMAGED LTAB CIRCUIT REPLACED | BLOCK D-PREET VIHAR | 56 | FOR REPLACING DAMAGED LTAB CIRCUIT
30 | 16.04.2018 | LNR | 43206.5201 | 43206.5972 | 1:51 | PLANNED SHUTDOWN | PROJECT WORK | NEW ACB INSTALLED | BLOCK B-SWASTHYA VIHAR | 105
31 | 17.04.2018 | LNR | 43207.0527 | 43207.1232 | 1:42 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | SERVICE LINE REPAIRED | BLOCK B & C-PANDAV NAGAR | 210
32 | 17.04.2018 | LNR | 43207.1259 | 43207.2018 | 1:49 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | D-PARK PANDAV NAGAR | 210
33 | 16.04.2018 | MVR | 43206.5188 | 43206.5868 | 1:38 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | 18 BLOCK TRILOKPURI | 540
34 | 16.04.2018 | NNG | 43206.3697 | 43206.4444 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | CHUNA BHATTI MANDOLI | 430
35 | 16.04.2018 | NNG | 43206.3704 | 43206.4444 | 1:47 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | EAST GOKULPUR | 2078
36 | 17.04.2018 | NNG | 43207.1893 | 43207.2451 | 1:20 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BABARPUR WEST-BABAR PUR NNG | 1162
37 | 16.04.2018 | PHG | 43206.4889 | 43206.6662 | 4:15 | PLANNED SHUTDOWN | TO CONNECT NEW CABLE | NEW CABLE CONNECTED | BLOCK A-AMAR NAGAR | 1075 | NEW ARMOURED CABLE CONNECTED
38 | 16.04.2018 | PNR | 43206.4222 | 43206.732 | 7:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | THAN SINGH NAGAR-ANAND PARBAT | 681 | 630KVA TRANSFORMER REPLACED BY 990KVA TRANSFORMER
39 | 16.04.2018 | PNR | 43206.4611 | 43206.5551 | 2:15 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK H-WEST PATEL NAGAR | 1132 | NETWORK UPGRADATION WORK
40 | 16.04.2018 | PNR | 43206.4917 | 43206.6016 | 2:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK E-WEST PATEL NAGAR | 131 | NETWORK UPGRADATION WORK
41 | 16.04.2018 | PNR | 43206.4917 | 43206.6008 | 2:37 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 11-WEST PATEL NAGAR | 51 | NETWORK UPGRADATION WORK
42 | 16.04.2018 | PNR | 43206.4917 | 43206.6013 | 2:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 38-WEST PATEL NAGAR | 89 | NETWORK UPGRADATION WORK
43 | 16.04.2018 | PNR | 43206.4924 | 43206.6018 | 2:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 6-WEST PATEL NAGAR | 52 | NETWORK UPGRADATION WORK
44 | 16.04.2018 | PNR | 43206.4924 | 43206.6021 | 2:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | PREM NAGAR-BALJIT NAGAR | 433 | NETWORK UPGRADATION WORK
45 | 16.04.2018 | PNR | 43206.5251 | 43206.6008 | 1:49 | HT SYSTEM FAULT | TREE BRANCHE'S TOUCHING THE LINE | TREE TRIMMING CARRIED OUT | S-BLOCK WEST PATEL NAGAR | 866
46 | 16.04.2018 | PNR | 43206.6307 | 43206.8264 | 4:42 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | EASTER OIL TRANSFORMER INSTALLED | TANK ROAD MARKET PATEL NAGAR | 1650 | EASTER OIL TRANSFORMER INSTALLED
47 | 16.04.2018 | SRD | 43206.4762 | 43206.5565 | 1:56 | LT FEEDER | LT SOCKET BURNT | LT SOCKET REPLACED | KIKARWALAN VILLAGE SRD | 1442
48 | 16.04.2018 | SRD | 43206.5132 | 43206.5933 | 1:55 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND LOOSE SAME ATTENDED | BLOCK 20-OLD RAJENDRA NAGAR | 1043
49 | 16.04.2018 | VSE | 43206.4783 | 43206.5683 | 2:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | FAULT IN RMU SAME ATTENDED | KONDALI GHRAULI | 17 | RMU FAULTY SAME ATTENDED
50 | 16.04.2018 | VSE | 43206.4998 | 43206.5537 | 1:18 | LT FEEDER | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | B-BLOCK NEW ASHOK NAGAR | 828
51 | 16.04.2018 | YVR | 43206.4117 | 43206.4925 | 1:56 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | C-12 YAMUNA VIHAR | 672
52 | 16.04.2018 | YVR | 43206.4938 | 43206.6475 | 3:41 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | B-BLOCK SEELAMPUR | 1163 | NETWORK UPGRADATION WORK
53 | 16.04.2018 | YVR | 43206.5001 | 43206.5651 | 1:34 | HT SYSTEM FAULT | FOR REMOVING ILLEGAL TAPPING | ILLEGAL TAPPING REMOVED | JANTA COLONY GALI NO-7 | 3263
54 | 16.04.2018 | YVR | 43206.525 | 43206.6103 | 2:03 | PLANNED SHUTDOWN | PROJECT WORK | FOR REPLACING DAMAGED LT LEAD | B-BLOCK BHAJANPURA | 2750 | DAMAGED LT LEAD REPLACED
55 | 16.04.2018 | YVR | 43206.5444 | 43206.6082 | 1:32 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | PRC BURNT SAME REPLACED | MAUJPUR VILLAGE | 88
56 | 16.04.2018 | YVR | 43206.5763 | 43206.6396 | 1:31 | HVDS CABLE & OTHER SYSTEM | HVDS TRANSFORMER REPLACEMENT | HVDS TRANSFORMER REPLACED | E-BLOCK SEELAMPUR | 75
57 | 16.04.2018 | YVR | 43206.6069 | 43206.7326 | 3:01 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | NOOR-E-ELAHI YVR | 2635 | NETWORK UPGRADATION WORK
58 | 16.04.2018 | YVR | 43206.6174 | 43206.7329 | 2:46 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-7 YAMUNA VIHAR | 80 | NETWORK UPGRADATION WORK
59 | 16.04.2018 | YVR | 43206.6358 | 43206.6852 | 1:11 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | JAFFRABAD-MAUJ PUR | 1223
60 | 16.04.2018 | YVR | 43206.9277 | 43206.9823 | 1:19 | HT SYSTEM FAULT | FIRE IN LTAB | LTAB REPAIRED | B-BLOCK MAUJPUR | 1091