## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 17.04.2018 TO 06:00 HRS OF 18.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 17.04.2018 | DGN | 43207.5043 | 43207.5776 | 1:46 | HT SYSTEM FAULT | LTAB FAULTY | LT AB REPLACED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 60
2 | 17.04.2018 | DRG | 43207.4895 | 43207.535 | 1:06 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | KUCHA DAKHNI RAI | 918
3 | 17.04.2018 | DRG | 43207.5172 | 43207.6228 | 2:32 | PLANNED SHUTDOWN | FOR CLEANING OF BUS BAR | BUS BAR MAINTENANCE CARRIED OUT | SITA RAM BAZAR,SHANKAR GALI DRG | 830 | BUS BAR CLEANING WORK CARRIED OUT
4 | 17.04.2018 | DRG | 43207.627 | 43207.6707 | 1:03 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | OLD DUJANA HOUSE DRG | 1339
5 | 17.04.2018 | JLM | 43207.4424 | 43207.69 | 5:57 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | DAYA NAND VIHAR-ANAND VIHAR | 348 | NETWORK UPGRADATION WORK
6 | 17.04.2018 | JLM | 43207.4715 | 43207.5861 | 2:45 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SADAR BAZAR B G ROAD | 511 | NETWORK UPGRADATION WORK
7 | 17.04.2018 | JLM | 43207.4833 | 43207.5411 | 1:23 | PLANNED SHUTDOWN | TREE BRANCH TOUCHING THE LINE | TREE TRIMMING CARRIED OUT | VISHWAS NAGAR-SHAHDARA | 852
8 | 17.04.2018 | KRN | 43207.4701 | 43207.6667 | 4:43 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 9-KAILASH NAGAR | 423 | NETWORK UPGRADATION WORK
9 | 17.04.2018 | KRN | 43207.4764 | 43207.5559 | 1:55 | HT SYSTEM FAULT | TRANSFORMER REPLACEMENT | TRANSFORMER REPLACEMENT | GOVIND PURA OLD-SWASTHYA VIHAR | 1026
10 | 17.04.2018 | KRN | 43207.5486 | 43207.6181 | 1:40 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | CHANDER NAGAR BLOCK D-SHASTRI PARK | 159
11 | 17.04.2018 | KRN | 43207.8333 | 43207.8863 | 1:16 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK 9-GANDHI NAGAR | 1452
12 | 17.04.2018 | KWN | 43207.5132 | 43207.5711 | 1:23 | LT FEEDER | FOR REPLACING CT METER | CT METER REPLACED | SOM BAZAR CHOWK KARAWAL NAGAR | 488
13 | 17.04.2018 | KWN | 43207.5389 | 43207.6252 | 2:04 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK B-BRIJ PURI | 918 | LOAD BALANCING CARRIED OUT
14 | 17.04.2018 | KWN | 43207.5569 | 43207.6386 | 1:58 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | 25KVA HVDS TRANSFORMER REPLACED | O-BLOCK PHASE-4 SHIV VIHAR | 125
15 | 17.04.2018 | KWN | 43207.8125 | 43207.8839 | 1:43 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | B-BLOCK GALI NO-9 PANCHAL VIHAR | 82
16 | 17.04.2018 | KWN | 43207.8264 | 43207.9014 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-6 GOVIND VIHAR | 662
17 | 17.04.2018 | KWN | 43207.9681 | 43208.0292 | 1:28 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | GALI NO-6 MAHALXMI VIHAR | 170
18 | 17.04.2018 | LNR | 43207.4681 | 43207.6242 | 3:45 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | DEFENCE ENCLAVE-SWASTHYA VIHAR | 213 | NETWORK UPGRADATION WORK
19 | 17.04.2018 | LNR | 43207.5162 | 43207.5653 | 1:11 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK B-MANDAWALI VILLAGE | 1546
20 | 17.04.2018 | LNR | 43207.5204 | 43207.5938 | 1:46 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED | BLOCK D-VINOD NAGAR WEST | 66
21 | 17.04.2018 | LNR | 43207.566 | 43207.6124 | 1:07 | PLANNED SHUTDOWN | FOR REPAIRING DAMAGED LT LEAD | LT LEAD REPAIRED | BLOCK- D PATPAR GANJ INDUSTRIAL AREA | 35
22 | 17.04.2018 | LNR | 43207.6227 | 43207.6908 | 1:38 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED | NAVA KUNJ APARTMENT-MOTHER DAIRY | 125
23 | 17.04.2018 | MVR | 43207.3076 | 43207.4646 | 3:46 | PLANNED SHUTDOWN | PROJECT WORK | DUE TO PLANNED SHUT DOWN OF BUS BAR AT MVR-1 GRID | ADARSH MOHALLA MVR, PPG VILLAGE | 1062 | O/H CIRCUIT REPLACED BY CABLE
24 | 17.04.2018 | MVR-I | 43207.3076 | 43207.4646 | 3:46 | PLANNED SHUTDOWN | PROJECT WORK | DUE TO PLANNED SHUT DOWN OF BUS BAR AT MVR-1 GRID | LSC POCKET MYUR VIHAR-I, POCKET 7 MVR | 4369 | O/H CIRCUIT REPLACED BY CABLE
25 | 17.04.2018 | NNG | 43207.4009 | 43207.4794 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SABOLI VILLAGE-MANDOLI | 124
26 | 17.04.2018 | NNG | 43207.4075 | 43207.4819 | 1:47 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1126
27 | 17.04.2018 | NNG | 43207.4481 | 43207.5028 | 1:19 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | BLOCK B-NATHU PURA | 2536
28 | 17.04.2018 | NNG | 43207.4527 | 43207.5187 | 1:35 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | CHUNA BHATTI MANDOLI | 258
29 | 17.04.2018 | NNG | 43207.4741 | 43207.5413 | 1:37 | LT FEEDER | CONNECTION OF NEW LT CABLE | NEW LT CABLE CONNECTED | BLOCK D-SHIV VIHAR | 425
30 | 18.04.2018 | NNG | 43208.0272 | 43208.091 | 1:32 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | BABA DA DARGA-KARDAMPURI | 2216
31 | 18.04.2018 | NNG | 43208.2292 | 43208.305 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | E-BLOCK HARSH VIHAR | 860
32 | 17.04.2018 | PHG | 43207.4611 | 43207.506 | 1:05 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | HATHI KHANA-NAWAB GANJ | 788
33 | 17.04.2018 | PHG | 43207.5306 | 43207.6664 | 3:16 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | MANTOLA MOHALLA-PAHAR GANJ | 1201 | O/H CONDUCTOR REPLACED BY ARMOURED CABLE
34 | 17.04.2018 | PHG | 43207.5396 | 43207.6298 | 2:10 | PLANNED SHUTDOWN | RMU FAULTY | RMU REPAIRED | BLOCK T-SADAR BAZAR-RAM NAGAR | 802 | FAULTY RMU REPAIRED
35 | 17.04.2018 | PNR | 43207.5194 | 43207.5915 | 1:44 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 35-RAMJAS SPORTS COMPLEX FAREEDPURI | 14
36 | 17.04.2018 | PNR | 43207.5208 | 43207.605 | 2:01 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | PREM NAGAR-BALJIT NAGAR | 146 | NETWORK UPGRADATION WORK
37 | 17.04.2018 | PNR | 43207.5208 | 43207.5838 | 1:31 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | HOLLY CHOWK ANAND PARVAT | 155
38 | 17.04.2018 | PNR | 43207.5208 | 43207.6052 | 2:01 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK M-BALJIT NAGAR | 155 | NETWORK UPGRADATION WORK
39 | 17.04.2018 | PNR | 43207.5642 | 43207.6374 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK B-WEST PATEL NAGAR | 78
40 | 17.04.2018 | PNR | 43207.565 | 43207.6376 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK 21-WEST PATEL NAGAR | 529
41 | 17.04.2018 | VSE | 43207.7944 | 43207.9493 | 3:43 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX FAULTY DUE TO FIRE | DISTRIBUTION BOX REPLACED | D BLOCK GD COLONY MVR-3 | 1025 | FIRE IN DISTRIBUTION BOX SAME REPLACED
42 | 17.04.2018 | YVR | 43207.434 | 43207.5577 | 2:58 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK K-BRAHM PURI | 3733 | NETWORK UPGRADATION WORK
43 | 17.04.2018 | YVR | 43207.4754 | 43207.5453 | 1:41 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | JAFFRABAD-MAUJ PUR | 1268
44 | 17.04.2018 | YVR | 43207.5257 | 43207.7005 | 4:12 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | JJ COLONY-NEW SILAMPURI PHASE I | 861 | NETWORK UPGRADATION WORK
45 | 17.04.2018 | YVR | 43207.565 | 43207.6225 | 1:23 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK U-WELCOME COLONY | 1105
46 | 17.04.2018 | YVR | 43207.6046 | 43207.668 | 1:31 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | JAFFRABAD VILLAGE | 1245
47 | 17.04.2018 | YVR | 43207.624 | 43207.6683 | 1:04 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | MAUJPUR VILLAGE YVR | 1330