## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 18.04.2018 TO 06:00 HRS OF 19.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 18.04.2018 | CCK | 43208.6372 | 43208.6852 | 1:09 | HT SYSTEM FAULT | FAULT IN RMU | RMU REPAIRED | GALI QASHIM JAAN CHANDNI CHOWK | 258
2 | 18.04.2018 | DGN | 43208.5292 | 43208.6528 | 2:58 | PLANNED SHUTDOWN | RMU REPLACEMENT | RMU REPLACED | BLOCK 1-BHAGWANPUR KHERA | 1228 | FAULTY RMU REPLACEMENT WORK
3 | 18.04.2018 | DGN | 43208.6726 | 43208.8109 | 3:19 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | B-BLK SARDAR ALUMINIUM DGN | 170 | LT LEAD FAULTY SAME ATTENDED
4 | 18.04.2018 | DRG | 43208.4966 | 43208.545 | 1:10 | LT FEEDER | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | MANTOLA MOHALLA DARYAGANJ | 104
5 | 18.04.2018 | JLM | 43208.4417 | 43208.4896 | 1:09 | PLANNED SHUTDOWN | PROJECT WORK | FAULTY DISTRIBUTION BOX REPLACED | HARGOVIND ENCLAVE | 43
6 | 18.04.2018 | JLM | 43208.484 | 43208.5278 | 1:03 | PLANNED SHUTDOWN | PROJECT WORK | NEW CABLE CONNECTED | BHOLA NATH NAGAR-SHAHDARA | 1137
7 | 18.04.2018 | KRN | 43208.4715 | 43208.6853 | 5:08 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 10-RAGHUBARPURA NO-1 | 903 | NETWORK UPGRADATION WORK
8 | 18.04.2018 | KRN | 43208.5479 | 43208.6921 | 3:28 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-KANTI NAGAR NORTH | 1709 | NETWORK UPGRADATION WORK
9 | 18.04.2018 | KWN | 43208.2528 | 43208.3213 | 1:39 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK B-NEW CHAUHAN PUR | 609
10 | 18.04.2018 | KWN | 43208.3194 | 43208.3889 | 1:40 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD FAULTY | HVDS LEAD REPAIRED | GALI NO-5 PH-4 SHIV VIHAR | 1423
11 | 18.04.2018 | KWN | 43208.4377 | 43208.5104 | 1:45 | LT FEEDER | LTAB BURNT | LTAB REPAIRED | BLOCK J-KHAJURI KHAS | 1603
12 | 18.04.2018 | KWN | 43208.4861 | 43208.5678 | 1:58 | HT SYSTEM FAULT | TREE BRANCH TOUCHING THE LINE | TREE TRIMMING CARRIED OUT | BLOCK E-INDIRA VIHAR | 1434
13 | 18.04.2018 | KWN | 43208.5952 | 43208.6507 | 1:20 | HT SYSTEM FAULT | TREE BRANCH TOUCHING THE LINE | TREE TRIMMING CARRIED OUT | BLOCK A-SADATPUR EXTENSION | 672
14 | 18.04.2018 | KWN | 43208.6197 | 43208.6819 | 1:30 | PLANNED SHUTDOWN | TRANSFORMER REPLACEMENT | TRANSFORMER REPLACED | KHAJURI KHADDA KWR | 302
15 | 18.04.2018 | KWN | 43208.6528 | 43208.7153 | 1:30 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | GALI NO-7 F BLOCK BHAGIRATHI VIHAR | 302
16 | 18.04.2018 | KWN | 43208.8895 | 43208.9435 | 1:18 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | B-BLOCK PHASE-10 SHIV VIHAR | 125
17 | 18.04.2018 | KWN | 43208.9013 | 43208.9701 | 1:39 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-2 B BLOCK AMAR VIHAR | 310
18 | 18.04.2018 | LNR | 43208.4722 | 43208.5441 | 1:44 | PLANNED SHUTDOWN | PROJECT WORK | ACB REPLACED | BHARTI COLONY-NIRMAN VIHAR | 185
19 | 18.04.2018 | LNR | 43208.515 | 43208.5965 | 1:57 | LT FEEDER | CONNECTION OF NEW LT CABLE | NEW LT CABLE CONNECTED | BLOCK E-GANESH NAGAR | 210
20 | 18.04.2018 | LNR | 43208.5631 | 43208.625 | 1:29 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | BLOCK S-SHAKARPUR KHAS | 1940
21 | 18.04.2018 | MVR | 43208.4618 | 43208.5264 | 1:33 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK 24-TRILOKPURI PHASE II | 1393
22 | 18.04.2018 | NNG | 43208.263 | 43208.3361 | 1:45 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | CHUNA BHATTI MANDOLI | 863
23 | 18.04.2018 | NNG | 43208.3124 | 43208.3885 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME ATTENDED | BLOCK B-ANUP VIHAR | 477
24 | 18.04.2018 | NNG | 43208.4066 | 43208.4871 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-HARSH VIHAR | 477
25 | 18.04.2018 | NNG | 43208.4776 | 43208.5556 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | BLOCK B-KABIR NAGAR | 706
26 | 18.04.2018 | NNG | 43208.4997 | 43208.5771 | 1:52 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK B1-NAND NAGARI | 477
27 | 18.04.2018 | NNG | 43208.5 | 43208.5486 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK B-NATHU PURA | 1624
28 | 18.04.2018 | PNR | 43208.4903 | 43208.5614 | 1:42 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | INDUSTRIAL AREA-ANAND PARVAT | 120
29 | 18.04.2018 | PNR | 43208.5174 | 43208.7431 | 5:25 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | TRANSFORMER REPLACED | BLOCK 33-WEST PATEL NAGAR | 1609 | TRANSFORMER REPLACEMENT WORK
30 | 18.04.2018 | PNR | 43208.5208 | 43208.6059 | 2:03 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK F-PUNJABI BASTI | 130 | NETWORK UPGRADATION WORK
31 | 18.04.2018 | PNR | 43208.5208 | 43208.6061 | 2:03 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-PANJABI BASTI | 276 | NETWORK UPGRADATION WORK
32 | 18.04.2018 | PNR | 43208.5222 | 43208.6063 | 2:01 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 23 WEST PATEL NAGAR | 474 | NETWORK UPGRADATION WORK
33 | 18.04.2018 | PNR | 43208.5312 | 43208.6065 | 1:48 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 20 PATEL NAGAR | 140
34 | 18.04.2018 | PNR | 43208.8288 | 43208.9062 | 1:52 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | BAKRIWALA PRASAD NAGAR | 155
35 | 18.04.2018 | SRD | 43208.4194 | 43208.6187 | 4:47 | PLANNED SHUTDOWN | PROJECT WORK | OIL LEAKAGE FROM TRANSFORMER SAME ATTENDED | BLOCK 39-OLD RAJENDRA NAGAR | 399 | OIL LEAKAGE FROM TRANSFORMER SAME ATTENDED
36 | 18.04.2018 | SRD | 43208.4591 | 43208.5371 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CONDUCTOR SNAPPED SAME ATTENDED | BLOCK 27-OLD RAJENDRA NAGAR | 224
37 | 18.04.2018 | SRD | 43208.687 | 43208.7574 | 1:41 | HT SYSTEM FAULT | TO ATTEND HOT SPOT | HOT SPOT ATTENDED | PART OF PUSA ROAD AREA | 388
38 | 18.04.2018 | YVR | 43208.3522 | 43208.3961 | 1:03 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | E-BLOCK SEELAMPUR | 378
39 | 18.04.2018 | YVR | 43208.4278 | 43208.5434 | 2:46 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C8-YAMUNA VIHAR | 1727 | NETWORK UPGRADATION WORK
40 | 18.04.2018 | YVR | 43208.4328 | 43208.4819 | 1:11 | HT SYSTEM FAULT | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | VIJAY PARK-YAMUNA VIHAR | 2635
41 | 18.04.2018 | YVR | 43208.4832 | 43208.5281 | 1:05 | LT FEEDER | TO RELEASE NEW CONNECTION | NEW CONNECTION RELEASED | BLOCK D-BHAJANPURA | 3961
42 | 18.04.2018 | YVR | 43208.5037 | 43208.5529 | 1:11 | HT SYSTEM FAULT | FOR RMOVING FAULTY DISTRIBUTION BOX | DISTRIBUTION BOX REPLACED | JAFFRABAD-MAUJ PUR | 2406
43 | 18.04.2018 | YVR | 43208.5937 | 43208.6617 | 1:38 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | BLOCK E-NEW SILAMPURI PHASE II | 1268