## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 21.04.2018 TO 06:00 HRS OF 22.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 21.04.2018 | CCK | 43211.5694 | 43211.6471 | 1:52 | DISTRIBUTION TR. | MAINTENANCE WORK OF TRANSFORMER | TRANSFORMER MAINTENANCE WORK CARRIED OUT | KASHMIRI GATE-MORI GATE. | 555
2 | 21.04.2018 | CCK | 43211.5707 | 43211.7686 | 4:45 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | FIRE IN BUILDING | SUPPLY PUT OFF FOR SAFETY PURPOSE & AFTER CLEARANCE OF FIRE BRIGADE,SUPPLY RESTORED | BHAGIRATH PLACE,FOUNTAIN,JUBLI CINEMA. | 1552 | FIRE IN BUILDING,SUPPLY PUT OFF FOR SAFETY PURPOSE & AFTER CLEARANCE OF FIRE BRIGADE,SUPPLY RESTORED
3 | 21.04.2018 | DRG | 43211.4014 | 43211.4931 | 2:12 | HT SYSTEM FAULT | TRIPPING | HT LEAD BURNT, SAME REPAIRED | DDA FLATS-KALA MASZID,DARYAGANJ. | 1354 | HT LEAD BURNT, SAME REPAIRED
4 | 21.04.2018 | KRN | 43211.5451 | 43211.684 | 3:20 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | DHRAM PURA-KAILASH NAGAR. | 957 | DT CLEANING WORK CARRIED OUT
5 | 21.04.2018 | KRN | 43211.6284 | 43211.6974 | 1:39 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | DAMAGED WIRE'S REPAIRED | GOVIND PURA OLD-SWASTHYA VIHAR,KRISHNA NGR. | 62
6 | 21.04.2018 | KWN | 43211.4549 | 43211.6442 | 4:33 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | KARAWAL NAGAR. | 1675 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPINGS
7 | 21.04.2018 | KWN | 43211.5002 | 43211.5829 | 1:59 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | JOHRI ENCLAVE-BHAGIRATHI VIHAR. | 130
8 | 21.04.2018 | KWN | 43211.5256 | 43211.5801 | 1:18 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | BLOCK A-BABU NAGAR. | 1315
9 | 21.04.2018 | KWN | 43211.5945 | 43211.6676 | 1:45 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | SONIA VIHAR EXTENSION. | 130
10 | 21.04.2018 | KWN | 43211.7064 | 43211.7802 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | PKT W-BLOCK A,BLOCK U-SHIV VIHAR. | 130
11 | 21.04.2018 | KWN | 43211.8028 | 43211.8568 | 1:18 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK C-HARIJAN BASTI. | 86
12 | 21.04.2018 | KWN | 43211.9194 | 43211.9954 | 1:49 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FOUND DAMAGED DUE TO FLASH, SAME REPLACED | BLOCK M-SHIV VIHAR,KARAWAL NGR. | 1847
13 | 22.04.2018 | KWN | 43212.0278 | 43212.1083 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | BLOCK E-INDIRA VIHAR. | 44
14 | 22.04.2018 | KWN | 43212.091 | 43212.1417 | 1:13 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | BLOCK B-SADAT PUR,BLOCK F-WEST KARAWAL NAGAR. | 7247
15 | 21.04.2018 | LNR | 43211.4104 | 43211.4896 | 1:54 | LT FEEDER | EMERGENCY SHUTDOWN FOR TREE TRIMMING | TREE TRIMMING WORK CARRIED OUT | NEW RAJDHANI ENCLAVE-GAGAN VIHAR. | 86
16 | 21.04.2018 | LNR | 43211.4542 | 43211.5347 | 1:56 | LT FEEDER | TO ATTEND FAULT IN THE LINE | CABLE END TERMINATION DAMAGED, SAME REPAIRD | SHAKARPUR EXTN. | 1479
17 | 22.04.2018 | LNR | 43212.2389 | 43212.294 | 1:19 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BANK ENCLAVE-LAKSHMI NAGAR. | 1148
18 | 21.04.2018 | NNG | 43211.4612 | 43211.5384 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR. | 814
19 | 21.04.2018 | NNG | 43211.4616 | 43211.5358 | 1:47 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | ANUP VIHAR-MANDOLI. | 259
20 | 21.04.2018 | NNG | 43211.8611 | 43211.9163 | 1:20 | HT SYSTEM FAULT | TRIPPING | CABLE END TERMINATION DAMAGED, SAME REPAIRD | BLOCK D-HARSH VIHAR,SABOLI COLONY-MANDOLI. | 1368
21 | 21.04.2018 | NNG | 43211.8854 | 43211.9653 | 1:55 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY SAME REPAIRED | SABOLI EXTN.-MANDOLI. | 124
22 | 21.04.2018 | NNG | 43211.9167 | 43211.9724 | 1:20 | HT SYSTEM FAULT | TRIPPING | CABLE END TERMINATION DAMAGED, SAME REPAIRD | BLOCK A-SEWA DHAM,BLOCK D-MANDOLI EXTN. | 1368
23 | 21.04.2018 | NNG | 43211.9595 | 43212.0347 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-EAST GOKUL PURI,NAND NAGRI. | 1126
24 | 22.04.2018 | NNG | 43212.0624 | 43212.1181 | 1:20 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE DAMAGED, SAME REPAIRED | SABOLI EXTN.-MANDOLI,BANK OF BARODA-SABOLI COLONY. | 124
25 | 22.04.2018 | NNG | 43212.0665 | 43212.1451 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO REPAIR HVDS LEAD | HVDS LEAD FOUND DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK B-EAST GOKUL PURI. | 1126
26 | 21.04.2018 | PHG | 43211.4889 | 43211.5662 | 1:51 | PLANNED SHUTDOWN | PROJECT WORK | NEW ARMOURED CABLE LAID TO IMPROVE THE NETWORK | DDA FLATS-MOTIA KHAN. | 199
27 | 21.04.2018 | PNR | 43211.5181 | 43211.5833 | 1:34 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-BALJIT NAGAR. | 682
28 | 21.04.2018 | PNR | 43211.5181 | 43211.5837 | 1:35 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-PANJABI BASTI. | 130
29 | 21.04.2018 | PNR | 43211.5181 | 43211.5838 | 1:35 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK F-PUNJABI BASTI. | 371
30 | 21.04.2018 | PNR | 43211.5181 | 43211.584 | 1:35 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-BALJIT NAGAR,PATEL NAGAR. | 199
31 | 21.04.2018 | VSE | 43211.4488 | 43211.4981 | 1:11 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED, SAME REPAIRED | PKT 2-NEW KONDALI. | 48
32 | 21.04.2018 | VSE | 43211.5006 | 43211.5515 | 1:13 | DISTRIBUTION TR. | MAINTENANCE WORK OF TRANSFORMER | TRANSFORMER MAINTENANCE WORK CARRIED OUT | PKT 6-NEW KONDALI. | 57
33 | 21.04.2018 | YVR | 43211.4442 | 43211.5576 | 2:43 | DISTRIBUTION TR. | MAINTENANCE WORK OF TRANSFORMER | TRANSFORMER MAINTENANCE WORK CARRIED OUT | BLOCK T-GAUTAM PURI,YAMUNA VIHAR. | 842 | TRANSFORMER MAINTENANCE WORK CARRIED OUT
34 | 21.04.2018 | YVR | 43211.4657 | 43211.5444 | 1:53 | HT SYSTEM FAULT | PROJECT WORK | BUS BAR BOX REVAMPING WORK CARRIED OUT | JAFFRABAD-MAUJ PUR. | 86
35 | 21.04.2018 | YVR | 43211.4757 | 43211.5366 | 1:28 | HT SYSTEM FAULT | PROJECT WORK | DISTRIBUTION BOX REPAIRED | MAUJ PUR,YAMUNA VIHAR. | 1223
36 | 21.04.2018 | YVR | 43211.5034 | 43211.5717 | 1:38 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | CIVIL WORK | PLINTH RAISING WORK CARRIED OUT | BLOCK D-BHAJANPURA. | 2479
37 | 21.04.2018 | YVR | 43211.6061 | 43211.691 | 2:02 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPAIRED | BLOCK C-GHONDA PATTI,YAMUNA VIHAR. | 7288 | LTAB BURNT, SAME REPAIRED
38 | 21.04.2018 | YVR | 43211.6388 | 43211.692 | 1:17 | HT SYSTEM FAULT | FOR TAKING LOAD ON REPAIRED CABLE | HT CABLE REPAIRED & ENERGISED | GHONDA PATTI CHAUHAN. | 86