## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 22.04.2018 TO 06:00 HRS OF 23.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 22.04.2018 | CCK | 43212.4242 | 43212.4963 | 1:44 | HT SYSTEM FAULT | FAULT IN RMU | FAULTY RMU REPAIRED | CHAWRI BAZAR-KHUSH DIL,MAIN BAZAR. | 176
2 | 22.04.2018 | DRG | 43212.4322 | 43212.4807 | 1:10 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | DARYA GANJ,PATODI HOUSE. | 400
3 | 22.04.2018 | DRG | 43212.4892 | 43212.5337 | 1:04 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB DAMAGED DUE TO FLASH, SAME REPAIRED | MTNL TELEPHONE EXCHANGE-PATODI HOUSE,DARYAGANJ. | 18
4 | 22.04.2018 | DRG | 43212.5916 | 43212.664 | 1:44 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BINDRABAN UDYOG-KUCHA PATI RAM,DARYAGANJ. | 419
5 | 22.04.2018 | KRN | 43212.3542 | 43212.434 | 1:55 | HT SYSTEM FAULT | TO ATTEND HOT SPOTS IN THE NETWORK | HOT SPOTS ATTENDED | SAROJINI PARK-GEETA COLONY. | 732
6 | 22.04.2018 | KWN | 43212.4129 | 43212.4648 | 1:15 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BLOCK B-KARAWAL NAGAR. | 6182
7 | 22.04.2018 | KWN | 43212.5448 | 43212.6111 | 1:35 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK A-SHIV VIHAR. | 1043
8 | 22.04.2018 | KWN | 43212.812 | 43212.8558 | 1:03 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK H-WEST KARAWAL NAGAR. | 924
9 | 22.04.2018 | KWN | 43212.8778 | 43212.9521 | 1:47 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | PHASE I-SHIV VIHAR,VILLAGE-KAMAL VIHAR. | 1914
10 | 22.04.2018 | KWN | 43212.9105 | 43212.991 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | BLOCK Q-SHIV VIHAR,KARAWAL NAGAR. | 432
11 | 23.04.2018 | KWN | 43213.178 | 43213.238 | 1:26 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK CN-AMBIKA VIHAR BLOCK - B&C. | 130
12 | 22.04.2018 | MVR | 43212.8441 | 43212.918 | 1:46 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BLOCK B-GAZIPUR DAIRY FARM. | 2988
13 | 22.04.2018 | NNG | 43212.4503 | 43212.5297 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB CABLE FAULTY, SAME REPAIRED | BLOCK D-MEET NAGAR. | 3964
14 | 23.04.2018 | PHG | 43213.108 | 43213.1667 | 1:24 | HT SYSTEM FAULT | TRIPPING | HT & LT LEAD BURNT, SAME ATTENDED | B G ROAD,PHARI DHIRAJ-SADAR BAZAR. | 5362
15 | 23.04.2018 | PHG | 43213.1667 | STILL OFF | CONTINUE | DISTRIBUTION TR. | REPLACEMENT OF 990KVA TRANSFORMER | MOBILE TRANSFORMER INSTALLATION WORK IN PROGRESS | GALI BAHUJI,PAHADGANJ. | 98 | MOBILE TRANSFORMER INSTALLATION WORK IN PROGRESS
16 | 22.04.2018 | PNR | 43212.7606 | 43212.8245 | 1:32 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPAIRED | BLOCK F-PUNJABI BASTI. | 1036
17 | 22.04.2018 | YVR | 43212.508 | 43212.555 | 1:08 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BLOCK B-MANUJPUR,YAMUNA VIHAR. | 4545