## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 23.04.2018 TO 06:00 HRS OF 24.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 23.04.2018 | DGN | 43213.4611 | 43213.6035 | 3:25 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | H-BLK NAVEEN SHAHDRA. | 125 | NETWORK UPGRADATION
2 | 23.04.2018 | DGN | 43213.5035 | 43213.5621 | 1:24 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | BLOCK A-JHILMIL COLONY. | 31
3 | 23.04.2018 | DGN | 43213.5812 | 43213.8229 | 5:48 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | FIRE IN JHUGI | SUPPLY PUT OFF DUE TO FIRE IN JHUGI, ALSO LT CABLE BURNT, AREA BACKFEEDED | BLOCK A-MANSAROWAR PARK,LAL BAG JUUGI. | 1511 | SUPPLY PUT OFF DUE TO FIRE IN JHUGI, ALSO LT CABLE BURNT, AREA BACKFEEDED
4 | 23.04.2018 | DRG | 43213.6181 | 43214.1351 | 12:25 | HT SYSTEM FAULT | EMERGENCY SHUTDOWN TO REPAIR HT CABLE | HT CABLE FAULTY, SUPPLY RESTORATION DELAYED DUE TO BOTH HT SOURCES FAULTY OF HT CONSUMER | HT CONSUMER RAIL YATRI, DARYA GANJ. | 1 | HT CABLE FAULTY, SUPPLY RESTORATION DELAYED DUE TO BOTH HT SOURCES FAULTY OF HT CONSUMER
5 | 23.04.2018 | DRG | 43213.6296 | 43213.6804 | 1:13 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPAIRED | DARYA GANJ. | 154
6 | 23.04.2018 | JLM | 43213.6319 | 43213.6903 | 1:24 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | VISHWAS NAGAR. | 987
7 | 23.04.2018 | KRN | 43213.5616 | 43213.6298 | 1:38 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | AZAD NAGAR EAST,KRISHNA NGR. | 568
8 | 23.04.2018 | KRN | 43213.6152 | 43213.6898 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | WEST AZAD NAGAR,KANTI NAGAR. | 582
9 | 23.04.2018 | KWN | 43213.3611 | 43213.4194 | 1:24 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK Q-SHIV VIHAR. | 656
10 | 23.04.2018 | KWN | 43213.3611 | 43213.4375 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | TUNDA NAGAR-BHAGIRATHI VIHAR. | 4223
11 | 23.04.2018 | KWN | 43213.4028 | 43213.4653 | 1:30 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME REPLACED | NON COMM AREA-SONIA VIHAR. | 699
12 | 23.04.2018 | KWN | 43213.4812 | 43213.5625 | 1:57 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | 3-PHASE HVDS LEAD FAULTY, SAME REPAIRED | SONIA VIHAR. | 717
13 | 23.04.2018 | KWN | 43213.5619 | 43213.616 | 1:18 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPAIRED | BLOCK U-SHIV VIHAR. | 93
14 | 23.04.2018 | KWN | 43213.5651 | 43213.6173 | 1:15 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF CT METER | CT METER REPLACED | BLOCK CN-AMBIKA VIHAR BLOCK - B&C. | 106
15 | 23.04.2018 | KWN | 43213.7267 | 43213.7705 | 1:03 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BLOCK E-SADAT PUR,KARAWAL NGR. | 259
16 | 23.04.2018 | KWN | 43213.9583 | 43214.0319 | 1:46 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK D-OLD MUSTAFABAD,KARAWAL NAGAR. | 483
17 | 23.04.2018 | LNR | 43213.4722 | 43213.5896 | 2:49 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW LTAB LAID | BLOCK G-PREET VIHAR. | 164 | NEW LTAB LAID TO IMPROVE THE NETWORK
18 | 23.04.2018 | LNR | 43213.4961 | 43213.5743 | 1:53 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK A-LALITA PARK. | 130
19 | 23.04.2018 | LNR | 43213.5333 | 43213.6491 | 2:47 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK A-MANDAWALI. | 931 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPINGS
20 | 23.04.2018 | LNR | 43213.5569 | 43213.6578 | 2:25 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK B-PREET VIHAR,LAXMI NGR. | 218 | DT CLEANING WORK CARRIED OUT
21 | 23.04.2018 | LNR | 43213.595 | 43213.6994 | 2:30 | HT SYSTEM FAULT | REPLACEMENT OF RMU | OPERATION MECHANISM OF RMU FAULTY, SAME REPLACED | BLOCK R&A-SHAKARPUR KHAS. | 431 | OPERATION MECHANISM OF RMU FAULTY, SAME REPLACED
22 | 23.04.2018 | NNG | 43213.5903 | 43213.6597 | 1:40 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BLOCK D-HARSH VIHAR. | 86
23 | 23.04.2018 | PHG | 43213.5861 | 43213.7372 | 3:38 | PLANNED SHUTDOWN | PROJECT WORK | NEW ARMOURED CABLE LAID | SADAR BAZAR B G ROAD,PHARI DHIRAJ. | 199 | NEW ARMOURED CABLE LAID TO IMPROVE THE NETWORK
24 | 23.04.2018 | PNR | 43213.4611 | 43213.5278 | 1:36 | DISTRIBUTION TR. | TO ATTEND OIL LEAKAGE IN TRANSFORMER | GAS KIT & OIL SEAL OF TRANSFORMER REPLACED | BLOCK 6B-DEV NAGAR. | 983
25 | 23.04.2018 | PNR | 43213.4708 | 43213.6375 | 4:00 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | BLOCK 24-WEST PATEL NAGAR. | 109 | NETWORK UPGRADATION
26 | 23.04.2018 | PNR | 43213.6194 | 43213.6875 | 1:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | ANAND PARBAT. | 357
27 | 23.04.2018 | SRD | 43213.586 | 43213.6632 | 1:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF OLD POLE | NEW POLE INSTALLED & CABLE CONNECTED | PART I- BLOCK C-NEW RAJENDRA NAGAR. | 655
28 | 23.04.2018 | VSE | 43213.5442 | 43213.588 | 1:03 | DISTRIBUTION TR. | TO FILL OIL IN TRANSFORMER | OIL FILLED IN TRANSFORMER | BLOCK B-NEW ASHOK NAGAR VSE. | 2488
29 | 23.04.2018 | VSE | 43213.5444 | 43213.708 | 3:55 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | WIRES BURNT, SAME REPLACED | BLOCK C2-NEW ASHOK NAGAR. | 89 | FIRE IN DISTRIBUTION BOX, BURNT CABLE REPLACED
30 | 23.04.2018 | YVR | 43213.4004 | 43213.454 | 1:17 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND CONSUMER COMPLAINT | SERVICE LINE BURNT, SAME REPLACED | SEELAMPUR. | 582
31 | 23.04.2018 | YVR | 43213.436 | 43213.5063 | 1:41 | DISTRIBUTION TR. | OIL FILLING WORK IN TRANSFORMER | OIL FILLED IN TRANSFORMER | JAFFRABAD-MAUJ PUR. | 1268
32 | 23.04.2018 | YVR | 43213.4986 | 43213.6269 | 3:05 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | BLOCK A-SHASTRI PARK. | 173 | NETWORK UPGRADATION
33 | 23.04.2018 | YVR | 43213.5136 | 43213.6618 | 3:33 | HT SYSTEM FAULT | REPLACEMENT OF OLD POLE | NEW POLE INSTALLED & CABLE SHIFTED IN NEW POLE | BLOCK P-BRAHM PURI. | 319 | NEW POLE INSTALLED & CABLE SHIFTED IN NEW POLE
34 | 23.04.2018 | YVR | 43213.5875 | 43213.6529 | 1:34 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DISTRIBUTION BOX REPAIRED | CHAUHAN BANGAR-JAFFRABAD. | 3733
35 | 23.04.2018 | YVR | 43213.6771 | 43213.7265 | 1:11 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | BLOCK A-SHASTRI PARK. | 173