## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 24.04.2018 TO 06:00 HRS OF 25.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 24.04.2018 | DGN | 43214.6347 | 43214.7398 | 2:31 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | AREA NEAR GANPATI ROLLING MILL. | 190 | NETWORK UPGRADATION WORK
2 | 24.04.2018 | DRG | 43214.4458 | 43214.5212 | 1:49 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | DARYA GANJ. | 57
3 | 25.04.2018 | DRG | 43215.0712 | 43215.125 | 1:17 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | IP STATE-PRAGATI MAIDAN. | 39
4 | 24.04.2018 | JLM | 43214.4542 | 43214.5486 | 2:16 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION | BLOCK C-SURAJMAL VIHAR. | 81 | NETWORK UPGRADATION WORK
5 | 24.04.2018 | KRN | 43214.5028 | 43214.5846 | 1:58 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | OLD SEELAMPUR. | 561
6 | 24.04.2018 | KRN | 43214.5903 | 43214.6942 | 2:30 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | MAHILA COLONY-SEELAMPUR. | 474 | DT CLEANING WORK CARRIED OUT
7 | 24.04.2018 | KWN | 43214.2917 | 43214.3924 | 2:25 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS DP FUSE | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK J-SHIV VIHAR,KARAWAL NAGAR. | 1981 | HVDS DP FUSE BLOWN, SAME REPLACED
8 | 24.04.2018 | KWN | 43214.3243 | 43214.4861 | 3:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK M-SHIV VIHAR. | 1847 | MULTIPLE FAULT IN HVDS CABLE, SAME REPAIRED
9 | 24.04.2018 | KWN | 43214.3694 | 43214.4486 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK E-INDIRA VIHAR,KARAWAL NGR. | 690
10 | 24.04.2018 | KWN | 43214.45 | 43214.6458 | 4:42 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK B-BRIJ PURI. | 1169 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPINGS
11 | 24.04.2018 | KWN | 43214.5139 | 43214.5903 | 1:50 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | KHAJURI KHAS,BLOCK D-SHRI RAM COLONY. | 1043
12 | 24.04.2018 | KWN | 43214.5278 | 43214.6035 | 1:49 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS LEAD BURNT, SAME REPLACED | BLOCK A-RAMA GARDEN,BLOCK N-SHIV VIHAR. | 8840
13 | 24.04.2018 | KWN | 43214.5444 | 43214.613 | 1:39 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME REPLACED | NON COMM AREA-SONIA VIHAR EXTENSION. | 1617
14 | 24.04.2018 | KWN | 43214.5778 | 43214.654 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO REPAIR HVDS CABLE | HVDS CABLE DAMAGED, SAME REPAIRED | SONIA VIHAR. | 172
15 | 24.04.2018 | KWN | 43214.6353 | 43214.6806 | 1:05 | DISTRIBUTION TR. | REPLACEMENT OF 630KVA TRANSFORMER | 630KVA TRANSFORMER REPLACED BY NEW ONE | BLOCK D-KHAJURI KHAS. | 88
16 | 24.04.2018 | KWN | 43214.6576 | 43214.7189 | 1:28 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPLACED | BLOCK H-SHIV VIHAR,KARAWAL NGR. | 733
17 | 24.04.2018 | KWN | 43214.7083 | 43214.7639 | 1:20 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK CN-MANGALAM VIHAR,KARAWAL NAGAR. | 350
18 | 24.04.2018 | KWN | 43214.7583 | 43214.8229 | 1:33 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME REPLACED | JOHRI ENCLAVE-BHAGIRATHI VIHAR. | 177
19 | 24.04.2018 | KWN | 43214.7861 | 43214.8542 | 1:38 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS DP FUSE | HVDS DP FUSE BLOWN, SAME REPLACED | BLOCK C-BHAGIRATHI VIHAR | 690
20 | 24.04.2018 | KWN | 43214.8583 | 43214.9465 | 2:07 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE DAMAGED DUE TO FLASH | HVDS CABLE REPAIRED | BLOCK D-PREM VIHAR,BLOCK C-PREM VIHAR | 474 | FAULTY HVDS CABLE REPAIRED
21 | 24.04.2018 | LNR | 43214.5417 | 43214.633 | 2:11 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK B-VINOD NAGAR EAST. | 797 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPINGS
22 | 24.04.2018 | MVR | 43214.4795 | 43214.6182 | 3:20 | DAMAGE BY OTHER AGENCIES | SUPPLY PUT OFF DUE TO DEMOLITION WORK BY DDA DEPT. | CIVIL WORK CARRIED OUT BY DDA DEPT. | PRATAP NAGAR-PHASE I,MAYUR VIHAR. | 587 | SUPPLY PUT OFF DUE TO DEMOLITION WORK BY DDA DEPT.
23 | 24.04.2018 | MVR | 43214.5486 | 43214.6092 | 1:27 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | PHASE I-MAYUR VIHARKHICHRIPUR RESETTLEMENT COLONY. | 7791
24 | 24.04.2018 | NNG | 43214.5916 | 43214.6667 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB CABLE FAULTY, SAME REPAIRED | BLOCK D-HARSH VIHAR. | 345
25 | 24.04.2018 | NNG | 43214.7749 | 43214.8326 | 1:23 | HVDS CABLE & OTHER SYSTEM | TO REPAIR HVDS CABLE | HVDS CABLE REPAIRED | BLOCK C-SEWA DHAM,MANDOLI EXTN. | 1369
26 | 24.04.2018 | NNG | 43214.8472 | 43214.9217 | 1:47 | HT SYSTEM FAULT | TRIPPING | CABLE END BOX FAULTY, SAME REPAIRED | SHIV MANDIR-JYOTI NAGAR EAST | 492
27 | 24.04.2018 | PHG | 43214.4326 | 43214.602 | 4:04 | PLANNED SHUTDOWN | PROJECT WORK | NEW ARMOURED CABLE LAID | DDA FLATS-MOTIA KHAN. | 41 | NEW ARMOURED CABLE LAID TO IMPROVE THE NETWORK
28 | 24.04.2018 | VSE | 43214.3186 | 43214.3963 | 1:52 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | SEWAGE TREATMENT PLANT-GHAROLI KONDLI. | 87
29 | 24.04.2018 | VSE | 43214.5048 | 43214.7111 | 4:57 | HT SYSTEM FAULT | INSTALLATION OF NEW HTAB CONDUCTOR | NEW HTAB CONDUCTOR INSTALLED | BLOCK A3-NEW KONDALI. | 87 | NEW HTAB CONDUCTOR INSTALLED
30 | 24.04.2018 | VSE | 43214.508 | 43214.5757 | 1:38 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK C1-NEW ASHOK NAGAR. | 90
31 | 24.04.2018 | VSE | 43214.9826 | 43215.0427 | 1:27 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | BLOCK A & B-VASUNDHARA ENCLAVE. | 777
32 | 24.04.2018 | YVR | 43214.4748 | 43214.5332 | 1:24 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | WIRES BURNT, SAME REPAIRED | JAFFRABAD-MAUJ PUR. | 1323
33 | 24.04.2018 | YVR | 43214.4812 | 43214.5334 | 1:15 | HT SYSTEM FAULT | TO INSTALL FPI | FPI INSTALLED | BLOCK P-NEW SEELAMPUR PHASE III. | 7167