## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 25.04.2018 TO 06:00 HRS OF 26.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 25.04.2018 | DGN | 43215.858 | 43215.9444 | 2:04 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY | BLOCK F-3 GORAKH PARK | 11919 | CABLE FAULTY SAME REPAIRED
2 | 25.04.2018 | DRG | 43215.3778 | 43215.4404 | 1:30 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BULBULI KHANA DARYAGANJ | 1189
3 | 25.04.2018 | JLM | 43215.7414 | 43215.7977 | 1:21 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | ASHOKA NIKETAN-ANAND VIHAR | 1099
4 | 25.04.2018 | KRN | 43215.4361 | 43215.5288 | 2:13 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK 9-GANDHI NAGAR | 300 | LOAD BALANCING CARRIED OUT
5 | 25.04.2018 | KRN | 43215.5535 | 43215.6632 | 2:38 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | MAHILA COLONY-SEELAMPUR | 711 | NETWORK UPGRADATION WORK
6 | 25.04.2018 | KRN | 43215.816 | 43215.8667 | 1:13 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | BLOCK D-AJIT NAGAR | 1600
7 | 25.04.2018 | KWN | 43215.8097 | 43215.8615 | 1:15 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK B-CHANDU NAGAR | 1388
8 | 25.04.2018 | KWN | 43215.8265 | 43215.9079 | 1:57 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-5 SURYA VIHAR VILLAGE | 1187
9 | 25.04.2018 | KWN | 43215.9607 | 43216.0206 | 1:26 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-2 WEST KAMAL VIHAR | 173
10 | 25.04.2018 | LNR | 43215.4333 | 43215.6458 | 5:06 | PLANNED SHUTDOWN | REPLACEMENT OF DAMAGED LTAB | DAMAGED LTAB REPLACED | BLOCK G-PREET VIHAR | 164 | FOR REPLACING DAMAGED LTAB CABLE
11 | 25.04.2018 | LNR | 43215.4521 | 43215.6422 | 4:34 | PLANNED SHUTDOWN | REPLACEMENT OF DAMAGED LTAB | DAMAGED LTAB REPLACED | BLOCK C-PREET VIHAR | 86 | LTAB DAMAGED SAME REPLACED
12 | 25.04.2018 | LNR | 43215.4611 | 43215.5778 | 2:48 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK B-VINOD NAGAR EAST | 762 | LOAD BALANCING CARRIED OUT
13 | 25.04.2018 | LNR | 43215.4826 | 43215.6181 | 3:15 | PLANNED SHUTDOWN | PROJECT WORK | FOR REPLACING DAMAGED CABLE END BOX | BLOCK S-SHAKARPUR KHAS | 2657 | DAMAGED CABLE END BOX REPLACED
14 | 25.04.2018 | LNR | 43215.5681 | 43215.7134 | 3:29 | HT SYSTEM FAULT | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK N-VISHWAKARMA PARK | 1589 | NETWORK UPGRADATION WORK
15 | 25.04.2018 | MVR | 43215.5094 | 43215.5556 | 1:07 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | BLOCK 33-HIMMATPURI | 173
16 | 25.04.2018 | MVR | 43215.7384 | 43215.8212 | 1:59 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE REPAIRED | KHICHRIPUR COLONY | 771
17 | 25.04.2018 | NNG | 43215.3353 | 43215.3872 | 1:15 | HT SYSTEM FAULT | HTAB LEAD FAULTY | HTAB LEAD REPAIRED | A-3 BLOCK HARSH VIHAR | 1369
18 | 25.04.2018 | NNG | 43215.5139 | 43215.5889 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK A-MANDOLI EXTENSION | 1369
19 | 25.04.2018 | NNG | 43215.5571 | 43215.6389 | 1:58 | LT FEEDER | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | NATHU COLONY NAND NAGRI | 904
20 | 25.04.2018 | NNG | 43215.8306 | 43215.8958 | 1:34 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK D-MEET NAGAR | 3964
21 | 25.04.2018 | NNG | 43215.9948 | 43216.0747 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK B-KABIR NAGAR | 230
22 | 25.04.2018 | PHG | 43215.4375 | 43215.597 | 3:50 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | DDA FLATS-MOTIA KHAN | 41 | O/H CIRCUIT REPLACED BY ARMOURED CABLE
23 | 26.04.2018 | PNR | 43216.1708 | 43216.2674 | 2:19 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSIENT FAULT | BLOCK B-WEST PATEL NAGAR | 940 | DELAYED DUE TO MULTIPLE BREAKDOWN'S AT THE SAME TIME
24 | 25.04.2018 | VSE | 43215.4888 | 43215.5861 | 2:20 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | KONDALI VILLAGE-GHAROLI KONDLI | 6632 | HT SOCKET BURNT SAME REPLACED
25 | 25.04.2018 | VSE | 43215.5361 | 43215.655 | 2:51 | HT SYSTEM FAULT | RMU FAULTY | RMU REPLACED | BLOCK C1-NEW ASHOK NAGAR | 860 | RMU FAULTY SAME REPLACED
26 | 25.04.2018 | VSE | 43215.6002 | 43215.6527 | 1:16 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | SERVICE LINE REPAIRED | BLOCK A-NEW ASHOK NAGAR | 946
27 | 25.04.2018 | VSE | 43215.7094 | 43215.7585 | 1:11 | LT FEEDER | OIL LEAKAGE FROM TRANSFORMER | OIL LEAKAGE ATTENDED | BLOCK C2-NEW ASHOK NAGAR | 89
28 | 25.04.2018 | YVR | 43215.4131 | 43215.4727 | 1:26 | HT SYSTEM FAULT | FOR ATTENDING CONSUMER COMPLAINT | SERVICE LINE FOUND FAULTY SAME ATTENDED | BLOCK C5-YAMUNA VIHAR | 565
29 | 25.04.2018 | YVR | 43215.4356 | 43215.487 | 1:14 | HT SYSTEM FAULT | FOR ATTENDING HOT SPOT | HOT SPOT ATTENDED | TIKONA PARK-BHAJANPURA | 1472
30 | 25.04.2018 | YVR | 43215.4993 | 43215.5694 | 1:41 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK A-NEW SEELAMPUR | 3263
31 | 25.04.2018 | YVR | 43215.5141 | 43215.5701 | 1:21 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB BURNT SAME REPAIRED | MAUJ PUR VILLAGE | 1223
32 | 25.04.2018 | YVR | 43215.5274 | 43215.5764 | 1:11 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB LEAD BURNT SAME REPAIRED | JAG JEEVAN NAGAR-NEW KATWARA-SHASTRI PARK | 843
33 | 25.04.2018 | YVR | 43215.6117 | 43215.6671 | 1:20 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | JAGJEET NAGAR-GHONDA | 979
34 | 25.04.2018 | YVR | 43215.6444 | 43215.7195 | 1:48 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK R-BRAHM PURI | 1231
35 | 25.04.2018 | YVR | 43215.6544 | 43215.701 | 1:07 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | JAFFRABAD-MAUJ PUR | 1223
36 | 25.04.2018 | YVR | 43215.6548 | 43215.6979 | 1:02 | HT SYSTEM FAULT | FOR INSTALLING 3 PHASE METER | 3 PHASE METER INSTALLED | DDA LIG FLATS-SHASTRI PARK, | 1228
37 | 26.04.2018 | YVR | 43216.1682 | 43216.2118 | 1:03 | LT FEEDER | FAULT IN LT CIRCUIT | SOCKET BURNT SAME REPLACED | BLOCK C-NEW SILAMPURI PHASE IV | 544