## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 27.04.2018 TO 06:00 HRS OF 28.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 27.04.2018 | DRG | 43217.5025 | 43217.5444 | 1:00 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | CHANDANI MAHAL-DRG | 78
2 | 27.04.2018 | JLM | 43217.4722 | 43217.5521 | 1:55 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB CIRCUIT LAID | BLOCK B-YOJNA VIHAR | 602
3 | 27.04.2018 | KRN | 43217.5007 | 43217.6042 | 2:29 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK 9-RAGHUBARPURA | 503 | NETWORK UPGRADATION WORK
4 | 27.04.2018 | KRN | 43217.6208 | 43217.8285 | 4:59 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN LTAB | LTAB REPLACED | SHIV PURI,PART OF KONDALI, CHANDER NAGAR | 35 | LTAB DAMAGED DUE TO FLASH SAME REPLACED
5 | 27.04.2018 | LNR | 43217.491 | 43217.6083 | 2:49 | PLANNED SHUTDOWN | PROJECT WORK | LOAD BALANCING WORK CARRIED OUT | GANESH NAGAR EXTENSION | 173 | LOAD BALANCING WORK CARRIED OUT
6 | 27.04.2018 | NNG | 43217.4847 | 43217.5581 | 1:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | BALBIR NAGAR EXTENSION | 86
7 | 27.04.2018 | PHG | 43217.4611 | 43217.5583 | 2:20 | PLANNED SHUTDOWN | PROJECT WORK | TO CONNECT NEW CABLE | MULTANI DHANDA-SADAR BAZAR | 41 | NEW ARMOURED CABLE CONNECTED
8 | 27.04.2018 | SRD | 43217.513 | 43217.5642 | 1:14 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK-25K-BEADON PURA | 1242
9 | 27.04.2018 | VSE | 43217.9043 | 43218.0667 | 3:54 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT DUE TO OIL LEAKAGE PROBLEM | TRANSFORMER REPLACED BY MOBILE TRANSFORMER | BLOCK C2-NEW ASHOK NAGAR | 60 | TRANSFORMER REPLACEMENT DUE TO OIL LEAKAGE PROBLEM
10 | 27.04.2018 | YVR | 43217.5035 | 43217.5875 | 2:01 | HT SYSTEM FAULT | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-BHAJANPURA | 475 | NETWORK UPGRADATION WORK
11 | 27.04.2018 | YVR | 43217.5597 | 43217.6294 | 1:40 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | JAG JEEVAN NAGAR-NEW KATWARA-SHASTRI PARK | 86
12 | 27.04.2018 | YVR | 43217.6299 | 43217.6861 | 1:21 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BRAHAMPURI GALI NO-1 | 86