## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 28.04.2018 TO 06:00 HRS OF 29.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 28.04.2018 | CCK | 43218.6818 | 43218.7481 | 1:35 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPAIRED | MOTIA MAHAL-CHANDNI CHOWK. | 65
2 | 28.04.2018 | JLM | 43218.4944 | 43218.5791 | 2:02 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK E-JHILMIL COLONY. | 416 | NETWORK UPGRADATION WORK
3 | 28.04.2018 | KRN | 43218.5062 | 43218.5744 | 1:38 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | OLD SEELAMPUR DHRAM PURA,BLOCK D-AJIT NAGAR. | 1067
4 | 28.04.2018 | KWN | 43218.5833 | 43218.6561 | 1:45 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK E-GANGA VIHAR,KARAWAL NGR. | 3370
5 | 29.04.2018 | KWN | 43219.1752 | 43219.2538 | 1:53 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | PHASE I-SHIV VIHAR,KARAWAL NGR. | 140
6 | 28.04.2018 | MVR | 43218.5407 | 43218.5926 | 1:15 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | MAYUR VIHAR YAMUNA FLOOD PLAINS,PKT 4-PHASE I. | 984
7 | 28.04.2018 | MVR | 43218.6771 | 43218.7583 | 1:57 | HT SYSTEM FAULT | TRIPPING | HT METER CUBICAL FLASHED, SAME ATTENDED | PKT D-MAYUR VIHAR PHASE II. | 717
8 | 28.04.2018 | PHG | 43218.475 | 43218.5401 | 1:34 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB CIRCUIT LAID | BLOCK T-SADAR BAZAR - RAM NAGAR. | 119
9 | 28.04.2018 | VSE | 43218.7232 | 43218.7713 | 1:09 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY, SAME REPAIRED | SEC C-MAYUR VIHAR PHASE III. | 86
10 | 29.04.2018 | VSE | 43219.0585 | 43219.1236 | 1:34 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE DAMAGED, SAME REPAIRED | MAYUR VIHAR PHASE III. | 130
11 | 28.04.2018 | YVR | 43218.4927 | 43218.5542 | 1:29 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF SERVICE LINE | SERVICE LINE FAULTY, SAME REPLACED | BLOCK H-GHONDA PATTI. | 86
12 | 28.04.2018 | YVR | 43218.5028 | 43218.6073 | 2:31 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-GAUTAM PURI. | 86 | NETWORK UPGRADATION WORK
13 | 28.04.2018 | YVR | 43218.5257 | 43218.6664 | 3:23 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK B-GARI MANDU. | 86 | NETWORK UPGRADATION WORK