## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 29.04.2018 TO 06:00 HRS OF 30.04.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 29.04.2018 | CCK | 43219.4652 | 43219.5425 | 1:51 | LT FEEDER | FOR TAKING LOAD ON REPAIRED CABLE | LT CABLE LEAD FAULTY, SAME REPLACED | TOWN HILL-KATRA NEEL. | 26
2 | 29.04.2018 | KWN | 43219.4569 | 43219.5375 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE DAMAGED, SAME REPAIRED | BLOCK D-OLD MUSTAFABAD,KARAWAL NAGAR. | 130
3 | 29.04.2018 | KWN | 43219.6333 | 43219.6875 | 1:18 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER DECLARED FAULTY, SAME REPLACED | SHIV VIHAR,KARAWAL NAGAR. | 43
4 | 29.04.2018 | KWN | 43219.9028 | 43219.9653 | 1:30 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN, SAME REPLACED | VILLAGE-KAMAL VIHAR,BLOCK B-KARAWAL NAGAR. | 475
5 | 29.04.2018 | KWN | 43219.9062 | 43219.9764 | 1:41 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK F-BRIJ PURI,BLOCK E-SONIA VIHAR EXTENSION. | 432
6 | 29.04.2018 | NNG | 43219.5842 | 43219.6597 | 1:49 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | BLOCK B-JYOTI NAGAR,NAND NAGRI. | 173
7 | 29.04.2018 | NNG | 43219.726 | 43219.7879 | 1:29 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND CONSUMER COMPLAINT | SERVICE LINE BURNT, SAME REPLACED | BLOCK D-PRAKASH VIHAR,BLOCK B-JYOTI NAGAR. | 173