## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 30.04.2018 TO 06:00 HRS OF 01.05.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 30.04.2018 | NNG | 43220.9965 | 43221.0415 | 1:05 | LT FEEDER | TO ATTEND FAULT IN THE LINE | PRC BURNT SAME REPLACED | A-BLOCK GALI NO 2 & 3 NATHU COLONY | 87
2 | 30.04.2018 | PHG | 43220.3979 | 43220.4458 | 1:09 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | CHUNA MANDI PAHAD GANJ | 983
3 | 30.04.2018 | SRD | 43220.7712 | 43220.8369 | 1:35 | HT SYSTEM FAULT | TRIPPING | EXTERNAL ELEMENT FOUND ON LINE SAME RMOVED | BLOCK-47-BEADON PURA | 323