## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 16/04/2018 06:00Hr. To 17/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 16/04/2018 | PJB | 23:53 | 00:57 | 01:04 | HT SYSTEM FAULT | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:TRANSPORT CENTER , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:TRANSPORT CENTRE ROHTAK ROAD:,630 TRF-1: TRANSPORT CNTR,ROHTAK ROAD,PJB, 400 TRF-1: TYRE MARKET,TRANSPORT CNTR | 418
2 | 16/04/2018 | VKP | 21:48 | 23:14 | 01:25 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:A-BLOCK MANDIRWALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:AG-1 I/D S/STN NO-2,VKP,, 990 TRF-1:A-BLOCK MANDIR WALA I/D,, 630 TRF-1:AG-1 I/D S/STN NO-1,VKP,, 1000 TRF-2:A-BLOCK MANDIR WALA I/D | 399
3 | 16/04/2018 | TGN | 17:20 | 18:25 | 01:04 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 224-SFS T.GDN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :13-BLOCK SSTN, TILAK NAGAR,, 400 TRF-1 :19-BLOCK SSTN, TILAK NAGAR,, 990 TRF-1 :12-BLOCK SSTN, TILAK NAGAR,, 400 TRF-2 :224 SFS SSTN, VIKASPURI EXTN, | 359
4 | 16/04/2018 | DWK | 16:08 | 17:16 | 01:07 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR,, 630 TRF-2:NEW T UTTAM NAGAR,, 630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR,, 630 TRF-2: OM VIHAR EXT:ID,, 630 TRF-1:OM VIHAR EXT.,, CHOUPAL MATIALA SS PL/M, | 401
5 | 16/04/2018 | VKJ | 15:30 | 16:43 | 01:12 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , HT O/H,:POLE BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 ANAND GRAM,, TRF-1 ANANDGRAM PLINTH,, TRF-1 FARM NO.16 P/M SHAKUNTLA(SWAT HOUSE),, TRF-1 ARUN SINGH (SHAKUNTALA),, TRF-1 ST. LTG. NR. SHAKUNTALA FARM,, TRF-1 ROSA VILLA FARM,, TRF-1 FARM NO.24 P/M SHAKUNTLA,, TRF-1 PETROL PUMP,, TRF-1 MAUSAM VIBHAG,, TRF-1 HERO HONDA (RIKKHI FARM),, TRF-1 NAVAL, NEAR ANDHERIA MORE,, TRF-1 ARJUNGARH METRO STATION,, | 345
6 | 16/04/2018 | SKT | 15:02 | 16:20 | 01:18 | HT SYSTEM FAULT | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , 11KV GRID PANEL,:VCB FLASHED, | RESTORED/ REPAIRED | Part of : TRF-1 INDRA ENCLAVE NEBSARAI,, TRF-1 D- BLOCK INDRA ENCLAVE,, TRF-1 MADANGHARI BUS STAND;PL,, TRF-1 HARIZON BASTI NEB SARAI,, TRF-1 MADANGHARI BUS STAND;PL,, TRF-1 SHER SINGH NEBSARAI(SAINIK FARM),, TRF-1 NEB SARAI VILL NEAR JR.ST.MARRY SCH,, TRF-1 400 KVA DHANKAR ROAD S/STN | 289
7 | 16/04/2018 | NHP | 14:20 | 15:37 | 01:16 | HT SYSTEM FAULT | Grid:33kV HUDCO GRID To Feeder:11kV FDR SDM OFFICE VIA NURSING HOSTEL(NHP) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN LAJPAT NAGAR-4:ID,, TRF-2 S/STN 6 NO. RING ROAD LAJPAT NAGAR:PG,, TRF-2 S/STN LAJPAT NAGAR-4:ID,, TRF-1 COLLEGE OF NURSING HOSTEL:ID,, TRF-1 S/STN 6 NO. RING ROAD LAJPAT NAGAR:PG | 369
8 | 16/04/2018 | PJB | 08:25 | 09:41 | 01:15 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SHIV MANDIR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1: CENTRAL MKT,WEST PJB,, 630 TRF-3: CENTRAL MKT,WEST PJB,, 630 TRF-1: ROAD NO.-40,WEST PJB,, 630 TRF-2: CENTRAL MKT,WEST PJB,, | 388
9 | 16/04/2018 | DWK | 06:18 | 07:28 | 01:10 | HVDS TRANSFORMER | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR G AND S RAJAPURI , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 400 TRF-1;SOM BAZAR RD RAJAPURI SS I/D,, 100 TRF-1 PETROL PUMP,, 630 TRF-1:RAJA PURI SS-2,, TRF-1:LOP RAJA PURI,, ADD NEW DT,, LOP RAJA PURI:ID,, 630TRF-2;SOM BAZAR RD RAJAPURI SS I/D | 329
10 | 17/04/2018 | PJB | 01:24 | 02:41 | 01:17 | LT FEEDER | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:SWAYM SIDDHA , SERVICE LINE,:DAMAGED DUE TO EXTERNAL AGENCY DIGGING, | RESTORED/ REPAIRED | Part of : 630 TRF-2: SWYAM SIDDHA,WEST PJB | 121
11 | 16/04/2018 | KPR | 21:36 | 22:53 | 01:16 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 CHUNGI NO.3 PUL PRAHALAD PUR | 113
12 | 16/04/2018 | HKS | 16:24 | 18:26 | 02:02 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-7 PANCH SHEEL PARK (RMU) NEAR FLY OVER CHIRAG DELHI , DISTRIBUTION TRANSFORMER,:OIL THEFT FROM TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 C-17 PANSHEEL ENCLAVE | 71
13 | 16/04/2018 | PLM | 15:38 | 16:52 | 01:14 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MANDIR MARG , LT POLE,:POLE TILTED, | RESTORED/ REPAIRED | Part of : 990-TRF2:MAHAVEER MARG- | 87
14 | 16/04/2018 | SVR | 15:23 | 16:53 | 01:29 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 B-BLK ABUL FAZAL ENCLAVE | 98
15 | 16/04/2018 | VKP | 15:03 | 16:27 | 01:23 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : 400 TRF-1:KALI BASTI, DJB (HARIJAN BASTI) | 106
16 | 16/04/2018 | HKS | 14:21 | 15:54 | 01:32 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-6, S.J ENCLAVE , LT O/H CONDUCTOR,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-2 B-6 SDA EXTN.: ID | 92
17 | 16/04/2018 | SVR | 14:15 | 15:24 | 01:08 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 E&F BLK MADRSI COLONY | 103
18 | 16/04/2018 | VKP | 13:41 | 14:51 | 01:09 | LT FEEDER | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 1000 TRF-2:JEEVAN PARK I/D | 115
19 | 16/04/2018 | HKS | 13:01 | 14:28 | 01:26 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-2 B-3 SDA JHANDU SINGH MARG: K | 79
20 | 16/04/2018 | SKT | 12:01 | 13:44 | 01:42 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR NEB SARAI VADERA P/M SSTN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 WADHERA NEBSARAI | 109
21 | 16/04/2018 | KPR | 12:00 | 13:29 | 01:29 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : TRF-1 HARIZAN BASTI:PL | 126
22 | 16/04/2018 | SVR | 11:48 | 13:12 | 01:23 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 VASIST FARM HARINAGAR NO-2 | 106
23 | 16/04/2018 | KPR | 11:45 | 13:25 | 01:40 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 J BLOCK PAHARI WALA,MCD SchL | 1
24 | 16/04/2018 | PLM | 11:36 | 13:12 | 01:35 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR BHATTWALA , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : 630 TRF-2:Sq yards s/stn | 110
25 | 16/04/2018 | PLM | 11:21 | 12:37 | 01:15 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , LT POLE,:FIRE AT SHAKLE POINTS, | RESTORED/ REPAIRED | Part of : C-2 MAHAVIR ENCL | 98
26 | 16/04/2018 | ALN | 11:19 | 12:22 | 01:02 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDRGIRI NAGAR SSTN NO.-2 (NEAR METRO STATION) , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 GIRI NAGAR SUBASH KHAND:PL | 73
27 | 16/04/2018 | HKS | 11:14 | 12:42 | 01:27 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 B-3 SDA JHANDU SINGH MARG: K | 79
28 | 16/04/2018 | ALN | 11:12 | 12:13 | 01:01 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR FDRMUNJAL, KALKAJI EXTN. , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 D BLOCK KALKAJI:PM | 85
29 | 16/04/2018 | SVR | 10:45 | 11:53 | 01:08 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR 4-POLE POLICE STATION , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 MOHANBABA NAGAR | 79
30 | 16/04/2018 | PLM | 14:40 | 16:51 | 02:11 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 630 TRF-2:Vinodpuri Fs, 630 TRF-1:Vinodpuri Fs, 400 TRF-1: B2- Block- Vijay Encl., 400 TRF-2:B and H BLOCK MAHAVIR VIHAR, 630 TRF-1: B and H BLOCK MAHAVIR VIHAR, 630 TRF-1:C and I BLOCK MAHAVEER ENCLAVE S/S | 425
31 | 16/04/2018 | NHP | 14:10 | 17:28 | 03:18 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR G-BLOCK EAST OF KAILASH , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 1000 KVA TRF-3 S/STN KAILASH HILL:ID | 316
32 | 16/04/2018 | SKT | 14:00 | 16:07 | 02:07 | PLANNED SHUTDOWN | Grid:66kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-11RADHA SWAMI GATE NO 2C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 INAYAT FARM:PM, TRF-1 A-9 ASOLA(RADHA SWAMI SATSANG BEAS PH-4), TRF-1 HO SOOD ASOLA PHASE-2:PL, TRF-1 INDRA PRASTTHA, TRF-1 B-4 ARYA BHAT:PM, TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE, TRF-1 DHAKWALA 20 POINT PROGRAMME ASOLA, TRF-1 FRAM NO A10, ANSAL BHATI, BHALLA FARM., TRF-1 POORAN MANGLI:PL, TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE | 403
33 | 16/04/2018 | SKT | 13:00 | 16:03 | 03:03 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR D.L.F CHATTARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MCD PARK OPP CHHATAR PUR-2:PL, TRF-1 CHHATAR PUR MANDIR NEAR SCHOOL:PL, TRF-1 DELHI TOURISM KISHAN HATT, TRF-1 VIDYA KENDRA GURUDWARA CHATTERPUR, TRF-1 CHHATAR PUR MANDIR SADHANA KENDRA:Pl | 384
34 | 16/04/2018 | JKP | 12:04 | 15:10 | 03:06 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV TIHAR JAIL , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 400 TRF-1 :SSTN NO.-2, TIHAR JAIL, JANAKPURI | 121
35 | 16/04/2018 | JFR | 12:00 | 15:37 | 03:37 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:RED LIGHT SEC 1 : PM, 630 TRF-1:VILLAGE MITRAON 2, 100 TRF1-:CHET RAM VILL JAFFARPUR:PM, 100 TRF-1:DAYAKISHAN VILL MITRAON:PM, 630 TRF-1:S/STN-5 VILLAGE MITRAON, 25 TRF-1:SITARAM VILL MITRAON, 400 TRF-1:MITRAON COMPLAINT CENTRE, 630 TRF-1:VILLAGE MITRAON 3, 100 TRF-1:MAM CHAND VLG MITRAON, 400 TRF-1:VILLAGE MITRAON 1, ON DHANSA ROAD NERA GOVT. SCHOOL, 100 TRF-1:KANSHI RAM VLG SURHERA | 402
36 | 16/04/2018 | NGL | 11:55 | 13:03 | 01:08 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NIHAL VIHAR , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : TRF-1:NIHAL VIHAR E BLOCK -II, 990 TRF-1 PLM D BLK NIHAL VHR NR RS PUBLIC SCHOOL, 990 TRF-1:A-BLOCK NIHAL VIHAR, 630 TRF-1 B-2 BLOCK NIHAL VIHAR, 400 TRF-1:B-1 BLOCK NIHAL VIHAR, 630 TRF-2:B-1 BLOCK NIHAL VIHAR | 399
37 | 16/04/2018 | NGL | 11:25 | 12:58 | 01:33 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11 KV FDR SAINI MOHALLA NEAR WATER TANK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2:Naresh Park S/s No-1 Nagloi, 400 TRF-1 HARIJAN BASTI, 400 TRF-2:HARIJAN BASTI, 990 TRF-1:OLD SAINI MOHALLA, TRF:-1 AMAN PURI, 990 TRF-1:Naresh Park Tulsi Wala S/s, NARAYAN DHARAM KANTA, 990 TRF-1:Naresh Park S/s No-1 Nagloi | 456
38 | 16/04/2018 | DWK | 11:18 | 16:04 | 04:46 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KARGIL CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEC-11 SSTN-4, S/STN 1, 63 PLOTS SECT.11 DWK, 630 TRF-2:,SEC-11 I/D PKT-4 S/S-3, 630 TRF-1:,SEC-11 I/D PKT-4 S/S-1, 600 TRF-1: PKT-2 SEC-11 I/D S/S, 630 TRF-2:SEC-11 PKT-4 S/S-2, 630 TRF-1:SEC-11 PKT-4 S/S-2, 630 TRF-2:,SEC-11 I/D PKT-4 S/S-1, 630 TRF-1:SEC-11 I/D PKT-4 S/S-3, 400 TRF-2:PKT-2 SEC-11 I/D S/S, S/STN 1, | 356
39 | 16/04/2018 | SVR | 11:04 | 16:36 | 05:32 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 ZAKIR NAGAR, 990 KVA TRF-2 ZAKIR NAGAR, 400 KVA TRF-1 ZAKIR NAGAR | 425
40 | 16/04/2018 | VKJ | 11:00 | 15:16 | 04:16 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ST. LTG.NR. METRO PILLAR NO.117, TRF-1 FARM NO.77,RD. NO-4,GHITORNI, TRF-1 DENG FARM-80 RD-4 GHIRT., TRF-1 CHAITANAYA FARM, TRF-1 FARM NO-32,GHITORNI, TRF-1 JAGAT FARM NO-30, TRF-1 FARM NO-59, TRF-1 FARAM NO.50, TRF-1 FARM NO-23,GHITORNI, TRF-1 SAHANI GHITORNI, TRF-1 SUNDER P/M, TRF-1 JAY RAM SUBEDAR, TRF-1 FARM NO 21 ROAD NO 1 GHITORNI, TRF-1 DHARAM SINGH, M G ROAD, TRF-1 ST. LTG. NR. SULTANPUR METRO STN., TRF-2 MCD SCHOOL RMU,GHITORNI, TRF-1 UMA DATTA, TRF-1 LAXMI FARM ROAD NO.ZERO, TRF-1 S/S No. (TR No. 1) double at Dhobi, | 325
41 | 16/04/2018 | VKP | 11:00 | 14:50 | 03:50 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:KALI BASTI, DJB (HARIJAN BASTI) | 124
42 | 16/04/2018 | JKP | 11:00 | 15:10 | 04:10 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :A2-BLK (HARIJAN BASTI),NR.PANKHA RD | 109
43 | 16/04/2018 | NHP | 10:00 | 13:35 | 03:35 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR VIKRAM HOTEL , HT INTERMEDIATE FEEDER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : MANAGEMENT COLLEGE (HT CONSUMER) | 1
44 | 16/04/2018 | NZD | 10:00 | 13:59 | 03:59 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR LAJPAT NAGAR-3 , LT CIRCUIT:DB LOCKING | RESTORED/ REPAIRED | Part of : TRF-2 22 FEROZ GANDHI ROAD LAJPAT NAGAR-3: PL | 108
45 | 16/04/2018 | NZD | 10:00 | 13:04 | 03:04 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR DHARAM BHAWAN , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 K-BLOCK, NDSE-1: PL | 179
46 | 16/04/2018 | KPR | 10:00 | 15:00 | 05:00 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR E-1 MADANGIR PHASE-1(VIA C-BLOCK MCD SCHOOL) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : TRF-1 E- 1, MADANGIR PH- 1:PL, TRF-3 MADANGIR PHASE- 1:ID, TRF-2 MADANGIR PHASE- 1:ID, TRF-1 MADANGIR PHASE- 1:ID | 236
47 | 16/04/2018 | NGL | 17:20 | 19:16 | 01:56 | EMERGENCY SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR F & S BLOCK NIHAL VIHAR , LT ACB:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : 400 KVA TRF. QFL BLK NIHAL VIHAR | 135
48 | 16/04/2018 | VKP | 15:55 | 17:41 | 01:45 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:OM VIHAR PHASE-2 , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR PHASE-II, S/S NO.3,, 630TRF-1:OM VIHAR PH-3 STN-3 NR SWEET,, 990 TRF-1:NEW G-1 UTTAM NAGAR,, 630 TRF-1:OM VIHAR PHASE-III (NEAR SCHOOL) | 389
49 | 16/04/2018 | SKT | 13:45 | 15:20 | 01:34 | EMERGENCY SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-4, S/S NO.-03 PUSHP VIHAR VIA RMU OUT SIDE GRID , 11KV FEEDER:REPLACEMENT OF DAMAGE POLE | RESTORED/ REPAIRED | Part of : TRF-1 STN-4 SEC-3 PUSHAP VIHAR:ID,, TRF-1 S/STN 1,DEFENCE SERVICES ENC SAINIK FRM,, TRF-1 PAL INSTITUTE:PL,, TRF-2 STN-4 SEC-3 PUSHAP VIHAR:ID,, TRF-1 ASIAN MARKET:PM,, TRF-1 OPP28A ASHOKA AVNUE DFNCE SERVCS ENC S.F,, TRF-1 SAKET BLOCK-J,12:PL,, TRF-1 CHAKU TRANSFORMER SANIK FARM:PM,, TRF-1 MTNL PUSHP VIHAR,, TRF-1 OPPJ34 ASHOKA AVNUE DFNCE SERVCS ENC S. | 403
50 | 16/04/2018 | NJF | 13:00 | 14:57 | 01:56 | EMERGENCY SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR POCHANPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:VILLAGE POCHANPUR 2 | 121
51 | 16/04/2018 | VKJ | 10:49 | 14:19 | 03:30 | EMERGENCY SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR RANG PURI PAHARI , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 KVA TRF-2 TARACHAND COLONY,, 630 KVA TRF-1 TARACHAND COLONY | 326
52 | 2018-04-17 | ALN/NHP | 1:56 | 4:30 | 2:34 | EHV TRIPPING | 33KV BUSBAR FLASED AT ALAKNANDA GRID | SUPPLY NOT RESTORE | DDA JANTA FLAT , DESH BANDU , SHIVALI APPT , GALI 16 GOVINDPURI , NARMADA APPT , DDA SLUM KALKAJI , KAVERI APPT | 7021
53 | 2018-04-17 | ALN/NHP | 4:30 | 7:20 | 2:50 | EHV TRIPPING | 33KV BUSBAR FLASED AT ALAKNANDA GRID | SUPPLY NOT RESTORE | DDA JANTA FLAT , DESH BANDU , SHIVALI APPT , GALI 16 GOVINDPURI , NARMADA APPT , DDA SLUM KALKAJI , KAVERI APPT | 5782

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES