## DOP OUTAGE REPORT
DISCOM : BRPL
OUTAGE REPORT FOR : 17/04/2018 06:00Hr. To 18/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 17/04/2018 | NHP | 1:56 | 6:00 | 4:04 | EHV TRIPPING | DUE TO B/D FROM 220KV MASJID MOTH TO ALAKNANDA CKT | RESTORED/ REPAIRED | Part of : DDA JANTA FLATS, DDA SLUM KALKAJI, MANDAKNI S/S-1, DESH BANDHU APPT, EPDP-1, SHIVALIK APPT, DLF E-BLK GK-2 | 7021
2 | 17/04/2018 | PLM | 06:43 | 07:52 | 01:09 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MANGLA PURI PHASE-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-1 Mangla Puri Phase 2 S/S*,*630 TRF-1 : Shadh Nager Gali No-41 S/stn*,630TRF-2:DDA FLAT(SARAI SOHEL)MANGLAPURI | 563
3 | 17/04/2018 | DWK | 06:57 | 08:08 | 01:11 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : *1000 TRF-1:NEW T UTTAM NAGAR*,*630 TRF-2:NEW T UTTAM NAGAR*,*630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWK | 517
4 | 17/04/2018 | VKP | 08:02 | 09:25 | 01:22 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:RAKSHA ENCL(JAI SINGH) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF : JAI SINGH WALA RAKSHA ENCL,*TRF : ARIHANT PROPERTIES *,*TRF : ISHIKA WALA R3 SECT 3 SAINIK ENCL*,TRF : SAINIK ENCLAVE SECTOR 2 CGL | 523
5 | 17/04/2018 | NGL | 08:45 | 09:49 | 01:03 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJIV RATAN NO-1 , DISTRIBUTION TRANSFORMER,:TREE BRANCH FALLEN ON TRANSFORMER, | RESTORED/ REPAIRED | Part of : *630 TRF-1:ESS-2 EWS FLATS BAPROLLA*,*400 TRF-1:DASS GARDEN SSTN-5 B-BLOCK* | 428
6 | 17/04/2018 | JFR | 08:45 | 10:07 | 01:21 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1:VILLAGE ISSAPUR 1*,* TRF-1:RISHAL VLG SAMASPUR*,*400 TRF-1:S/S NO 1 VILL DHANSA | 427
7 | 17/04/2018 | NJF | 09:04 | 14:04 | 05:00 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PUMPING FEEDER , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : HVDS : GUPTA PARK NAJAFGARH,*990 TRF-1:TODARMAL COLONY* | 571
8 | 17/04/2018 | NJF | 09:15 | 13:04 | 03:49 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:VARDHMAN VIHAR , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : *400 TRF-:PREM NAGAR Z BLOCK*,*400 TRF-1:-BAWANI NGR DEENPUR* | 371
9 | 17/04/2018 | KPR | 10:09 | 11:24 | 01:15 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU CAMPUS S/S NO.-3 FDR.-2 , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 ; GALI NO 8 L-I SANGAM VIHAR* | 89
10 | 17/04/2018 | HKS | 10:10 | 11:40 | 01:30 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , LT ACB,:FLASH DUE TO REPTILE / RODENT/CAT, | RESTORED/ REPAIRED | Part of : *TRF-1 ;GREEN PARK MAIN:ID* | 31
11 | 17/04/2018 | KPR | 10:35 | 12:05 | 01:29 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1, FEEDER-1 SANGAM VIHAR , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 : F-1 SANGAM VIHAR | 64
12 | 17/04/2018 | NHP | 11:00 | 16:42 | 05:42 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 ; HARKESH NAGAR CHOWK | 279
13 | 17/04/2018 | TGN | 11:00 | 14:55 | 03:55 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR K-BLOCK KRISHNA PARK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :K-BLK KRISHNA PARK SSTN, TILAK NGR*,*990 TRF-1 :L-2 BLOCK SSTN, MAHAVIR NAGAR* | 289
14 | 17/04/2018 | SKT | 11:00 | 15:13 | 04:13 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ;UBAN FARM ANDHERIA BAGH | 1
15 | 17/04/2018 | PJB | 11:00 | 12:44 | 01:44 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:RBI COLONY WATER TANK+SHAKTI SOCITY S/SNO-4 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *630 TRF-3 RBI COLONY PASCHIM VIHAR:ID* | 169
16 | 17/04/2018 | NGL | 11:00 | 12:50 | 01:50 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR E-BLOCK NIHAL VIHAR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *630 TRF-2: E- BLK Nihal Vihar*,*630 TRF-2: E- BLK Nihal Vihar* | 438
17 | 17/04/2018 | ALN | 11:00 | 14:18 | 3:18 | EHV SHUTDOWN | DUE TO PUTOFF BY DTL FROM 220KV OKHLA TO ALAKNANDA CKT-2 | RESTORED/ REPAIRED | Part of : DDA JANTA FLATS, DDA SLUM KALKAJI, MANDAKNI S/S-1, DESH BANDHU APPT, EPDP-1, SHIVALIK APPT, DLF E-BLK GK-2 | 4370 | DUE TO PUTOFF BY DTL
18 | 17/04/2018 | DWK | 11:04 | 15:34 | 04:30 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1: SEC-12 PKT-2 S/S-2 DWK | 263
19 | 17/04/2018 | DWK | 11:06 | 15:28 | 04:22 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PKT-7 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400-TRF-2;NO.1 GOLD CRAFT PLOT-4 SEC-11*,*630 TRF-1:PRAGTI APPT *,*100-TRF-1;DDA SEWAGE PLANT SEC-11,DWARKA* | 465
20 | 17/04/2018 | PJB | 11:08 | 12:45 | 01:37 | LT FEEDER | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-3 DISPENSARY , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : *990 TRF-1: A-3 BLK DDA PARK,PASCHIM VHR,PJB* | 72
21 | 17/04/2018 | VKP | 11:13 | 12:30 | 01:16 | EMERGENCY SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DELHI JUD. NO.-2, SECTOR-14 + 11kV FDRN SAINIK ENCLAVE , HVDS:HVDS CIRCUIT | RESTORED/ REPAIRED | Part of : *630 TRF-1:SHIDHATRY ENCLAVE* | 274
22 | 17/04/2018 | VKP | 11:14 | 12:30 | 01:15 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:MAIN BUS STAND , HVDS:HVDS CIRCUIT | RESTORED/ REPAIRED | Part of : *990 TRF-1:SHANI BAZAAR, JJ COLONY*,*400TRF-2: SHANI BAZAR UTTAM NAGAR PL* | 512
23 | 17/04/2018 | DWK | 11:15 | 12:25 | 01:09 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY SEC-3 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *630 TRF-2: J.J colony phase-2,sec-3*,*400 TRF-1:,SHRI CHAND PARK | 412
24 | 17/04/2018 | VKP | 11:16 | 12:29 | 01:13 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR RMU NO.-1 (M-BLOCK SHYAM PARK) , LT ACB:FAULT IN LT ACB | RESTORED/ REPAIRED | Part of : *400 TRF-1:M-BLOCK SHYAM PARK NAWADA* | 56
25 | 17/04/2018 | VKP | 11:18 | 12:24 | 01:06 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR N.S.I.T NO.-2 (D.K.ROAD) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-1:B-BLOCK MOHAN GARDEN*,*TRF : KAMAL MODAL SCHOOL* | 397
26 | 17/04/2018 | SKT | 11:24 | 12:45 | 01:21 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR 80-BLOCK MALVIYA NAGAR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : *TRF-2 ;K PKT KHIRKI EXTN:ID* | 35
27 | 17/04/2018 | SKT | 11:30 | 14:10 | 02:40 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVPRIYA APPAREMENT , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : *TRF-2 ;HARJAN BASTI BEGUMPUR:PL* | 217
28 | 17/04/2018 | HKS | 11:57 | 13:30 | 01:32 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , LT ACB,:FLASH DUE TO REPTILE / RODENT/CAT, | RESTORED/ REPAIRED | Part of : *TRF-3 ;GREEN PARK MAIN:ID* | 25
29 | 17/04/2018 | SKT | 12:00 | 15:39 | 03:39 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *TRF-1 ;BOOSTER PUMP AYA NAGAR:PM* | 1
30 | 17/04/2018 | SKT | 12:00 | 15:38 | 03:38 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *TRF-1 ; BALKA CHOWK AYA NAGAR* | 42
31 | 17/04/2018 | SVR | 12:00 | 13:43 | 01:43 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF : RAILWAY YARD TKD | 45
32 | 17/04/2018 | MDK | 12:01 | 13:29 | 01:27 | EMERGENCY SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , LT CIRCUIT:FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-1:GALI NO-8 BUL BUL VATIKA | 62
33 | 17/04/2018 | PLM | 12:04 | 15:01 | 02:57 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:POCKET-13 S/SN0-2 (DAWARIKA )*,*630 TRF-1: Puran nagar*,*630 TRF-1:PKT-13 SSTN NO-1(DDA FALTS)* | 547
34 | 17/04/2018 | PLM | 12:04 | 15:01 | 02:57 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:DADA CHHATRI MARG. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1:CHATRI WALA MARG RAJ NAGAR:PL*,*990 TRF-1:Mehrauli Road S/stn No-5* | 497
35 | 17/04/2018 | PLM | 12:09 | 13:38 | 01:29 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR RAJ NAGAR , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : *400 TRF-1:MEHROULI RD SS 1* | 34
36 | 17/04/2018 | PLM | 12:14 | 15:54 | 03:40 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D-1 & D-2, MAHAVIR ENCLAVE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *990 TRF-1:F1,F2 MAHAVIR ENCL.:ID* | 79
37 | 17/04/2018 | JKP | 12:15 | 13:38 | 01:23 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR I.A JANAKPURI S/S NO.-1 , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : *400TRF-2: VASHIST PARK:1 K* | 172
38 | 17/04/2018 | KPR | 12:23 | 14:20 | 01:57 | EMERGENCY SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , LT ACB:FAULT IN LT ACB | RESTORED/ REPAIRED | Part of : *TRF-1 ;CHUNGI NO.3 PUL PRAHALAD PUR | 58
39 | 17/04/2018 | SVR | 13:19 | 14:45 | 01:25 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK SHAHIN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF : D-BLOCK SHAHEEN BAGH | 57
40 | 17/04/2018 | MDK | 13:24 | 15:01 | 01:37 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMARUDDINE NAGAR , LT CIRCUIT:DT CLEANING | RESTORED/ REPAIRED | Part of : *990TRF-1:KAMRUDDIN NAGAR NO-4* | 82
41 | 17/04/2018 | VKJ | 13:52 | 15:39 | 01:47 | EMERGENCY SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR NAGAL DAIRY , LT CIRCUIT:FIRE IN LT POLE | RESTORED/ REPAIRED | Part of : *TRF-1 ;L-BLK KHALI PLOT | 34
42 | 17/04/2018 | KPR | 13:55 | 15:23 | 01:27 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 ;K-BLOCK, SANGAM VIHAR | 65
43 | 17/04/2018 | MDK | 14:09 | 15:28 | 01:18 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMARUDDINE NAGAR , LT CIRCUIT:DT CLEANING | RESTORED/ REPAIRED | Part of : TRF : KAMRUDDIN NAGAR | 52
44 | 17/04/2018 | ALN | 14:36 | 16:07 | 01:31 | HT SYSTEM FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : *TRF-1 ; NEAR C-23 DDA SHEDS ,OKHLA PH- 1,*TRF-1 ; NEAR B-118 DDA SHEADS OKHLA PH- 1*,*TRF-1 ;CNG SERVICE STATION OKHLA PH- 1 | 98
45 | 17/04/2018 | SVR | 14:38 | 16:16 | 01:37 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-1 ;N BLOCK AF ENCLAVE | 54
46 | 17/04/2018 | SVR | 14:52 | 16:02 | 01:10 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11 kV FDR M-BLOCK ABUL FAZAL ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-1 : M-BLK ABUL FAZAL ENCL | 49
47 | 17/04/2018 | VKP | 15:20 | 16:54 | 01:33 | LT FEEDER | Grid:BODELLA-II GRID To Feeder:11KV FDR DDA TRANSIT CAMP NO.-2 , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1: SHIV VIHAR J J COLONY NEAR ROAD* | 58
48 | 17/04/2018 | NJF | 21:03 | 22:34 | 01:30 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , ISOLATOR/ GO SWITCH,:ISOLATOR DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1:GANGA RAM VILL D.KALAN*, TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON*,*100 TRF-1:STREET LIGHT GHEVRA*,*400 TRF-1: DIGUPURA VILLAGE DHICHON KALAN | 539
49 | 18/04/2018 | NGL | 02:08 | 03:22 | 01:13 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 1140 SFS , 11KV GRID PANEL,:BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : 630 TRF-2: GH-13 SSTN-5*,*400 TRF-1: GH-12 SSTN-2*,*630 TRF-2:GH-13 SSTN NO-2 | 472
50 | 18/04/2018 | TGN | 03:40 | 05:10 | 01:30 | HT SYSTEM FAULT | Grid:VISHAL GRID SSTN To Feeder:11kV FDR KHAYALA PUMPING STATION , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B-1 BLOCK SSTN, RAGHUBIR NAGAR*,*TRF : B-2 RAGHUBIR NAG OPP BOOSTER PUMP*,*630 TRF-2 :B-2 BLK SSTN, 25 SQ. YRDS, R.NAGAR* | 561
51 | 18/04/2018 | SVR | 04:05 | 05:17 | 01:11 | HT SYSTEM FAULT | Grid:33kV SARAI JULLENA GRID To Feeder:11kV FDR B-BLOCK FRIENDS COLONY , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-2 ;A & B - BLK FRIENDS COLONY (WEST),*TRF-1 ;GOL CKAKKAR FRIENDS COLONY(WEST),*TRF-2 ;RAM PUR NAWAB*,*TRF-1 ;MANOHAR HOTEL | 278