## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 19/04/2018 06:00Hr. To 20/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 19/04/2018 | VKJ | 7:02 | 8:05 | 1:03 | EHV TRIPPING | DUE TO B/D FROM VKJ-B BLK TO ANDHERIA BAGH T-OFF AMBIENCE MALL CKT | RESTORED/ REPAIRED | Part of : JONAPURI, GHITORNI, MANGLAPURI, DLF CHATTERPUR, STP MEHRALI, APEX HOME PVT LTD, SATBARI | 1817.2
2 | 19/04/2018 | JKP | 07:16 | 08:34 | 01:18 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630TRF-1 :5 :BLOCK NO.-5 SSTN, SUBHASH NAGAR*,*400 TRF-2 :BLK NO.-3 (DABOURWALA) SSTN, S.NGR*,*630 TRF-1 :BLOCK NO.-1 SSTN, SUBHASH NAGAR*,*630 TRF-1 :BLK NO.-3 (DABOURWALA) SSTN, S.NGR*,*630 TRF-1 :BLK NO.-3 PARK SSTN, SUBHASH NGR*,*990 TRF-2 :SSTN NO.-1 (ZONAL OFFICE), S.NGR*,*990 TRF-1 :SSTN NO.-1 (ZONAL OFFICE), S.NGR*,*990 TRF-1 :BLK NO.-3/1(SCHOOLWALA) SSTN, S.NGR | 537
3 | 19/04/2018 | SKT | 08:23 | 09:34 | 01:10 | HT SYSTEM FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : TRF-1 CHHATAR PUR EXTN-2:PM*,*TRF-1 CHHATAR PUR EXTN-2:PM*,*TRF-1 14 OAK DRIVE DLF CHATTERPUR*,*TRF-1 CHAND KIRAN CHHATAR PUR VILLAGE:PL*,*TRF-1 MID CHHATAR PUR:PM*,*TRF-1 MASJID (MATA CHOCK) CHHATAR PUR:PM*,*TRF-1 REWARI FARM*,*TRF-1 TYAGI TRANSFORMER CHHATAR PUR:PM | 431
4 | 19/04/2018 | DWK | 09:43 | 11:35 | 01:52 | EMERGENCY SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1; SECT-12 PLOTTED AREA S/S-1 | 56
5 | 19/04/2018 | NJF | 10:00 | 15:21 | 05:21 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAJAFGARH -1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1:-CHARA MANDI SUB STATION NO 2*,*990 TRF-1:STN NO 1 ZONAL OFFICE NAJAFGA*,*630 TRF-1:ZONE-NAJAFGARH | 523
6 | 19/04/2018 | ALN | 10:04 | 15:40 | 05:36 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR T.C.I.L , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : TRF-2 E-BLOCK GK-2 SEHGAL MARKET- 1:K | 38
7 | 19/04/2018 | NJF | 10:10 | 15:37 | 05:27 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 25 TRF-1: SBI BANK NAGLI DAIRY*,DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*DJB STAFF Q, GOVT NURSURY*,*3PH TR HVDS INDRA PARK | 628
8 | 19/04/2018 | PLM | 10:14 | 11:20 | 01:05 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MANGLA PURI PHASE-2 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400 TRF-1 : Dispansry Sadh Ngr*,*990 TRF-2:630TRF-2:DDA FLAT(SARAI SOHEL)MANGLAPURI*,*630TRF-1:DDA FLAT(SARAI SOHEL)MANGLAPURI*,*630 TRF-1 : Shadh Nager Gali No-41 S/stn*,*400 TRF-1:Shadh Nagar Gali No-42 O/D*,*990 TRF-1 Mangla Puri Phase 2 S/S*,*630 TRF-2 Mangla Puri Phase 2 S/S*,*SADH NAGAR SOLANKI CHOWK | 684
9 | 19/04/2018 | SKT | 10:16 | 11:33 | 01:17 | HT SYSTEM FAULT | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , 11KV GRID PANEL,:BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 NEB SARAI VILL NEAR JR.ST.MARRY SCH*,*TRF-1 INDRA ENCLAVE NEBSARAI*,*TRF-1 MADANGHARI BUS STAND;PL*,*TRF-1 HARIZON BASTI NEB SARAI*,*TRF-1 D- BLOCK INDRA ENCLAVE*,*TRF-1 400 KVA DHANKAR ROAD S/STN*,*TRF-1 MADANGHARI BUS STAND;PL*,*TRF-1 SHER SINGH NEBSARAI(SAINIK FARM) | 409
10 | 19/04/2018 | DWK | 10:41 | 14:04 | 03:23 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KM CHOWK , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-3:SEC-11 mlu pkt-1 | 49
11 | 19/04/2018 | SKT | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR ASHWANI KUMAR MEHRA HOTEL(D-1) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BLK - F 213 AYA NGR*,*TRF-1 FARM NO 23 CLUB DRIVE GHITORNI*,*TRF-1 CHHABRA FARM MANGLA PURI*,*TRF-1 H - BLOCK AYA NAGAR*,*TRF-1 BLK -F 33 AYA NGR*,**,*TRF-1 C - III AYA NGR*,*TRF-1 BLK - G 663 AYA NGR*,*TRF-1 AMBEDKAR COLONY AYA NGR*,*GOVT TUBE WELL*,*TRF-1 G-BLOCK AYA NAGAR:PL*,*TRF-1 BLK - G 523 AYA NGR*,*TRF-1 BLK - F 204 AYA NGR*,*TRF-1 BLK - C I MLA OFFICE AYA NGR*,*TRF-2 BLK - F 204 AYA NGR*,*TRF-1 OPP GHITORNI MARKET,100 KVA S/S S. LT*,*TRF-1 C-2 AYA NAGAR:PL | 512
12 | 19/04/2018 | SKT | 11:00 | 15:40 | 04:40 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR 80-BLOCK MALVIYA NAGAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-2 K PKT KHIRKI EXTN:ID | 142
13 | 19/04/2018 | SKT | 11:00 | 15:43 | 04:43 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR S.F.S B-1 SEKH SARAI PHASE-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 B1 SHEIKH SARAI PHASE-1:ID : 11 KV FSS*,*TRF-2 B1 SHEIKH SARAI PHASE-1:ID : 11 KV FSS | 270
14 | 19/04/2018 | VKJ | 11:00 | 12:20 | 01:20 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 LAKAH RAM RAJOKARI GREEN FARM | 11
15 | 19/04/2018 | JKP | 11:00 | 14:01 | 03:01 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR I.A JANAKPURI S/S NO.-1 , TRANSFORMER:INSTALLATION OF MOBILE TRANSFORMER | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :OLD VASHITST PARK SSTN, JANAKPURI | 323
16 | 19/04/2018 | SKT | 11:00 | 14:01 | 03:01 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-1 SFS SEKH SARAI PHASE-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 C-1 SHEIKH SARAI PHASE-1:ID : 11 KV FSS*,*TRF-1 C-1 SHEIKH SARAI PHASE-1:ID : 11 KV FSS | 345
17 | 19/04/2018 | NHP | 11:00 | 13:14 | 02:14 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5, OKHLA PHASE-2 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN NO-5 OKHLA PH-2:ID | 12
18 | 19/04/2018 | VKJ | 11:00 | 17:07 | 06:07 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 G-8 PUSPANJALI BIJWASAN | 201
19 | 19/04/2018 | SKT | 11:00 | 14:16 | 03:16 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BALKA CHOWK AYA NAGAR*,*TRF-1 NEAR SSB,100 KVA S/Stn S. LT*,*TRF-1 AYA NAGAR, A - BLOCK*,*TRF-1 BOOSTER PUMP AYA NAGAR:PM*,*TRF-1 MAHINDAR AYA NAGAR*,*TRF-1 AYA NAGAR, B- BLOCK*,*TRF-1 BOOSTER PUMP AYA NAGAR:PM*,*TRF-1 KASHYAP AYA NAGAR:PL | 422
20 | 19/04/2018 | PJB | 11:00 | 14:47 | 03:47 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:M.I.G MILANSAR APPARTMENT , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 630 TRF-1: A-1/265 LIG FLATS, P.VHR,PJB | 64
21 | 19/04/2018 | PLM | 11:00 | 12:15 | 01:15 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:PWD Store*,*630 TRF-1:BAGDOLA VILL PL/M*,*990 TRF-1 Gali No-10 Raj Ngr S/s | 462
22 | 19/04/2018 | JKP | 11:00 | 14:08 | 03:08 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990 TRF-1 :V-BLOCK SSTN, RAJOURI GARDEN | 62
23 | 19/04/2018 | JKP | 11:00 | 14:46 | 03:46 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV GOVERMENT PRESS , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 630 TRF-1 :216 L.I.G FLATS SSTN,G-8 AREA,R.GDN | 58
24 | 19/04/2018 | SKT | 11:00 | 13:31 | 02:31 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR COMPLAINT CENTER MALVIYA NAGAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-2 KHIRKI EXTN OLD:PM | 21
25 | 19/04/2018 | SVR | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR RMU JAMIA + RMU NO.-1 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 REHMANI MASJID PLM | 241
26 | 19/04/2018 | PLM | 11:00 | 12:15 | 01:15 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1X-59 P BLK*,*400 TRF-1:BAGDOLA VILL HARIJAN BASTI*,*990 TRFf-1:Bagdolla Village (Kiosk)*,*100 TRF-1:CRPF SEC-8 | 439
27 | 19/04/2018 | KPR | 11:01 | 12:38 | 01:36 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DR. KARAN SINGH SHOOTING RANGE , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 HTC:GALI NO-16, SANGAM VIHAR:PL | 132
28 | 19/04/2018 | VKP | 11:04 | 13:36 | 02:32 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SANJAY ENCLAVE , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 TRF-1:SANJAY ENCLAVE(S.P.D) | 67
29 | 19/04/2018 | JKP | 11:09 | 14:00 | 02:47 | EMERGENCY SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-2 JANAKPURI , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : 630 TRF-2 :D/2A-BLOCK SSTN, JANAKPURI*,*990 TRF-1 :D/2A-BLOCK SSTN, JANAKPURI | 489
30 | 19/04/2018 | NGL | 11:10 | 12:49 | 01:39 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 630 TRF-2:laxmi park sstn-3*,*630 TRF-1: CAMP NO-4 ,C-BLK, S/STN-5*,*630 TRF-1 LAXMI PARK NO-2 I/D*,*630TRF-:LAXMI PARK S/STN-3*,*100 TRF-1 DAIMA HOSPITAL NIHAL VIHAR*,*630 TRF-2 LAXMI PARK NO-2 I/D*,*990 TRF-3:NE-BLK VISHNU GDN PLM | 694
31 | 19/04/2018 | KPR | 11:35 | 14:29 | 02:54 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 F-2 SANGAM VIHAR*,*TRF-1 K-BLOCK, SANGAM VIHAR:PL | 436
32 | 19/04/2018 | SVR | 11:48 | 13:02 | 01:13 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : E/F-BLOCK,KHADDA CLNY JP EXT- II | 184
33 | 19/04/2018 | SKT | 11:52 | 13:13 | 01:20 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR O/G MAIN ROAD 192-SAINIK FARM , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 W 10B Western Avenue | 8
34 | 19/04/2018 | TGN | 12:00 | 16:46 | 04:46 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-BLOCK J.J COLONEY CHAUKHANDI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI*,*630TRF-2 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI | 421
35 | 19/04/2018 | NZD | 12:04 | 15:54 | 03:50 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR KILOKARI SEWAGE , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : TRF-2 JAL VIHAR COLONY: ID*,*TRF-1 JAL VIHAR COLONY: ID | 268
36 | 19/04/2018 | VKJ | 12:04 | 15:10 | 03:06 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 BHANDARI S/STN | 132
37 | 19/04/2018 | PLM | 12:05 | 13:38 | 01:33 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:Mahaveer Vihar Sec-I, S/S No-1 | 68
38 | 19/04/2018 | VKJ | 12:17 | 13:39 | 01:21 | EMERGENCY SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 G.N.6 NH8MHP OUTDOOR S/STN | 214
39 | 19/04/2018 | RKP | 12:23 | 13:31 | 01:07 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR MOHAMEDPUR , LT O/H CABLE,:JOINT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 VILLAGE MOHAMADPUR KIOSK: PL | 56
40 | 19/04/2018 | SVR | 12:57 | 13:58 | 01:00 | LT FEEDER | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , LT O/H CONDUCTOR,:JUMPER BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-2 S.N PURI MAIN | 54
41 | 19/04/2018 | PLM | 13:04 | 15:59 | 02:55 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR CROWN APPT. SECTOR-7 PLM , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 100 TRF-1:DELHI JAL BOARD SEC7 JJ COLONY:PM*,*SIDDHARTH KUNJ*,*630 TRF-2:JJ COLONY SSTN SEC-1*,*400 TRF-1:RADHA KRISHNA SEC 7:ID*,*100 TRF-1:DEV KUNJ APPT*,*400 TRF-2:SHRUTI APPT. SEC.7*,*400 TRF-1:SHRUTI APPT. SEC.7*,*630 TRF-1:JJ COLONY SSTN SEC-1*,*630 TRF-1:MEDIA CGHS*,*400 TRF-2:RADHA KRISHNA SEC 7:ID*,*630 TRF-2:MEDIA CGHS*,*630 TRF-1: SIDDHARTH KUNJ | 624
42 | 19/04/2018 | PLM | 13:04 | 15:59 | 02:55 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:STORE SECTOR-8 (PLM) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1:Dharma Wala*,*630 TRF-1:Dharma Wala*,*990 TRF-1 Gali No-10 Raj Ngr S/s*,*990 TRF-1:GALI NO 13 RAJ NAGAR | 538
43 | 19/04/2018 | PJB | 13:22 | 14:48 | 01:25 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PAL MOHAN APPARTMENT , LT O/H CONDUCTOR,:JUMPER BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : 990 TRF-1: PAL MOHAN, CLUB RD,PJB | 87
44 | 19/04/2018 | HKS | 13:25 | 14:56 | 01:30 | LT FEEDER | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR R.K.KHANNA STADIUM , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 DELTA (TENNIS STADIUM) G.PARK: PL | 39
45 | 19/04/2018 | DWK | 13:42 | 14:44 | 01:02 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PKT-7 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1;NO.4 MKT. SEC12 PKT-7 | 78
46 | 19/04/2018 | KPR | 13:49 | 15:30 | 01:41 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DR. KARAN SINGH SHOOTING RANGE , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-2 HTC:GALI NO-16, SANGAM VIHAR:PL | 132
47 | 19/04/2018 | NGL | 14:56 | 15:57 | 1:01 | EHV TRIPPING | DUE TO B/D FROM NANGLOI TO 11KV I/C-1 | RESTORED/ REPAIRED | Part of : NANGLOI-2, RAJENDRA PARK, SHANKAR GARDEN, UDYOG NAGAR + RAIL NEER | 4725.6
48 | 19/04/2018 | DWK | 15:10 | 16:12 | 01:02 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE SSTN-2 , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE S/STN NO 2:ID | 354
49 | 19/04/2018 | ALN | 15:27 | 16:32 | 01:04 | LT FEEDER | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , : LT U/G CABLE,:CABLE FAULT | RESTORED/ REPAIRED | Part of : TRF-1 S/S C-25 OKHLA PH-1:PL | 41
50 | 19/04/2018 | ALN | 15:47 | 16:57 | 01:10 | HT SYSTEM FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR FDRMUNJAL, KALKAJI EXTN. , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 D BLOCK KALKAJI:PM*,*TRF-1 TIKONA PARK KALKAJI:PL*,*TRF-1 MUNJAL KALKAJI:PL:PG*,*TRF-2 MUNJAL KALKAJI:PL:PG | 403
51 | 19/04/2018 | ALN | 16:23 | 17:32 | 01:08 | HT SYSTEM FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 S/S NEAR C-23 DDA SHEDS ,OKHLA PH- 1:PM*,*TRF-1 S/S NEAR B-118 DDA SHEADS OKHLA PH- 1:PM*,*TRF-1 CNG SERVICE STATION OKHLA PH- 1:PM*,*TRF-2 S/S NEAR B-264 OKHLA PH- 1:PL*,*TRF-1 S/S NEAR C-85 DDA SHEDS, OKHLA PH- 1:PLM*,*TRF-3 S/S NO.11, OKHLA PH- 1:ID*,*TRF-1 S/S NO.11, OKHLA PH- 1:ID*,*TRF-1 PLM S/S A 1/1 OKHLA P-1*,*TRF-2 S/S NEAR C-1OO,DDA SHEADS OKHLA PH- 1:PL*,*TRF-1 S/S NEAR C-1OO,DDA SHEADS OKHLA PH- 1:PL*,*TRF-1 S/S NEAR B-264 OKHLA PH- 1:PL*,*TRF-2 S/S NO.11, OKHLA PH- 1:ID | 518
52 | 20/04/2018 | JKP | 03:26 | 04:46 | 01:20 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV D.C-2 S/S HARI NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 100TRF-1: SHOP NO-19 DDA MKT MYP | 38
53 | 20/04/2018 | NHP | 03:45 | 05:03 | 01:17 | HT SYSTEM FAULT | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 NEHRU PLACE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-3 S/STN GK-1 BLK-C I/D:ID*,*TRF-2 S/STN GK-1 BLK-C I/D:ID*,*TRF-1 S/STN GK-1 OPP C-91 PLM:PL*,*TRF-1 S/STN GK-1 BLK-C I/D:ID | 321