## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 21/04/2018 06:00Hr. To 22/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 21/04/2018 | JKP | 06:13 | 08:12 | 01:58 | EMERGENCY SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR FATEH NAGAR , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : 990 TRF-1 :PETROL PUMP SSTN, MEENAKSHI GARDEN | 289
2 | 21/04/2018 | NGL | 06:35 | 07:38 | 01:02 | HVDS CABLE & OTHER SYSTEM | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 990 TRF-2:Naresh Park S/s No-1 Nagloi*,*TRF-1:S/S NO 4 BLK NARESH PARK*,*990TRF-1:B BLK NARESH PARK*,*NARAYAN DHARAM KANTA*,*990TRF-1:D BLK NARESH PARK*,*990 TRF-1:Naresh Park S/s No-1 Nagloi*,*100TRF-1:PWD STREET LIGHT NARESH PARK | 589
3 | 21/04/2018 | NJF | 07:10 | 08:58 | 01:47 | EMERGENCY SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 TRF1: SAINIK ENCLAVE MAKSUDABAD | 152
4 | 21/04/2018 | VKP | 09:45 | 12:01 | 02:14 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:RAM DUTT ENCLAVE , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1:RAM DUTT ENC(MOTHER DAIRY)*,*990 TRF-1:UTTAM NAGAR EAST*,*990 TRF-2:INDRA PARK*,*990 TRF-1:INDRA PARK*,*990 TRF-2:UTTAM NAGAR EAST*,*630TRF3: UTTAM NAGAR EAST | 764
5 | 21/04/2018 | PJB | 10:04 | 11:14 | 01:10 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 COMMUNITY CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1: A-3 BLK NR CA APPT.,PASCHIM VHR | 245
6 | 21/04/2018 | RKP | 10:41 | 12:25 | 01:44 | LT FEEDER | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , SERVICE LINE,:SOCKET DAMAGED/BURNT FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 SEC-12, S/S-3, R.K.P.(CONSTRUCTION): ID | 52
7 | 21/04/2018 | SVR | 10:49 | 12:12 | 01:23 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : E BLOCK SHAHEEN BAGH:HVDS | 65
8 | 21/04/2018 | PLM | 11:00 | 15:51 | 04:51 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:HARIJAN BASTI KADDE WALA (PLM) , TRANSFORMER:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 TRF-1:BUDHIYAL OLD S/S | 84
9 | 21/04/2018 | MDK | 11:00 | 12:50 | 01:50 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 100TRF-1:MTNL TIKRI KALAN:PM*,*400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK*,*990TRF-1:TIKRI VILLAGE S/STN-6:PL*,*630 TRF-1:TIKRI VILLAGE STN-3*,*400 TRF-1: NEAR TIKRI LALTEN*,*100TRF-1:HINDUSTAN SANIT NR CC CENTER*,*990TRF-1:TIKRI VILLAGE S/STN-5:PL*,*990 TRF-1:TIKRI VILLAGE S/STN-2:PL*,*630 TRF-1:TIKRI VILLAGE STN-1*,*400 TRF-1:TIKRI VILLAGE S/STN-4:PM | 514
10 | 21/04/2018 | VKP | 11:00 | 14:29 | 03:29 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:HASTAL SOCIETY , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:HASTSAL VLG DAL MILL TALWAR*,*630 TRF-1:HASTSAL VLG DAL MILL TALWAR | 462
11 | 21/04/2018 | NHP | 11:00 | 13:47 | 02:47 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5, OKHLA PHASE-2 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN NO-5 OKHLA PH-2:ID | 257
12 | 21/04/2018 | VKJ | 11:00 | 16:50 | 05:50 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ANANDGRAM PLINTH*,*TRF-1 ARUN SINGH (SHAKUNTALA)*,*TRF-1 ROSA VILLA FARM*,*TRF-1 PETROL PUMP ;TRF-1 MAUSAM VIBHAG*,TRF-1 12-B and 14,SHAKUNTALA FARM*,*TRF-1 LAL KOTHI DAWN SINGH*,*TRF-2 TOLL TAX , MG Road, AYA NAGAR*TRF-1 ANAND GRAM*TRF-1 FARM NO.16 P/M SHAKUNTLA(SWAT HOUSE)*,*TRF-1 ST. LTG. NR. SHAKUNTALA FARM*,*TRF-1 FARM NO.24 P/M SHAKUNTLA*TRF-1 HERO HONDA (RIKKHI FARM)*,*TRF-1 NAVAL, NEAR ANDHERIA MORE;;TRF-1 ARJUNGARH METRO STATION | 144
13 | 21/04/2018 | SKT | 11:01 | 12:08 | 01:06 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR C-BLOCK SHIVALIK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 B-BLOCK SHIVALIK:ID | 51
14 | 21/04/2018 | VKJ | 11:07 | 12:20 | 01:13 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RYN SCHOOL P/M, TRF-1 MATA CHOWK MAHIPALPUR P/M*,*TRF-1 ST. LT NEAR POLICE STATION VKJ , TRF-1 DDA FLY OVER VASANT KUNJ*,*TRF-1 DEFENCE ENCLAVE P/M*,*TRF-1 MASJID CAMP, MAHIPALPUR (NEAR CAMMANDO)*,*TRF-1 MATA CHOCK MAHIPALPUR-2 PL/M;TRF-1 HODWALA(BOOSTER PUMP) MAHIPALPUR*,*TRF-1 ST.LT. (CONG- 1 OFFICE MAHIPALPUR) | 389
15 | 21/04/2018 | KPR | 11:17 | 12:18 | 01:00 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 K-BLOCK, SANGAM VIHAR:PL | 71
16 | 21/04/2018 | SVR | 11:22 | 12:47 | 01:24 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 PATERA | 148
17 | 21/04/2018 | NGL | 12:00 | 13:47 | 01:47 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 630TRF-:LAXMI PARK S/STN-3 | 269
18 | 21/04/2018 | NJF | 12:00 | 17:30 | 05:30 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : 25TRF-1:JUGLAL CHAWLA*,*25TRF-1:USHA FARM*,*SATPAL RANA MLA VILL BIJWASAN*,*TRF-2:KHAJAN BIJWASAN*,*25TRF-1:KANSIRAM*100 TRF-1:SISH RAM KANGENHERI RD CHH*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEAR USHA FARM*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*25TRF-1*,*RAVINDER KAUR*,*25TRF-1:MANJEET CHAWLA*,*100 TRF-1:BAHI RAM CHHAW LA*,*400 TRF-1:*,*100TRF-1:DEHLI TOURSIM*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*100 TRF-:KURIA KANGENHERI*,*TEK CHAND RAGHAVPUR*,*100TRF-1:CHET RAM CHHAWLA*,*25TRF-1*,*100 TRF-1:CHIRANJI KANGENHERI*,*400 TRF-1:CHHAWLA 1*100 TRF-1:ROOP RAM KANGENHERI*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*25TRF-PRITAM SINGH KAGANHERI*,*25TRF-1;BALVEER KAUR*,*CHANDRABAN VILL BADUSARAI*,*25TRF-1:DHRUV AGGARWAL*,*TRF-1:SETNA FARM BAMLI*,*25TRF-1*,*400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*100 TRF-1:GHAN SHAMCHHAWLA*,*25TRF-1;BALVEER KAUR*,*400 TRF-1:VILL NANAK HERI*,*25TRF-1:JUGLAL CHAWLA*,*25 TRF-1:AZAD BAMLI*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR | 671
19 | 21/04/2018 | SKT | 12:00 | 14:28 | 02:28 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI*,*TRF-1 CHAUTALA JONA PUR:PM*BHATIA GADAIPUR*TRF-1 BABBAL JEET SINGH S/STN JONAPUR*CRC Nr SULTANPUR STN,100 KVA S/S ST. LTG*TRF-1 OSHO DRIVE-3 GADAIPUR:PM,100 KVA S/Stn.*TRF-1 JAGDISH GADAIPUR:PL*TRF-1 R.B ROLLING JONA PUR:PM*TRF-1 GEN. BHATIA;PM*,*TRF-1 BALWANTI MANDI:PM*,*TRF-1 PUNJAB KESARI GADAIPUR*,*TRF-1 BATRA FARM,100 KVA S/Stn.*,*TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 RAJA BABU GADAIPUR:PM*,*TRF-1 F-43 RASHMI RADHEY MOHAN,100 KVA S/Stn | 520
20 | 21/04/2018 | NZD | 12:04 | 14:55 | 02:51 | PLANNED SHUTDOWN | Grid:33kV A.I.I.M.S GRID To Feeder:11kV FDR VIKASH SADAN(BRPL FEEDER) , HT INTERMEDIATE FEEDER:MAINTENANCE OF O/H CIRCUIT | RESTORED/ REPAIRED | Part of : C.V.C. BUILDING INA COLONY | 1
21 | 21/04/2018 | MDK | 12:04 | 14:04 | 02:00 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR INDIAN OIL , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630TRF-1:MUNDKA VILLAGE S/STN-4:PL*,*630TRF-1:MUNDKA VILLAGE SSTN NO-7*,*400TRF-1:FRIENDS ENCLAVE S/STN-1:PM*,*100TRF-1:FRIENDS ENCLAVE RAILWAY CLY MUNDKA*,*630TRF-2:MUNDKA VILLAGE S/STN-4:PL*,*990TRF-1:MUNDKA VILLAGE SSTN NO-2*,*400TRF-1:RMU RANIKHERA ROAD*,*400TRF-1:FRIENDS ENCLAVE S/STN-2:PM*,*990TRF-1:SAWARN PARK CHANGI RAM WALA:PL*,*630TRF-1:DMRC QUATERS MUNDKA*,*100TRF-1:TELEPHONE EXCHANGE MUNDKA:PM*,*630TRF-2:DMRC QUATERS MUNDKA | 625
22 | 21/04/2018 | SVR | 12:10 | 13:57 | 01:47 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR NEW FRIENDS COLONY S/S NO.-1 , RMU:FIXING THE COVER | RESTORED/ REPAIRED | Part of : TRF-3 S/STN-1 NEW FRIENDS COLONY | 56
23 | 21/04/2018 | SVR | 12:10 | 13:35 | 01:25 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : H BLOCK KHADA CLY:HVDS | 168
24 | 21/04/2018 | SVR | 12:20 | 13:58 | 01:38 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 H-BLOCK S.N PURI | 185
25 | 21/04/2018 | NGL | 12:33 | 14:01 | 01:28 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RATAN NO-2 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 400 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL*,*100 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL | 204
26 | 21/04/2018 | NJF | 12:41 | 14:19 | 01:38 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAJAFGARH -1 , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : NJF BAZAR(OLD ANAJ MANDI) | 67
27 | 21/04/2018 | SVR | 13:14 | 14:20 | 01:06 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.B EXTN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630KVA TRF M.B.EXTN. | 207
28 | 21/04/2018 | VKJ | 13:36 | 14:48 | 01:12 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SECTOR-A VASANT KUNJ , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-8 SEC-A POCKET-BandC VASANT KUNJ;STN-10 SEC-A POCKET-BandC VASANT KUNJ;STN-7 SEC-A POCKET-BandC VASANT KUNJ;STN-9 SEC-A POCKET-BandC VASANT KUNJ, STN-9 SEC-A POCKET-BandC VASANT KUNJ | 398
29 | 21/04/2018 | NJF | 13:50 | 17:47 | 03:57 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:ROSHAN PURA X-1 BLOCK , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 1516/NFG/X-BLOCK/S/S/DT*,*630 TRF-1:SHIV NAGAR NAJAFGARH*,*100 TRF-1:KAMALSUPUN PIPE PAPRAWAT RD*,*400 TRF1 : D-BLK SANAT KABEER ASHRAM*,*1516/NFG/X-BLOCK/S/S/DT*,*25TRF-1:MTNL | 512
30 | 21/04/2018 | VKJ | 13:54 | 15:40 | 01:45 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 SHIV MANDIR KAPASHERA | 215
31 | 21/04/2018 | MDK | 14:18 | 15:59 | 01:41 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJDHANI PARK , LT ACB:SOCKET REPLACEMENT | RESTORED/ REPAIRED | Part of : 990TRF-1:SAWARN PARK S/STN-1:ID | 81
32 | 21/04/2018 | NGL | 14:22 | 15:28 | 01:05 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NIHAL VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:B-1 BLOCK NIHAL VIHAR*,*990 TRF-1:A-BLOCK NIHAL VIHAR*,*990 TRF-1 PLM D BLK NIHAL VHR NR RS PUBLIC SCHOOL*,*630 TRF-1 B-2 BLOCK NIHAL VIHAR*,* TRF-1:NIHAL VIHAR E BLOCK -II*,*630 TRF-2:B-1 BLOCK NIHAL VIHAR | 679
33 | 21/04/2018 | SVR | 14:32 | 15:44 | 01:12 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : H BLOCK KHADA CLY:HVDS | 12
34 | 21/04/2018 | NGL | 14:45 | 16:08 | 01:23 | LT FEEDER | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN.NO-3 UDYOG NGR(OLD) , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-3:UDYOG NAGAR NO-03 S/S | 73
35 | 21/04/2018 | NGL | 14:52 | 16:11 | 01:18 | LT FEEDER | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR.NO-4 (NEW) , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:Udyog Nagar S/S No-4(NGI) | 74
36 | 21/04/2018 | JFR | 15:11 | 16:44 | 01:33 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-2:B BLOCK GOPAL NAGAR 2*,*HARI KISHAN VILL MITRAON:PM *,*100 TRF-1:STN GOVERDHAN VLG KHAIRA*,*25 TRF-1:DJB, VILL MITRAON DIVISION JFR*,*630 TRF-1:B BLOCK GOPAL NAGAR 1*,*630 TRF-1: KHAIRA MORE*,*16 TRF-1:RAM PARSAD VLG KHAIRA*25 TRF-1: ASHIRWAD VATIKA GOPAL NAGAR | 489
37 | 21/04/2018 | SVR | 16:26 | 17:33 | 01:07 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , LT POLE,SERVICE LINE,:FIRE ON POLE,FIRE IN DB, | RESTORED/ REPAIRED | Part of : 630 KVA TRF F-BLK SHAHEEN BAGH | 68
38 | 21/04/2018 | PLM | 20:30 | 21:49 | 01:19 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR S.P.G , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:SPG SEC 8 SS 7*,*630 TRF1:SPG COMPLEX S/S NO-7*,*630 TRF1:SPG S/stn-5 S/s*,*400TRF-1:Spg Complex No-1*,*630 TRF-1:SPG COMPLEX S/S NO-3*,*630 TRF1:SPG COMPLEX S/S NO-4*,*630 TRF1: SPG SEC 8 S/STN 2:ID | 586
39 | 21/04/2018 | ALN | 20:35 | 21:37 | 1:02 | EHV TRIPPING | DUE TO B/D FROM OKHLA PHASE-2 TO 11KV I/C-3 | RESTORED/ REPAIRED | Part of : TODAY HOTEL-1, S/S-5 OKHLA-2, S/S-2 PH-2, S/S-8 PH-1, Z-BLK PH-2 VIA X BLK | 3923
40 | 21/04/2018 | PLM | 21:02 | 22:19 | 1:17 | EHV SHUTDOWN | DUE TO PUT OFF FROM G-2 PPK TO D1 & D2 MAHAVIR ENCLAVE | RESTORED/ REPAIRED | Part of : D1 & D2 MAHAVIR ENCLAVE | 4833 | DUE TO DC FAIL
41 | 22/04/2018 | SVR | 01:55 | 03:27 | 01:31 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , RMU,:INTERNAL FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 B-1/H-9 MCIE*,*TRF-1 CNG GAS FILLING S/RC MATHURA ROAD*,*TRF-1 B- 1/F-3 MCIE*,*TRF-1 B-1/E-16 MCIE*,*TRF-1 B-1/F-8 (RENOTON) MCIE;NEAR OPEL*,*TRF-1 NEAR B-1/28;B-1/ F-10 MCIE OR F-12 | 7
42 | 22/04/2018 | NZD | 03:52 | 05:46 | 01:53 | HT SYSTEM FAULT | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:6-FIROZ GANDHI ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 FEROZ GANDHI ROAD LAJPAT NAGAR-3: K*TRF-2 FEROZ GANDHI ROAD LAJPAT NAGAR-3: K*FEROZ GANDHI ROAD LAJPAT NAGAR-3: K | 449
43 | 22/04/2018 | JKP | 05:49 | 7:36 | 1:47 | HT SYSTEM FAULT | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-1 JANAKPURI , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :D/1A-BLOCK SSTN, JANAKPURI*,*990 TRF-1 :D1-BLOCK SSTN, JANAKPURI*,*D-1,JANAK PURI:K | 438