## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 23/04/2018 06:00Hr. To 24/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 23/04/2018 | JKP | 21:15 | 22:33 | 01:17 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GURUDWARA SUB STATION , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :J-8 SSTN, RAJOURI GARDEN,, 990 TRF-1 :J -5 SSTN, RAJOURI GARDEN,, 990 TRF-1 :J-4 SSTN, RAJOURI GARDEN,, 630TRF-2:J4 RAJOURI GARDEN:K,, 990 TRF-1 :J-6 SSTN, RAJOURI GARDEN | 778
2 | 23/04/2018 | HKS | 16:05 | 17:24 | 01:19 | HT SYSTEM FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:RAJ NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 RAJ NAGAR: K,, TRF-2 KAMAL COMMUNITY CENTRE: ID,, TRF-2 RAJ NAGAR: K,, TRF-1 KAMAL COMMUNITY CENTRE: ID,, TRF-1 A-BLOCK SDA: PL | 567
3 | 23/04/2018 | NGL | 15:02 | 16:04 | 01:01 | HVDS TRANSFORMER | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630TRF-:LAXMI PARK S/STN-3,, 630 TRF-2 LAXMI PARK NO-2 I/D,, 630 TRF-1 LAXMI PARK NO-2 I/D,, 990 TRF-3:NE-BLK VISHNU GDN PLM,, 100 TRF-1 DAIMA HOSPITAL NIHAL VIHAR,, 630 TRF-2:laxmi park sstn-3,, 630 TRF-1: CAMP NO-4 ,C-BLK, S/STN-5 | 303
4 | 23/04/2018 | NGL | 13:43 | 15:11 | 01:27 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV FDR GRAMSABHA NILOTHI , HT O/H,:HTAB DAMAGED, | RESTORED/ REPAIRED | Part of : 400 TRF-2:NEW GURU HARKISHAN NAGAR | 183
5 | 23/04/2018 | JFR | 11:03 | 12:32 | 01:29 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 25 TRF-1:KHAZAN SINGH VILL M. KHURD,, 100 TRF-1:AOP VILL V MUNDELLA KALAN,, MANOJ VILL MUNDELA KHURD,, 25 TRF-1: NAFE SINGH MUNDELA KHURD,, BADLEY VILL MUNDELA KALAN/ SATISH,, 100 TRF-1:JOTE RAM VLG MUNDELLA KALAN,, KARAN SINGH VILL MUNDELA KHURD,, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,, 25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN,, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,, 100 TRF: T/WELL S/TN. DICHAON,, 100 TRF-1:RAM KISHN VLG MUNDELLA KALAN,, 16 TRF-1:J P FARM NR REWTA MODE,, NAWAL SINGH MUNDELA KHURD,, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,, 100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN,, 100 TRF-1:PARTAP VLG MUNDELLA KALAN,, 25 TRF-1:W/SPLY MUNDELLA KHURD,, OMPRAKASH VILL-KAIR,, 25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.,, SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC,, 25 TRF-2: HARDWARI NO.1 MUNDELA KHURD,, 100 TRF-1: ST LT FOR MUNDHELA KHURD,, 25 TRF-1: NIHAL SINGH MUNDELA KHURD,P/M,S/STN,, NIHAL SINGH MUNDELA KHURD,, 25 TRF-1:BANWARI LAL VILL. M KHURD,, JOGINDER VILL-MUNDELA KALAN,, 25 TRF-1: UMED SINGH MUNDELA KHURD,, 400 TRF-1:SUBH RAM V MUNDELLA KALAN,, 25 TRF-1:PREM CHAND VLG MUNDELLA KHURD,, 100 TRF-1:BHIM SNG VLG MUNDELLA KALAN,, 25 TRF-1: HARDEEP VILL M. KHURD,, 100 TRF-1:RAGHUBIR VLG MUNDELLA KALAN,, 630 TRF-1:VILL MUNDELLA KHURD S/S NO.2,, STREET LIGHT, DABUR ENCLAVE, NEAR SHANKER DHARAM,, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,, 630 TRF-1:VILLAGE MUNDELLA KHURD,, 25 TRF-1:BUDH RAM VILL M. KHURD,, PRANJAL VILL MUNDELA KALAN,, 100 TRF-1:W/SUPPLY VLG KAIR,, 16 TRF-1:W/SUPPLY DHANSA AT MAIN ROAD,, 100 TRF-1:RAM KISHAN VILL SAMASPUR:PM,, 25 TRF-1:DHARAM SINGH VILL M. KHURD,, 25 TRF-1:KRISHAN VILL M. KHURD,, 25 TRF-1: DHARAMPAL MUNDELA KHURD,, 25 TRF-1:JAGDISH MUNDHELA KHURD,, 100 TRF-1:RATTAN VLG MUNDELLA KHURD,, 630 TRF-1:VILLAGE MUNDELLA KALAN,, HARDWARI NO.2 MUNDELA KHURD,, 25 TRF-1: BALJEET MUNDELA KHURD, P/M,S/STN,, 100 TRF-1:FATEY SNG VLG MUNDELLA KALAN,, MANJU RANA MUNDELA KALAN,, 400 TRF-2: VILL MUNDELLA KALAN:PM,, 100 TRF-1:GOVT SR S. SCHOOL VILL MUNDEL | 425
6 | 23/04/2018 | JKP | 08:05 | 09:49 | 01:43 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-11, D.C JANAKPURI+BOOSTER PUMP VIA RMU , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :PLOT NO.-12 (SUNEJA TOWER-II) SSTN,, 630 TRF-2 :PLOT NO.-12 (SUNEJA TOWER-II) SSTN,, 990 TRF-2 :PLOT NO.-11(KIPTI SIKHAR) SSTN,JKP,, 990 TRF-1 :PLOT NO.-11(KIPTI SIKHAR) SSTN,JKP | 491
7 | 23/04/2018 | VKP | 07:51 | 09:19 | 01:28 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV TRANSIT CAMP NO.-1 HASTSAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:RAJDHANI PUBLIC SCHOOL:PL,, 25 TRF-1:100KVA SAINIK ENC. VIKAS NGR,, 630 TRF-1:RAJDHANI PUBLIC SCHOOL:PL,, 100 TRF-1:RAJDHANI PUBLIC SCH MAIN ROAD,, RAJDHANI PUBLIC SCH MAIN ROAD,, 100 TRF-1:COL BHATIA FARM,, 400 TRF-1:COMMANDER CHOWK | 587
8 | 23/04/2018 | RKP | 07:27 | 08:32 | 01:04 | HT SYSTEM FAULT | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR NIVEDITA KUNJ S/S NO.-5 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/STN-4 NIVEDITA KUNJ SEC-10 RKP :ID,, TRF-1 S/STN-5 NIVEDITA KUNJ SEC-10 RKP :ID,, TRF-1 S/STN-4 NIVEDITA KUNJ SEC-10 RKP :ID,, TRF-2 S/STN-5 NIVEDITA KUNJ SEC-10 RKP :ID | 419
9 | 23/04/2018 | PLM | 06:24 | 07:52 | 01:28 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D-1 & D-2, MAHAVIR ENCLAVE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-2:F1,F2 MAHAVIR ENCL.:ID,, 630 TRF-1:D1, D2 BLOCK MAHAVIR ENCLAVE,, 630 TRF-2:D1, D2 BLOCK MAHAVIR ENCLAVE,, 990 TRF-1:F1,F2 MAHAVIR ENCL.:ID,, 630 TRF-2: MAHAVIR ENCL. D3:ID,, 630 TRF-1:MAHAVIR ENCL. D3:ID | 612
10 | 23/04/2018 | VKJ | 15:53 | 17:02 | 01:09 | LT FEEDER | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT O/H CONDUCTOR,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 SHAMSHAN GHAT, RANGPURI | 93
11 | 23/04/2018 | PLM | 15:06 | 16:37 | 01:31 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR RAJ NAGAR , LT O/H CONDUCTOR,:CONDUCTOR SANPPED, | RESTORED/ REPAIRED | Part of : 990 TRF-1:S/S NO 3 M ROAD RAJNAGAR | 143
12 | 23/04/2018 | SVR | 13:26 | 14:42 | 01:16 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 F-BLOCK SALIM BAGH | 128
13 | 23/04/2018 | HKS | 12:15 | 13:34 | 01:19 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : TRF-1 40, SHAHAPUR JAT:PM:PG | 61
14 | 23/04/2018 | SVR | 11:27 | 12:47 | 01:19 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 E&F BLK MADRSI COLONY | 146
15 | 23/04/2018 | VKP | 11:26 | 12:34 | 01:07 | LT FEEDER | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:HASTAL VIHAR , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:HASTAL VHIAR I/D | 106
16 | 23/04/2018 | KPR | 10:54 | 12:28 | 01:33 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR B-BLOCK DURGA VIHAR , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 B-BLOCK DURGA VIHAR:ID | 127
17 | 23/04/2018 | PJB | 10:46 | 11:58 | 01:11 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:240 MIG FLATS (208 SFS ) MADIPUR , DISTRIBUTION TRANSFORMER,:TRANSFORMER HT BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : 400 TRF-1: 240MIG FLATS P/M ,MADIPUR,PJB | 79
18 | 23/04/2018 | HKS | 10:06 | 11:46 | 01:39 | LT FEEDER | Grid:33kV HUDCO GRID To Feeder:11 kV FDR POLICE COLONY ANDREWS GANJ , : | RESTORED/ REPAIRED | Part of : TRF-1 R-BLOCK, NDSE:PKG | 104
19 | 23/04/2018 | VKP | 15:04 | 16:26 | 01:22 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , RMU:BUS BAR COUPLING CLEANED/REPLACED/REPAIRED | RESTORED/ REPAIRED | Part of : 990 TRF-1:DAL MILL SBI | 269
20 | 23/04/2018 | VKP | 15:04 | 16:26 | 01:22 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:GURUDWARA HASTAL ROAD , RMU:BUS BAR COUPLING CLEANED/REPLACED/REPAIRED | RESTORED/ REPAIRED | Part of : 990 TRF-1:SHANI BAZAAR, JJ COLONY,, 400TRF-2: SHANI BAZAR UTTAM NAGAR PL | 458
21 | 23/04/2018 | SVR | 15:00 | 17:39 | 02:39 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N POCKET S/S NO.-1 SARITA VIHAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 MADAN PUR KHEDAR HUDDA MOHA. | 218
22 | 23/04/2018 | JKP | 13:10 | 14:16 | 01:06 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR COMMUNITY CENTER JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :COMMUNITY CENTRE SSTN-I, JANAKPURI,, 630 TRF-1 :COMMUNITY CENTRE SSTN-I, JANAKPURI | 398
23 | 23/04/2018 | SVR | 12:54 | 15:05 | 02:11 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 ZAKIR NAGAR,, TRF-1 ZAKIR NAGAR,, TRF-2 ZAKIR NAGAR | 509
24 | 23/04/2018 | DWK | 12:11 | 14:04 | 01:53 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1; SECT-12 PLOTTED AREA S/S-1 | 136
25 | 23/04/2018 | DWK | 12:10 | 14:04 | 01:54 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PKT-7 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1;NO.4 MKT. SEC12 PKT-7 | 95
26 | 23/04/2018 | DWK | 12:05 | 14:04 | 01:59 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KARGIL CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:,SEC-11 I/D PKT-4 S/S-1 | 115
27 | 23/04/2018 | VKJ | 12:04 | 14:07 | 02:03 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 ISRAEL CAMP (RANGPURI) | 213
28 | 23/04/2018 | TGN | 12:00 | 15:07 | 03:07 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK SCHOOL WALA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1 :MCD PRIMARY SCHOOL SSTN, M. PARK | 189
29 | 23/04/2018 | SKT | 12:00 | 16:45 | 04:45 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SULTAN PUR COLONY:ID,, TRF-1 SULTAN PUR COLONY KHADHA SUB STATION,, TRF-2 SULTAN PUR COLONY:ID,, TRF-1 SULTANPUR ESTATE,, TRF-1 SULTAN PUR CLY PL/M NEAR DHARAMSHALA:PM,, SULTAN PUR VILLAGE:PM | 329
30 | 23/04/2018 | JKP | 11:40 | 16:38 | 04:58 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV TIHAR JAIL , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 400 TRF-1 :SSTN NO.-2, TIHAR JAIL, JANAKPURI | 89
31 | 23/04/2018 | PLM | 11:34 | 14:13 | 02:39 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , TRANSFORMER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : 630 TRF-1:PUMP HOUSE SEC-7:PLM | 82
32 | 23/04/2018 | JKP | 11:30 | 15:16 | 03:46 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-3 :FATEH NAGAR SSTN, MAYAPURI | 95
33 | 23/04/2018 | JKP | 11:10 | 12:49 | 01:39 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV C-2 BLOCK JANAKPURI (RMU) , LT CIRCUIT:DT CLEANING ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :C2-BLOCK (AHUJAWALA) SSTN, JKP | 109
34 | 23/04/2018 | SKT | 11:00 | 13:24 | 02:24 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 SHAKUNTLA FARM VILLAGE SATBARI,, TRF-1 HIMALYAN, 20 NO GREEN MEDOW,, TRF-1 KIDS KRAZE OPP MALLU FARM SATBARI,, TRF-1 GREEN MEADOW-1:PM,, TRF-1 GREEN MEADOW-2 (RAO INDERJIT):PM | 410
35 | 23/04/2018 | NJF | 11:00 | 13:34 | 02:34 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:DEENPUR 3,, 16 TRF-1:PREM JHAKHAR SHAM VIHAR,, 400TRF-1:VILL GOELA STN 1,, SHYAM VIHAR PH-II DEENPUR,, 100TRF-1:MOHIT,, 25TRF-1:ANAND GOELA,, 100TRF-1:VILL GOELA STN 1 | 426
36 | 23/04/2018 | NHP | 11:00 | 14:12 | 03:12 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 S/STN D BLOCK E.O.K I/D:ID | 166
37 | 23/04/2018 | NHP | 14:29 | 18:16 | 03:47 | EMERGENCY SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR E-BLOCK EAST OF KAILASH , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 D-99 EAST OF KAILASH | 102
38 | 23/04/2018 | DWK | 13:44 | 15:12 | 01:28 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JJ COLONY PH-1 , LT CIRCUIT:REPAIR/REPLACEMENT OF DB AND SERVICE LINE | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR,, 630 TRF-1:OM VIHAR EXT.,, 630 TRF-2:NEW T UTTAM NAGAR,, 630 TRF-2: OM VIHAR EXT:ID | 468
39 | 23/04/2018 | KPR | 13:19 | 14:36 | 01:17 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 HARIZAN BASTI:PL | 143
40 | 23/04/2018 | NGL | 12:58 | 14:51 | 01:53 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , TRANSFORMER:PLINTH RAISING | RESTORED/ REPAIRED | Part of : 630 TRF-2 LAXMI PARK NO-2 I/D | 98
41 | 23/04/2018 | KPR | 12:40 | 13:40 | 01:00 | EMERGENCY SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 25 KVA HVDS LAXMI STONE (VISHVAKARMA) | 6
42 | 23/04/2018 | NGL | 11:51 | 13:40 | 01:48 | EMERGENCY SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR F & S BLOCK NIHAL VIHAR , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : 630 TRF-1:FandS BLOCK NIHAL VIHAR | 109
43 | 23/04/2018 | VKP | 11:29 | 12:34 | 01:05 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:OM VIHAR PHASE-2 , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR PHASE-II, S/S NO.3 | 109
44 | 23/04/2018 | NJF | 10:57 | 12:10 | 01:12 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:REPAIR/REPLACEMENT OF CONDUCTOR | RESTORED/ REPAIRED | Part of : 25TRF-1;BALVEER KAUR,, 100 TRF-1:STN NR MANDIR KANGENHERI,, 25TRF-1 RAVINDER KAUR,, 100 TRF-1:BAHI RAM CHHAW LA,, 100TRF-1:DEHLI TOURSIM,, 100 TRF-1:NARAIN SARUP CHHAWLA,, 100 TRF-:KURIA KANGENHERI,, TEK CHAND RAGHAVPUR,, 100 TRF-1:CHIRANJI KANGENHERI,, 100 TRF-1:ROOP RAM KANGENHERI,, 25 TRF-1: KARNAL FARM BRIJWASAN,, 25TRF-1;BALVEER KAUR,, CHANDRABAN VILL BADUSARAI,, 25TRF-1:DHRUV AGGARWAL,, TRF-1:SETNA FARM BAMLI,, 400 TRF-1:LOP BIJWASAN RAILWAY STATION,, 100 TRF-1:GHAN SHAMCHHAWLA,, 25TRF-1;BALVEER KAUR,, 400 TRF-1:VILL NANAK HERI,, 25 TRF-1:AZAD BAMLI,, ISAPUR KHAIRA VIL BMNULI BHAJHGER,, 16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR,, 25TRF-1:NEENA KANCHAN,, 100 TRF-1:STN BAMLI STAND,, 400 TRF-1:SUKHBIR RAGHAVPUR,, 25TRF-1:BALBIR VILL RAGHOPUR,, DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN,, W/S KANGANKHERI,, 25 TRF-1:SURESH DD VILL. KANGANHERI,, NEANASIR FARM VILL. BIJWASAN,, 100 TRF-1:CHANDU MALI BAMNOLI,, 25TRF-1:JAGDEEP KANGANHERI,, 400 TRF-:BALBIR BIJWASAN,, 100 TRF-1:DATA RAM KANGENHERI,, 25TRF-1:PARVINDER KAUR,, 100 TRF-1:PIARAE LAL BIJWASAN,, BEFORE NASIR FARM VILL BIJWASAN,, 100 TRF-1:SETH FARM BAMROLI,, 100 TRF-1:LEKH RAJ KANGENHERI,, JAI BHAGWAN VILL. KANGANHERI,, 25 TRF-1: NASIR FARM BRIJWASAN,, RICHPAL VILL KANGANHERI,, RAJINDER VILL KANAGANHERI,, 100 TRF-1:STN RAGHAV PUR,, 400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN | 349
45 | 23/04/2018 | PJB | 10:56 | 14:42 | 03:44 | EMERGENCY SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 COMMUNITY CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1: A-2 LIG FLATS,PASCHIM VHR,PJB | 121
46 | 23/04/2018 | VKJ | 10:33 | 11:44 | 01:10 | EMERGENCY SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR GMR OPPOSITE PALAM GRID , LT CIRCUIT:LOAD RATIONALISATION | RESTORED/ REPAIRED | Part of : TRF-1 CHOPAL MAHIPAL PUR PL/M | 112
47 | 23/04/2018 | NZD | 10:26 | 12:15 | 01:48 | EMERGENCY SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL,, TRF-2 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL | 89
48 | 23/04/2018 | NGL | 09:59 | 13:52 | 03:53 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-2 , TRANSFORMER:REMOVAL OF DB BY MAKING BRANCH JOINTS | RESTORED/ REPAIRED | Part of : 990 TRF-1:L BLK NGL | 101
49 | 23/04/2018 | VKP | 09:44 | 11:21 | 01:37 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR IJKL BLOCK UTTAM NAGAR , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : 990 KVA TRF . UTTAM NAGAR T BLOCK (KHADDY WALA) | 99

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 23/04/2018 06:00Hr. To 24/04/2018 06:00Hr.
HVDS CABLE & OTHER SYSTEM
HT SYSTEM FAULT
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES