## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 26/04/2018 06:00Hr. To 27/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 26/04/2018 | PJB | 08:40 | 09:43 | 01:02 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PASCHIM VIHAR EXTENSION , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1: C-BLK, JJ CLY,MADIPUR,PJB*,*630 TRF-1: 6TH MILESTONE,MADIPUR CLY,R.RD*,*990 TRF-1:E-BLK MADIPUR*,*NORTHERN RLY SHAKURBASTI*,*990 TRF-2:E-BLOCK MADIPUR JJ COLONY:K | 726
2 | 26/04/2018 | VKP | 09:04 | 10:08 | 01:03 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR LAXMI VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990TRF-2:SEWAK PARK B-BLOCK*,*630 TRF-1:SEWAK PARK B-BLOCK | 524
3 | 26/04/2018 | RKP | 10:00 | 13:54 | 03:54 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 PLM S/STN SABZI MANDI VILLAGE JHARERA*,*TRF-1 PLM S/S NR CANTT SCHOOL VILLAGE JHARERA*,*TRF-1 PLM S/STN SABZI MANDI VILLAGE JHARERA | 519
4 | 26/04/2018 | ALN | 10:00 | 16:09 | 06:09 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-C OKHLA PH.-1 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-2 S/S B OKHLA PH- 1:ID | 59
5 | 26/04/2018 | DWK | 10:12 | 12:04 | 01:52 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-2:PREM VIHAR*,*400 TRF-1:JANAKSAR SOCIETY*,*400 TRF-2:JANAKSAR SOCIETY*,*630 TRF-2:ASHOKA SSTN*,*630 TRF-1:ASHOKA SSTN*,*630 TRF-1:SATYAM S/S*,*630TRF-2:HUMDUM CGHS PL-7 SEC-18A*,*400 TRF-1:RAJ VIHAR*,*400 TRF-1:PREM VIHAR*,*630TRF-1:HUMDUM CGHS PL-7 SEC-18A*,*400 TRF-2:EIL SSTN*,*630 TRF-2*,*630 TRF-2:ROYAL GRD APP*,*630 TRF-1*,*400 TRF-1:EIL SSTN*,*630 TRF-1:ROYAL GRD APP*,*630 TRF-2:SATYAM S/S*,*400 TRF-2:RAJ VIHAR | 738
6 | 26/04/2018 | PLM | 10:29 | 11:45 | 01:15 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 : Nasirpur Mandir Wala S/s*,*400 TRF-1 : Harijan Basti Nasirpur S/stn*,*H-2, BLOCK BANGALI COLONY*,*400 TRF-1:RZ-BLK GALI NO.-2 MAHAVIR ENCLAVE*,*400 TRF-1 : Harizan Basti (dharamkanta)i*,*400 TRF-2 : Harijan Basti Nasirpur S/stn*,*630 TRF-1 :l Nasirpur Mandir Wala S/s | 668
7 | 26/04/2018 | VKJ | 10:38 | 11:53 | 01:15 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : TRF-1 SHAMSHAN GHAT, RANGPURI | 49
8 | 26/04/2018 | NJF | 10:40 | 15:04 | 04:24 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DEENPUR FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:BRIJ MOHAN PAPRAWAT*,*400 TRF-1:C BLOCK ROSHANPURA*,*400 TRF 1:-VILL DINPUR and DURGA PARK*,*630 TRF-2:C BLOCK ROSHANPURA*,*SOOJANI DEVI DURGA VIHAR PH-1*,*400 TRF-1:BDO STN 1 ROSHANPURA*,*400 TRF-1:BDO STN 2 VILLAGE ROSHANPURA*,*25trf-1:MTNL TOW NEAR HEERO HONDA SHOW R*,*630 TRF-1:CHARA MANDI | 788
9 | 26/04/2018 | PLM | 10:58 | 12:39 | 01:40 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , DISTRIBUTION TRANSFORMER,:EXTENDED BUS BAR DAMAGED, | RESTORED/ REPAIRED | Part of : AWHO SEC-22 (ARMY QTRS) | 124
10 | 26/04/2018 | JKP | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV TIHAR JAIL , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 400 TRF-1 :SSTN NO.-2, TIHAR JAIL, JANAKPURI | 1
11 | 26/04/2018 | SVR | 11:00 | 12:15 | 01:15 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.C.I.E , RMU:RELAY REPLACEMEMT | RESTORED/ REPAIRED | Part of : TRF-2 SSTN. NO. 5 MCIE B-BLOCK*,*TRF-1 SSTN. NO. 5 MCIE B-BLOCK | 42
12 | 26/04/2018 | PJB | 11:00 | 15:13 | 04:13 | PLANNED SHUTDOWN | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR TULSI RAM DHARAMSALA , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1: WINGS, NJF ROAD,PJB | 284
13 | 26/04/2018 | PJB | 11:00 | 13:50 | 02:50 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BAGH BOOSTER PUMP , 11KV FEEDER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : 990 TRF-1: ROAD NO.-57,WEST PJB | 255
14 | 26/04/2018 | SVR | 11:00 | 12:42 | 01:42 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 MADANPUR KHADAR- EXTN*,*TRF-1 MADANPUR KHADAR- EXTN | 531
15 | 26/04/2018 | SKT | 11:00 | 12:12 | 01:12 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , RMU:TO COUPLE A NEW RMU | RESTORED/ REPAIRED | Part of : TANK NO-1 SECTOR-5 PUSHP VIHAR | 208
16 | 26/04/2018 | SKT | 11:00 | 15:24 | 04:24 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR C.C ANUPAM , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-2 SAKET BLOCK-B:ID*,*TRF-1 SAKET BLOCK-B:ID | 450
17 | 26/04/2018 | VKJ | 11:00 | 12:35 | 01:35 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR B-8 VASANT KUNJ VIA GOINKA SCHOOL , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-2 STN-8 SEC-B POCKET-8 VASANT KUNJ*,*TRF-1 STN-8 SEC-B POCKET-8 VASANT KUNJ | 389
18 | 26/04/2018 | SVR | 11:00 | 12:41 | 01:41 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-2 , RMU:RELAY REPLACEMEMT | RESTORED/ REPAIRED | Part of : TRF-1 HTC:DULI CHAND COLONY | 1
19 | 26/04/2018 | KPR | 11:08 | 14:04 | 02:56 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR B-II/1, MADANGIR , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 521 BUSSTAND, DAKSHIN PURI:PL*,*TRF-2 521 BUSSTAND, DAKSHIN PURI:PL | 524
20 | 26/04/2018 | KPR | 11:10 | 12:10 | 01:00 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , DISTRIBUTION TRANSFORMER,:ABNORMAL SOUND FROM THE TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 AandB BLOCK SURAJ KUND RD. ,PP PUR:PL | 162
21 | 26/04/2018 | NGL | 11:16 | 15:02 | 03:46 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-2 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1:L BLK NGL | 89
22 | 26/04/2018 | KPR | 11:30 | 13:14 | 01:43 | EMERGENCY SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-8 D-BLOCK, SANGAM VIHAR ID , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO-4, D-BLOCK, S.VIHAR:ID | 58
23 | 26/04/2018 | PLM | 11:33 | 12:57 | 01:24 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR BENGALI COLONY , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : 990 TRF-1:Bengali Colony FS | 298
24 | 26/04/2018 | VKJ | 11:36 | 13:27 | 01:51 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : 1/9 KISHANGARH NEW S/STN | 47
25 | 26/04/2018 | NJF | 11:38 | 13:10 | 01:31 | EMERGENCY SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HVDS:REPAIR/REPLACEMENT WORK OF HVDS CABLE | RESTORED/ REPAIRED | Part of : 100 TRF-:MUKESH SHARMA P/M S/STN | 34
26 | 26/04/2018 | TGN | 11:57 | 13:05 | 01:08 | HT SYSTEM FAULT | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR NEW F-BLOCK TAGORE GARDEN , : HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630TRF-1: NEW F-BLOCK R_ NAGAR PLM | 232
27 | 26/04/2018 | VKJ | 12:06 | 16:20 | 04:14 | EMERGENCY SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , LT CIRCUIT:JUMPER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 BHANDARI S/STN | 43
28 | 26/04/2018 | SKT | 12:09 | 13:20 | 01:11 | HT SYSTEM FAULT | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR ORTHO NOVA HOSPITAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ORTHO NOVA HOSPITAL | 1
29 | 26/04/2018 | JFR | 12:30 | 16:13 | 03:43 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:RED LIGHT SEC 1 : PM*,*630 TRF-1:VILLAGE MITRAON 2*,*100 TRF1-:CHET RAM VILL JAFFARPUR:PM*,*100 TRF-1:DAYAKISHAN VILL MITRAON:PM*,*630 TRF-1:S/STN-5 VILLAGE MITRAON*,*25 TRF-1:SITARAM VILL MITRAON*,*400 TRF-1:MITRAON COMPLAINT CENTRE*,*630 TRF-1:VILLAGE MITRAON 3*,*100 TRF-1:MAM CHAND VLG MITRAON*,*400 TRF-1:VILLAGE MITRAON 1*,*ON DHANSA ROAD NERA GOVT. SCHOOL*,*100 TRF-1:KANSHI RAM VLG SURHERA | 671
30 | 26/04/2018 | PLM | 12:34 | 15:36 | 03:02 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 400 TRF-1: B2- Block- Vijay Encl. | 134
31 | 26/04/2018 | MDK | 12:49 | 16:58 | 04:08 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BASTI , TRANSFORMER:SHIFTING OF POLE | RESTORED/ REPAIRED | Part of : 630TRF-2:KAVITA COLONY | 51
32 | 26/04/2018 | SKT | 13:00 | 16:01 | 03:01 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR MAIDAN GARHI VILLAGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RAJ PUR ENCLAVE:PL*,*TRF-1 MADAN GARHI VILLAGE:PL*,*TRF-1 DESRAJ MAIDAN GHARI:PM*,*TRF-1 RAJ PUR KHURD:PL*,*TRF-1 RAJ PUR VILLAGE:PL*,*TRF-1 MAIDAN GARHI VILLAGE NEAR SHIV MANDIR | 572
33 | 26/04/2018 | TGN | 13:00 | 15:46 | 02:46 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR SHYAM NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :LAL BLDG. SCHOOLWALA SSTN,CHAND NGR | 301
34 | 26/04/2018 | NZD | 13:14 | 16:28 | 03:14 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL*,*TRF-2 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL | 405
35 | 26/04/2018 | MDK | 13:15 | 14:34 | 01:19 | LT FEEDER | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : 990TRF-1:MUNDKA VILLAGE S/STN-1:PL | 312
36 | 26/04/2018 | SKT | 13:21 | 14:46 | 01:24 | LT FEEDER | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR O/G S/S NO.-6 SAIKH SARAI PHASE-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-2 STN-6 SHEIKH SARAI PH-2:ID : 11 KV FSS | 42
37 | 26/04/2018 | SVR | 13:26 | 14:32 | 01:06 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA PLINTH S/S , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 NAFEES ROAD BATLA HOUSE PLM | 47
38 | 26/04/2018 | KPR | 13:34 | 15:06 | 01:31 | EMERGENCY SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , LT CIRCUIT:TO ATTEND CONSUMER COMPLAINT | RESTORED/ REPAIRED | Part of : TRF-1 CPO-1 MADAN GIR PH-1 | 37
39 | 26/04/2018 | HKS | 14:47 | 16:11 | 01:24 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , DISTRIBUTION TRANSFORMER,:ELECTROCUTION OF EXTERNAL ELEMENTS, | RESTORED/ REPAIRED | Part of : TRF-2 B-3 SDA JHANDU SINGH MARG: K | 118
40 | 26/04/2018 | SVR | 15:00 | 16:22 | 01:22 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR BATLA HOUSE , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-2 BATLA HOUSE PLM+P/M | 48
41 | 26/04/2018 | RKP | 15:31 | 18:04 | 02:32 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 PLM S/S NR CANTT SCHOOL VILLAGE JHARERA | 39
42 | 26/04/2018 | HKS | 17:25 | 19:04 | 01:39 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : TRF-2 B-3 SDA JHANDU SINGH MARG: K | 42
43 | 26/04/2018 | VKJ | 17:52 | 19:48 | 01:55 | LT FEEDER | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : TRF-1 SHAMSHAN GHAT, RANGPURI | 49
44 | 26/04/2018 | SVR | 18:30 | 20:45 | 2:15 | EHV TRIPPING | DUE TO B/D FORM 66KV SVR TO ALL 11KV FEEDER | RESTORED/ REPAIRED | Part of : M-PKT, D-BLK, ABU BAKR MASJID, THOKAR-5, G-4 SHAHEEN BAGH,, N-BLK, MADANPUR TC-1, SHAHEEN BAGH, AMERICAN EXPRESS, K-PKT, M-BLK, MADANPUR TC-2, DDA JASOLA SS-1,S/S-2, SVR SS-13, SVR SS-18, APPOLO HOSPITAL, M.N PKT SVR | 7847
45 | 26/04/2018 | HKS | 19:37 | 21:18 | 01:40 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 NBCC TOWER (PLOT. NO-15) BCP: ID | 1
46 | 26/04/2018 | SVR | 20:00 | 21:18 | 01:17 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SUKHDEV VIHAR O/H , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : TRF-1 LAPERA HOSPITAL NOIDA ROAD*,*TRF-1 NOIDA ROAD ST. LIG- 1 D.P.1*,*TRF-1 STREET LIGHT SAVITA VIHAR-2*,*TRF-1 RMU NEAR DDA OFFICE*,*TRF-1 CNG GAS FILLING S/RC NOIDA ROAD SVR*,*TRF-1 JASOLA PETROL PUMP AUTO YARD | 73
47 | 26/04/2018 | SVR | 20:45 | 21:47 | 1:02 | EHV TRIPPING | DUE TO B/D FORM 66KV SVR TO ALL 11KV FEEDER | RESTORED/ REPAIRED | Part of : D-BLK, ABU BAKR MASJID, THOKAR-5, G-4 SHAHEEN BAGH,, N-BLK, MADANPUR TC-1, SHAHEEN BAGH, AMERICAN EXPRESS, M-BLK, MADANPUR TC-2, DDA JASOLA SS-1,S/S-2,, APPOLO HOSPITAL, M.N PKT SVR | 6195
48 | 26/04/2018 | SVR | 23:49 | 01:16 | 01:27 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 NEAR MASJID OLD VILL JASOLA | 59
49 | 27/04/2018 | SVR | 00:01 | 01:53 | 01:52 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 OPP. HARI KOTHI ABUL FAZAL ENCLAVE | 52
50 | 27/04/2018 | VKJ | 00:51 | 02:15 | 01:24 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 ISLAAM COLONY*,*TRF-1 BARI WALA MEHRAULI*,*TRF-1 STN-1 SEC-A POCKET-BandC VASANT KUNJ*,*TRF-1 RANA COLONY*,*TRF-1 ST. LTG. SEC-A VASANT KUNJ | 482
51 | 27/04/2018 | NZD | 02:14 | 03:22 | 01:07 | HT SYSTEM FAULT | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 GURUDWARA DAMDAMA SAHIB: ID*,*TRF-1 B.S.F. WIRELESS, NIZAMUDDIN: P/M*,*TRF-1 POLICE STATION, NIZAMUDDIN WEST: PL*,*TRF-2 POLICE STATION, NIZAMUDDIN WEST: PL*,*TRF-1 NIZAMUDDIN MAIN: ID PKG*,*TRF-2 BHOGAL SCHOOL: PL | 437