## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 28/04/2018 06:00Hr. To 29/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 28/04/2018 | NHP | 06:50 | 08:24 | 01:33 | HT SYSTEM FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR G.B. PANT STAFF QUARTERS , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN 216 OKHLA PH-3:PL*,*TRF-1 PANT POLYTECHNIC STAFF QUARTERS:ID | 104
2 | 28/04/2018 | KPR | 07:11 | 08:15 | 01:04 | HVDS CABLE & OTHER SYSTEM | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 F-2 SANGAM VIHAR*,*TRF-1 K-BLOCK, SANGAM VIHAR:PL | 378
3 | 28/04/2018 | NHP | 08:35 | 10:06 | 01:31 | HT SYSTEM FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR DSIDC SCHEME NO.-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/STN DSIDCSCH-1 OKHLA PH-1:ID*,*TRF-1 S/STN DSIDCSCH-1 OKHLA PH-1:ID | 156
4 | 28/04/2018 | PLM | 10:00 | 12:50 | 02:50 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:VARDAMAN PLAZA , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : NAVEEN KUNJ CGHS(HTC) | 1
5 | 28/04/2018 | ALN | 10:00 | 13:02 | 03:02 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR B-26 OKHLA PHASE-1 (B-317) , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : TRF-1 S/S NEAR B-34 OKHLA PH- 1:PL | 54
6 | 28/04/2018 | NJF | 10:40 | 16:26 | 01:44 | EMERGENCY SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , 11KV FEEDER:REPLACEMENT OF BURNT EQUIPMENTS | RESTORED/ REPAIRED | Part of : 25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*DJB STAFF Q, GOVT NURSURY | 532
7 | 28/04/2018 | VKJ | 10:49 | 12:17 | 01:27 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : TRF-1 MEET MARKET(R.RD.KAPASHERA) | 39
8 | 28/04/2018 | VKP | 10:52 | 13:19 | 02:26 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV G-1 S/S SONIA , TRANSFORMER:LT ACB PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-2:GG-1 MOTHER DAIRY I/D,VKP | 201
9 | 28/04/2018 | SVR | 10:52 | 12:03 | 01:10 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 2 MOLAR BADH EXTN | 53
10 | 28/04/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR OKHLA FILTERATION PLANT , RMU:HT BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 OKHLA FILTRATION PLANT | 1
11 | 28/04/2018 | NGL | 11:00 | 12:27 | 01:27 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN-5 VIA K-25 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1:H-57 , UDYOG NAGAR*,*400 TRF-1PUMP HOUSE OPP G-11*,*400 TRF-1*,*400 TRF-1:D-17 JJ CLUSTER*,*630TRF-1: C-1,UDYOG NAGAR P/M*,*990 TRF-2: I/D UDYOG NAGAR S/STN-5*,*990 TRF-1:I/D UDYOG NAGAR S/STN-5*,*630TRF-3:UDYOG NAHAR SSTN-5*,*990 TRF-1:H54,UDYOG NAGAR | 403
12 | 28/04/2018 | SVR | 11:00 | 16:49 | 05:49 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11 kV FDR M-BLOCK ABUL FAZAL ENCLAVE , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of :M-BLK ABUL FAZAL ENCL.I/D | 243
13 | 28/04/2018 | MDK | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BABA HARIDAS , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 25TRF-1:AIRCELL*,*400TRF-1:AZAD HIND GRAM:PL*,*100TRF-1:JUBLI PETROL PUMP TIKRI KALAN*,*400TRF-1:HPCL TIKRI*,*100TRF-1:AZAD HIND GRAM:PL*,*400TRF-1:NEAR OLD POLICE STATION*,*ON MAIN ROHTAK ROAD | 468
14 | 28/04/2018 | PLM | 11:00 | 12:35 | 01:35 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:DADA CHHATRI MARG. , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1:Mehrauli Road S/stn No-5 | 81
15 | 28/04/2018 | TGN | 11:00 | 14:43 | 03:43 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , TRANSFORMER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : 990 TRF-1:810 BUS STOP NJF ROAD PL | 366
16 | 28/04/2018 | NHP | 11:00 | 12:56 | 01:56 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN H NAGAR CH ONSTR.:PL | 9
17 | 28/04/2018 | DWK | 11:10 | 13:04 | 01:54 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630-TRF-1;KANAKDURGA APPT | 64
18 | 28/04/2018 | JKP | 11:14 | 14:16 | 03:02 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR GURUDWARA RAJORI GARDEN , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 990 TRF-1 :A2-BLOCK (BANKWALA) SSTN, R.GDN | 321
19 | 28/04/2018 | NGL | 11:15 | 15:04 | 03:49 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-2 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1:L BLK NGL | 102
20 | 28/04/2018 | NJF | 11:17 | 12:47 | 01:29 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , LT POLE,:POLE TILTED, | RESTORED/ REPAIRED | Part of : Vill Kharkhari Nahar SSTN NO 2 | 67
21 | 28/04/2018 | NGL | 11:30 | 13:15 | 01:45 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 100 TRF-1 DAIMA HOSPITAL NIHAL VIHAR | 42
22 | 28/04/2018 | PLM | 11:43 | 12:56 | 01:12 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 400 TRF-1:Sadh Nagar Gali No-9 P/M | 49
23 | 28/04/2018 | NJF | 11:59 | 13:11 | 01:12 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAJAFGARH -1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:STN NO 1 ZONAL OFFICE NAJAFGA*,*630 TRF-1:ZONE-NAJAFGARH*,*TRF-1:-CHARA MANDI SUB STATION NO 2 | 456
24 | 28/04/2018 | HKS | 12:00 | 16:28 | 04:28 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR E-BLOCK HAUZ KHAS , LT CIRCUIT:FOR POLE SHIFTING | RESTORED/ REPAIRED | Part of : TRF-1 E BLOCK HAUS KHAS:ID | 57
25 | 28/04/2018 | VKJ | 12:20 | 13:59 | 01:38 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : TRF-1 MEET MARKET(R.RD.KAPASHERA) | 52
26 | 28/04/2018 | VKJ | 12:30 | 14:50 | 02:20 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 ST. LTG.NR. METRO PILLAR NO.117*FARM NO.77,RD. NO-4,GHITORNI*,*TRF-1 DENG FARM-80 RD-4 GHIRT.*,*TRF-1 CHAITANAYA FARM*,*TRF-1 FARM NO-32,GHITORNI*TRF-1 JAGAT FARM NO-30*TRF-1 FARM NO-59*,*TRF-1 FARAM NO.50*TRF-1FARM NO-23,GHITORNI*,*TRF-1 SAHANI GHITORNI;;*,*TRF-1 SUNDER P/M*,*TRF-1 JAY RAM SUBEDAR*,*TRF-1 FARM NO 21 ROAD NO 1 GHITORNI*,*TRF-1 DHARAM SINGH, M G ROAD*TRF-1 ST. LTG. NR. SULTANPUR METRO STN.*,*TRF-2 MCD SCHOOL RMU,GHITORNI*,*TRF-1 UMA DATTA;TRF-1 LAXMI FARM ROAD NO.ZERO | 354
27 | 28/04/2018 | PJB | 13:04 | 15:39 | 02:35 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:208 SFS QUATERS , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : 990TRF-2:KHATTEWALA, MADIPUR VILLAGE, PJB | 88
28 | 28/04/2018 | PLM | 13:10 | 14:50 | 01:39 | LT FEEDER | Grid:G-7 SECTOR -9 DWARKA To Feeder:DTC DEPOT (PLM.) , DISTRIBUTION TRANSFORMER,:TRANSFORMER JUMPER BURNT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:BAGDOLA SEC.8 SSTN-6 | 138
29 | 28/04/2018 | VKP | 13:15 | 15:02 | 01:46 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR RMU NO.-1 (M-BLOCK SHYAM PARK) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:M-BLOCK SHYAM PARK NAWADA | 189
30 | 28/04/2018 | VKJ | 13:28 | 15:37 | 02:09 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11 KV FDR NTRO CKT.-1 (OPP. GHITORANI BUS STAND) , LT CIRCUIT:FOR TAKING LOAD ON REPAIRED CABLE | RESTORED/ REPAIRED | Part of : TRF-1 RMU 100 FT. ROAD GHITORNI | 56
31 | 28/04/2018 | SVR | 14:51 | 15:54 | 01:02 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH:HVDS | 53
32 | 28/04/2018 | SKT | 14:57 | 16:18 | 01:20 | HT SYSTEM FAULT | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR ORTHO NOVA HOSPITAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ORTHO NOVA HOSPITAL | 1
33 | 28/04/2018 | NJF | 15:00 | 17:50 | 02:50 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR T. P. KOTLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:JYOTI JAIN FARM MAKSUDA BAD*,*RADHA VIMLA SURINDER MUKSADABAD*,*400 TRF1: AMAN VIHAR*,*630 TRF-1:DVB COLONY,NAJAFGARH*,*100 TRF-1:RAJAK RAM VLG DICHAON KALAN*,*400 TRF-1:LAXMI NAGAR*,*400 TRF1 : NIRMAL VIHAR*,*16 TRF-1:CHAMAN LAL UDASIN ASHRAM NGF*,*400 TRF:-1 S/STN DICHAON EXTN.ENCL*,*400 TRF-2:SHANKAR VILL DICHAON KALAN*,*100 TRF-1:ST LT NJF NANGLI ROOD*,*25 TRF-1:SANT KIRPAL SCH NGL ROOD | 501
34 | 28/04/2018 | SVR | 15:04 | 17:33 | 02:29 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR GAFFAR MANZIL , RMU:REPLACEMENT OF CT | RESTORED/ REPAIRED | Part of : TRF-1 GAFFAR MANZIL PLM+P/M;TRF-1 GAFFAR MANZIL PEEPLE WALL;TRF-1 HTC:HAZI COLONY GAFFAR MANZIL (NEW)*,*TRF-1 HAZI COLONY GAFFAR MANZIL;TRF-2 GAFFAR MANZIL PLM+P/M;TRF-1 GAFFAR MANZIL PEEPLE WALL;TRF-1 HTC:HAZI COLONY GAFFAR MANZIL (NEW) | 534
35 | 28/04/2018 | NJF | 16:29 | 18:59 | 01:52 | EMERGENCY SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*DJB STAFF Q, GOVT NURSURY | 532
36 | 28/04/2018 | DWK | 16:50 | 18:18 | 01:28 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-13 PLOTTED AREA NO-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEC-17 PKT-D S/S-1*,*ABHINAV GLOBAL SCHOOL SEC 13*,*630 TRF-1:,17 E PEOPLE APPT*,*630 TRF-2; SEC-13 PKT-A S/S-2*,*AS PER SITE VISITED DT FOUND UN-METERD*,*S/STN. NO.4,278 PLOTTED AREA SECT.17 DWKJOHNSON*,*100 TRF:HEALTH CENTER SEC-17D*,*630 TRF-1; SEC-13 PKT-A S/S-2*,*S/STN. NO.2,159 PLOTTED AREA SECT.17 DWKNGEF*,*MEDICAL DISPENSARY SEC-14*,*S/STN. NO.1,159 PLOTTED AREA SECT.17 DWKNGEF*,*NO.3,278 PLOTTED AREA SEC-17*,*630 TRF-1:,SSTN-1 SEC-13,PKT-A*,*400 TRF-2 ,SSTN-1 SEC-13,PKT-A | 425
37 | 28/04/2018 | KPR | 16:59 | 18:22 | 01:23 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 F-1S/S-2 | 68
38 | 28/04/2018 | VKP | 19:02 | 20:06 | 01:04 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:OM VIHAR PHASE-2 , HVDS,:FIRE ON THE POLE, | RESTORED/ REPAIRED | Part of : 630TRF-1:OM VIHAR PH-3 STN-3 NR SWEET*,*990 TRF-1:NEW G-1 UTTAM NAGAR*,*630 TRF-1:OM VIHAR PHASE-II, S/S NO.3*,*630 TRF-1:OM VIHAR PHASE-III (NEAR SCHOOL) | 564
39 | 28/04/2018 | HKS | 21:00 | 22:30 | 01:29 | HT SYSTEM FAULT | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL SHOPPING CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 PANCHSHEEL SHOPPING CENTRE:ID*,*TRF-1 A.M.D.A: ID*,*TRF-1 D-BLK,SHAHAPUR JAT DCP PS, HAUS KHAS*,*TRF-1 DCP OFFICE HAUS KHAS:PG*,*TRF-1 PANCHSHEEL SHOPPING CENTRE:ID*,*TRF-2 A.M.D.A: ID | 152
40 | 28/04/2018 | JKP | 21:54 | 00:00 | 01:48 | EMERGENCY SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-6 I/D MAULAWALA , TRANSFORMER:INSTALLATION OF MOBILE TRANSFORMER | RESTORED/ REPAIRED | Part of : 630 TRF-1 :PREM NAGAR SSTN, JANAKPURI | 192
41 | 28/04/2018 | PJB | 23:35 | 00:54 | 01:19 | LT FEEDER | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR STATE BANK NGR , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : 630 TRF-1: MEERA BAGH I/D,PASCHIM VHR,PJB | 57
42 | 29/04/2018 | VKP | 04:45 | 05:53 | 01:07 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 : YADAVWALA*,*630 TRF-1:BG BLOCK MOHAN GARDEN*,*990 TRF-1:BG BLOCK MOHAN GARDEN | 524