## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 29/04/2018 06:00Hr. To 30/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 29/04/2018 | JKP | 06:18 | 08:00 | 01:42 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV MIG RAJURI GARDEN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 :SFS SSTN NO.-5,MAYA ENCL., HARI NGR*,*630TRF-2: C2/12 MAYAPURI PH-2 K*,*1000 TRF-1 :PLOT NO.:C-42(JBA INK)SSTN,PH-2,MYP*,*990 TRF-1 :M.S. BLOCK KIOSK SSTN, HARI NAGAR* | 589
2 | 29/04/2018 | HKS | 06:22 | 07:46 | 01:24 | HT SYSTEM FAULT | Grid:33kV I.I.T GRID To Feeder:11kV FDR S.I.I.A NO.-5 KATWARIA SARAI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 NCERT NO 2:ID*,*TRF-1 SIIA NO 5 BATWANIA:ID | 232
3 | 29/04/2018 | NGL | 07:42 | 08:59 | 01:16 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI STP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:NILOTHI VILLAGE STN-2*,*400 TRF-1 TAK CHAND COLONY*,*400 TRF:NILOTHI VILLAGE STN-1* | 462
4 | 29/04/2018 | TGN | 07:47 | 09:00 | 01:12 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 KV FDR RAM NAGAR EXTENSION , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :SCHOOLWALA SSTN, SANT NAGAR*,*630 TRF-1 :GURUDWARA SSTN, CHAUKHANDI VILLAGE*,*630 TRF-2 :TIKONA PARK SSTN, RAM NAGAR EXTN* | 672
5 | 29/04/2018 | NZD | 08:23 | 09:52 | 01:29 | HT SYSTEM FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:SUNDER NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 SUNDER NAGAR MAIN: ID*,*TRF-1 KOTHI NO.-78, SUNDER NAGAR: PL*,*TRF-2 KOTHI NO.-18, SUNDER NAGAR: K*,*TRF-1 KOTHI NO.-18, SUNDER NAGAR: K* | 366
6 | 29/04/2018 | SKT | 08:46 | 09:48 | 01:01 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR AURVINDO MARG , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 HARYANA GOVT. NURSERY:PM*,*TRF-1 ADHCHINI CROSSING:PM*,*TRF-1 PLOT NO. 6, AUROBINDO MARG*,*TRF-2 PLOT NO. 6, AUROBINDO MARG* | 478
7 | 29/04/2018 | PLM | 09:10 | 10:36 | 01:26 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MAHAVEER ENCLEVE, D-3 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 100 TRF-1:HORTICULTURE | 1
8 | 29/04/2018 | KPR | 09:11 | 10:18 | 01:06 | HT SYSTEM FAULT | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1, FEEDER-1 SANGAM VIHAR , 11KV GRID PANEL,:MECHANISUM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : TRF-1 F-1S/S-1*,*TRF-1 F-1S/S-2 | 309
9 | 29/04/2018 | VKJ | 09:22 | 10:32 | 01:09 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 ST. LTG.NR. METRO PILLAR NO.117*,*TRF-1 FARM NO.77,RD. NO-4,GHITORNI*,*TRF-1 DENG FARM-80 RD-4 GHIRT.*,*TRF-1 CHAITANAYA FARM*,*TRF-1 FARM NO-32,GHITORNI*, | 546
10 | 29/04/2018 | NJF | 09:30 | 12:19 | 02:49 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:ROSHAN GARDEN S/S NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:ROSHAN GARDEN 1 | 158
11 | 29/04/2018 | JKP | 10:00 | 12:05 | 02:05 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR GURUDWARA RAJORI GARDEN , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 630 TRF-2 :SHAKTI MANDIR SSTN, RAJOURI GARDEN | 279
12 | 29/04/2018 | JFR | 10:06 | 11:38 | 01:31 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1:DALIP PANDWALA KALAN*,*TRF-1:MID SHIKARPUR*,*TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*100 TRF-1:PURAN PANDWALAKALAN*,*630TRF-1:VILL DAULATPUR STN 1*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP | 528
13 | 29/04/2018 | MDK | 11:00 | 13:04 | 02:04 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR VARDHMAN VATIKA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1:MUNDIKA EXTN.-1*,*400TRF-1 B BLK SWARN PARK*,*630TRF-1:MUNDKA VILLAGE GUGA JOHAR | 493
14 | 29/04/2018 | MDK | 11:00 | 13:04 | 02:04 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SWARN PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 1000TRF-1:MUNDKA VILLAGE S/STN-3:PL*,*400TRF-1:B-38 , BIMLA DEVI, SWARN PARK | 529
15 | 29/04/2018 | TGN | 11:29 | 12:45 | 01:16 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR SHYAM NAGAR , : 11KV CABLE,:CABLE FAULT | RESTORED/ REPAIRED | Part of : 990 TRF-1 :CHOUDHARYWALA SSTN, PT-1 VISHNU GDN*,*630 TRF-1 :PAHELWAN WALA SSTN, SHYAM NAGAR*,*630 TRF-2 :PAHELWAN WALA SSTN, SHYAM NAGAR* | 524
16 | 29/04/2018 | SVR | 11:31 | 12:37 | 01:05 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR GAFFAR MANZIL , DISTRIBUTION TRANSFORMER,:HT CABLE SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 :HAZI COLONY GAFFAR MANZIL (NEW) | 187
17 | 29/04/2018 | NGL | 12:00 | 15:05 | 03:05 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR DSIDC , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2: F-BLOCK DSIDC | 284
18 | 29/04/2018 | NGL | 12:00 | 15:03 | 03:03 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NAGAR SSTN NO-3 (NEW) , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 630 TRF-1:H-12 ,UDYOG NAGAR | 253
19 | 29/04/2018 | JKP | 12:04 | 15:04 | 03:00 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR GURUDWARA RAJORI GARDEN , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 990 TRF-1 :SHAKTI MANDIR SSTN, RAJOURI GARDEN | 341
20 | 29/04/2018 | MDK | 12:04 | 15:58 | 03:54 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA LT LESS AREA , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1:S/STN-5 SWARN PARK, UDYOG NGR*,*TRF-1:SSTN NO-6 SWARN PARK P/M*,*TRF-1:S/PARK NR PLOT NO 94 P/M* | 372
21 | 29/04/2018 | VKJ | 12:44 | 14:02 | 01:18 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , LT O/H CONDUCTOR,:JUMPER BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : HTC - D.C OFFICE KAPASHERA | 1
22 | 29/04/2018 | NGL | 12:52 | 14:18 | 01:26 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR CHANDER VIHAR , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : 400 TRF-1:NEAR SANT KABIR*,*TRF : GURU NANAK VIHAR P/M S/STN*,*990 TRF-1:CHANDER VIHAR No-6*,*630 TRF-1:CHANDER VIHAR SSTN-1* | 604
23 | 29/04/2018 | MDK | 13:30 | 16:30 | 03:00 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1*:MTNL GHEVRA MORE*,*TRF-1:MUNDKA IND AREA (S) GALI NO 10*,*TRF-1:MUNDKA IND AREA (S) GALI NO 9 | 312
24 | 29/04/2018 | MDK | 13:40 | 16:32 | 02:52 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF1-:NSVT-1 ROHTAK ROAD*,*TRF1-:NSVT-2 ROHTAK ROAD*,* TRF-1:PARMOD GHEVRA*,*TRF-1:RASHMI DANDONA HIRANKUDANA | 389
25 | 29/04/2018 | DWK | 14:35 | 15:57 | 01:21 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR G AND S RAJAPURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100 TRF-1 PETROL PUMP*,*630 TRF-1:RAJA PURI SS-2*,*TRF-1:LOP RAJA PURI*,*400 TRF-1;SOM BAZAR RD RAJAPURI SS I/D *,*630TRF-2;SOM BAZAR RD RAJAPURI SS I/D | 642
26 | 29/04/2018 | VKJ | 20:08 | 21:56 | 01:48 | LT FEEDER | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , DISTRIBUTION TRANSFORMER,:ABNORMAL SOUND FROM THE TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 RANGPURI VILLAGE-2 HANUMAN MANDIR | 138
27 | 29/04/2018 | SKT | 20:40 | 22:06 | 01:25 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SHIVALIK A-BLOCK , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : TRF-2 I BLOCK MALVIYA NAGAR:PG*,*TRF-1 K BLOCK MALVIYA NAGAR:PG | 489
28 | 29/04/2018 | DWK | 21:15 | 22:50 | 01:34 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SAHYOG VIHAR P/M | 243
29 | 29/04/2018 | NGL | 21:23 | 22:26 | 01:02 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR E-BLOCK NIHAL VIHAR , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : 630 TRF-2: E- BLK Nihal Vihar | 257
30 | 29/04/2018 | HKS | 21:25 | 23:15 | 01:49 | HT SYSTEM FAULT | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR R.K KHANNA STADIUM , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HIMAYUPUR, SAFDARGUNJ ENCLAVE | 435
31 | 29/04/2018 | PLM | 21:29 | 22:45 | 01:15 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR (OLD) G-BLOCK RAJ NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF1:F,block Basant Wala Rajnagar*,*990 TRF-2:F,block Basant Wala Rajnagar | 493
32 | 29/04/2018 | VKJ | 21:36 | 22:54 | 01:18 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR S/S NO.-15, B-11 VASANT KUNJ , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 PANCHAYAT GHAR*,*TRF-1 STN-15 SEC-B POCKET-11 VASANT KUNJ*,*TRF-1 MASUD PUR VILLAGE-1 MAIN RD PL/M* | 432
33 | 29/04/2018 | SVR | 21:36 | 22:58 | 01:22 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , HVDS,:OBJECT FALLEN ON THE HVDS NETWORK, | RESTORED/ REPAIRED | Part of : TRF-1 F-BLK SHAHEEN BAGH NALA | 265
34 | 29/04/2018 | MDK | 21:52 | 23:33 | 01:41 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMARUDDINE NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990TRF-1:KAMRUDDIN NAGAR NO-1*,*990TRF-1:KAMRUDDIN NAGAR NO-4*,*400TRF-1:YADAV PARK S/STN-1:ID*, | 476
35 | 29/04/2018 | KPR | 22:04 | 23:20 | 01:15 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 HARIZAN BASTI:PL | 89
36 | 29/04/2018 | NZD | 23:14 | 00:38 | 01:23 | HT SYSTEM FAULT | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 RLY.STN SARAI K. KHAN(NANGLI VILL.): PL*,*TRF-1 PAPPUWALA OFFICE, SARAI KALEY KHAN: PL*,*TRF-2 DDA SLUM QTRS. SARAI KALAY KHAN: ID*,*TRF-1 DDA SLUM QTRS. SARAI KALAY KHAN: ID* | 431
37 | 30/04/2018 | MDK | 00:18 | 01:23 | 01:04 | HT SYSTEM FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM*,*TRF-1:HUKUM SINGH NEELWAL ROAD*,*TRF-1:RAN SINGH NEELWAL:PM*,*TRF-1:HARIZON BASTI NEELWAL:PM* | 538
38 | 30/04/2018 | TGN | 02:30 | 03:34 | 01:03 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR KASHAVPUR FROUT AND VEGETABLE MARKET.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1 :FRUIT and VEG MKT SSTN-1, K.PUR MANDI*,630TRF-2 :M.B.S NAGAR SSTN, TILAK NAGAR* | 452
39 | 30/04/2018 | VKJ | 02:42 | 04:27 | 01:45 | LT FEEDER | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 JAI SINGH NO.2 | 158
40 | 30/04/2018 | VKJ | 04:51 | 9:41 | 4:50 | EMERGENCY SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , 11KV FEEDER:MAINTENANCE ACTIVITY | WORK IN PROCESS | Part of : TRF-1 KUCHHAL S/S | 256
41 | 30/04/2018 | VKJ | 04:59 | - | WORK IN PROGRESS | EMERGENCY SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , 11KV FEEDER:REPAIRING OF HTAB | WORK IN PROCESS | Part of : TRF-1 12-B and 14,SHAKUNTALA FARM | 47
42 | 30/04/2018 | NZD | 05:30 | 06:49 | 01:19 | HT SYSTEM FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 BOOSTER PUMP DEFENCE CLY:ID*,*TRF-1 DDA SHOP.CTR/BASEMENT D.CLYMOOLCHAND:ID | 365