## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 30/04/2018 06:00Hr. To 01/05/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 01/05/2018 | KPR | 04:53 | 05:54 | 01:00 | HT SYSTEM FAULT | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 F-2 SANGAM VIHAR,, TRF-1 K-BLOCK, SANGAM VIHAR:P | 436
2 | 01/05/2018 | DWK | 02:24 | 04:01 | 01:36 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-13 PLOTTED AREA NO-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEC-17 PKT-D S/S-1,, ABHINAV GLOBAL SCHOOL SEC 13,, 630 TRF-1:,17 E PEOPLE APPT,, 630 TRF-2; SEC-13 PKT-A S/S-2,, AS PER SITE VISITED DT FOUND UN-METERD,, S/STN. NO.4,278 PLOTTED AREA SECT.17 DWKJOHNSON,, 100 TRF:HEALTH CENTER SEC-17D,, 630 TRF-1; SEC-13 PKT-A S/S-2,, S/STN. NO.2,159 PLOTTED AREA SECT.17 DWKNGEF,, MEDICAL DISPENSARY SEC-14,, S/STN. NO.1,159 PLOTTED AREA SECT.17 DWKNGEF,, NO.3,278 PLOTTED AREA SEC-17,, 630 TRF-1:,SSTN-1 SEC-13,PKT-A,, 400 TRF-2 ,SSTN-1 SEC-13,PKT-A,, SARVODYA VIDYALAYA SEC-13,, S/STN. NO.2,159 PLOTTED AREA SECT.17 DWKNGEF,, 400 TRF-1;SECT-13 PKT-B S/S-4,, 630 TRF-1;SEC-13 PKT-B S/S-3,, 630-TRF-2;S/S 1, Sect-13 Pkt-B S/stn-3,, SSTN. NO.3 PLOTTED AREA SECT.17,, S/STN. NO.3,159 PLOTTED AREA SECT.17 DWKKANOHAR | 537
3 | 30/04/2018 | JKP | 23:04 | 00:10 | 01:06 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV LIG FLATS-149 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :149 LIG FLATS SSTN,G-8 AREA,R.GDN,, 630 TRF-2 :BL-BLOCK SSTN, HARI NAGAR,, 630TRF:1 :L-BLOCK PRY.SCHOOL SSTN,H.NAGAR,, 630 TRF-2 :149 LIG FLATS SSTN,G-8 AREA,R.GDN,, 990 TRF-1 :BL-BLOCK SSTN, HARI NAGAR,, 630 TRF-1 :DTC COLONY B SIDE:PL | 503
4 | 30/04/2018 | MDK | 21:59 | 23:04 | 01:04 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR ARVIND ENCLAVE S/S NO.-3 , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : 990 TRF-2:ARVIND ENCLAVE,, 400TRF-1:AMAR CLNY D BLK,, 630TRF-2:AMAR COLONY C BLOCK:ID,, 400TRF-1:AMAR COLONY P/M,, 630TRF-1:AMAR COLONY C BLOCK:ID,, 400TRF-2:AMAR COLONY A BLOCK:ID,, 630TRF-2:AMAR CLNY D BLK,, 990TRF-1:AMAR COLONY A BLOCK:ID,, 400TRF-1:RISHI NAGAR P/M NR SUKHI NAHAR,, 630TRF-1:SUKHI NAHAR NEAR PLOT NO.A-161,, 400RF-1:S/STN SAHIB SINGH VERMA | 568
5 | 30/04/2018 | SKT | 17:00 | 18:19 | 01:18 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 SAKET GHK PUBLIC SCHOOL:PM(GURUDWARA),, TRF-1 LADO SARAI PREM SINGH:PL,, TRF-1 STN-2 SEC-1 PUSHAP VIHAR:ID,, TRF-2 STN-6 SEC-1 PUSHAP VIHAR:ID,, TRF-2 STN-2 SEC-1 PUSHAP VIHAR:ID,, TRF-1 STN-1 SEC-1 PUSHAP VIHAR:ID,, TRF-1 LADO SARAI PREM SINGH:PL,, TRF-2 STN-1 SEC-1 PUSHAP VIHAR:ID,, TRF-2 STN-1 SEC-3 PUSHAP VIHAR:ID,, TRF-1 SAIDULA JAB M B RD:PG | 463
6 | 30/04/2018 | ALN | 14:30 | 15:31 | 01:00 | HT SYSTEM FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR H-BLOCK GOL CHAKKAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 H-1 KALKAJI,, TRF-2 H BLOCK KALKAJI:PL | 368
7 | 30/04/2018 | MDK | 12:36 | 13:38 | 01:01 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SWARN PARK , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 1000TRF-1:MUNDKA VILLAGE S/STN-3:PL,, 400TRF-1:B-38 , BIMLA DEVI, SWARN PARK,, 990TRF-1:MUNDKA VILLAGE S/STN-3:PL,, 100TRF-1:MAMRAJ TRFFIRNI ROAD MUNDKA:PM,, 990TRF-1:BAKKARWALA VILLAGE S/STN-1:PL,, 400TRF-1:B/P RANHOLA MORE MUNDKA:PM,, 400TRF-1:S/STN KASI RAM PARK ,MUNDKA,, 990TRF-1:BAKKARWALA VILLAGE S/STN-2:PL,, 400TRF-1:BAKKARWALA VILLAGE S/STN-3:PL,, 400TRF-1:NEAR MCD SCHOOL BAKKERWALA P/M,, 400TRF-1:BAKARWALA ROAD BAKARWALA:PM | 519
8 | 30/04/2018 | SVR | 12:34 | 14:09 | 01:34 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 HTC:ABDUL FAZZAL ENCLAVE D BLOCK,, TRF-2 HTC:ABDUL FAZZAL ENCLAVE D BLOCK | 462
9 | 30/04/2018 | JKP | 12:17 | 13:33 | 01:16 | HVDS TRANSFORMER | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV MIG RAJORY GARDEN , HVDS,:FIRE ON THE POLE, | RESTORED/ REPAIRED | Part of : 990 TRF-2 :SSTN NO.-1 (ZONAL OFFICE), S.NGR,, 990 TRF-1 :SSTN NO.-1 (ZONAL OFFICE), S.NGR,, 630 TRF-1 :M.I.G GREEN (RED LIGHT) SSTN, R.GDN,, 400 TRF-1 :512 GREEN MIG(METRO STN) SSTN,R.GDN,, 1000 TRF-2 :512 GREEN MIG SSTN, RAJOURI GARDEN,, 990 PKG-1 :J-11 SSTN, RAJOURI GARDEN,, 1000 TRF-1 :512 GREEN MIG SSTN, RAJOURI GARDEN | 424
10 | 30/04/2018 | VKP | 10:20 | 11:26 | 01:05 | HVDS TRANSFORMER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630TRF-1:BINDAPUR DDA-2,, 630 TRF-1:BINDAPUR DDA-3,, 630 TRF-1:UTTAM VIHAR | 331
11 | 30/04/2018 | SKT | 08:28 | 09:50 | 01:21 | DISTRIBUTION TR. | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-5 RUMALO DEVI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 GOVT. SCHOOL DERA:PM,, TRF-1 MICRO:PM,, TRF-1 ANITA SINGH:PM,, TRF-1 ASTHAL MANDIR,, TRF-1 BABA MOHALLA DERA VILLAGE,, TRF-1 VILLAGE DERA:PL,, TRF-1 BARI BHATI:PL,, TRF-1 HARIJAN BASTI DERA:PL,, TRF-1 BHATIA FARM NEAR F 37 RADHEY MOHAN DRIVE,, TRF-1 DULI CHAND:PM,, TRF-1 JASWANTI (BARI BHATI):PM,, TRF-1 GILL FARM:PM,, TRF-1 STREET LIGHT DT ON DERA VILL ROAD,, TRF-1 ANGURI DEVI STN NEAR DERA CROSSING:PM,, TRF-1 BABU SINGH:PM | 247
12 | 30/04/2018 | NZD | 08:05 | 09:30 | 01:25 | HT SYSTEM FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 BOOSTER PUMP DEFENCE CLY:ID,, TRF-1 BOOSTER PUMP DEFENCE CLY:ID,, TRF-1 DDA SHOP.CTR/BASEMENT D.CLYMOOLCHAND:ID,, TRF-2 DDA SHOP.CTR/BASEMENT D.CLYMOOLCHAND:ID | 365
13 | 30/04/2018 | SKT | 07:27 | 08:43 | 01:16 | HT SYSTEM FAULT | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-11RADHA SWAMI GATE NO 2C , 11KV GRID PANEL,:BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 FRAM NO A10, ANSAL BHATI, BHALLA FARM.,, TRF-1 DHAKWALA 20 POINT PROGRAMME ASOLA,, TRF-1 POORAN MANGLI:PL,, TRF-1 INAYAT FARM:PM,, TRF-1 INDRA PRASTTHA,, TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE,, TRF-1 B-4 ARYA BHAT:PM,, TRF-1 A-9 ASOLA(RADHA SWAMI SATSANG BEAS PH-4),, TRF-1 HO SOOD ASOLA PHASE-2:PL,, TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE | 403
14 | 30/04/2018 | SKT | 07:24 | 08:42 | 01:17 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR MIG DDA FLATS SAKET , 11KV GRID PANEL,:VCB FLASHED, | RESTORED/ REPAIRED | Part of : TRF-1 SAKET MIG FLAT:ID,, TRF-2 SAKET SFS FLAT B-BLOCK:ID,, TRF-1 SAKET SFS FLAT B-BLOCK:ID,, TRF-2 SAKET SFS FLAT A-BLOCK:ID,, TRF-1 SAKET SFS FLAT A-BLOCK:ID,, TRF-1 CISF BLOCK-D SAKET:PL,, TRF-2 SAKET MIG FLAT:ID | 525
15 | 30/04/2018 | DWK | 06:17 | 07:43 | 01:25 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-19 PKT-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400TRF-1:INDIAN OIL CNG PUMP SEC-19,, 630 TRF-1:PLOTTED AREA SEC-19 S/S-3,, 630-TRF-1_D.D.A Flat Pocket-1Sect-19 S/stn-1,, DTC DEPOT, SEC-10 SSTN, DWARKA,, 400-TRF_2-D.D.A Flat Sect-19 Pocket-2 S/S-2,, 630-TRF_1:PLOTTED AREA SEC-19 SSTN NO-4-19 SSTN NO-4,, BHARTIYA APPTT, SEC-19 PLOT NO -4,, 400-TRF-2;D.D.A Flat Pocket-1Sect-19 S/stn-1,, BHARTIYA APPTT, SEC-19 PLOT NO -4,, 630-TRF_1:PLOTTED AREA SEC-19 SSTN NO-4-19 SSTN NO-4,, ADD NEW DT,, 100TRF-1 PETROL PUMP,, 630 TRF-1: PLOTTED AREA SEC-19 S/S-2,, 630 TRF-1: PLOTTED AREA SEC-19 S/S-2,, 630TRF-2:PLOTTED AREA SEC-19 SSTN NO-4,, 400-TRF_1-D.D.A Flat Sect-19 Pocket-2 S/S-2,, 630 TRF-1:AMBARHI VILLAGE SEC-19,, 630 TRF-1:SEC-19 PKT-3 SSTN-1,, 400-TRF-1;ALL INDIA FOOTBALL FEDERATION,, 630 TRF-2:SEC-19 PKT-3 SSTN-1 | 496
16 | 01/05/2018 | SKT | 02:34 | 04:22 | 01:47 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , DISTRIBUTION TRANSFORMER,:TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : TRF-1 INDRA ENCLAVE NEBSARAI | 90
17 | 01/05/2018 | SKT | 00:41 | 01:49 | 01:08 | LT FEEDER | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , SERVICE LINE,:FIRE IN DB, | RESTORED/ REPAIRED | Part of : C-29 CHATTARPUR ENCLAVE | 79
18 | 01/05/2018 | NHP | 00:00 | 01:06 | 01:06 | LT FEEDER | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , LT ACB,:MECHANISM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN E BLOCK POLICE POST AMAR COLONY:PG | 115
19 | 30/04/2018 | JKP | 12:39 | 14:37 | 01:58 | LT FEEDER | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV LIG FLATS-149 , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : 630TRF:1 :L-BLOCK PRY.SCHOOL SSTN,H.NAGAR | 101
20 | 30/04/2018 | SVR | 12:38 | 14:10 | 01:32 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-2 ZAKIR NAGAR | 124
21 | 30/04/2018 | SVR | 12:06 | 13:27 | 01:20 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 F-BLK SHAHEEN BAGH NALA | 56
22 | 30/04/2018 | PLM | 11:45 | 13:24 | 01:39 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:DADA CHHATRI MARG. , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : TRANSFORMER,11/0.433KV 990KVA OIL TYPE, Dada Chatri Wala | 89
23 | 30/04/2018 | KPR | 11:38 | 13:18 | 01:40 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : TRF-1 K-BLOCK, SANGAM VIHAR:PL | 98
24 | 30/04/2018 | KPR | 10:57 | 12:50 | 01:53 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , SERVICE LINE,:FIRE IN DB, | RESTORED/ REPAIRED | Part of : TRF-1 G BLOCK (AMRITA PUBLIC SCHOOL) | 1
25 | 30/04/2018 | SKT | 10:29 | 11:48 | 01:19 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR MALVIYA NAGAR HOSPITAL , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-2 J-4 KHIRKI EXTN:PM:PL | 88
26 | 30/04/2018 | NHP | 08:21 | 09:21 | 01:00 | LT FEEDER | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR R-BLOCK G.K-1 , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/STN HEMKUNT CLY I/D:ID | 102
27 | 30/04/2018 | RKP | 06:42 | 08:07 | 01:25 | LT FEEDER | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-7 R.K PURAM , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 EKTA VIHAR DJB BOOSTER PUMP: PKG | 88
28 | 30/04/2018 | SKT | 12:52 | 14:58 | 02:06 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SAKET GHK PUBLIC SCHOOL:PM(GURUDWARA),, TRF-2 STN-6 SEC-1 PUSHAP VIHAR:ID,, TRF-1 STN-2 SEC-1 PUSHAP VIHAR:ID,, TRF-1 STN-1 SEC-1 PUSHAP VIHAR:ID,, TRF-1 LADO SARAI PREM SINGH:PL,, TRF-2 STN-2 SEC-1 PUSHAP VIHAR:ID,, TRF-2 STN-1 SEC-3 PUSHAP VIHAR:ID,, TRF-1 LADO SARAI PREM SINGH:PL,, TRF-1 LADO SARAI PREM SINGH:PL,, TRF-1 STN-6 SEC-1 PUSHAP VIHAR:ID,, TRF-1 LADO SARAI DHOLPIR:PM,, TRF-1 SAIDULA JAB M B RD:PG,, TRF-2 STN-1 SEC-1 PUSHAP VIHAR:ID,, TRF-1 STN-1 SEC-3 PUSHAP VIHAR:ID | 335
29 | 30/04/2018 | DWK | 12:05 | 13:46 | 01:41 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR VISHWASH PARK-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF. BHATTWALA VISHWASH PARK | 113
30 | 30/04/2018 | NZD | 12:00 | 17:35 | 05:35 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR I.N.A COLONY , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 INA COLONY SSTN No.-1 | 95
31 | 30/04/2018 | NJF | 11:45 | 13:17 | 01:32 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : SATPAL RANA MLA VILL BIJWASAN,, 25TRF-1;BALVEER KAUR,, 100 TRF-1:STN NR MANDIR KANGENHERI,, 25TRF-1 RAVINDER KAUR,, 100 TRF-1:BAHI RAM CHHAW LA,, 100TRF-1:DEHLI TOURSIM,, 100 TRF-1:NARAIN SARUP CHHAWLA,, 100 TRF-:KURIA KANGENHERI,, TEK CHAND RAGHAVPUR,, 100 TRF-1:CHIRANJI KANGENHERI,, 100 TRF-1:ROOP RAM KANGENHERI,, 25 TRF-1: KARNAL FARM BRIJWASAN,, 25TRF-1;BALVEER KAUR,, CHANDRABAN VILL BADUSARAI,, 25TRF-1:DHRUV AGGARWAL,, TRF-1:SETNA FARM BAMLI,, 400 TRF-1:LOP BIJWASAN RAILWAY STATION,, 100 TRF-1:GHAN SHAMCHHAWLA,, 25TRF-1;BALVEER KAUR,, 400 TRF-1:VILL NANAK HERI,, 25 TRF-1:AZAD BAMLI,, ISAPUR KHAIRA VIL BMNULI BHAJHGER,, 16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR,, 25TRF-1:NEENA KANCHAN,, 100 TRF-1:STN BAMLI STAND,, 400 TRF-1:SUKHBIR RAGHAVPUR,, 25TRF-1:BALBIR VILL RAGHOPUR,, DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN,, W/S KANGANKHERI,, 25 TRF-1:SURESH DD VILL. KANGANHERI,, NEANASIR FARM VILL. BIJWASAN,, 100 TRF-1:CHANDU MALI BAMNOLI,, 25TRF-1:JAGDEEP KANGANHERI,, 400 TRF-:BALBIR BIJWASAN,, 100 TRF-1:DATA RAM KANGENHERI,, 25TRF-1:PARVINDER KAUR,, 100 TRF-1:PIARAE LAL BIJWASAN,, BEFORE NASIR FARM VILL BIJWASAN,, 100 TRF-1:SETH FARM BAMROLI,, 100 TRF-1:LEKH RAJ KANGENHERI,, JAI BHAGWAN VILL. KANGANHERI,, 25 TRF-1: NASIR FARM BRIJWASAN,, RICHPAL VILL KANGANHERI,, RAJINDER VILL KANAGANHERI,, 100 TRF-1:STN RAGHAV PUR,, 400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN | 419
32 | 30/04/2018 | JKP | 11:17 | 14:39 | 03:22 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR FATEH NAGAR , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : 400 TRF-1 :D-BLOCK SSTN, AJAY ENCLAVE, S.NGR | 144
33 | 30/04/2018 | VKJ | 11:04 | 14:55 | 03:51 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF-1 SAMALKA TELEPHONE EXCHANGE | 17
34 | 30/04/2018 | VKP | 11:00 | 12:20 | 01:20 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV PANCHVATI SOCITY NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DAV SCHOOL (HT CONSUMER) | 1
35 | 30/04/2018 | VKP | 11:00 | 12:21 | 01:21 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV HASTAL SOCIETY NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:RAJDHANI PUBLIC SCHOOL:PL | 167
36 | 30/04/2018 | SVR | 10:00 | 11:44 | 01:44 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR AGARWAL DHARAM SHALA , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-2 AGGAR. DHARAMSHLA MEETHAPUR | 287
37 | 30/04/2018 | ALN | 10:00 | 16:01 | 06:01 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDRGIRI NAGAR SSTN NO.-2 (NEAR METRO STATION) , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : TRF-1 GIRI NAGAR SUBASH KHAND:PL | 79
38 | 30/04/2018 | TGN | 09:48 | 14:34 | 04:46 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-BLOCK J.J COLONEY CHAUKHANDI , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI,, 630TRF-2 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI | 356
39 | 30/04/2018 | VKP | 13:26 | 16:07 | 02:41 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 1000 TRF-2:JEEVAN PARK I/D | 117
40 | 30/04/2018 | VKP | 13:19 | 16:08 | 02:49 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PERIPHERIAL S/S NO.-2 SECTOR-3, VIKAS PURI , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1:C- BLOCK SEWAK PARK | 106
41 | 30/04/2018 | VKP | 11:32 | 13:21 | 01:49 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV L.I.G-2 HASTSAL , 11KV FEEDER:REPLACEMENT OF SOCKETS | RESTORED/ REPAIRED | Part of : 630 TRF-1:HASTSAL VILLAGE(DAL MILL):PL | 211
42 | 30/04/2018 | PJB | 09:54 | 12:05 | 02:11 | EMERGENCY SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PASCHIM VIHAR EXTENSION , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-2: C-BLK, JJ CLY,MADIPUR,PJB | 97

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES