## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___19-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-19 17:38 | Narela | 43209.4458 | 43209.7288 | 06:47 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : Bakhtawarpur | 400 | Planned outage
2 | 2018-04-19 17:38 | Model Town | 11:21 | 15:41 | 0.18056 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Dheerpur | 608 | Planned outage
3 | 2018-04-19 17:38 | Civil Lines | 10:22 | 14:25 | 0.16875 | PLANNED SHUTDOWN | HT Cable Replacement | Restored/Repaired | Parts of : Old Police Line | 2603 | Planned outage
4 | 2018-04-19 17:38 | Civil Lines | 10:33 | 14:54 | 0.18125 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Khanna Market | 453 | Planned outage
5 | 2018-04-19 17:38 | Keshav Puram | 10:07 | 16:35 | 0.26944 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : F Block JJ Colony | 567 | Planned outage
6 | 2018-04-19 17:38 | Shalimar Bagh | 10:03 | 17:45 | 0.32083 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Jahangirpuri | 339 | Planned outage
7 | 2018-04-19 17:38 | Mangolpuri | 05:55 | 06:58 | 0.04375 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Kirari | 6140 | Interruption due to fault
8 | 2018-04-19 17:38 | Bawana | 12:14 | 13:19 | 0.045139 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Rama Vihar | 364 | Interruption due to fault
9 | 2018-04-19 17:38 | Bawana | 12:22 | 13:59 | 0.067361 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : Khanjhawla | 1246 | Planned outage
10 | 2018-04-19 17:38 | Badli | 12:42 | 14:17 | 0.065972 | PLANNED SHUTDOWN | For Civil Work | Restored/Repaired | Parts of : Prahladpur | 3368 | Planned outage
11 | 2018-04-19 17:38 | Rohini | 15:33 | 17:06 | 0.064583 | PLANNED SHUTDOWN | LT Cable Laying | Restored/Repaired | Parts of : Sector 3 Rohini | 327 | System schedule maintenance
12 | 2018-04-19 17:38 | Mangolpuri | 15:15 | 18:55 | 0.15278 | HVDS TRANSFORMER | DT Faulty | Restored/Repaired | Parts of : Budh Vihar | 816 | Interruption due to fault
13 | 2018-04-19 17:38 | Bawana | 11:30 | 17:50 | 0.26389 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Parts of : Vijay Nagar Colony | 1712 | Planned outage
14 | 2018-04-19 17:38 | Badli | 11:49 | 17:50 | 0.25069 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Siraspur | 634 | Planned outage
15 | 2018-04-19 17:38 | Bawana | 10:10 | 13:09 | 0.12431 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Ishwar Colony | 2207 | Planned outage
16 | 2018-04-19 17:38 | Mangolpuri | 08:42 | 12:55 | 0.17569 | PLANNED SHUTDOWN | HT Cable Replacement | Restored/Repaired | Parts of : Nithari | 1119 | Planned outage
17 | 2018-04-19 17:38 | Shalimar Bagh | 10:45 | 15:30 | 0.19792 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Arora Farm | 4311 | Planned outage
18 | 2018-04-19 17:38 | Rohini | 11:34 | 14:01 | 0.10208 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Sector 11 Rohini | 617 | Planned outage
19 | 2018-04-19 17:38 | Civil Lines | 06:29 | 07:44 | 0.052083 | HT SYSTEM FAULT | HT Socket Burnt | Restored/Repaired | Parts of : Vijay Nagar | 1637 | Interruption due to fault
20 | 2018-04-19 17:38 | Shalimar Bagh | 10:57 | 17:44 | 0.28264 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Bhalswa | 452 | Planned outage
21 | 2018-04-19 17:38 | Shakti Nagar | 11:00 | 12:05 | 0.045139 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Vivekanand Puri | 645 | Interruption due to fault
22 | 2018-04-19 17:38 | Narela | 14:10 | 15:37 | 0.060417 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Holambi Khurd | 1597 | Interruption due to fault
23 | 2018-04-19 17:38 | Badli | 17:05 | 19:56 | 0.11875 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Sector 28 Rohini | 1288 | Interruption due to fault
24 | 2018-04-19 17:38 | Bawana | 20:35 | 22:48 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : Mubarakpur Village | 4109 | Force Majeure due to sabotage
25 | 2018-04-19 17:38 | Shalimar Bagh | 11:42 | 15:58 | 0.17778 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Rajeev Nagar | 4664 | Planned outage
26 | 2018-04-19 17:38 | Narela | 10:17 | 17:57 | 0.31944 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Ibrahimpur | 7025 | Planned outage
27 | 2018-04-19 17:38 | Mangolpuri | 10:58 | 12:43 | 0.072917 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Begumpur | 453 | Planned outage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51