## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___20-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Main Reason
1 | 2018-04-20 17:38 | Shalimar Bagh | 11:18 | 15:40 | 4:22 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Jahangirabad Village | 2321 | Planned outage
2 | 2018-04-20 17:38 | MangolPuri | 10:07 | 16:11 | 0.25278 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-22 Rohini | 541 | Planned outage
3 | 2018-04-20 17:38 | MangolPuri | 08:04 | 12:17 | 0.17569 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of :Laxmi Vihar | 882 | Planned outage
4 | 2018-04-20 17:38 | Bawana | 09:50 | 17:33 | 0.32153 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Majra Village | 2278 | Planned outage
5 | 2018-04-20 17:38 | Shalimar Bagh | 09:42 | 11:15 | 0.064583 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Wazirabad | 1135 | Interruption due to fault
6 | 2018-04-20 17:38 | MangolPuri | 10:26 | 11:31 | 0.045139 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Nithari | 4365 | Interruption due to fault
7 | 2018-04-20 17:38 | Civil Lines | 11:15 | 16:55 | 0.23611 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Shakti Nagar | 510 | System schedule maintenance
8 | 2018-04-20 17:38 | MangolPuri | 10:26 | 11:58 | 0.063889 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Mithla Vihar | 9945 | Interruption due to fault
9 | 2018-04-20 17:38 | Pitam Pura | 11:38 | 12:55 | 0.053472 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Rani Bagh | 1279 | Interruption due to fault
10 | 2018-04-20 17:38 | Shalimar Bagh | 12:31 | 14:13 | 0.070833 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Burari | 481 | System schedule maintenance
11 | 2018-04-20 17:38 | Badli | 15:07 | 17:41 | 0.10694 | PLANNED SHUTDOWN | LT ABC Repair | Restored/Repaired | Parts of : SamayPur | 762 | System schedule maintenance
12 | 2018-04-20 17:38 | Shalimar Bagh | 15:24 | 16:49 | 0.059028 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Sangam Vihar | 403 | System schedule maintenance
13 | 2018-04-20 17:38 | Bawana | 10:42 | 12:28 | 0.073611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jain Nagar | 5003 | Interruption due to fault
14 | 2018-04-20 17:38 | Bawana | 09:55 | 11:50 | 0.079861 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Mubarakpur Vllage | 7178 | Interruption due to fault
15 | 2018-04-20 17:38 | Narela | 15:07 | 16:27 | 0.055556 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Darshan Vihar | 2206 | Interruption due to fault
16 | 2018-04-20 17:38 | Shalimar Bagh | 15:58 | 17:45 | 0.074306 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Kamal Vihar | 524 | Interruption due to fault
17 | 2018-04-20 17:38 | Narela | 14:49 | 16:50 | 0.084028 | HT SYSTEM FAULT | Cable End Box Faulty | Restored/Repaired | Parts of : Sannoth | 4802 | Interruption due to fault
18 | 2018-04-20 17:38 | Bawana | 13:45 | 16:05 | 0.097222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Sec-3 DSIIDC Bawana | 510 | Force Majeure due to sabotage
19 | 2018-04-20 17:38 | MangolPuri | 16:15 | 17:57 | 0.070833 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Budh Vihar | 1763 | Interruption due to fault
20 | 2018-04-20 17:38 | MotiNagar | 18:31 | 19:50 | 0.054861 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Sudarshan Park | 1776 | Interruption due to fault
21 | 2018-04-20 17:38 | Pitam Pura | 18:31 | 20:40 | 0.089583 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Pitam Pura | 363 | Interruption due to fault
22 | 2018-04-20 17:38 | Narela | 17:47 | 19:35 | 0.075 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Swatantra Nagar | 4016 | Interruption due to fault
23 | 2018-04-20 17:38 | Shalimar Bagh | 10:17 | 16:51 | 0.27361 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Mahindra Park | 876 | Planned outage
24 | 2018-04-20 17:38 | Shalimar Bagh | 09:30 | 11:47 | 0.095139 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Haiderpur | 2061 | Planned outage
25 | 2018-04-20 17:38 | Narela | 10:30 | 17:00 | 0.27083 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Alipur | 2381 | Planned outage
26 | 2018-04-20 17:38 | Badli | 11:43 | 16:41 | 0.20694 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Shahbad Dairy | 385 | Planned outage
27 | 2018-04-20 17:38 | Rohini | 13:59 | 15:05 | 0.045833 | PLANNED SHUTDOWN | To Attend DT Oil Leakage | Restored/Repaired | Parts of : Sec-23 Rohini | 483 | Planned outage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51