## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___24-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-24 17:38 | Mangolpuri | 09:32 | 11:16 | 0.072222 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Rohini Sec-22 | 2131 | Interruption due to fault
2 | 2018-04-24 17:38 | Model Town | 08:41 | 09:42 | 0.042361 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Subzi Mandi | 2141 | Interruption due to fault
3 | 2018-04-24 17:38 | Shalimar Bagh | 10:41 | 17:15 | 0.27361 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Parts of : Jahangir Puri | 1793 | Planned outage
4 | 2018-04-24 17:38 | Narela | 11:32 | 17:09 | 0.23403 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Swaroop Vihar | 766 | Planned outage
5 | 2018-04-24 | Mangolpuri | 10:52 | 13:30 | 0.10972 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Begampur | 1122 | Planned outage
6 | 2018-04-24 | Shalimar Bagh | 09:18 | 12:45 | 0.14375 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Jagatpur Village | 2344 | Planned outage
7 | 2018-04-24 | Keshav Puram | 10:20 | 17:10 | 0.28472 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Ashok Vihar | 1408 | Planned outage
8 | 2018-04-24 | Shalimar Bagh | 09:08 | 16:37 | 0.31181 | PLANNED SHUTDOWN | General Maintenance and Tree Trimming | Restored/Repaired | Parts of : Wazirabad Village | 7788 | Planned outage
9 | 2018-04-24 17:38 | Model Town | 10:45 | 15:53 | 0.21389 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Azadpur | 677 | Planned outage
10 | 2018-04-24 | Shalimar Bagh | 09:13 | 16:39 | 0.30972 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Hardev Nagar | 1973 | Planned outage
11 | 2018-04-24 | Bawana | 10:03 | 16:38 | 0.27431 | PLANNED SHUTDOWN | Guard Wire Replacement | Restored/Repaired | Parts of : Bulla Colony | 943 | Planned outage
12 | 2018-04-24 | Shakti Nagar | 10:46 | 17:00 | 0.25972 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Nimri Village | 322 | Planned outage
13 | 2018-04-24 | Shalimar Bagh | 12:42 | 16:25 | 0.15486 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : D-Block, Shalimar Bagh | 5440 | Planned outage
14 | 2018-04-24 | Bawana | 11:01 | 17:02 | 0.25069 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Vijay Nagar | 741 | Planned outage
15 | 2018-04-24 | Badli | 13:52 | 16:14 | 0.098611 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Libaspur | 334 | Planned outage
16 | 2018-04-24 | Shalimar Bagh | 13:36 | 15:00 | 0.058333 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Sanjay Enclave | 826 | Planned outage
17 | 2018-04-24 | Narela | 10:10 | 11:40 | 0.0625 | HT SYSTEM FAULT | DD Jumper Burnt | Restored/Repaired | Parts of : Prem Colony | 675 | Interruption due to fault
18 | 2018-04-24 | Shalimar Bagh | 14:57 | 17:06 | 0.089583 | DISTRIBUTION TR. | DD Unit Faulty | Restored/Repaired | Parts of : Mahindra Park | 547 | Interruption due to fault
19 | 2018-04-24 | Bawana | 15:14 | 20:58 | 0.23889 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agencies | Restored/Repaired | Parts of : Agar Nagar | 9084 | Force Majeure due to sabotage
20 | 2018-04-24 | Moti Nagar | 14:32 | 16:40 | 0.088889 | HVDS CABLE & OTHER SYSTEM | Cable End Box Faulty | Restored/Repaired | Parts of : Bali Nagar | 1321 | Interruption due to fault
21 | 2018-04-24 | Civil Lines | 17:41 | 19:38 | 0.08125 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts of : DU Staff Quarters | 524 | Interruption due to fault
22 | 2018-04-24 | Shalimar Bagh | 06:57 | 08:28 | 0.063194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Bhalswa Village | 3014 | Force Majeure due to sabotage
23 | 2018-04-24 | Mangolpuri | 22:06 | 23:36 | 0.0625 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Rohini Sec-23 | 4458 | Interruption due to fault
24 | 2018-04-24 | Badli | 15:32 | 17:41 | 0.089583 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Badli Village | 496 | System schedule maintenance
25 | 2018-04-24 | Shalimar Bagh | 11:13 | 12:30 | 0.053472 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Mukundpur | 311 | System schedule maintenance
26 | 2018-04-24 | Badli | 15:32 | 17:50 | 0.095833 | PLANNED SHUTDOWN | LT ABC Shifting | Restored/Repaired | Parts of : Raza Vihar | 636 | System schedule maintenance
27 | 2018-04-24 | Badli | 12:32 | 16:40 | 0.17222 | LT FEEDER | LT ACB Flashed | Restored/Repaired | Parts of : Deep Vihar | 477 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51