## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## sheet-2
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___25-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-25 17:38 | Model Town | 10:34 | 14:46 | 0.175 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Indira Vihar | 1340 | Planned outage
2 | 2018-04-25 17:38 | Shalimar Bagh | 10:03 | 16:36 | 0.27292 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Mahindra Park | 808 | Planned outage
3 | 2018-04-25 17:38 | Civil Lines | 09:45 | 11:21 | 0.066667 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Ashok Vihar | 589 | Planned outage
4 | 2018-04-25 | Narela | 11:45 | 17:58 | 0.25903 | PLANNED SHUTDOWN | Guard Wire Replacement | Restored/Repaired | Parts of : Sannoth Village | 1138 | Planned outage
5 | 2018-04-25 | Shalimar Bagh | 10:46 | 0.74653 | 0.29792 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : C-Blk Jahangirpuri | 1223 | Planned outage
6 | 2018-04-25 | Badli | 10:52 | 0.69861 | 0.24583 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Siraspur | 517 | Planned outage
7 | 2018-04-25 | Bawana | 12:18 | 17:49 | 0.22986 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Poothkhurd | 4500 | Planned outage
8 | 2018-04-25 | Mangolpuri | 10:07 | 16:45 | 0.27639 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Parts of : S- Blk Sultanpuri | 1065 | Planned outage
9 | 2018-04-25 | Narela | 12:26 | 14:22 | 0.080556 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Narela Police colony | 571 | Planned outage
10 | 2018-04-25 | Shalimar Bagh | 10:49 | 15:00 | 0.17431 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Wazirabad | 653 | Planned outage
11 | 2018-04-25 | Rohini | 10:13 | 11:20 | 0.046528 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Sec-3 Rohini | 344 | Planned outage
12 | 2018-04-25 | Moti Nagar | 07:00 | 08:40 | 0.069444 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Ranjeet Nagar | 1014 | Interruption due to fault
13 | 2018-04-25 | Moti Nagar | 08:50 | 10:00 | 0.048611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Pandav Nagar | 865 | Interruption due to fault
14 | 2018-04-25 | Rohini | 11:15 | 13:17 | 0.084722 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Rohini Sec-24 | 456 | Planned outage
15 | 2018-04-25 | Bawana | 15:15 | 16:55 | 0.069444 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Inder Enclave Ph-2 | 6760 | Interruption due to fault
16 | 2018-04-25 | Moti Nagar | 11:21 | 0.60764 | 0.13472 | HT SYSTEM FAULT | Cable End Box Faulty | Restored/Repaired | Parts of : Rama Road | 349 | Interruption due to fault
17 | 2018-04-25 | Badli | 16:26 | 18:00 | 0.065278 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Rohini Sec-28 | 398 | Interruption due to fault
18 | 2018-04-25 | Badli | 15:34 | 21:30 | 0.24722 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 674 | Force Majeure due to sabotage
19 | 2018-04-25 | Bawana | 11:23 | 12:54 | 0.063194 | HT SYSTEM FAULT | HT Socket Burnt | Restored/Repaired | Parts of : Inder Enclave Ph-1 | 6760 | Interruption due to fault
20 | 2018-04-25 | Mangolpuri | 12:50 | 0.58125 | 0.046528 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Y- Blk Sultanpuri | 355 | System schedule maintenance
21 | 2018-04-25 | Badli | 13:02 | 14:48 | 0.073611 | PLANNED SHUTDOWN | LT ABC Shifting | Restored/Repaired | Parts of : Samaypur | 380 | System schedule maintenance
22 | 2018-04-25 | Civil Lines | 14:03 | 15:51 | 0.075 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Vijay Nagar | 333 | System schedule maintenance
23 | 2018-04-25 | Shalimar Bagh | 14:05 | 0.66667 | 0.079861 | LT FEEDER | LT ACB Flashed | Restored/Repaired | Parts of : Burari | 431 | Interruption due to fault
24 | 2018-04-25 | Bawana | 14:39 | 0.73819 | 0.12778 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Katewara Village | 350 | System schedule maintenance
25 | 2018-04-25 | Model Town | 15:20 | 16:52 | 0.063889 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Bharolla Village | 367 | System schedule maintenance

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51