## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___26-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-26 | Mangolpuri | 10:55 | 15:39 | 4:44 | PLANNED SHUTDOWN | DD Unit Replacement | Restored/Repaired | Part of : Sultan Puri | 1321 | Planned outage
2 | 2018-04-26 | Mangolpuri | 11:48 | 16:46 | 4:58 | PLANNED SHUTDOWN | RMU Replacement | Restored/Repaired | Part of : Laxmi Vihar | 1500 | Planned outage
3 | 2018-04-26 | Shalimar Bagh | 10:00 | 17:14 | 7:14 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Part of : Jahangirpuri | 1712 | Planned outage
4 | 2018-04-26 | Shalimar Bagh | 10:39 | 16:54 | 6:15 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Part of : Kamal Vihar | 1234 | Planned outage
5 | 2018-04-26 | Bawana | 10:20 | 17:50 | 7:30 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Part of : Jain Colony | 5386 | Planned outage
6 | 2018-04-26 | Badli | 11:37 | 16:54 | 5:17 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Part of : Barwala Village | 2197 | Planned outage
7 | 2018-04-26 | Mangolpuri | 10:06 | 14:31 | 4:25 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Part of : Sec 20 Rohini | 2772 | Planned outage
8 | 2018-04-26 | Narela | 10:33 | 13:01 | 2:28 | PLANNED SHUTDOWN | LT ACB Replacement | Restored/Repaired | Part of : Police Colony | 413 | Planned outage
9 | 2018-04-26 | Shalimar Bagh | 10:09 | 16:58 | 6:49 | PLANNED SHUTDOWN | HVDS CKT Maintenance | Restored/Repaired | Part of : BH Block Shalimar Bagh | 647 | Planned outage
10 | 2018-04-26 | Shalimar Bagh | 10:38 | 15:08 | 4:30 | PLANNED SHUTDOWN | For Civil Work | Restored/Repaired | Part of : Wazirabad | 1434 | Planned outage
11 | 2018-04-26 | Narela | 12:09 | 16:22 | 4:13 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Part of : Tikri Village | 1200 | Planned outage
12 | 2018-04-26 | Mangolpuri | 19:13 | 21:42 | 2:29 | HT SYSTEM FAULT | HT Cable Burnt | Restored/Repaired | Part of : Begampur | 6689 | Interruption due to fault
13 | 2018-04-26 | Narela | 15:25 | 17:15 | 1:50 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Part of : Ghogha Village | 310 | Interruption due to fault
14 | 2018-04-26 | Shalimar Bagh | 16:18 | 19:10 | 2:52 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Part of : Haiderpur | 2060 | Interruption due to fault
15 | 2018-04-26 | Bawana | 01:30 | 03:32 | 2:02 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Garhi Rindhala | 1531 | Force majeure due to storm
16 | 2018-04-26 | Narela | 01:46 | 04:00 | 2:14 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Bakner Village | 2955 | Force majeure due to storm
17 | 2018-04-26 | Badli | 2:55 | 04:10 | 1:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Conductor Broken | Restored/Repaired | Part of : Sri Enclave | 1200 | Force majeure due to storm
18 | 2018-04-26 | Shalimar Bagh | 01:50 | 03:05 | 1:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Milan Vihar | 4906 | Force majeure due to storm
19 | 2018-04-26 | Narela | 2:46 | 4:48 | 2:02 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Gautam Colony | 3338 | Force majeure due to storm
20 | 2018-04-26 | Bawana | 02:00 | 03:28 | 1:28 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Rani Kheda | 4520 | Force majeure due to storm
21 | 2018-04-26 | Keshav Puram | 01:15 | 02:30 | 1:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Part of : Vishram Nagar | 520 | Force majeure due to fire
22 | 2018-04-26 | Narela | 02:15 | 04:53 | 2:38 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Conductor Broken | Restored/Repaired | Part of : Hiranki | 1759 | Force majeure due to storm
23 | 2018-04-26 | Narela | 02:04 | 03:56 | 1:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Narela | 4017 | Force majeure due to storm
24 | 2018-04-26 | Bawana | 02:06 | 04:05 | 1:59 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Vijay Nagar | 741 | Force majeure due to storm
25 | 2018-04-26 | Badli | 02:38 | 04:35 | 1:57 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Deep Vihar | 2012 | Force majeure due to storm
26 | 2018-04-26 | Keshav Puram | 6:04 | 08:30 | 2:26 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Part of : JJ Colony Ashok Vihar | 778 | Interruption due to fault
27 | 2018-04-26 | Narela | 02:24 | 05:10 | 2:46 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Storm | Restored/Repaired | Part of : Holambi Kalan | 6109 | Force majeure due to storm
28 | 2018-04-26 | Narela | 06:02 | 08:35 | 2:33 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Part of : Metro Vihar | 3338 | Interruption due to fault
29 | 2018-04-26 | Bawana | 10:46 | 13:00 | 2:14 | PLANNED SHUTDOWN | For Attending Oil Leakage | Restored/Repaired | Part of : Pooth Khurd Village | 513 | System schedule maintenance
30 | 2018-04-26 | Narela | 10:48 | 12:10 | 1:22 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Part of : Swatantra Nagar | 4460 | Interruption due to fault
31 | 2018-04-26 | Mangolpuri | 13:23 | 14:53 | 1:30 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Part of : Budh Vihar | 1065 | Interruption due to fault
32 | 2018-04-26 | Badli | 13:30 | 15:15 | 1:45 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Part of : Sec 26 Rohini | 711 | Force majeure due to sabotage
33 | 2018-04-26 | Pitam Pura | 01:32 | 02:42 | 1:10 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Part of : Raja Park | 340 | Interruption due to fault
34 | 2018-04-26 | Civil Lines | 11:05 | 14:39 | 3:34 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Part of : Old Chandrawal | 485 | System schedule maintenance
35 | 2018-04-26 | Model Town | 11:09 | 15:55 | 4:46 | PLANNED SHUTDOWN | LT Load Balancing | Restored/Repaired | Part of : Mukherjee Nagar | 347 | System schedule maintenance
36 | 2018-04-26 | Shalimar Bagh | 14:26 | 16:20 | 1:54 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Part of : Swaroop Nagar | 446 | Interruption due to fault
37 | 2018-04-26 | Keshav Puram | 15:09 | 16:50 | 1:41 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Part of : Nimri Colony | 343 | Interruption due to fault
38 | 2018-04-26 | Shalimar Bagh | 15:59 | 17:43 | 1:44 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Part of : Shiv Kunj | 843 | Interruption due to fault
39 | 2018-04-26 | Shalimar Bagh | 13:47 | 15:40 | 1:53 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Part of : Bhagwan Park | 441 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51