## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___27-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-27 11:10 | Shalimar Bagh | 43217.4646 | 43217.666 | 4:50 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Burari | 3000 | Planned outage
2 | 2018-04-27 11:10 | Shalimar Bagh | 17:28 | 18:59 | 1:31 | PLANNED SHUTDOWN | CT Meter Replacement | Restored/Repaired | Parts of : Jahangirpuri | 388 | Planned outage
3 | 2018-04-27 11:10 | Model Town | 11:04 | 15:05 | 4:01 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Dhaka Village | 491 | Planned outage
4 | 2018-04-27 11:10 | Badli | 10:31 | 13:46 | 3:15 | PLANNED SHUTDOWN | For Attending Oil Leakage | Restored/Repaired | Parts of : Raja Vihar | 480 | Planned outage
5 | 2018-04-27 11:10 | Keshav Puram | 11:16 | 14:56 | 3:40 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : Onkar Nagar | 846 | Planned outage
6 | 2018-04-27 11:10 | Moti Nagar | 10:22 | 15:32 | 5:10 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Kirti Nagar | 835 | Planned outage
7 | 2018-04-27 11:10 | Shalimar Bagh | 10:10 | 17:05 | 6:55 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Kamal Vihar | 1766 | Planned outage
8 | 2018-04-27 11:10 | Shalimar Bagh | 11:02 | 16:37 | 5:35 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Tomar Colony | 2722 | Planned outage
9 | 2018-04-27 11:10 | Shalimar Bagh | 10:21 | 16:54 | 6:33 | PLANNED SHUTDOWN | HVDS CKT Maintenance | Restored/Repaired | Parts of : Mahindra Park Jahangirpuri | 1103 | Planned outage
10 | 2018-04-27 11:10 | Narela | 11:44 | 16:46 | 5:02 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Hiranki | 1759 | Planned outage
11 | 2018-04-27 11:10 | Narela | 12:09 | 17:35 | 5:26 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Kadipur | 2169 | Planned outage
12 | 2018-04-27 11:10 | Shalimar Bagh | 11:00 | 12:18 | 1:18 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Sangam Vihar | 961 | Planned outage
13 | 2018-04-27 11:10 | Narela | 06:37 | 07:50 | 1:13 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Holambi Kalan | 6109 | Interruption due to fault
14 | 2018-04-27 11:10 | Narela | 09:06 | 10:25 | 1:19 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Ghogha Village | 2836 | Interruption due to fault
15 | 2018-04-27 11:10 | Moti Nagar | 07:16 | 10:15 | 2:59 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Loha mandi | 1169 | Interruption due to fault
16 | 2018-04-27 11:10 | Bawana | 11:35 | 12:52 | 1:17 | DISTRIBUTION TR. | LT Socket Burnt | Restored/Repaired | Parts of : Rani Khera | 4521 | Interruption due to fault
17 | 2018-04-27 11:10 | Shalimar Bagh | 12:10 | 13:25 | 1:15 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jharoda Village | 4906 | Interruption due to fault
18 | 2018-04-27 11:10 | Bawana | 17:30 | 19:10 | 1:40 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Ishwar Colony | 3024 | Interruption due to fault
19 | 2018-04-27 11:10 | Shalimar Bagh | 16:09 | 17:13 | 1:04 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : EE Block Shalimar Bagh | 468 | Interruption due to fault
20 | 2018-04-27 11:10 | Shalimar Bagh | 17:51 | 19:02 | 1:11 | HVDS CABLE & OTHER SYSTEM | HT Jumper Sparking | Restored/Repaired | Parts of : Bhalswa Village | 4689 | Interruption due to fault
21 | 2018-04-27 11:10 | Civil Lines | 11:01 | 0.58333 | 2:59 | PLANNED SHUTDOWN | Tyco Box Installation | Restored/Repaired | Parts of : Rana Partap Bagh | 677 | System schedule maintenance
22 | 2018-04-27 11:10 | Badli | 12:21 | 0.74653 | 5:34 | PLANNED SHUTDOWN | Load Balancing | Restored/Repaired | Parts of : Samaypur | 369 | System schedule maintenance
23 | 2018-04-27 11:10 | Badli | 16:15 | 0.74792 | 1:42 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sanjay Colony | 799 | Interruption due to fault
24 | 2018-04-27 11:10 | Rohini | 05:16 | 11:19 | 6:03 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sec 3 Rohini | 393 | Force majeure due to sabotage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51