## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___28-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-28 11:10 | Rohini | 00:49 | 02:12 | 1:23 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Avantika | 939 | Interruption due to fault
2 | 2018-04-28 11:10 | MangolPuri | 10:44 | 14:05 | 3:21 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Sultanpur Mazra | 505 | Planned outage
3 | 2018-04-28 11:10 | Shakti Nagar | 11:43 | 15:50 | 4:07 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Manak Pura | 326 | System schedule maintenance
4 | 2018-04-28 11:10 | Bawana | 14:59 | 16:23 | 1:24 | LT FEEDER | Neutral Wire broken | Restored/Repaired | Parts of : Agar Nagar | 1003 | Interruption due to fault
5 | 2018-04-28 11:10 | Moti Nagar | 20:17 | 0.92083 | 1:49 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off for Safety Purpose Due to Fire Message | Restored/Repaired | Parts of : Inder Puri | 696 | Force majeure due to fire
6 | 2018-04-28 11:10 | Shalimar Bagh | 10:25 | 17:14 | 6:49 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Jahangir Puri | 2056 | Planned outage
7 | 2018-04-28 11:10 | Bawana | 12:21 | 16:56 | 4:35 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : I BLK Sec-2 DSIIDC Bawana | 302 | Planned outage
8 | 2018-04-28 11:10 | Bawana | 10:24 | 17:57 | 7:33 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : LM BLK Sec-5 DSIIDC Bawana | 403 | Planned outage
9 | 2018-04-28 11:10 | Bawana | 08:23 | 13:34 | 5:11 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : J BLK Sec-2 DSIIDC Bawana | 510 | Planned outage
10 | 2018-04-28 11:10 | Narela | 10:34 | 17:58 | 7:24 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : DSIIDC Narela | 5836 | Planned outage
11 | 2018-04-28 11:10 | Badli | 11:52 | 13:26 | 1:34 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Badli | 497 | Planned outage
12 | 2018-04-28 11:10 | Bawana | 11:42 | 14:02 | 2:20 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Garhi Rindhala | 1535 | Interruption due to fault
13 | 2018-04-28 11:10 | MangolPuri | 12:05 | 14:00 | 1:55 | LT FEEDER | LT MCCB Faulty | Restored/Repaired | Parts of : Ramesh Enclave | 442 | Interruption due to fault
14 | 2018-04-28 11:10 | Narela | 13:23 | 15:13 | 1:50 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Holambi Kalan | 1178 | Interruption due to fault
15 | 2018-04-28 11:10 | MangolPuri | 13:39 | 17:43 | 4:04 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off for Safety Purpose Due to Fire Message | Restored/Repaired | Parts of : Partap Vihar | 1244 | Force majeure due to fire
16 | 2018-04-28 11:10 | Moti Nagar | 14:53 | 0.6875 | 1:37 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Naraina | 394 | System schedule maintenance
17 | 2018-04-28 11:10 | Shalimar Bagh | 14:42 | 15:52 | 1:10 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Burari | 1453 | Interruption due to fault
18 | 2018-04-28 11:10 | Narela | 17:19 | 18:25 | 1:06 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Narela | 751 | Interruption due to fault
19 | 2018-04-28 11:10 | PitamPura | 18:44 | 0.91667 | 3:16 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sant Nagar | 436 | Interruption due to fault
20 | 2018-04-28 11:10 | Civil Lines | 21:51 | 22:58 | 1:07 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Subzi Mandi | 382 | Interruption due to fault
21 | 2018-04-28 11:10 | Rohini | 11:43 | 13:07 | 1:24 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Rohini | 2206 | Interruption due to fault
22 | 2018-04-28 11:10 | Moti Nagar | 10:13 | 14:25 | 4:12 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Sudarshan Park | 723 | Planned outage
23 | 2018-04-28 11:10 | MangolPuri | 07:56 | 14:16 | 6:20 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : MangolPuri | 1074 | Planned outage

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51