## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___30-04-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-04-30 11:10 | Bawana | 10:29 | 11:58 | 1:29 | HT SYSTEM FAULT | Pin Insulator Flash | Restored/Repaired | Parts of : Karala Village | 4633 | Interruption due to fault
2 | 2018-04-30 11:10 | Bawana | 02:59 | 04:18 | 1:19 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : J J Colony Sawda | 1138 | Interruption due to fault
3 | 2018-04-30 11:10 | Pitam Pura | 06:55 | 09:20 | 2:25 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : KP Block Pitampura | 652 | Interruption due to fault
4 | 2018-04-30 11:10 | Rohini | 07:49 | 0.37361 | 1:09 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sec-25 Rohini | 1678 | Interruption due to fault
5 | 2018-04-30 11:10 | Pitam Pura | 07:30 | 08:45 | 1:15 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Tarun Enclave | 306 | Interruption due to fault
6 | 2018-04-30 11:10 | Narela | 08:43 | 10:02 | 1:19 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Lampur | 6112 | Interruption due to fault
7 | 2018-04-30 11:10 | Moti Nagar | 10:47 | 12:35 | 1:48 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Naraina Village | 1093 | Interruption due to fault
8 | 2018-04-30 11:10 | Rohini | 13:29 | 15:05 | 1:36 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-24 Rohini | 1683 | Interruption due to fault
9 | 2018-04-30 11:10 | Narela | 18:43 | 21:10 | 2:27 | HT SYSTEM FAULT | Guard wire Broken | Restored/Repaired | Parts of : Tigipur Village | 2713 | Interruption due to fault
10 | 2018-04-30 11:10 | Badli | 03:19 | 04:55 | 1:36 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Siraspur | 557 | Interruption due to fault
11 | 2018-04-30 11:10 | Badli | 20:58 | 22:05 | 1:07 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Deep Vihar | 2012 | Interruption due to fault
12 | 2018-04-30 11:10 | Badli | 12:06 | 13:15 | 1:09 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Libaspur | 380 | Interruption due to fault
13 | 2018-04-30 11:10 | Bawana | 01:57 | 03:33 | 1:36 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Rama Vihar | 365 | Interruption due to fault
14 | 2018-04-30 11:10 | Bawana | 13:17 | 14:35 | 1:18 | LT FEEDER | LT ACB Flash | Restored/Repaired | Parts of : Auchandi | 350 | Interruption due to fault
15 | 2018-04-30 11:10 | Shalimar Bagh | 16:10 | 17:46 | 1:36 | LT FEEDER | LT MCCB Faulty | Restored/Repaired | Parts of : Sant Nagar | 843 | Interruption due to fault
16 | 2018-04-30 11:10 | Civil Lines | 22:37 | 0.99931 | 1:22 | LT FEEDER | LT CABLE BURNT | Restored/Repaired | Parts of : Malka Ganj | 423 | Interruption due to fault
17 | 2018-04-30 11:10 | Shalimar Bagh | 0.85764 | 0.95833 | 2:25 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Haiderpur Village | 843 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51