## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 02.07.2018 TO 06:00 HRS OF 03.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 02.07.2018 | CCK | 43283.3889 | 43283.4839 | 2:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIJAY GHAT DARYAGANJ | 258 | PREVENTIVE MAINTENANCE CARRIED OUT ON S/STATION UNDER PLANNED SHUTDOWN
2 | 02.07.2018 | KRN | 43283.434 | 43283.4792 | 1:05 | PLANNED SHUTDOWN | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK 9-KAILASH NAGAR | 174
3 | 02.07.2018 | KRN | 43283.4534 | 43283.5006 | 1:08 | HT SYSTEM FAULT | FOR REPLACING OIL SEAL | OIL SEAL REPLACED | BLOCK K-KRISHNA NAGAR | 937
4 | 02.07.2018 | KWN | 43283.8132 | 43283.8611 | 1:09 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | C-BLOCK 3 PUSTA SONIA VIHAR | 950
5 | 02.07.2018 | KWN | 43283.8264 | 43283.8764 | 1:12 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK D-SHIV VIHAR | 777
6 | 02.07.2018 | KWN | 43283.8278 | 43283.8799 | 1:15 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | PART-6 SONIA VIHAR | 880
7 | 02.07.2018 | KWN | 43283.8354 | 43283.9097 | 1:47 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | HVDS LEAD FAULTY SAME ATTENDED | BLOCK C-HARIJAN BASTI | 691
8 | 02.07.2018 | KWN | 43283.921 | 43284.0003 | 1:54 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | HVDS LEAD FAULTY SAME ATTENDED | A-BLOCK GALI NO-3 AMBIKA VIHAR | 857
9 | 03.07.2018 | KWN | 43284.1642 | 43284.2459 | 1:58 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | D-BLOCK KHAJURI KHADDA | 198
10 | 03.07.2018 | KWN | 43284.1653 | 43284.2431 | 1:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | E & F BLOCK WEST KARAWAL NAGAR | 128
11 | 02.07.2018 | LNR | 43283.591 | 43283.6389 | 1:09 | DAMAGE BY OTHER AGENCIES | SUPPLY SWITCHED OFF DUE TO DEMOLITION WORK BY MCD | AREA NORMALISED AFTER GETTING CLEARANCE OF MCD | GANESH NAGAR EXTENSION | 86
12 | 02.07.2018 | MVR | 43283.884 | 43283.941 | 1:22 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | BLOCK-18 TRILOKPURI | 690
13 | 02.07.2018 | VSE | 43283.7337 | 43283.7865 | 1:16 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | BLOCK-13 TRILOKPURI | 871
14 | 02.07.2018 | VSE | 43283.7337 | 43283.9722 | 5:43 | DISTRIBUTION TR. | 630KVA TRANSFORMER FAULTY | 630KVA TRANSFORMER FAULTY SAME REPLACED | B-BLOCK GD COLONY MVR | 320 | 630KVA TRANSFORMER FAULTY SAME REPLACED AT S/STATION GD CLONY
15 | 02.07.2018 | YVR | 43283.4272 | 43283.4896 | 1:30 | PLANNED SHUTDOWN | REPLACEMENT OF SERVICE CABLE | SERVICE CABLE REPLACED | JAFFRABAD-MAUJ PUR | 452
16 | 02.07.2018 | YVR | 43283.4604 | 43283.6299 | 4:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-GAUTAM PURI | 165 | PREVENTIVE MAINTENANCE CARRIED OUT ON S/STATION UNDER PLANNED SHUTDOWN
17 | 02.07.2018 | YVR | 43283.4746 | 43283.5444 | 1:41 | LT FEEDER | NETWORK UPGRADATION WORK | NEW LT CABLE CONNECTED | BLOCK C4-YAMUNA VIHAR | 911
18 | 02.07.2018 | YVR | 43283.6375 | 43283.7426 | 2:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JHUGGI-NEW SILAMPURI PHASE-I | 158 | PREVENTIVE MAINTENANCE CARRIED OUT ON S/STATION UNDER PLANNED SHUTDOWN
19 | 02.07.2018 | YVR | 43283.8167 | 43283.9631 | 3:31 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TRIPPING | TREE FALLEN ON LT LINE SAME REMOVED | A-BLOCK BHAJANPURA | 768 | TREE BRANCH FALLEN ON LTAB AT A BLK BHAJANPURA (POLE TILTED)
20 | 02.07.2018 | YVR | 43283.9632 | 43284.0417 | 1:53 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | BREAKDOWN DUE TO HEAVY RAIN AND THUNDERSTORM | TREE FALLEN ON LT LINE SAME REMOVED | BLOCK A-BHAJANPURA | 844