## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 03.07.2018 TO 06:00 HRS OF 04.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 03.07.2018 | CCK | 43284.3986 | 43284.5088 | 2:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ROSHAN PURA-CHANDNI CHOWK | 256 | PREDICTIVE MAINTENANCE ON S/STATION CARRIED OUT UNDER PLANNED SHUTDOWN
2 | 04.07.2018 | DGN | 43285.0063 | 43285.0777 | 1:43 | LT FEEDER | LTAB DAMAGED DUE TO FIRE | DAMAGED LTAB REPAIRED | BLOCK J-OLD SIMAPURI | 145
3 | 03.07.2018 | KRN | 43284.4333 | 43284.566 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-GANDHI NAGAR | 17 | PREDICTIVE MAINTENANCE ON S/STATION CARRIED OUT UNDER PLANNED SHUTDOWN
4 | 03.07.2018 | KRN | 43284.6764 | 43284.7431 | 1:36 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DHARAM PURA-KAILASH NAGAR | 360
5 | 03.07.2018 | KWN | 43284.3715 | 43284.4153 | 1:03 | HT SYSTEM FAULT | TRIPPING | HVDS DP FUSE BLOWN SAME REPLACED | ZERO PUSHTA SONIA VIHAR | 474
6 | 03.07.2018 | KWN | 43284.5819 | 43284.6354 | 1:17 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | MUKUND VIHAR | 775
7 | 03.07.2018 | LNR | 43284.5026 | 43284.5687 | 1:35 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON THE POLE | DAMAGED WIRE REPAIRED | BLOCK S-SHAKARPUR KHAS | 86
8 | 03.07.2018 | LNR | 43284.5563 | 43284.6299 | 1:46 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK F-GURU ANGAD NAGAR WEST | 86
9 | 03.07.2018 | NNG | 43284.4137 | 43284.4855 | 1:43 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | A-BLOCK EAST GOKULPUR | 173
10 | 03.07.2018 | YVR | 43284.4243 | 43284.5414 | 2:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-SUBHASH MOHALLA | 170 | PREDICTIVE MAINTENANCE ON S/STATION CARRIED OUT UNDER PLANNED SHUTDOWN
11 | 03.07.2018 | YVR | 43284.6132 | 43284.7095 | 2:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIJAY PARK YVR | 168 | PREDICTIVE MAINTENANCE ON S/STATION CARRIED OUT UNDER PLANNED SHUTDOWN