## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 06.07.2018 TO 06:00 HRS OF 07.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 06.07.2018 | CCK | 43287.4153 | 43287.5031 | 2:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | GALI GULIYAN CHANDNI CHOWK | 155 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUT DOWN
2 | 06.07.2018 | DGN | 43287.4966 | 43287.5738 | 1:51 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | FAULT IN THE LT PANEL SAME ATTENDED | A-BLOCK JHILMILL | 155
3 | 06.07.2018 | DGN | 43287.5816 | 43287.6458 | 1:33 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LT LEAD FAULTY SAME REPAIRED | OLD SEEMAPURI | 164
4 | 06.07.2018 | DRG | 43287.4482 | 43287.496 | 1:09 | LT FEEDER | FOR ATTENDING HOT POINT | HOT POINT ATTENDED | FEROJ SHAH KOTLA STADIUM | 52
5 | 06.07.2018 | KWN | 43287.5564 | 43287.6223 | 1:35 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT ACB FAULTY | FAULTY LT ACB BYPASSED | B-BLOCK DAYALPUR | 189
6 | 06.07.2018 | KWN | 43287.5588 | 43287.6226 | 1:32 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT ACB REPLACEMENT | LT ACB REPLACED | A-BLOCK DAYALPUR | 127
7 | 07.07.2018 | KWN | 43288.0053 | 43288.0883 | 2:00 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LT LEAD FAULTY SAME REPAIRED | VILLAGE KHAJURI KHAS | 103
8 | 06.07.2018 | LNR | 43287.47 | 43287.5799 | 2:38 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE REPAIRED | BLOCK H-SHAKARPUR KHAS | 69 | LT POLE DAMAGED BY UNKNOWN VEHICLE SAME REPAIRED
9 | 06.07.2018 | NNG | 43287.6601 | 43287.7398 | 1:55 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LTAB FAULTY SAME REPAIRED | GOKULPUR VILLAGE | 72
10 | 06.07.2018 | PHG | 43287.434 | 43287.4986 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | SARAI KHALEEL PAHADGANJ | 165
11 | 07.07.2018 | VSE | 43288.0313 | 43288.1211 | 2:09 | LT FEEDER | LTAB BURNT DUE TO FIRE | DAMAGED LTAB REPAIRED | PART OF DALLUPURA | 60 | LTAB BURNT DUE TO FIRE SAME REPAIRED
12 | 06.07.2018 | YVR | 43287.4764 | 43287.5376 | 1:28 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LTAB FAULTY SAME ATTENDED | E-BLOCK SHASTRI PARK | 94