## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00 HRS. OF 07.07.2018 TO 06:00 HRS OF 08.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 07.07.2018 | CCK | 43288.4014 | 43288.4984 | 2:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | NAI SARAK-KATRA ASRAFI,CHANDNI CHOWK. | 215 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUT DOWN
2 | 07.07.2018 | DGN | 43288.5185 | 43288.5972 | 1:53 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LTAB BURNT, SAME REPAIRED | OLD SEEMAPURI. | 164
3 | 07.07.2018 | DRG | 43288.4278 | 43288.4735 | 1:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | MOSQUE-KUCHA PATI RAM,DARYAGANJ. | 777
4 | 07.07.2018 | DRG | 43288.6692 | 43288.7203 | 1:13 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT POLE BROKEN DUE TO BUILDING ROOF COLLAPSED | LT CABLE BYPASSED, AREA NORMALISED | RAJ ENGG. KAMLA MARKET. | 51
5 | 07.07.2018 | KWN | 43288.3889 | 43288.4479 | 1:25 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LT CABLE DAMAGED, SAME REPAIRED | KHAJOURI KHAS,KARAWAL NAGAR. | 86
6 | 07.07.2018 | MVR | 43288.5219 | 43288.5665 | 1:04 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | LTAB BURNT, SAME REPAIRED | POLICE STATION, KALYAN PURI. | 70
7 | 07.07.2018 | PHG | 43288.4236 | 43288.4715 | 1:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | NAYA MOHALLA-KISHAN GANJ RS,PHARI DHIRAJ. | 2689
8 | 07.07.2018 | YVR | 43288.4757 | 43288.5623 | 2:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | MAUJ PUR COMPLEX 1,ARJUN MOHALLA-MAUJPUR. | 2337 | PREVENTIVE MAINTENANCE CARRIED OUT UNDER PLANNED SHUT DOWN
9 | 07.07.2018 | YVR | 43288.6354 | 43288.693 | 1:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIE OUT | JAGJEET NAGAR-GHONDA. | 1869
10 | 08.07.2018 | YVR | 43289.1575 | 43289.2375 | 1:55 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | SERVICE LINE DAMAGED, SAME REPAIRED | BLOCK B-MANUJPUR,BLOCK B2-YAMUNA VIHAR. | 90